## Suite Line Capacity
Report generated for: | Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM
| Quantity | % of all area | Area
Total free sections: | 4/16 | 51 % | 2.417 m²
Total occupied sections: | 12/16 | 49 % | 2.349 m²
Total reserved sections: | 0/16 | 0 % | 0.000 m²
Total Lines Capability |  |  | 4.766 m²
Total Location Capability |  |  | 14.400 m²
Total Location Free Area |  |  | 12.051 m²
Total Location Occupied Area |  |  | 2.349 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | A | 5 | Free | 0 | 34 % | 0.392 m²
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | A | 5 | Occupied | 5 | 66 % | 0.773 m² | Rack GRSTB1;DC SYS01, Floor Position = A08 | 18 | 46 | 18 | 14 | 25 | 14
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | A | 5 | Occupied | 5 | 66 % | 0.773 m² | Rack A6, Floor Position = A06 | 19 | 47 | 19 | 17 | 47 | 17
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | A | 5 | Occupied | 5 | 66 % | 0.773 m² | Rack A5, Floor Position = A05 | 10 | 47 | 10 | 5 | 47 | 5
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | A | 5 | Occupied | 5 | 66 % | 0.773 m² | Rack A4, Floor Position = A04 | 35 | 47 | 35 | 34 | 47 | 34
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | A | 5 | Reserved | 0 | 0 % | 0.000 m²
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | B | 4 | Free | 2 | 63 % | 0.960 m²
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | B | 4 | Occupied | 2 | 37 % | 0.570 m² | Rack EOS B1, Floor Position = B5b | 5 | 47 | 5 | 5 | 47 | 5
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | B | 4 | Occupied | 2 | 37 % | 0.570 m² | Rack EOS B2, Floor Position = B5a | 5 | 47 | 5 | 5 | 47 | 5
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | B | 4 | Occupied | 2 | 37 % | 0.570 m² | Rack B5, Floor Position = B5 | 32 | 46 | 32 | 18 | 46 | 18
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Free | 2 | 51 % | 1.065 m²
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Occupied | 5 | 49 % | 1.006 m² | ODF C08, Floor Position = C8 | 19 | 41 | 19 | 11 | 30 | 11
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Occupied | 5 | 49 % | 1.006 m² | Rack C6, Floor Position = C6 | 16 | 47 | 16 | 8 | 47 | 8
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Occupied | 5 | 49 % | 1.006 m² | Rack C5, Floor Position = C5 | 36 | 47 | 36 | 36 | 47 | 36
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Occupied | 5 | 49 % | 1.006 m² | Rack C3, Floor Position = C3 | 44 | 47 | 44 | 44 | 47 | 44
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Occupied | 5 | 49 % | 1.006 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room GRSTB1 on Floor Ground Floor in Site GLENROTHES EAM | 4403.00 W | 5025.00 W | 88 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²