## Suite Line Capacity
Report generated for: | Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 2/36 | 22 % | 7.958 m²
Total occupied sections: | 34/36 | 78 % | 27.570 m²
Total reserved sections: | 0/36 | 0 % | 0.000 m²
Total Lines Capability |  |  | 35.528 m²
Total Location Capability |  |  | 125.736 m²
Total Location Free Area |  |  | 97.806 m²
Total Location Occupied Area |  |  | 27.930 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Free | 0 | 34 % | 5.620 m²
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A1, Floor Position = A1 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A3, Floor Position = A3 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A2, Floor Position = A2 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A11, Floor Position = A11 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A9, Floor Position = A9 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A10, Floor Position = A10 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A8, Floor Position = A8 | 33 | 47 | 33 | 25 | 47 | 25
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A4, Floor Position = A4 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | Rack A5, Floor Position = A5 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Occupied | 12 | 66 % | 10.830 m² | ODF A17, Floor Position = A17 | 9 | 46 | 9 | 4 | 46 | 4
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | A | 12 | Reserved | 0 | 0 % | 0.000 m²
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Free | 0 | 10 % | 1.801 m²
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B8, Floor Position = B8 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B10, Floor Position = B10 | 27 | 33 | 15 | 20 | 24 | 5
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B11, Floor Position = B11 | 12 | 28 | 6 | 4 | 11 | 2
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B12, Floor Position = B12 | 12 | 42 | 9 | 10 | 33 | 8
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B13, Floor Position = B13 | 43 | 47 | 43 | 43 | 47 | 43
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B9, Floor Position = B9 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B01, Floor Position = B01 | 5 | 47 | 5 | 3 | 47 | 3
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B17, Floor Position = B17 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B15, Floor Position = B15 | 15 | 24 | 7 | 7 | 10 | 4
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B16, Floor Position = B16 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B18, Floor Position = B18 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B14, Floor Position = B14 | 43 | 47 | 43 | 43 | 47 | 43
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B19, Floor Position = B19 | 47 | 47 | 47 | 47 | 47 | 47
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Occupied | 20 | 90 % | 16.200 m² | Rack B20, Floor Position = B20 | 5 | 47 | 5 | 5 | 47 | 5
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | B | 20 | Reserved | 0 | 0 % | 0.000 m²
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | C | 4 | Free | 2 | 50 % | 0.537 m²
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | C | 4 | Occupied | 2 | 50 % | 0.540 m² | ODF C2, Floor Position = C2 | 46 | 46 | 46 | 46 | 46 | 46
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | C | 4 | Occupied | 2 | 50 % | 0.540 m² | ODF C1, Floor Position = C1 | 46 | 46 | 46 | 46 | 46 | 46
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | C | 4 | Reserved | 0 | 0 % | 0.000 m²
Room HLDA11 on Floor Ground Floor in Site CYRUSONE DATA CENTRE | 26081.00 W | 48750.00 W | 53 % | [6 empty] | Rack HLDA11;DC SYS01, Floor Position = Temp Mig | 18 | 45 | 18 | 17 | 24 | 17