## Suite Line Capacity
Report generated for: | Room HLWN02 on Floor Ground Floor in Site HARLOW DN2
| Quantity | % of all area | Area
Total free sections: | 41/90 | 52 % | 12.065 m²
Total occupied sections: | 49/90 | 48 % | 10.967 m²
Total reserved sections: | 0/90 | 0 % | 0.000 m²
Total Lines Capability |  |  | 23.032 m²
Total Location Capability |  |  | 101.995 m²
Total Location Free Area |  |  | 90.668 m²
Total Location Occupied Area |  |  | 11.327 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Free | 1 | 22 % | 0.362 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Occupied | 6 | 78 % | 1.258 m² | ODF A1, Floor Position = A01 | 27 | 44 | 27 | 15 | 44 | 15
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Occupied | 6 | 78 % | 1.258 m² | ODF CODF A02, Floor Position = A02 | 21 | 47 | 21 | 12 | 47 | 12
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Occupied | 6 | 78 % | 1.258 m² | Rack A6, Floor Position = A06 | 32 | 34 | 23 | 21 | 21 | 21
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Occupied | 6 | 78 % | 1.258 m² | Rack AB05, Floor Position = B05 | 38 | 15 | 11 | 33 | 7 | 3
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Occupied | 6 | 78 % | 1.258 m² | Rack A7, Floor Position = A07 | 39 | 42 | 39 | 39 | 42 | 39
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Occupied | 6 | 78 % | 1.258 m² | Rack A8, Floor Position = A8 | 42 | 42 | 42 | 42 | 42 | 42
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Free | 1 | 44 % | 1.187 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Occupied | 6 | 56 % | 1.511 m² | ODF B1, Floor Position = B01 | 41 | 44 | 41 | 41 | 44 | 41
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Occupied | 6 | 56 % | 1.511 m² | Rack A6, Floor Position = A06 | 32 | 34 | 23 | 21 | 21 | 21
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Occupied | 6 | 56 % | 1.511 m² | Rack AB04, Floor Position = B04 | 30 | 35 | 30 | 29 | 35 | 29
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Occupied | 6 | 56 % | 1.511 m² | Rack AB05, Floor Position = B05 | 38 | 15 | 11 | 33 | 7 | 3
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Occupied | 6 | 56 % | 1.511 m² | Rack B7, Floor Position = B07 | 39 | 42 | 39 | 39 | 42 | 39
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Occupied | 6 | 56 % | 1.511 m² | Rack A8, Floor Position = A8 | 42 | 42 | 42 | 42 | 42 | 42
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | C | 7 | Free | 6 | 83 % | 1.309 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | C | 7 | Occupied | 1 | 17 % | 0.266 m² | Rack C1, Floor Position = C01 | 47 | 47 | 47 | 47 | 47 | 47
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | D | 6 | Free | 4 | 83 % | 1.610 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | D | 6 | Occupied | 2 | 17 % | 0.333 m² | Rack D8, Floor Position = D08 | 47 | 47 | 47 | 47 | 47 | 47
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Free | 1 | 11 % | 0.180 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | ODF E2, Floor Position = E02 | 34 | 44 | 34 | 32 | 44 | 32
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | Rack E1, Floor Position = E01 | 5 | 47 | 5 | 5 | 47 | 5
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | ODF E8, Floor Position = E08 | 44 | 44 | 44 | 44 | 44 | 44
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | Rack E7, Floor Position = E07 | 41 | 44 | 41 | 41 | 44 | 41
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | Rack E4, Floor Position = E04 | 41 | 44 | 41 | 41 | 44 | 41
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | Rack E5, Floor Position = E05 | 43 | 46 | 43 | 43 | 46 | 43
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Occupied | 7 | 89 % | 1.440 m² | Rack E3, Floor Position = E03 | 41 | 44 | 41 | 41 | 44 | 41
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | E | 8 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Free | 2 | 31 % | 0.495 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Occupied | 5 | 69 % | 1.125 m² | Rack F3, Floor Position = F03 | 41 | 44 | 41 | 41 | 44 | 41
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Occupied | 5 | 69 % | 1.125 m² | Rack F5, Floor Position = F05 | 44 | 47 | 44 | 44 | 47 | 44
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Occupied | 5 | 69 % | 1.125 m² | ODF F7, Floor Position = F07 | 39 | 44 | 39 | 37 | 44 | 37
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Occupied | 5 | 69 % | 1.125 m² | ODF F2, Floor Position = F02 | 37 | 44 | 37 | 27 | 44 | 27
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Occupied | 5 | 69 % | 1.125 m² | Rack E1, Floor Position = E01 | 5 | 47 | 5 | 5 | 47 | 5
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | F | 7 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Free | 0 | 24 % | 0.480 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | ODF G06, Floor Position = G06 | 44 | 46 | 44 | 23 | 46 | 23
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | Rack G08, Floor Position = G08 | 33 | 45 | 33 | 24 | 45 | 24
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | ODF G05, Floor Position = G05 | 44 | 46 | 44 | 23 | 46 | 23
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | Rack G4, Floor Position = G04 | 24 | 44 | 24 | 22 | 44 | 22
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | Rack G3, Floor Position = G03 | 43 | 46 | 43 | 43 | 46 | 43
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | Rack G2, Floor Position = G02 | 43 | 46 | 43 | 43 | 46 | 43
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Occupied | 7 | 76 % | 1.560 m² | Rack G1, Floor Position = G01 | 43 | 46 | 43 | 43 | 46 | 43
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | G | 7 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Free | 0 | 21 % | 0.420 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H8, Floor Position = H08 | 34 | 45 | 34 | 33 | 45 | 33
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H07, Floor Position = H07 | 43 | 46 | 43 | 40 | 46 | 40
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H3, Floor Position = H03 | 44 | 47 | 44 | 44 | 47 | 44
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H5, Floor Position = H05 | 11 | 44 | 11 | 9 | 44 | 9
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H6, Floor Position = H06 | 12 | 44 | 12 | 5 | 44 | 5
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H2, Floor Position = H02 | 44 | 47 | 44 | 44 | 47 | 44
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Occupied | 7 | 79 % | 1.620 m² | Rack H1, Floor Position = H01 | 43 | 46 | 43 | 43 | 46 | 43
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | H | 7 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | J | 9 | Free | 7 | 75 % | 1.425 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | J | 9 | Occupied | 2 | 25 % | 0.465 m² | Rack J02, Floor Position = J02 | 19 | 47 | 19 | 12 | 47 | 12
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | J | 9 | Occupied | 2 | 25 % | 0.465 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | J | 9 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | K | 9 | Free | 8 | 89 % | 1.680 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | K | 9 | Occupied | 1 | 11 % | 0.210 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | K | 9 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | L | 8 | Free | 5 | 70 % | 1.431 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | L | 8 | Occupied | 3 | 30 % | 0.617 m² | Rack L03, Floor Position = L3 | 34 | 47 | 34 | 25 | 47 | 25
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | L | 8 | Occupied | 3 | 30 % | 0.617 m² | Rack LM02, Floor Position = L2 | 18 | 47 | 18 | 11 | 47 | 11
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | L | 8 | Occupied | 3 | 30 % | 0.617 m² | Rack LM01, Floor Position = L1 | 2 | 45 | 2 | 1 | 45 | 1
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | L | 8 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | M | 8 | Free | 6 | 73 % | 1.486 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | M | 8 | Occupied | 2 | 27 % | 0.562 m² | Rack LM01, Floor Position = L1 | 2 | 45 | 2 | 1 | 45 | 1
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | M | 8 | Occupied | 2 | 27 % | 0.562 m² | Rack LM02, Floor Position = L2 | 18 | 47 | 18 | 11 | 47 | 11
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | M | 8 | Reserved | 0 | 0 % | 0.000 m²
Room HLWN02 on Floor Ground Floor in Site HARLOW DN2 | 28129.00 W | 67500.00 W | 42 % | [6 empty] | Rack HLWN02;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15