## Suite Line Capacity
Report generated for: | Room IGNN01 on Floor Ground Floor in Site ISLINGTON
| Quantity | % of all area | Area
Total free sections: | 231/322 | 77 % | 74.137 m²
Total occupied sections: | 91/322 | 23 % | 22.077 m²
Total reserved sections: | 0/322 | 0 % | 0.000 m²
Total Lines Capability |  |  | 96.215 m²
Total Location Capability |  |  | 351.660 m²
Total Location Free Area |  |  | 329.223 m²
Total Location Occupied Area |  |  | 22.437 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | A | 4 | Free | 1 | 63 % | 1.352 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | A | 4 | Occupied | 3 | 37 % | 0.810 m² | ODF A08, Floor Position = A8 | 22 | 44 | 22 | 21 | 44 | 21
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | A | 4 | Occupied | 3 | 37 % | 0.810 m² | ODF A01, Floor Position = A1 | 34 | 44 | 34 | 32 | 44 | 32
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | A | 4 | Occupied | 3 | 37 % | 0.810 m² | ODF CODF A02, Floor Position = A2 | 16 | 47 | 16 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | B | 4 | Free | 1 | 63 % | 1.350 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | B | 4 | Occupied | 3 | 37 % | 0.810 m² | ODF B8, Floor Position = B8 | 44 | 44 | 44 | 44 | 44 | 44
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | B | 4 | Occupied | 3 | 37 % | 0.810 m² | ODF B01, Floor Position = B1 | 34 | 44 | 34 | 33 | 44 | 33
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | B | 4 | Occupied | 3 | 37 % | 0.810 m² | ODF B02, Floor Position = B2 | 45 | 47 | 45 | 30 | 47 | 30
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Free | 6 | 41 % | 1.712 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C22, Floor Position = C22 | 19 | 40 | 18 | 18 | 23 | 13
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C23, Floor Position = C23 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C21, Floor Position = C21 | 41 | 44 | 41 | 41 | 44 | 41
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C14, Floor Position = C14 | 42 | 42 | 42 | 42 | 42 | 42
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack CD17, Floor Position = C17 | 22 | 28 | 21 | 14 | 22 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack CD13, Floor Position = C13 | 24 | 41 | 24 | 15 | 25 | 15
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | ODF C10, Floor Position = C10 | 28 | 46 | 28 | 25 | 46 | 25
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C8, Floor Position = C8 | 19 | 44 | 19 | 9 | 44 | 9
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C3, Floor Position = C3 | 41 | 46 | 41 | 41 | 46 | 41
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C6, Floor Position = C6 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C5, Floor Position = C5 | 41 | 46 | 41 | 41 | 46 | 41
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Occupied | 12 | 59 % | 2.475 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | C | 18 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Free | 4 | 38 % | 2.133 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack C22, Floor Position = C22 | 19 | 40 | 18 | 18 | 23 | 13
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack C23, Floor Position = C23 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D18, Floor Position = D18 | 23 | 47 | 23 | 14 | 47 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D15, Floor Position = D15 | 1 | 43 | 1 | 1 | 43 | 1
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack C14, Floor Position = C14 | 42 | 42 | 42 | 42 | 42 | 42
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack CD17, Floor Position = C17 | 22 | 28 | 21 | 14 | 22 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | ODF D10, Floor Position = D10 | 44 | 46 | 44 | 23 | 46 | 23
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D12, Floor Position = D12 | 34 | 45 | 34 | 23 | 45 | 23
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack CD13, Floor Position = C13 | 24 | 41 | 24 | 15 | 25 | 15
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D09, Floor Position = D9 | 22 | 44 | 22 | 14 | 44 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D08, Floor Position = D8 | 20 | 44 | 20 | 15 | 44 | 15
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D4, Floor Position = D4 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D5, Floor Position = D5 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D7, Floor Position = D7 | 20 | 46 | 20 | 10 | 46 | 10
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack D3, Floor Position = D3 | 40 | 46 | 40 | 38 | 46 | 38
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Occupied | 15 | 62 % | 3.445 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | D | 19 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Free | 10 | 50 % | 1.799 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E20, Floor Position = E20 | 46 | 46 | 46 | 46 | 46 | 46
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E19, Floor Position = E19 | 42 | 46 | 42 | 42 | 46 | 42
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E14, Floor Position = E14 | 44 | 46 | 44 | 44 | 46 | 44
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E12, Floor Position = E12 | 32 | 26 | 15 | 12 | 13 | 4
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E11, Floor Position = E11 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E13, Floor Position = E13 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E18, Floor Position = E18 | 43 | 46 | 43 | 39 | 46 | 39
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E16, Floor Position = E16 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E15, Floor Position = E15 | 38 | 46 | 38 | 35 | 46 | 35
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Occupied | 10 | 50 % | 1.799 m² | Rack E17, Floor Position = E17 | 43 | 46 | 43 | 39 | 46 | 39
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | E | 20 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Free | 10 | 50 % | 1.802 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack E20, Floor Position = E20 | 46 | 46 | 46 | 46 | 46 | 46
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack E19, Floor Position = E19 | 42 | 46 | 42 | 42 | 46 | 42
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack F14, Floor Position = F14 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack E12, Floor Position = E12 | 32 | 26 | 15 | 12 | 13 | 4
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack E11, Floor Position = E11 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack F13, Floor Position = F13 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack F18, Floor Position = F18 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack F16, Floor Position = F16 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Occupied | 9 | 50 % | 1.800 m² | Rack F15, Floor Position = F15 | 43 | 46 | 43 | 43 | 46 | 43
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | F | 19 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Free | 1 | 16 % | 0.857 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G20, Floor Position = G20 | 40 | 28 | 26 | 31 | 19 | 9
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G3, Floor Position = G3 | 17 | 30 | 11 | 16 | 24 | 7
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G2, Floor Position = G2 | 19 | 30 | 12 | 18 | 24 | 7
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G1, Floor Position = G1 | 5 | 47 | 5 | 5 | 47 | 5
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G6, Floor Position = G6 | 24 | 38 | 23 | 24 | 38 | 23
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G5, Floor Position = G5 | 24 | 36 | 19 | 24 | 28 | 13
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G7, Floor Position = G7 | 24 | 37 | 20 | 24 | 24 | 11
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack GH17, Floor Position = G17 | 20 | 32 | 15 | 15 | 16 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G16, Floor Position = G16 | 18 | 40 | 18 | 14 | 40 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G/H15, Floor Position = G15 | 27 | 37 | 23 | 19 | 23 | 17
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G19, Floor Position = G19 | 38 | 33 | 32 | 23 | 18 | 18
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G8, Floor Position = G8 | 24 | 37 | 20 | 24 | 24 | 11
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G/H09, Floor Position = G9 | 22 | 41 | 16 | 12 | 18 | 12
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G12, Floor Position = G12 | 18 | 40 | 18 | 14 | 40 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Occupied | 15 | 84 % | 4.543 m² | Rack G/H11, Floor Position = G11 | 29 | 37 | 26 | 24 | 22 | 22
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | G | 16 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Free | 2 | 35 % | 1.903 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G20, Floor Position = G20 | 40 | 28 | 26 | 31 | 19 | 9
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G3, Floor Position = G3 | 17 | 30 | 11 | 16 | 24 | 7
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G2, Floor Position = G2 | 19 | 30 | 12 | 18 | 24 | 7
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G6, Floor Position = G6 | 24 | 38 | 23 | 24 | 38 | 23
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G5, Floor Position = G5 | 24 | 36 | 19 | 24 | 28 | 13
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G7, Floor Position = G7 | 24 | 37 | 20 | 24 | 24 | 11
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack GH17, Floor Position = G17 | 20 | 32 | 15 | 15 | 16 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G16, Floor Position = G16 | 18 | 40 | 18 | 14 | 40 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G/H15, Floor Position = G15 | 27 | 37 | 23 | 19 | 23 | 17
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G19, Floor Position = G19 | 38 | 33 | 32 | 23 | 18 | 18
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G8, Floor Position = G8 | 24 | 37 | 20 | 24 | 24 | 11
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G/H09, Floor Position = G9 | 22 | 41 | 16 | 12 | 18 | 12
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G12, Floor Position = G12 | 18 | 40 | 18 | 14 | 40 | 14
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Occupied | 14 | 65 % | 3.497 m² | Rack G/H11, Floor Position = G11 | 29 | 37 | 26 | 24 | 22 | 22
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | H | 16 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | J | 14 | Free | 10 | 75 % | 3.460 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | J | 14 | Occupied | 4 | 25 % | 1.180 m² | Rack JK14, Floor Position = J14 | 6 | 40 | 4 | 4 | 40 | 2
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | J | 14 | Occupied | 4 | 25 % | 1.180 m² | Rack J1, Floor Position = J1 | 47 | 47 | 47 | 47 | 47 | 47
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | J | 14 | Occupied | 4 | 25 % | 1.180 m² | Rack J2, Floor Position = J2 | 47 | 47 | 47 | 47 | 47 | 47
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | J | 14 | Occupied | 4 | 25 % | 1.180 m² | Rack JK13, Floor Position = J13 | 37 | 31 | 30 | 32 | 31 | 30
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | J | 14 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | K | 14 | Free | 12 | 86 % | 4.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | K | 14 | Occupied | 2 | 14 % | 0.640 m² | Rack JK14, Floor Position = J14 | 6 | 40 | 4 | 4 | 40 | 2
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | K | 14 | Occupied | 2 | 14 % | 0.640 m² | Rack JK13, Floor Position = J13 | 37 | 31 | 30 | 32 | 31 | 30
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | K | 14 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | L | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | L | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | L | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | M | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | M | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | M | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | N | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | N | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | N | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | P | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | P | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | P | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | Q | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | Q | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | Q | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | R | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | R | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | R | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | S | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | S | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | S | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | T | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | T | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | T | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | U | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | U | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | U | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | V | 15 | Free | 15 | 100 % | 4.800 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | V | 15 | Occupied | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | V | 15 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | W | 14 | Free | 12 | 84 % | 2.890 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | W | 14 | Occupied | 2 | 16 % | 0.540 m² | ODF W01, Floor Position = W1 | 29 | 44 | 29 | 17 | 44 | 17
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | W | 14 | Occupied | 2 | 16 % | 0.540 m² | ODF W16, Floor Position = W16 | 37 | 44 | 37 | 34 | 44 | 34
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | W | 14 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | X | 14 | Free | 12 | 84 % | 2.880 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | X | 14 | Occupied | 2 | 16 % | 0.540 m² | ODF X1, Floor Position = X1 | 44 | 44 | 44 | 44 | 44 | 44
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | X | 14 | Occupied | 2 | 16 % | 0.540 m² | ODF X16, Floor Position = X16 | 44 | 44 | 44 | 44 | 44 | 44
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | X | 14 | Reserved | 0 | 0 % | 0.000 m²
Room IGNN01 on Floor Ground Floor in Site ISLINGTON | 103661.00 W | 73500.00 W | 141 % | [6 empty] | Rack IGNN01;DC SYS01, Floor Position = Temp Mig | 10 | 46 | 10 | 9 | 25 | 9