## Suite Line Capacity
Report generated for: | Room INVN41 on Floor Ground Floor in Site INVERNESS
| Quantity | % of all area | Area
Total free sections: | 42/62 | 67 % | 10.067 m²
Total occupied sections: | 20/62 | 33 % | 4.932 m²
Total reserved sections: | 0/62 | 0 % | 0.000 m²
Total Lines Capability |  |  | 15.000 m²
Total Location Capability |  |  | 79.284 m²
Total Location Free Area |  |  | 73.991 m²
Total Location Occupied Area |  |  | 5.292 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | A | 7 | Free | 6 | 82 % | 1.208 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | A | 7 | Occupied | 1 | 18 % | 0.263 m² | Rack A03, Floor Position = A3 | 33 | 45 | 33 | 24 | 45 | 24
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | B | 7 | Free | 7 | 100 % | 1.470 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | B | 7 | Occupied | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Free | 1 | 30 % | 0.510 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Occupied | 5 | 70 % | 1.170 m² | Rack C02, Floor Position = C2 | 18 | 44 | 18 | 15 | 44 | 15
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Occupied | 5 | 70 % | 1.170 m² | Rack C1, Floor Position = C1 | 0 | 42 | 0 | 0 | 42 | 0
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Occupied | 5 | 70 % | 1.170 m² | Rack C03, Floor Position = C3 | 3 | 47 | 3 | 2 | 47 | 2
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Occupied | 5 | 70 % | 1.170 m² | Rack C05, Floor Position = C5 | 12 | 47 | 12 | 3 | 47 | 3
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Occupied | 5 | 70 % | 1.170 m² | ODF C06, Floor Position = C6 | 34 | 46 | 34 | 23 | 46 | 23
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Free | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack D04, Floor Position = D04 | 18 | 42 | 18 | 17 | 42 | 17
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack D02, Floor Position = D2 | 7 | 43 | 7 | 2 | 43 | 2
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack C1, Floor Position = C1 | 0 | 42 | 0 | 0 | 42 | 0
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack D03, Floor Position = D3 | 40 | 46 | 40 | 18 | 46 | 18
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Occupied | 6 | 100 % | 1.260 m² | ODF CODF D05, Floor Position = D5 | 39 | 45 | 39 | 31 | 45 | 31
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Occupied | 6 | 100 % | 1.260 m² | ODF D06, Floor Position = D6 | 40 | 45 | 40 | 23 | 45 | 23
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | E | 6 | Free | 2 | 46 % | 1.100 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | E | 6 | Occupied | 4 | 54 % | 1.300 m² | Rack E1, Floor Position = E1 | 34 | 47 | 34 | 25 | 47 | 25
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | E | 6 | Occupied | 4 | 54 % | 1.300 m² | Rack E03, Floor Position = E3 | 35 | 47 | 35 | 30 | 47 | 30
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | E | 6 | Occupied | 4 | 54 % | 1.300 m² | Rack E02, Floor Position = E2 | 13 | 47 | 13 | 12 | 47 | 12
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | E | 6 | Occupied | 4 | 54 % | 1.300 m² | Rack EF04, Floor Position = E4 | 1 | 42 | 1 | 1 | 42 | 1
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | F | 6 | Free | 2 | 61 % | 1.460 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | F | 6 | Occupied | 4 | 39 % | 0.940 m² | Rack E1, Floor Position = E1 | 34 | 47 | 34 | 25 | 47 | 25
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | F | 6 | Occupied | 4 | 39 % | 0.940 m² | Rack E02, Floor Position = E2 | 13 | 47 | 13 | 12 | 47 | 12
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | F | 6 | Occupied | 4 | 39 % | 0.940 m² | Rack E03, Floor Position = E3 | 35 | 47 | 35 | 30 | 47 | 30
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | F | 6 | Occupied | 4 | 39 % | 0.940 m² | Rack EF04, Floor Position = E4 | 1 | 42 | 1 | 1 | 42 | 1
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | F | 6 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | G | 8 | Free | 8 | 100 % | 1.440 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | G | 8 | Occupied | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | G | 8 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | H | 8 | Free | 8 | 100 % | 1.440 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | H | 8 | Occupied | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | H | 8 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | J | 8 | Free | 8 | 100 % | 1.440 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | J | 8 | Occupied | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room INVN41 on Floor Ground Floor in Site INVERNESS | 32526.00 W | 11250.00 W | 289 % | [6 empty] | Rack INVN41;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18