## Suite Line Capacity
Report generated for: | Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01
| Quantity | % of all area | Area
Total free sections: | 26/110 | 34 % | 8.932 m²
Total occupied sections: | 84/110 | 66 % | 17.176 m²
Total reserved sections: | 0/110 | 0 % | 0.000 m²
Total Lines Capability |  |  | 26.108 m²
Total Location Capability |  |  | 125.773 m²
Total Location Free Area |  |  | 105.837 m²
Total Location Occupied Area |  |  | 19.936 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | A | 5 | Free | 2 | 68 % | 1.630 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | A | 5 | Occupied | 3 | 32 % | 0.780 m² | Rack A16, Floor Position = A16 | 24 | 37 | 24 | 24 | 37 | 24
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | A | 5 | Occupied | 3 | 32 % | 0.780 m² | Rack A12, Floor Position = A12 | 45 | 45 | 45 | 45 | 45 | 45
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | A | 5 | Occupied | 3 | 32 % | 0.780 m² | Rack A8, Floor Position = A08 | 45 | 45 | 45 | 45 | 45 | 45
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | A | 5 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Free | 1 | 7 % | 0.180 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B13, Floor Position = B13 | 44 | 46 | 44 | 44 | 46 | 44
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B9, Floor Position = B9 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B11, Floor Position = B11 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B12, Floor Position = B12 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B10, Floor Position = B10 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B7, Floor Position = B7 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B8, Floor Position = B8 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B6, Floor Position = B6 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B4, Floor Position = B4 | 0 | 42 | 0 | 0 | 42 | 0
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B5, Floor Position = B5 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B2, Floor Position = B2 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B3, Floor Position = B3 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Occupied | 13 | 93 % | 2.340 m² | Rack B1, Floor Position = B1 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | B | 14 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Free | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C13, Floor Position = C13 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C14, Floor Position = C14 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C9, Floor Position = C9 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C11, Floor Position = C11 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C12, Floor Position = C12 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C10, Floor Position = C10 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C7, Floor Position = C7 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C8, Floor Position = C8 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C6, Floor Position = C6 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack B4, Floor Position = B4 | 0 | 42 | 0 | 0 | 42 | 0
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C5, Floor Position = C5 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C2, Floor Position = C2 | 44 | 46 | 44 | 44 | 46 | 44
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | Rack C3, Floor Position = C3 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Occupied | 14 | 100 % | 2.520 m² | ODF C01, Floor Position = C1 | 37 | 46 | 37 | 25 | 46 | 25
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | C | 14 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Free | 0 | 14 % | 0.360 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D11, Floor Position = D11 | 47 | 47 | 47 | 47 | 47 | 47
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D08, Floor Position = D8 | 1 | 42 | 1 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D09, Floor Position = D9 | 7 | 42 | 7 | 4 | 42 | 4
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D10, Floor Position = D10 | 5 | 42 | 5 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D07, Floor Position = D7 | 1 | 42 | 1 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D06, Floor Position = D6 | 1 | 42 | 1 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D02, Floor Position = D2 | 44 | 46 | 44 | 30 | 46 | 30
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | ODF D04, Floor Position = D4 | 44 | 46 | 44 | 30 | 46 | 30
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Occupied | 9 | 86 % | 2.160 m² | Rack D1, Floor Position = D1 | 44 | 46 | 44 | 44 | 46 | 44
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Free | 0 | 7 % | 0.180 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | ODF E11, Floor Position = E11 | 47 | 47 | 47 | 47 | 47 | 47
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | ODF D08, Floor Position = D8 | 1 | 42 | 1 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | ODF D09, Floor Position = D9 | 7 | 42 | 7 | 4 | 42 | 4
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | ODF D10, Floor Position = D10 | 5 | 42 | 5 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | ODF D07, Floor Position = D7 | 1 | 42 | 1 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | ODF D06, Floor Position = D6 | 1 | 42 | 1 | 1 | 42 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | Rack E4, Floor Position = E4 | 0 | 42 | 0 | 0 | 42 | 0
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | Rack E2, Floor Position = E2 | 44 | 46 | 44 | 44 | 46 | 44
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | Rack E3, Floor Position = E3 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Occupied | 10 | 93 % | 2.340 m² | Rack E1, Floor Position = E1 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Free | 0 | 22 % | 0.630 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F9, Floor Position = F9 | 33 | 48 | 33 | 32 | 48 | 32
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F12, Floor Position = F12 | 21 | 47 | 21 | 9 | 47 | 9
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | ODF CODF F10, Floor Position = F10 | 3 | 47 | 3 | 2 | 47 | 2
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F7, Floor Position = F7 | 17 | 34 | 14 | 9 | 13 | 9
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F08, Floor Position = F8 | 22 | 46 | 22 | 5 | 46 | 5
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F6, Floor Position = F6 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F4, Floor Position = F4 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F5, Floor Position = F5 | 42 | 46 | 42 | 42 | 46 | 42
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F2, Floor Position = F2 | 42 | 46 | 42 | 42 | 46 | 42
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F3, Floor Position = F3 | 43 | 46 | 43 | 43 | 46 | 43
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Occupied | 11 | 78 % | 2.250 m² | Rack F1, Floor Position = F1 | 42 | 46 | 42 | 42 | 46 | 42
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Free | 2 | 40 % | 1.140 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack F9, Floor Position = F9 | 33 | 48 | 33 | 32 | 48 | 32
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G11, Floor Position = G11 | 29 | 46 | 29 | 21 | 46 | 21
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack F7, Floor Position = F7 | 17 | 34 | 14 | 9 | 13 | 9
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G6, Floor Position = G6 | 21 | 44 | 21 | 14 | 44 | 14
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G4, Floor Position = G4 | 0 | 42 | 0 | 0 | 42 | 0
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G05, Floor Position = G5 | 8 | 44 | 8 | 4 | 44 | 4
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G2, Floor Position = G2 | 8 | 44 | 8 | 2 | 44 | 2
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G3, Floor Position = G3 | 21 | 44 | 21 | 17 | 44 | 17
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Occupied | 9 | 60 % | 1.740 m² | Rack G01, Floor Position = G1 | 6 | 44 | 6 | 1 | 44 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | H | 7 | Free | 4 | 55 % | 1.100 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | H | 7 | Occupied | 3 | 45 % | 0.900 m² | Rack H/J07, Floor Position = H7 | 9 | 47 | 9 | 5 | 47 | 5
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | H | 7 | Occupied | 3 | 45 % | 0.900 m² | Rack H2, Floor Position = H2 | 44 | 48 | 44 | 44 | 48 | 44
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | H | 7 | Occupied | 3 | 45 % | 0.900 m² | Rack HJ01, Floor Position = H1 | 30 | 44 | 30 | 23 | 44 | 23
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | H | 7 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | J | 7 | Free | 5 | 76 % | 1.140 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | J | 7 | Occupied | 2 | 24 % | 0.360 m² | Rack J4, Floor Position = J4 | 0 | 42 | 0 | 0 | 42 | 0
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | J | 7 | Occupied | 2 | 24 % | 0.360 m² | Rack HJ01, Floor Position = H1 | 30 | 44 | 30 | 23 | 44 | 23
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | J | 7 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | K | 7 | Free | 7 | 100 % | 1.278 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | K | 7 | Occupied | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | K | 7 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | L | 7 | Free | 3 | 44 % | 0.569 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | L | 7 | Occupied | 4 | 56 % | 0.710 m² | Rack L06, Floor Position = L6 | 1 | 45 | 1 | 1 | 45 | 1
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | L | 7 | Occupied | 4 | 56 % | 0.710 m² | Rack L05, Floor Position = L5 | 2 | 45 | 2 | 2 | 45 | 2
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | L | 7 | Occupied | 4 | 56 % | 0.710 m² | Rack L02, Floor Position = L2 | 2 | 45 | 2 | 2 | 45 | 2
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | L | 7 | Occupied | 4 | 56 % | 0.710 m² | Rack L01, Floor Position = L1 | 2 | 45 | 2 | 2 | 45 | 2
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | L | 7 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | M | 3 | Free | 1 | 50 % | 0.360 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | M | 3 | Occupied | 2 | 50 % | 0.360 m² | Rack M/N04, Floor Position = M4 | 26 | 44 | 25 | 14 | 44 | 14
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | M | 3 | Occupied | 2 | 50 % | 0.360 m² | Rack MN01, Floor Position = M1 | 15 | 41 | 13 | 5 | 41 | 3
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | M | 3 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | N | 3 | Free | 1 | 50 % | 0.360 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | N | 3 | Occupied | 2 | 50 % | 0.360 m² | Rack M/N04, Floor Position = M4 | 26 | 44 | 25 | 14 | 44 | 14
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | N | 3 | Occupied | 2 | 50 % | 0.360 m² | Rack MN01, Floor Position = M1 | 15 | 41 | 13 | 5 | 41 | 3
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | N | 3 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | R | 2 | Free | 0 | 1 % | 0.004 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | R | 2 | Occupied | 2 | 99 % | 0.356 m² | Rack R02, Floor Position = R02 | 0 | 45 | 0 | 0 | 45 | 0
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | R | 2 | Occupied | 2 | 99 % | 0.356 m² | Rack R01, Floor Position = R01 | 4 | 45 | 4 | 4 | 45 | 4
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | R | 2 | Reserved | 0 | 0 % | 0.000 m²
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | [6 empty] | Rack H/J05, Floor Position = H5 | 6 | 33 | 5 | 4 | 33 | 3
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | [6 empty] | Rack HJ08, Floor Position = H8 | 20 | 29 | 14 | 5 | 10 | 4
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | [6 empty] | Rack IODN01;DC SYS01, Floor Position = Temp Mig | 17 | 46 | 17 | 16 | 25 | 16
Room IODN01 on Floor Ground Floor in Site ISLE OF DOGS N01 | 60466.00 W | 150000.00 W | 40 % | [6 empty] | Rack MN02, Floor Position = M2 | 20 | 32 | 18 | 8 | 19 | 7