## Suite Line Capacity
Report generated for: | Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE
| Quantity | % of all area | Area
Total free sections: | 13/166 | 27 % | 13.072 m²
Total occupied sections: | 152/166 | 73 % | 35.820 m²
Total reserved sections: | 1/166 | 0 % | 0.008 m²
Total Lines Capability |  |  | 48.900 m²
Total Location Capability |  |  | 300.016 m²
Total Location Free Area |  |  | 259.196 m²
Total Location Occupied Area |  |  | 40.820 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Free | 3 | 17 % | 1.440 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A4, Floor Position = A4 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A5, Floor Position = A5 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A8, Floor Position = A8 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A2, Floor Position = A2 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A1, Floor Position = A1 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A3, Floor Position = A3 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A28, Floor Position = A28 | 35 | 46 | 35 | 23 | 46 | 23
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A26, Floor Position = A26 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A27, Floor Position = A27 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A29, Floor Position = A29 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A30, Floor Position = A30 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A31, Floor Position = A31 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | ODF A18, Floor Position = A18 | 0 | 47 | 0 | 0 | 47 | 0
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A19, Floor Position = A19 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A20, Floor Position = A20 | 41 | 44 | 41 | 41 | 44 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A21, Floor Position = A21 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A22, Floor Position = A22 | 41 | 44 | 41 | 41 | 44 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A23, Floor Position = A23 | 45 | 47 | 45 | 45 | 47 | 45
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A24, Floor Position = A24 | 44 | 46 | 44 | 44 | 46 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A14, Floor Position = A14 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A15, Floor Position = A15 | 5 | 46 | 5 | 3 | 46 | 3
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A16, Floor Position = A16 | 18 | 46 | 18 | 7 | 46 | 7
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A17, Floor Position = A17 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A10, Floor Position = A10 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A9, Floor Position = A9 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A11, Floor Position = A11 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A12, Floor Position = A12 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A13, Floor Position = A13 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A40, Floor Position = A40 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A37, Floor Position = A37 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A38, Floor Position = A38 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A39, Floor Position = A39 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A32, Floor Position = A32 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A33, Floor Position = A33 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A34, Floor Position = A34 | 39 | 46 | 39 | 39 | 46 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A35, Floor Position = A35 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Occupied | 38 | 83 % | 7.065 m² | Rack A36, Floor Position = A36 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | A | 41 | Reserved | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Free | 2 | 15 % | 1.260 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A8, Floor Position = A8 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A28, Floor Position = A28 | 35 | 46 | 35 | 23 | 46 | 23
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A26, Floor Position = A26 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B25, Floor Position = B25 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A27, Floor Position = A27 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A30, Floor Position = A30 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A29, Floor Position = A29 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A31, Floor Position = A31 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | ODF B18, Floor Position = B18 | 0 | 47 | 0 | 0 | 47 | 0
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B20, Floor Position = B20 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B19, Floor Position = B19 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B22, Floor Position = B22 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B21, Floor Position = B21 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B24, Floor Position = B24 | 35 | 44 | 35 | 35 | 44 | 35
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B23, Floor Position = B23 | 35 | 44 | 35 | 35 | 44 | 35
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A15, Floor Position = A15 | 5 | 46 | 5 | 3 | 46 | 3
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A14, Floor Position = A14 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A16, Floor Position = A16 | 18 | 46 | 18 | 7 | 46 | 7
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B17, Floor Position = B17 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A10, Floor Position = A10 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A9, Floor Position = A9 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A12, Floor Position = A12 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A11, Floor Position = A11 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A13, Floor Position = A13 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A38, Floor Position = A38 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A37, Floor Position = A37 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A39, Floor Position = A39 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack B39a, Floor Position = B39a | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A32, Floor Position = A32 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A34, Floor Position = A34 | 39 | 46 | 39 | 39 | 46 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A33, Floor Position = A33 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A36, Floor Position = A36 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Occupied | 39 | 85 % | 7.245 m² | Rack A35, Floor Position = A35 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | B | 41 | Reserved | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Free | 2 | 24 % | 2.040 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C9, Floor Position = C9 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C20, Floor Position = C20 | 37 | 42 | 37 | 37 | 42 | 37
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C19, Floor Position = C19 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | ODF C017, Floor Position = C17 | 2 | 47 | 2 | 2 | 47 | 2
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | ODF C18, Floor Position = C18 | 0 | 47 | 0 | 0 | 47 | 0
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | ODF C023, Floor Position = C23 | 0 | 47 | 0 | 0 | 47 | 0
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | ODF C23A, Floor Position = C23a | 41 | 47 | 41 | 38 | 47 | 38
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C22, Floor Position = C22 | 43 | 47 | 43 | 43 | 47 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C13, Floor Position = C13 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C12, Floor Position = C12 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C11, Floor Position = C11 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C10, Floor Position = C10 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C15, Floor Position = C15 | 46 | 46 | 46 | 46 | 46 | 46
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C16, Floor Position = C16 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C14, Floor Position = C14 | 46 | 46 | 46 | 46 | 46 | 46
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C27, Floor Position = C27 | 39 | 42 | 39 | 39 | 42 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C26, Floor Position = C26 | 39 | 42 | 39 | 39 | 42 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C25, Floor Position = C25 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | ODF C24, Floor Position = C24 | 0 | 47 | 0 | 0 | 47 | 0
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C29, Floor Position = C29 | 39 | 42 | 39 | 39 | 42 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Occupied | 27 | 76 % | 6.480 m² | Rack C28, Floor Position = C28 | 4 | 40 | 4 | 2 | 37 | 2
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | C | 29 | Reserved | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Free | 3 | 36 % | 3.097 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D4, Floor Position = D4 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D2, Floor Position = D2 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D3, Floor Position = D3 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D1, Floor Position = D1 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C9, Floor Position = C9 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D5, Floor Position = D5 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D6, Floor Position = D6 | 47 | 47 | 47 | 47 | 47 | 47
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C19, Floor Position = C19 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C20, Floor Position = C20 | 37 | 42 | 37 | 37 | 42 | 37
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | ODF CODF D18, Floor Position = D18 | 17 | 47 | 17 | 11 | 47 | 11
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D24, Floor Position = D24 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C22, Floor Position = C22 | 43 | 47 | 43 | 43 | 47 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C13, Floor Position = C13 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C11, Floor Position = C11 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C12, Floor Position = C12 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C10, Floor Position = C10 | 42 | 46 | 42 | 42 | 46 | 42
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C15, Floor Position = C15 | 46 | 46 | 46 | 46 | 46 | 46
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C14, Floor Position = C14 | 46 | 46 | 46 | 46 | 46 | 46
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack D16, Floor Position = D16 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C26, Floor Position = C26 | 39 | 42 | 39 | 39 | 42 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C27, Floor Position = C27 | 39 | 42 | 39 | 39 | 42 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C28, Floor Position = C28 | 4 | 40 | 4 | 2 | 37 | 2
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Occupied | 23 | 64 % | 5.415 m² | Rack C29, Floor Position = C29 | 39 | 42 | 39 | 39 | 42 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | D | 27 | Reserved | 1 | 0 % | 0.008 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | E | 3 | Free | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | E | 3 | Occupied | 3 | 100 % | 2.160 m² | Rack E2, Floor Position = E2 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | E | 3 | Occupied | 3 | 100 % | 2.160 m² | Rack E1, Floor Position = E1 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | E | 3 | Occupied | 3 | 100 % | 2.160 m² | Rack E3, Floor Position = E3 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | E | 3 | Reserved | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Free | 3 | 39 % | 3.510 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G12, Floor Position = G12 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G13, Floor Position = G13 | 37 | 46 | 37 | 37 | 46 | 37
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G11, Floor Position = G11 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G16, Floor Position = G16 | 37 | 46 | 37 | 37 | 46 | 37
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G17, Floor Position = G17 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G14, Floor Position = G14 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G15, Floor Position = G15 | 44 | 46 | 44 | 44 | 46 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G19, Floor Position = G19 | 44 | 46 | 44 | 44 | 46 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G20, Floor Position = G20 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G22, Floor Position = G22 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G21, Floor Position = G21 | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G18, Floor Position = G18 | 41 | 46 | 41 | 41 | 46 | 41
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G9, Floor Position = G9 | 39 | 46 | 39 | 39 | 46 | 39
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G10, Floor Position = G10 | 43 | 46 | 43 | 43 | 46 | 43
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G8, Floor Position = G8 | 46 | 46 | 46 | 46 | 46 | 46
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G26, Floor Position = G26 | 46 | 46 | 46 | 46 | 46 | 46
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Occupied | 16 | 61 % | 5.490 m² | Rack G27, Floor Position = G27 | 35 | 46 | 35 | 31 | 46 | 31
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | G | 19 | Reserved | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Free | 0 | 47 % | 1.725 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Occupied | 6 | 53 % | 1.965 m² | Rack J05, Floor Position = J5 | 18 | 37 | 17 | 16 | 37 | 15
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Occupied | 6 | 53 % | 1.965 m² | Rack J08, Floor Position = J8 | 10 | 47 | 10 | 3 | 47 | 3
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Occupied | 6 | 53 % | 1.965 m² | Rack J07, Floor Position = J7 | 15 | 47 | 15 | 6 | 47 | 6
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Occupied | 6 | 53 % | 1.965 m² | Rack J10, Floor Position = J10 | 44 | 47 | 44 | 44 | 47 | 44
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Occupied | 6 | 53 % | 1.965 m² | Rack J10a, Floor Position = J10a | 5 | 47 | 5 | 5 | 47 | 5
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Occupied | 6 | 53 % | 1.965 m² | Rack J9, Floor Position = J9 | 17 | 47 | 17 | 14 | 47 | 14
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | J | 6 | Reserved | 0 | 0 % | 0.000 m²
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack A7, Floor Position = A7 | 21 | 33 | 17 | 8 | 12 | 6
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack AB06A, Floor Position = A6a | 30 | 20 | 13 | 10 | 7 | 6
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack CD21, Floor Position = C21 | 3 | 23 | 2 | 1 | 23 | 1
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack CD30, Floor Position = C30 | 13 | 37 | 13 | 4 | 37 | 4
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack IODTA1;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack K27, Floor Position = K27 | 1 | 47 | 1 | 1 | 47 | 1
Room IODTA1 on Floor 1st Floor in Site ANCHORAGE HOUSE | 53327.50 W | 60750.00 W | 88 % | [6 empty] | Rack K34, Floor Position = K34 | 1 | 47 | 1 | 1 | 47 | 1