## Suite Line Capacity
Report generated for: | Room LDMS13 on Floor Ground Floor in Site LEEDS MELBOURNE STREET
| Quantity | % of all area | Area
Total free sections: | 0/0 | 0 % | 0
Total occupied sections: | 0/0 | 0 % | 0
Total reserved sections: | 0/0 | 0 % | 0
Total Lines Capability |  |  | 0.000 m²
Total Location Capability |  |  | 70.000 m²
Total Location Free Area |  |  | 68.590 m²
Total Location Occupied Area |  |  | 1.410 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line |  |  |  |  | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LDMS13 on Floor Ground Floor in Site LEEDS MELBOURNE STREET | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 3/4A, Floor Position = 3A | 45 | 45 | 45 | 27 | 27 | 27
Room LDMS13 on Floor Ground Floor in Site LEEDS MELBOURNE STREET | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 3K, Floor Position = 3K | 19 | 19 | 19 | 10 | 10 | 10
Room LDMS13 on Floor Ground Floor in Site LEEDS MELBOURNE STREET | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 4B, Floor Position = 4B | 41 | 45 | 41 | 33 | 33 | 33
Room LDMS13 on Floor Ground Floor in Site LEEDS MELBOURNE STREET | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 6A, Floor Position = 6A | 10 | 10 | 10 | 7 | 7 | 7
Room LDMS13 on Floor Ground Floor in Site LEEDS MELBOURNE STREET | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF CODF 7B, Floor Position = 7B | 23 | 23 | 23 | 9 | 9 | 9