## Suite Line Capacity
Report generated for: | Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD
| Quantity | % of all area | Area
Total free sections: | 2/43 | 27 % | 7.446 m²
Total occupied sections: | 41/43 | 73 % | 20.415 m²
Total reserved sections: | 0/43 | 0 % | 0.000 m²
Total Lines Capability |  |  | 27.861 m²
Total Location Capability |  |  | 111.351 m²
Total Location Free Area |  |  | 90.936 m²
Total Location Occupied Area |  |  | 20.415 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 1 | 4 | Free | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 1 | 4 | Occupied | 4 | 100 % | 2.600 m² | Rack NRA45, Floor Position = 1B | 26 | 28 | 12 | 11 | 11 | 7
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 1 | 4 | Occupied | 4 | 100 % | 2.600 m² | Rack 1C, Floor Position = 1C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 1 | 4 | Occupied | 4 | 100 % | 2.600 m² | Rack 1D, Floor Position = 1D | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 1 | 4 | Occupied | 4 | 100 % | 2.600 m² | Rack 1A, Floor Position = 1A | 42 | 47 | 42 | 42 | 47 | 42
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 1 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 10 | 1 | Free | 0 | 18 % | 0.060 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 10 | 1 | Occupied | 1 | 82 % | 0.270 m² | ODF CARG3, Floor Position = 10A | 22 | 47 | 22 | 12 | 47 | 12
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 10 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 12 | 1 | Free | 0 | 25 % | 0.060 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 12 | 1 | Occupied | 1 | 75 % | 0.180 m² | Rack 12A, Floor Position = 12A | 5 | 47 | 5 | 5 | 47 | 5
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 12 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 13 | 1 | Free | 0 | 20 % | 0.080 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 13 | 1 | Occupied | 1 | 80 % | 0.320 m² | Rack 13A, Floor Position = 13A | 0 | 47 | 0 | 0 | 47 | 0
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 13 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 14 | 2 | Free | 0 | 54 % | 0.590 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 14 | 2 | Occupied | 2 | 46 % | 0.500 m² | Rack 14A, Floor Position = 14A | 0 | 47 | 0 | 0 | 47 | 0
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 14 | 2 | Occupied | 2 | 46 % | 0.500 m² | Rack 14B, Floor Position = 14B | 5 | 47 | 5 | 5 | 47 | 5
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 14 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Free | 0 | 14 % | 0.420 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Occupied | 5 | 86 % | 2.580 m² | Rack NRA42, Floor Position = 2E | 22 | 46 | 22 | 8 | 46 | 8
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Occupied | 5 | 86 % | 2.580 m² | Rack 2C, Floor Position = 2C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Occupied | 5 | 86 % | 2.580 m² | Rack 2D, Floor Position = 2D | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Occupied | 5 | 86 % | 2.580 m² | Rack 2B, Floor Position = 2B | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Occupied | 5 | 86 % | 2.580 m² | Rack 2A, Floor Position = 2A | 34 | 37 | 34 | 34 | 37 | 34
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 2 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 3 | 4 | Free | 0 | 6 % | 0.160 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 3 | 4 | Occupied | 4 | 94 % | 2.440 m² | Rack 3A, Floor Position = 3A | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 3 | 4 | Occupied | 4 | 94 % | 2.440 m² | Rack NRA34, Floor Position = 3B | 20 | 41 | 19 | 15 | 29 | 15
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 3 | 4 | Occupied | 4 | 94 % | 2.440 m² | Rack 3C, Floor Position = 3C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 3 | 4 | Occupied | 4 | 94 % | 2.440 m² | Rack 3D, Floor Position = 3D | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 3 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Free | 0 | 29 % | 2.795 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4P, Floor Position = 4P | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4Q, Floor Position = 4Q | 5 | 47 | 5 | 5 | 47 | 5
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4H, Floor Position = 4H | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4L, Floor Position = 4L | 55 | 56 | 55 | 55 | 56 | 55
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4N, Floor Position = 4N | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4M, Floor Position = 4M | 56 | 56 | 56 | 56 | 56 | 56
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4J, Floor Position = 4J | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4K, Floor Position = 4K | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack NRA24, Floor Position = 4G | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4F, Floor Position = 4F | 42 | 47 | 42 | 42 | 47 | 42
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4D, Floor Position = 4D | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack NRA21, Floor Position = 4E | 22 | 36 | 13 | 9 | 27 | 5
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4C, Floor Position = 4C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4A, Floor Position = 4A | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Occupied | 15 | 71 % | 7.005 m² | Rack 4B, Floor Position = 4B | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 4 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Free | 2 | 42 % | 3.280 m²
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5K, Floor Position = 5K | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5D, Floor Position = 5D | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5E, Floor Position = 5E | 42 | 47 | 42 | 42 | 47 | 42
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5F, Floor Position = 5F | 38 | 46 | 38 | 38 | 46 | 38
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5G, Floor Position = 5G | 42 | 47 | 42 | 42 | 47 | 42
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5H, Floor Position = 5H | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5J, Floor Position = 5J | 42 | 47 | 42 | 42 | 47 | 42
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Occupied | 8 | 58 % | 4.520 m² | Rack 5A, Floor Position = 5A | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN14 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 10591.00 W | 24000.00 W | 44 % | 5 | 10 | Reserved | 0 | 0 % | 0.000 m²