## Suite Line Capacity
Report generated for: | Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD
| Quantity | % of all area | Area
Total free sections: | 2/58 | 24 % | 7.279 m²
Total occupied sections: | 56/58 | 76 % | 22.780 m²
Total reserved sections: | 0/58 | 0 % | 0.000 m²
Total Lines Capability |  |  | 30.059 m²
Total Location Capability |  |  | 109.365 m²
Total Location Free Area |  |  | 86.045 m²
Total Location Occupied Area |  |  | 23.320 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 11 | 3 | Free | 0 | 28 % | 0.295 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 11 | 3 | Occupied | 3 | 72 % | 0.740 m² | Rack 11C, Floor Position = 11C | 0 | 47 | 0 | 0 | 47 | 0
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 11 | 3 | Occupied | 3 | 72 % | 0.740 m² | Rack 11B, Floor Position = 11B | 5 | 47 | 5 | 5 | 47 | 5
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 11 | 3 | Occupied | 3 | 72 % | 0.740 m² | ODF CARG4, Floor Position = 11A | 14 | 46 | 14 | 12 | 46 | 12
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 11 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 15 | 2 | Free | 0 | 20 % | 0.125 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 15 | 2 | Occupied | 2 | 80 % | 0.500 m² | Rack 15A, Floor Position = 15A | 0 | 47 | 0 | 0 | 47 | 0
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 15 | 2 | Occupied | 2 | 80 % | 0.500 m² | Rack 15B, Floor Position = 15B | 5 | 47 | 5 | 5 | 47 | 5
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 15 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Free | 0 | 9 % | 0.900 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6Q, Floor Position = 6Q | 33 | 37 | 33 | 33 | 37 | 33
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6M, Floor Position = 6M | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6N, Floor Position = 6N | 43 | 47 | 43 | 43 | 47 | 43
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6P, Floor Position = 6P | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack NRB59, Floor Position = 6J | 20 | 39 | 19 | 14 | 31 | 14
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack NRB61, Floor Position = 6K | 19 | 42 | 16 | 7 | 19 | 7
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6L, Floor Position = 6L | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6F, Floor Position = 6F | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6G, Floor Position = 6G | 43 | 47 | 43 | 43 | 47 | 43
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack NRB58, Floor Position = 6H | 44 | 47 | 44 | 27 | 47 | 27
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6E, Floor Position = 6E | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6C, Floor Position = 6C | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6D, Floor Position = 6D | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack NRB51, Floor Position = 6A | 13 | 46 | 13 | 5 | 46 | 5
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Occupied | 15 | 91 % | 8.700 m² | Rack 6B, Floor Position = 6B | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 6 | 15 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Free | 0 | 27 % | 2.560 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7M, Floor Position = 7M | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7L, Floor Position = 7L | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7K, Floor Position = 7K | 40 | 42 | 40 | 40 | 42 | 40
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7H, Floor Position = 7H | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7J, Floor Position = 7J | 41 | 47 | 41 | 41 | 47 | 41
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7G, Floor Position = 7G | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7E, Floor Position = 7E | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7F, Floor Position = 7F | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7C, Floor Position = 7C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7D, Floor Position = 7D | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7A, Floor Position = 7A | 43 | 47 | 43 | 43 | 47 | 43
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Occupied | 12 | 73 % | 7.040 m² | Rack 7B, Floor Position = 7B | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 7 | 12 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Free | 2 | 26 % | 0.720 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8L, Floor Position = 8L | 43 | 46 | 43 | 43 | 46 | 43
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8N, Floor Position = 8N | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8M, Floor Position = 8M | 44 | 46 | 44 | 44 | 46 | 44
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack NRB93A, Floor Position = 8J | 13 | 46 | 13 | 10 | 46 | 10
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8K, Floor Position = 8K | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8H, Floor Position = 8H | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8G, Floor Position = 8G | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8F, Floor Position = 8F | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8E, Floor Position = 8E | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8C, Floor Position = 8C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Occupied | 11 | 74 % | 2.040 m² | Rack 8B, Floor Position = 8B | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 8 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Free | 0 | 42 % | 2.680 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 9L, Floor Position = 9L | 43 | 46 | 43 | 43 | 46 | 43
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 9M, Floor Position = 9M | 45 | 46 | 45 | 45 | 46 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8N, Floor Position = 8N | 46 | 47 | 46 | 46 | 47 | 46
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 9J, Floor Position = 9J | 46 | 46 | 46 | 46 | 46 | 46
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8K, Floor Position = 8K | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8E, Floor Position = 8E | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8F, Floor Position = 8F | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8G, Floor Position = 8G | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8H, Floor Position = 8H | 47 | 47 | 47 | 47 | 47 | 47
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8C, Floor Position = 8C | 44 | 47 | 44 | 44 | 47 | 44
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack NRB87, Floor Position = 8D | 12 | 32 | 10 | 6 | 25 | 5
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack NRB83, Floor Position = 8A | 32 | 45 | 30 | 19 | 42 | 19
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Occupied | 13 | 58 % | 3.760 m² | Rack 8B, Floor Position = 8B | 45 | 47 | 45 | 45 | 47 | 45
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | 9 | 13 | Reserved | 0 | 0 % | 0.000 m²
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | [6 empty] | Rack DUMMY AC UPS, Floor Position = Temp Mig | 43 | 47 | 43 | 42 | 47 | 42
Room LDSN15 on Floor Ground Floor in Site LEEDS GOTTS ROAD | 25629.50 W | 24000.00 W | 107 % | [6 empty] | Rack LDSN14; DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19