## Suite Line Capacity
Report generated for: | Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP
| Quantity | % of all area | Area
Total free sections: | 250/449 | 67 % | 105.833 m²
Total occupied sections: | 199/449 | 33 % | 51.088 m²
Total reserved sections: | 0/449 | 0 % | 0.000 m²
Total Lines Capability |  |  | 156.920 m²
Total Location Capability |  |  | 748.253 m²
Total Location Free Area |  |  | 695.205 m²
Total Location Occupied Area |  |  | 53.048 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Free | 25 | 75 % | 22.529 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A51, Floor Position = A51 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A52, Floor Position = A52 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A53, Floor Position = A53 | 28 | 47 | 28 | 28 | 47 | 28
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A42, Floor Position = A42 | 39 | 43 | 35 | 38 | 22 | 19
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A39, Floor Position = A39 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A44, Floor Position = A44 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A43, Floor Position = A43 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A45, Floor Position = A45 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A49, Floor Position = A49 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A47, Floor Position = A47 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A46, Floor Position = A46 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A48, Floor Position = A48 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A50, Floor Position = A50 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A1, Floor Position = A01 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A18, Floor Position = A18 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A19, Floor Position = A19 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Occupied | 18 | 25 % | 7.609 m² | Rack A20, Floor Position = A20 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | A | 43 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Free | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B10, Floor Position = B10 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B9, Floor Position = B9 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B8, Floor Position = B8 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | B | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Free | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C10, Floor Position = C10 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C9, Floor Position = C9 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C8, Floor Position = C8 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Free | 19 | 55 % | 7.019 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D49, Floor Position = D49 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D47, Floor Position = D47 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D46, Floor Position = D46 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D48, Floor Position = D48 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D51, Floor Position = D51 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D50, Floor Position = D50 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D52, Floor Position = D52 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D42, Floor Position = D42 | 33 | 41 | 29 | 19 | 21 | 17
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D39, Floor Position = D39 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D44, Floor Position = D44 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D43, Floor Position = D43 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D45, Floor Position = D45 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D53, Floor Position = D53 | 28 | 47 | 28 | 28 | 47 | 28
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D11, Floor Position = D11 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D10, Floor Position = D10 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D11a, Floor Position = D11a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D18, Floor Position = D18 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D7, Floor Position = D7 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D6, Floor Position = D6 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D5, Floor Position = D5 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D9, Floor Position = D9 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D8, Floor Position = D8 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | ODF D2, Floor Position = D2 | 4 | 47 | 4 | 4 | 47 | 4
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D3, Floor Position = D3 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Occupied | 25 | 45 % | 5.651 m² | Rack D4, Floor Position = D4 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | D | 44 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Free | 33 | 74 % | 7.027 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D11, Floor Position = D11 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D10, Floor Position = D10 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack E11a, Floor Position = E11a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D7, Floor Position = D7 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D6, Floor Position = D6 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D5, Floor Position = D5 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D9, Floor Position = D9 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D8, Floor Position = D8 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | ODF E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack E3, Floor Position = E3 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Occupied | 11 | 26 % | 2.475 m² | Rack D4, Floor Position = D4 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | E | 44 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Free | 30 | 73 % | 6.795 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F11, Floor Position = F11 | 40 | 45 | 40 | 39 | 45 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F10, Floor Position = F10 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F12, Floor Position = F12 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F12a, Floor Position = F12a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F3, Floor Position = F3 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F2, Floor Position = F2 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F1, Floor Position = F1 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F7, Floor Position = F7 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F8, Floor Position = F8 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F9, Floor Position = F9 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F5, Floor Position = F5 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F4, Floor Position = F4 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Occupied | 13 | 27 % | 2.565 m² | Rack F6, Floor Position = F6 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | F | 43 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Free | 30 | 75 % | 7.035 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F11, Floor Position = F11 | 40 | 45 | 40 | 39 | 45 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F10, Floor Position = F10 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F12, Floor Position = F12 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack G12a, Floor Position = G12a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F3, Floor Position = F3 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F2, Floor Position = F2 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F1, Floor Position = F1 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F7, Floor Position = F7 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F8, Floor Position = F8 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F9, Floor Position = F9 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F5, Floor Position = F5 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F4, Floor Position = F4 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Occupied | 13 | 25 % | 2.325 m² | Rack F6, Floor Position = F6 | 41 | 45 | 41 | 41 | 45 | 41
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | G | 43 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Free | 30 | 74 % | 6.885 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H12, Floor Position = H12 | 24 | 44 | 24 | 20 | 44 | 20
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H13, Floor Position = H13 | 24 | 44 | 24 | 20 | 44 | 20
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack J14, Floor Position = J14 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H14a, Floor Position = H14a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H5, Floor Position = H5 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | ODF H2, Floor Position = H2 | 26 | 47 | 26 | 25 | 47 | 25
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H3, Floor Position = H3 | 43 | 45 | 43 | 43 | 45 | 43
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack J4, Floor Position = J4 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H7, Floor Position = H7 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H6, Floor Position = H6 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H8, Floor Position = H8 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack J10, Floor Position = J10 | 5 | 47 | 5 | 5 | 47 | 5
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H11, Floor Position = H11 | 10 | 44 | 10 | 7 | 44 | 7
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Occupied | 14 | 26 % | 2.475 m² | Rack H9, Floor Position = H9 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | H | 44 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Free | 27 | 87 % | 25.865 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J13, Floor Position = J13 | 24 | 44 | 24 | 20 | 44 | 20
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J12, Floor Position = J12 | 24 | 44 | 24 | 20 | 44 | 20
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J14, Floor Position = J14 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J14a, Floor Position = J14a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack H19, Floor Position = J19 | 5 | 33 | 5 | 4 | 33 | 4
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack H20, Floor Position = J20 | 23 | 37 | 23 | 23 | 37 | 23
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J21, Floor Position = J21 | 15 | 24 | 11 | 10 | 24 | 10
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack H5, Floor Position = H5 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | ODF J2, Floor Position = J2 | 13 | 47 | 13 | 10 | 47 | 10
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J3, Floor Position = J3 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J4, Floor Position = J4 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J7, Floor Position = J7 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack H6, Floor Position = H6 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack H8, Floor Position = H8 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J10, Floor Position = J10 | 5 | 47 | 5 | 5 | 47 | 5
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack H9, Floor Position = H9 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Occupied | 17 | 13 % | 3.775 m² | Rack J11, Floor Position = J11 | 9 | 44 | 9 | 4 | 44 | 4
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | J | 44 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Free | 1 | 10 % | 0.270 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K6, Floor Position = K6 | 44 | 46 | 44 | 44 | 46 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | ODF K11, Floor Position = K11 | 44 | 46 | 44 | 30 | 46 | 30
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | ODF K12, Floor Position = K12 | 44 | 46 | 44 | 30 | 46 | 30
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | ODF K13, Floor Position = K13 | 44 | 46 | 44 | 29 | 46 | 29
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K7, Floor Position = K7 | 43 | 46 | 43 | 43 | 46 | 43
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K4, Floor Position = K4 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K3, Floor Position = K3 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K05, Floor Position = K5 | 32 | 46 | 32 | 21 | 46 | 21
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K2, Floor Position = K2 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack KL01, Floor Position = L1 | 44 | 27 | 27 | 44 | 27 | 27
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K14, Floor Position = K14 | 44 | 46 | 44 | 44 | 46 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K15, Floor Position = K15 | 32 | 45 | 32 | 26 | 45 | 26
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Occupied | 13 | 90 % | 2.475 m² | Rack K15a, Floor Position = K15a | 2 | 47 | 2 | 1 | 47 | 1
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | K | 14 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Free | 2 | 16 % | 0.450 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L6, Floor Position = L6 | 42 | 46 | 42 | 42 | 46 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | ODF L12, Floor Position = L12 | 44 | 46 | 44 | 30 | 46 | 30
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L13, Floor Position = L13 | 21 | 47 | 21 | 16 | 47 | 16
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | ODF CODF L07, Floor Position = L7 | 15 | 47 | 15 | 8 | 47 | 8
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | ODF L4, Floor Position = L4 | 42 | 42 | 42 | 42 | 42 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L3, Floor Position = L3 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L5, Floor Position = L5 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L2, Floor Position = L2 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack KL01, Floor Position = L1 | 44 | 27 | 27 | 44 | 27 | 27
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L14, Floor Position = L14 | 44 | 46 | 44 | 44 | 46 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack K15, Floor Position = K15 | 32 | 45 | 32 | 26 | 45 | 26
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Occupied | 12 | 84 % | 2.295 m² | Rack L15a, Floor Position = L15a | 2 | 47 | 2 | 1 | 47 | 1
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | L | 14 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Free | 0 | 16 % | 1.389 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M0, Floor Position = M0 | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N0, Floor Position = N0 | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | ODF M07, Floor Position = M7 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | ODF N07, Floor Position = N7 | 33 | 47 | 33 | 17 | 47 | 17
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N5, Floor Position = N5 | 45 | 47 | 45 | 45 | 47 | 45
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N06, Floor Position = M6 | 9 | 40 | 9 | 6 | 24 | 6
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N8, Floor Position = N8 | 18 | 16 | 11 | 15 | 6 | 6
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N9, Floor Position = N9 | 33 | 43 | 33 | 23 | 43 | 23
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N2, Floor Position = N2 | 34 | 45 | 34 | 34 | 45 | 34
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N1, Floor Position = N1 | 39 | 17 | 16 | 39 | 16 | 16
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N3, Floor Position = N3 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N4, Floor Position = N4 | 38 | 47 | 38 | 38 | 47 | 38
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M20, Floor Position = M20 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M21, Floor Position = M21 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M22, Floor Position = M22 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M23, Floor Position = M23 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M24, Floor Position = M24 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N10, Floor Position = N10 | 36 | 45 | 36 | 36 | 45 | 36
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack N11, Floor Position = N11 | 40 | 45 | 40 | 40 | 45 | 40
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M11a, Floor Position = M11a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Occupied | 19 | 84 % | 7.251 m² | Rack M19, Floor Position = M19 | 5 | 47 | 5 | 5 | 47 | 5
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | M | 19 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | N | 19 | Free | 17 | 98 % | 2.820 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | N | 19 | Occupied | 2 | 2 % | 0.060 m² | Rack N0, Floor Position = N0 | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | N | 19 | Occupied | 2 | 2 % | 0.060 m² | Rack N11a, Floor Position = N11a | 4 | 47 | 4 | 3 | 47 | 3
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | N | 19 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Free | 7 | 57 % | 2.928 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P2, Floor Position = P2 | 13 | 45 | 13 | 11 | 45 | 11
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P03, Floor Position = Q03 | 16 | 46 | 16 | 13 | 46 | 13
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P1, Floor Position = P1 | 45 | 45 | 45 | 45 | 45 | 45
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P11, Floor Position = P11 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P14, Floor Position = P14 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P15, Floor Position = P15 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P12, Floor Position = P12 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Occupied | 8 | 43 % | 2.172 m² | Rack P13, Floor Position = P13 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | P | 15 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Free | 7 | 46 % | 2.340 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P2, Floor Position = P2 | 13 | 45 | 13 | 11 | 45 | 11
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P03, Floor Position = Q03 | 16 | 46 | 16 | 13 | 46 | 13
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P1, Floor Position = P1 | 45 | 45 | 45 | 45 | 45 | 45
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P11, Floor Position = P11 | 42 | 45 | 42 | 42 | 45 | 42
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P14, Floor Position = P14 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P15, Floor Position = P15 | 39 | 42 | 39 | 39 | 42 | 39
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P12, Floor Position = P12 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Occupied | 8 | 54 % | 2.760 m² | Rack P13, Floor Position = P13 | 47 | 47 | 47 | 47 | 47 | 47
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | Q | 15 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | R | 4 | Free | 1 | 25 % | 0.300 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | R | 4 | Occupied | 3 | 75 % | 0.900 m² | Rack R16, Floor Position = R16 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | R | 4 | Occupied | 3 | 75 % | 0.900 m² | Rack R15, Floor Position = R15 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | R | 4 | Occupied | 3 | 75 % | 0.900 m² | Rack R17, Floor Position = R17 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | R | 4 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | S | 4 | Free | 1 | 25 % | 0.300 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | S | 4 | Occupied | 3 | 75 % | 0.900 m² | Rack R16, Floor Position = R16 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | S | 4 | Occupied | 3 | 75 % | 0.900 m² | Rack R15, Floor Position = R15 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | S | 4 | Occupied | 3 | 75 % | 0.900 m² | Rack R17, Floor Position = R17 | 44 | 47 | 44 | 44 | 47 | 44
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | S | 4 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | T | 20 | Free | 20 | 100 % | 11.880 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | T | 20 | Occupied | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | T | 20 | Reserved | 0 | 0 % | 0.000 m²
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | [6 empty] | Rack LDSTS1;DC SYS01, Floor Position = Temp Mig | 14 | 46 | 14 | 13 | 25 | 13
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | [6 empty] | Rack UPS A 160kVA, Floor Position = unset | 43 | 47 | 43 | 43 | 47 | 43
Room LDSTS1 on Floor Ground Floor in Site SPECTRUM PARK TAP | 79653.00 W | 135000.00 W | 59 % | [6 empty] | Rack UPS B 160kVA, Floor Position = unset | 43 | 47 | 43 | 43 | 47 | 43