## Suite Line Capacity
Report generated for: | Room LIVN01 on Floor Ground Floor in Site LIVINGSTON
| Quantity | % of all area | Area
Total free sections: | 78/203 | 37 % | 22.292 m²
Total occupied sections: | 125/203 | 63 % | 38.230 m²
Total reserved sections: | 0/203 | 0 % | 0.000 m²
Total Lines Capability |  |  | 60.521 m²
Total Location Capability |  |  | 277.168 m²
Total Location Free Area |  |  | 236.538 m²
Total Location Occupied Area |  |  | 40.630 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Free | 1 | 27 % | 0.391 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Occupied | 5 | 73 % | 1.080 m² | Rack AA8, Floor Position = AA8 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Occupied | 5 | 73 % | 1.080 m² | Rack AA7, Floor Position = AA7 | 39 | 42 | 39 | 39 | 42 | 39
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Occupied | 5 | 73 % | 1.080 m² | Rack AA5, Floor Position = AA5 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Occupied | 5 | 73 % | 1.080 m² | Rack AA3, Floor Position = AA3 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Occupied | 5 | 73 % | 1.080 m² | Rack AA4, Floor Position = AA4 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AA | 6 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Free | 1 | 18 % | 0.271 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Occupied | 5 | 82 % | 1.200 m² | Rack AA8, Floor Position = AA8 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Occupied | 5 | 82 % | 1.200 m² | Rack AA7, Floor Position = AA7 | 39 | 42 | 39 | 39 | 42 | 39
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Occupied | 5 | 82 % | 1.200 m² | Rack AA5, Floor Position = AA5 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Occupied | 5 | 82 % | 1.200 m² | Rack AA3, Floor Position = AA3 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Occupied | 5 | 82 % | 1.200 m² | Rack AA4, Floor Position = AA4 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AB | 6 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Free | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Occupied | 5 | 100 % | 4.120 m² | Rack AC5, Floor Position = AC05 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Occupied | 5 | 100 % | 4.120 m² | Rack AC1, Floor Position = AC01 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Occupied | 5 | 100 % | 4.120 m² | Rack AC3, Floor Position = AC03 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Occupied | 5 | 100 % | 4.120 m² | Rack AC4, Floor Position = AC04 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Occupied | 5 | 100 % | 4.120 m² | Rack AC2, Floor Position = AC02 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AC | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Free | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD8, Floor Position = AD8 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD6, Floor Position = AD6 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD7, Floor Position = AD7 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD5, Floor Position = AD5 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD1, Floor Position = AD1 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD3, Floor Position = AD3 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD4, Floor Position = AD4 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Occupied | 8 | 100 % | 6.590 m² | Rack AD2, Floor Position = AD2 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AD | 8 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Free | 0 | 28 % | 2.122 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG4, Floor Position = AG04 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG7, Floor Position = AG07 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG8, Floor Position = AG08 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG6, Floor Position = AG06 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG5, Floor Position = AG05 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG1, Floor Position = AG01 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG3, Floor Position = AG03 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Occupied | 8 | 72 % | 5.516 m² | Rack AG2, Floor Position = AG02 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AG | 8 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Free | 3 | 26 % | 0.885 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ14, Floor Position = AJ14 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ11, Floor Position = AJ11 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ12, Floor Position = AJ12 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ13, Floor Position = AJ13 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ4, Floor Position = AJ4 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ7, Floor Position = AJ7 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ5, Floor Position = AJ5 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ6, Floor Position = AJ6 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ3, Floor Position = AJ3 | 42 | 42 | 42 | 42 | 42 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ2, Floor Position = AJ2 | 42 | 42 | 42 | 42 | 42 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Occupied | 11 | 74 % | 2.535 m² | Rack AJ1, Floor Position = AJ1 | 42 | 42 | 42 | 42 | 42 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AJ | 14 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Free | 5 | 53 % | 2.223 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK14, Floor Position = AK14 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK11, Floor Position = AK11 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK12, Floor Position = AK12 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK13, Floor Position = AK13 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK4, Floor Position = AK4 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK5, Floor Position = AK5 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK3, Floor Position = AK3 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK1, Floor Position = AK1 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Occupied | 9 | 47 % | 1.995 m² | Rack AK2, Floor Position = AK2 | 48 | 48 | 48 | 48 | 48 | 48
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AK | 14 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Free | 2 | 16 % | 0.540 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | ODF AL17, Floor Position = AL17 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL13, Floor Position = AL13 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL15, Floor Position = AL15 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | ODF AL16, Floor Position = AL16 | 5 | 47 | 5 | 2 | 47 | 2
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL14, Floor Position = AL14 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL12, Floor Position = AL12 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL10, Floor Position = AL10 | 17 | 47 | 17 | 5 | 40 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL3, Floor Position = AL3 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL9, Floor Position = AL9 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL8, Floor Position = AL8 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL7, Floor Position = AL7 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL5, Floor Position = AL5 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL4, Floor Position = AL4 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Occupied | 14 | 84 % | 2.880 m² | Rack AL2, Floor Position = AL2 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AL | 16 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Free | 2 | 44 % | 2.280 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM13, Floor Position = AM13 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM15, Floor Position = AM15 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM16, Floor Position = AM16 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM14, Floor Position = AM14 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM12, Floor Position = AM12 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AL10, Floor Position = AL10 | 17 | 47 | 17 | 5 | 40 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM3, Floor Position = AM3 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM09, Floor Position = AM9 | 34 | 46 | 34 | 20 | 46 | 20
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM7, Floor Position = AM7 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM8, Floor Position = AM8 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM05, Floor Position = AM5 | 42 | 45 | 42 | 21 | 45 | 21
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | Rack AM4, Floor Position = AM4 | 39 | 42 | 39 | 39 | 42 | 39
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | ODF AM02, Floor Position = AM2 | 3 | 47 | 3 | 2 | 47 | 2
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Occupied | 14 | 56 % | 2.850 m² | ODF AM01, Floor Position = AM1 | 24 | 47 | 24 | 21 | 47 | 21
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AM | 16 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Free | 3 | 19 % | 0.619 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN13, Floor Position = AN13 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN11, Floor Position = AN11 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN12, Floor Position = AN12 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN9, Floor Position = AN9 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN10, Floor Position = AN10 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN6, Floor Position = AN6 | 42 | 48 | 42 | 42 | 48 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN8, Floor Position = AN8 | 45 | 48 | 45 | 45 | 48 | 45
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN7, Floor Position = AN7 | 45 | 47 | 45 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN5, Floor Position = AN5 | 41 | 48 | 41 | 41 | 48 | 41
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN1, Floor Position = AN1 | 5 | 47 | 5 | 5 | 47 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Occupied | 11 | 81 % | 2.625 m² | Rack AN02, Floor Position = AN2 | 21 | 48 | 21 | 10 | 48 | 10
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AN | 14 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Free | 5 | 33 % | 1.079 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AP15, Floor Position = AP15 | 44 | 46 | 44 | 44 | 46 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AP13, Floor Position = AP13 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AP14, Floor Position = AP14 | 43 | 46 | 43 | 43 | 46 | 43
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | ODF AP12, Floor Position = AP12 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | ODF AP10, Floor Position = AP10 | 47 | 47 | 47 | 47 | 47 | 47
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AP11, Floor Position = AP11 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AP9, Floor Position = AP9 | 43 | 46 | 43 | 43 | 46 | 43
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AP8, Floor Position = AP8 | 43 | 46 | 43 | 43 | 46 | 43
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AN7, Floor Position = AN7 | 45 | 47 | 45 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AN1, Floor Position = AN1 | 5 | 47 | 5 | 5 | 47 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Occupied | 11 | 67 % | 2.158 m² | Rack AN02, Floor Position = AN2 | 21 | 48 | 21 | 10 | 48 | 10
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AP | 16 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Free | 9 | 64 % | 2.070 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Occupied | 5 | 36 % | 1.170 m² | ODF AQ08, Floor Position = AQ8 | 43 | 46 | 43 | 29 | 46 | 29
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Occupied | 5 | 36 % | 1.170 m² | ODF CODF AQ09, Floor Position = AQ9 | 21 | 47 | 21 | 12 | 47 | 12
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Occupied | 5 | 36 % | 1.170 m² | Rack AQ/AR05, Floor Position = AQ5 | 6 | 46 | 6 | 5 | 46 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Occupied | 5 | 36 % | 1.170 m² | Rack AQ/AR04, Floor Position = AQ4 | 26 | 46 | 26 | 22 | 46 | 22
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Occupied | 5 | 36 % | 1.170 m² | Rack AQ1, Floor Position = AQ1 | 42 | 45 | 42 | 42 | 45 | 42
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AQ | 14 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AR | 15 | Free | 11 | 78 % | 2.520 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AR | 15 | Occupied | 4 | 22 % | 0.720 m² | Rack AR8, Floor Position = AR8 | 40 | 46 | 40 | 31 | 46 | 31
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AR | 15 | Occupied | 4 | 22 % | 0.720 m² | Rack AQ/AR05, Floor Position = AQ5 | 6 | 46 | 6 | 5 | 46 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AR | 15 | Occupied | 4 | 22 % | 0.720 m² | Rack AQ/AR04, Floor Position = AQ4 | 26 | 46 | 26 | 22 | 46 | 22
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AR | 15 | Occupied | 4 | 22 % | 0.720 m² | Rack AR1, Floor Position = AR1 | 43 | 47 | 43 | 43 | 47 | 43
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AR | 15 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AS | 15 | Free | 12 | 81 % | 2.610 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AS | 15 | Occupied | 3 | 19 % | 0.630 m² | Rack AS07, Floor Position = AS7 | 16 | 47 | 16 | 6 | 47 | 6
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AS | 15 | Occupied | 3 | 19 % | 0.630 m² | Rack AS5, Floor Position = AS5 | 5 | 47 | 5 | 5 | 47 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AS | 15 | Occupied | 3 | 19 % | 0.630 m² | Rack AS6, Floor Position = AS6 | 40 | 45 | 40 | 40 | 45 | 40
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AS | 15 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AT | 16 | Free | 14 | 89 % | 2.880 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AT | 16 | Occupied | 2 | 11 % | 0.360 m² | Rack AS5, Floor Position = AS5 | 5 | 47 | 5 | 5 | 47 | 5
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AT | 16 | Occupied | 2 | 11 % | 0.360 m² | Rack AT06, Floor Position = AT6 | 39 | 45 | 39 | 37 | 45 | 37
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | AT | 16 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Free | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA5, Floor Position = BA5 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA4, Floor Position = BA4 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA2, Floor Position = BA2 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA3, Floor Position = BA3 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA1, Floor Position = BA1 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BA | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Free | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA4, Floor Position = BA4 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA5, Floor Position = BA5 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA2, Floor Position = BA2 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA3, Floor Position = BA3 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Occupied | 5 | 100 % | 0.900 m² | Rack BA1, Floor Position = BA1 | 44 | 47 | 44 | 44 | 47 | 44
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BB | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BC | 5 | Free | 5 | 100 % | 0.900 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BC | 5 | Occupied | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BC | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BD | 5 | Free | 5 | 100 % | 0.900 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BD | 5 | Occupied | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | BD | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | [6 empty] | Rack AS/AT04, Floor Position = AS4 | 24 | 46 | 23 | 16 | 43 | 16
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | [6 empty] | Rack AS/AT18, Floor Position = AS18 | 7 | 47 | 7 | 7 | 47 | 7
Room LIVN01 on Floor Ground Floor in Site LIVINGSTON | 14882.00 W | 67500.00 W | 22 % | [6 empty] | Rack ASAT02, Floor Position = AS2 | 7 | 37 | 7 | 3 | 37 | 3