## Suite Line Capacity
Report generated for: | Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP
| Quantity | % of all area | Area
Total free sections: | 250/379 | 75 % | 77.958 m²
Total occupied sections: | 129/379 | 25 % | 26.551 m²
Total reserved sections: | 0/379 | 0 % | 0.000 m²
Total Lines Capability |  |  | 104.509 m²
Total Location Capability |  |  | 477.371 m²
Total Location Free Area |  |  | 450.461 m²
Total Location Occupied Area |  |  | 26.911 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | A | 31 | Free | 31 | 100 % | 11.160 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | A | 31 | Occupied | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | A | 31 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Free | 18 | 57 % | 3.240 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B9, Floor Position = B9 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B8, Floor Position = B8 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | B | 27 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Free | 18 | 57 % | 3.240 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C9, Floor Position = C9 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C8, Floor Position = C8 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Occupied | 9 | 43 % | 2.430 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | C | 27 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Free | 12 | 63 % | 3.480 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D10a, Floor Position = D10a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D9a, Floor Position = D9a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D8, Floor Position = D8 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D9, Floor Position = D9 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D7, Floor Position = D7 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D4, Floor Position = D4 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D6, Floor Position = D6 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D5, Floor Position = D5 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack D3, Floor Position = D3 | 42 | 45 | 42 | 42 | 45 | 42
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Occupied | 10 | 37 % | 2.040 m² | ODF D2, Floor Position = D2 | 3 | 47 | 3 | 3 | 47 | 3
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | D | 22 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Free | 12 | 63 % | 3.480 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E10a, Floor Position = E10a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E9a, Floor Position = E9a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E8, Floor Position = E8 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E9, Floor Position = E9 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E7, Floor Position = E7 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E4, Floor Position = E4 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E5, Floor Position = E5 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E6, Floor Position = E6 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | ODF E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Occupied | 10 | 37 % | 2.040 m² | Rack E3, Floor Position = E3 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | E | 22 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Free | 14 | 58 % | 3.150 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F13a, Floor Position = F13a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F11, Floor Position = F11 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F12, Floor Position = F12 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F12a, Floor Position = F12a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F10, Floor Position = F10 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F8, Floor Position = F8 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F9, Floor Position = F9 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F6, Floor Position = F6 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F7, Floor Position = F7 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F4, Floor Position = F4 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F5, Floor Position = F5 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F3, Floor Position = F3 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F1, Floor Position = F1 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F2, Floor Position = F2 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | F | 28 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Free | 14 | 58 % | 3.150 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack G13a, Floor Position = G13a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F11, Floor Position = F11 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F12, Floor Position = F12 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack G12a, Floor Position = G12a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F10, Floor Position = F10 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F9, Floor Position = F9 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F8, Floor Position = F8 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F7, Floor Position = F7 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F6, Floor Position = F6 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F4, Floor Position = F4 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F5, Floor Position = F5 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F3, Floor Position = F3 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F1, Floor Position = F1 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Occupied | 14 | 42 % | 2.250 m² | Rack F2, Floor Position = F2 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | G | 28 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Free | 15 | 65 % | 3.600 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H12a, Floor Position = H12a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H10, Floor Position = H10 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H11, Floor Position = H11 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H11a, Floor Position = H11a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H9, Floor Position = H9 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H8, Floor Position = H8 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J7, Floor Position = J7 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J6, Floor Position = J6 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J5, Floor Position = J5 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H3, Floor Position = H3 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack H4, Floor Position = H4 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Occupied | 12 | 35 % | 1.980 m² | ODF H2, Floor Position = H2 | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | H | 27 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Free | 15 | 65 % | 3.600 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J12a, Floor Position = J12a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J10, Floor Position = J10 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J11, Floor Position = J11 | 42 | 45 | 42 | 42 | 45 | 42
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J11a, Floor Position = J11a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J9, Floor Position = J9 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J08, Floor Position = J8 | 33 | 45 | 33 | 27 | 45 | 27
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J7, Floor Position = J7 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J6, Floor Position = J6 | 41 | 45 | 41 | 41 | 45 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J5, Floor Position = J5 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J3, Floor Position = J3 | 42 | 45 | 42 | 42 | 45 | 42
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | Rack J4, Floor Position = J4 | 42 | 45 | 42 | 42 | 45 | 42
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Occupied | 12 | 35 % | 1.980 m² | ODF J2, Floor Position = J2 | 31 | 47 | 31 | 29 | 47 | 29
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | J | 27 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Free | 17 | 66 % | 3.691 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack K13a, Floor Position = K13a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack K12a, Floor Position = K12a | 25 | 47 | 25 | 21 | 47 | 21
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack L12, Floor Position = L12 | 27 | 45 | 27 | 21 | 45 | 21
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | ODF K05, Floor Position = K5 | 45 | 47 | 45 | 30 | 47 | 30
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack K6, Floor Position = K6 | 35 | 47 | 35 | 26 | 47 | 26
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | ODF CODF K07, Floor Position = K7 | 19 | 47 | 19 | 10 | 47 | 10
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | ODF K04, Floor Position = K4 | 45 | 47 | 45 | 30 | 47 | 30
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack K3, Floor Position = K3 | 41 | 44 | 41 | 41 | 44 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack K1, Floor Position = K1 | 45 | 45 | 45 | 45 | 45 | 45
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Occupied | 10 | 34 % | 1.906 m² | Rack K2, Floor Position = K2 | 41 | 44 | 41 | 41 | 44 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | K | 27 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Free | 19 | 72 % | 3.990 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L13a, Floor Position = L13a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L12a, Floor Position = L12a | 25 | 47 | 25 | 21 | 47 | 21
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L12, Floor Position = L12 | 27 | 45 | 27 | 21 | 45 | 21
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L7, Floor Position = L7 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L06, Floor Position = L6 | 22 | 44 | 22 | 20 | 44 | 20
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L04, Floor Position = L4 | 22 | 44 | 22 | 20 | 44 | 20
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L05, Floor Position = L5 | 9 | 44 | 9 | 5 | 44 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L3, Floor Position = L3 | 41 | 44 | 41 | 41 | 44 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L1, Floor Position = L1 | 45 | 45 | 45 | 45 | 45 | 45
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Occupied | 10 | 28 % | 1.590 m² | Rack L2, Floor Position = L2 | 41 | 44 | 41 | 41 | 44 | 41
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | L | 29 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Free | 16 | 86 % | 11.341 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Occupied | 6 | 14 % | 1.890 m² | Rack M10a, Floor Position = M10a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Occupied | 6 | 14 % | 1.890 m² | Rack M08, Floor Position = M8 | 22 | 47 | 22 | 16 | 47 | 16
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Occupied | 6 | 14 % | 1.890 m² | Rack N9, Floor Position = N9 | 40 | 45 | 40 | 40 | 45 | 40
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Occupied | 6 | 14 % | 1.890 m² | Rack M9a, Floor Position = M9a | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Occupied | 6 | 14 % | 1.890 m² | Rack N2, Floor Position = N2 | 43 | 45 | 43 | 43 | 45 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Occupied | 6 | 14 % | 1.890 m² | Rack N1, Floor Position = N1 | 34 | 45 | 34 | 27 | 45 | 27
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | M | 22 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | N | 22 | Free | 21 | 99 % | 5.475 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | N | 22 | Occupied | 1 | 1 % | 0.045 m² | Rack N10a, Floor Position = N10a | 47 | 47 | 47 | 47 | 47 | 47
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | N | 22 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Free | 14 | 80 % | 7.656 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Occupied | 6 | 20 % | 1.885 m² | Rack Q8, Floor Position = Q8 | 43 | 47 | 43 | 43 | 47 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Occupied | 6 | 20 % | 1.885 m² | Rack PQ09, Floor Position = Q9 | 5 | 33 | 4 | 4 | 32 | 2
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Occupied | 6 | 20 % | 1.885 m² | Rack PQ03, Floor Position = Q3 | 31 | 45 | 31 | 18 | 45 | 18
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Occupied | 6 | 20 % | 1.885 m² | Rack Q4, Floor Position = Q4 | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Occupied | 6 | 20 % | 1.885 m² | Rack Q2, Floor Position = Q2 | 45 | 45 | 45 | 45 | 45 | 45
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Occupied | 6 | 20 % | 1.885 m² | Rack Q01, Floor Position = Q1 | 14 | 45 | 14 | 3 | 45 | 3
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | P | 20 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Free | 14 | 81 % | 7.706 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Occupied | 6 | 19 % | 1.835 m² | Rack Q8, Floor Position = Q8 | 43 | 47 | 43 | 43 | 47 | 43
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Occupied | 6 | 19 % | 1.835 m² | Rack PQ09, Floor Position = Q9 | 5 | 33 | 4 | 4 | 32 | 2
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Occupied | 6 | 19 % | 1.835 m² | Rack PQ03, Floor Position = Q3 | 31 | 45 | 31 | 18 | 45 | 18
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Occupied | 6 | 19 % | 1.835 m² | Rack Q4, Floor Position = Q4 | 5 | 47 | 5 | 5 | 47 | 5
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Occupied | 6 | 19 % | 1.835 m² | Rack Q2, Floor Position = Q2 | 45 | 45 | 45 | 45 | 45 | 45
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Occupied | 6 | 19 % | 1.835 m² | Rack Q01, Floor Position = Q1 | 14 | 45 | 14 | 3 | 45 | 3
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | Q | 20 | Reserved | 0 | 0 % | 0.000 m²
Room LLDTE1 on Floor Ground Floor in Site PRESTON TAP | 38665.00 W | 22500.00 W | 172 % | [6 empty] | Rack LLDTE1;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18