## Suite Line Capacity
Report generated for: | Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1
| Quantity | % of all area | Area
Total free sections: | 5/57 | 22 % | 2.922 m²
Total occupied sections: | 52/57 | 78 % | 10.076 m²
Total reserved sections: | 0/57 | 0 % | 0.000 m²
Total Lines Capability |  |  | 12.997 m²
Total Location Capability |  |  | 47.220 m²
Total Location Free Area |  |  | 36.784 m²
Total Location Occupied Area |  |  | 10.436 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Free | 0 | 4 % | 0.045 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Occupied | 6 | 96 % | 1.215 m² | Rack A1, Floor Position = A01 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Occupied | 6 | 96 % | 1.215 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Occupied | 6 | 96 % | 1.215 m² | Rack A5, Floor Position = A05 | 53 | 56 | 53 | 53 | 56 | 53
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Occupied | 6 | 96 % | 1.215 m² | Rack A3, Floor Position = A03 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Occupied | 6 | 96 % | 1.215 m² | Rack A4, Floor Position = A04 | 51 | 54 | 51 | 51 | 54 | 51
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Occupied | 6 | 96 % | 1.215 m² | Rack A2, Floor Position = A02 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | A | 6 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Free | 1 | 42 % | 1.331 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B2, Floor Position = B2 | 41 | 44 | 41 | 41 | 44 | 41
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B11, Floor Position = B11 | 41 | 44 | 41 | 41 | 44 | 41
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B10, Floor Position = B10 | 45 | 48 | 45 | 45 | 48 | 45
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B12, Floor Position = B12 | 41 | 44 | 41 | 41 | 44 | 41
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B12A, Floor Position = B12A | 5 | 47 | 5 | 5 | 47 | 5
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B6, Floor Position = B6 | 54 | 54 | 54 | 54 | 54 | 54
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B4, Floor Position = B4 | 54 | 54 | 54 | 54 | 54 | 54
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B5, Floor Position = B5 | 54 | 54 | 54 | 54 | 54 | 54
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B8, Floor Position = B8 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Occupied | 10 | 58 % | 1.810 m² | Rack B9, Floor Position = B9 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | B | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Free | 0 | 5 % | 0.106 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C2, Floor Position = C2 | 51 | 54 | 51 | 51 | 54 | 51
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | ODF C11, Floor Position = C11 | 23 | 55 | 23 | 11 | 55 | 11
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C11A, Floor Position = C11A | 5 | 47 | 5 | 5 | 47 | 5
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C10, Floor Position = C10 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C5, Floor Position = C5 | 44 | 44 | 44 | 44 | 44 | 44
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C4, Floor Position = C4 | 54 | 54 | 54 | 54 | 54 | 54
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack B3, Floor Position = B3 | 42 | 42 | 42 | 42 | 42 | 42
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C8, Floor Position = C8 | 51 | 54 | 51 | 51 | 54 | 51
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C9, Floor Position = C9 | 51 | 54 | 51 | 51 | 54 | 51
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Occupied | 10 | 95 % | 1.906 m² | Rack C7, Floor Position = C7 | 51 | 54 | 51 | 51 | 54 | 51
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Free | 1 | 16 % | 0.282 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D/E08, Floor Position = D8 | 28 | 33 | 22 | 10 | 14 | 10
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D11, Floor Position = D11 | 43 | 46 | 43 | 43 | 46 | 43
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D6, Floor Position = D6 | 7 | 44 | 7 | 3 | 44 | 3
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D/E05, Floor Position = D5 | 42 | 47 | 42 | 27 | 47 | 27
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack DE07, Floor Position = D7 | 27 | 44 | 27 | 17 | 43 | 17
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D3, Floor Position = D3 | 45 | 47 | 45 | 45 | 47 | 45
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D2, Floor Position = D2 | 44 | 44 | 44 | 44 | 44 | 44
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Occupied | 8 | 84 % | 1.529 m² | Rack D4, Floor Position = D4 | 45 | 47 | 45 | 45 | 47 | 45
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Free | 3 | 40 % | 0.732 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Occupied | 6 | 60 % | 1.080 m² | Rack D/E08, Floor Position = D8 | 28 | 33 | 22 | 10 | 14 | 10
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Occupied | 6 | 60 % | 1.080 m² | Rack E6, Floor Position = E6 | 6 | 44 | 6 | 4 | 44 | 4
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Occupied | 6 | 60 % | 1.080 m² | Rack D/E05, Floor Position = D5 | 42 | 47 | 42 | 27 | 47 | 27
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Occupied | 6 | 60 % | 1.080 m² | Rack DE07, Floor Position = D7 | 27 | 44 | 27 | 17 | 43 | 17
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Occupied | 6 | 60 % | 1.080 m² | Rack D3, Floor Position = D3 | 45 | 47 | 45 | 45 | 47 | 45
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Occupied | 6 | 60 % | 1.080 m² | Rack D4, Floor Position = D4 | 45 | 47 | 45 | 45 | 47 | 45
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | E | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Free | 0 | 4 % | 0.045 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Occupied | 6 | 96 % | 1.035 m² | Rack F1, Floor Position = F01 | 53 | 56 | 53 | 53 | 56 | 53
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Occupied | 6 | 96 % | 1.035 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Occupied | 6 | 96 % | 1.035 m² | ODF F05, Floor Position = F05 | 25 | 55 | 25 | 12 | 55 | 12
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Occupied | 6 | 96 % | 1.035 m² | Rack F4, Floor Position = F04 | 44 | 46 | 44 | 44 | 46 | 44
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Occupied | 6 | 96 % | 1.035 m² | Rack F3, Floor Position = F03 | 52 | 55 | 52 | 52 | 55 | 52
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Occupied | 6 | 96 % | 1.035 m² | Rack F02, Floor Position = F02 | 38 | 44 | 38 | 26 | 44 | 26
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | F | 6 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Free | 0 | 20 % | 0.320 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Occupied | 5 | 80 % | 1.320 m² | Rack G2, Floor Position = G2 | 43 | 46 | 43 | 43 | 46 | 43
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Occupied | 5 | 80 % | 1.320 m² | Rack G1, Floor Position = G1 | 36 | 38 | 36 | 36 | 38 | 36
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Occupied | 5 | 80 % | 1.320 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Occupied | 5 | 80 % | 1.320 m² | Rack G3, Floor Position = G3 | 42 | 42 | 42 | 42 | 42 | 42
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Occupied | 5 | 80 % | 1.320 m² | ODF CODF G04, Floor Position = G4 | 41 | 46 | 41 | 27 | 46 | 27
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | G | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | H | 1 | Free | 0 | 25 % | 0.060 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | H | 1 | Occupied | 1 | 75 % | 0.180 m² | Rack H1, Floor Position = H1 | 5 | 47 | 5 | 5 | 47 | 5
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | H | 1 | Reserved | 0 | 0 % | 0.000 m²
Room LMSCN2 on Floor Ground Floor in Site LEAMINGTON SPA CN1 | 22437.50 W | 21000.00 W | 107 % | [6 empty] | Rack LMSCN2;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19