## Suite Line Capacity
Report generated for: | Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP
| Quantity | % of all area | Area
Total free sections: | 28/125 | 30 % | 9.897 m²
Total occupied sections: | 97/125 | 70 % | 22.752 m²
Total reserved sections: | 0/125 | 0 % | 0.000 m²
Total Lines Capability |  |  | 32.650 m²
Total Location Capability |  |  | 214.520 m²
Total Location Free Area |  |  | 191.408 m²
Total Location Occupied Area |  |  | 23.112 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Aa | 8 | Free | 4 | 55 % | 1.080 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Aa | 8 | Occupied | 4 | 45 % | 0.900 m² | Rack Aa1, Floor Position = Aa1 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Aa | 8 | Occupied | 4 | 45 % | 0.900 m² | Rack Aa5, Floor Position = Aa5 | 41 | 43 | 37 | 39 | 36 | 29
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Aa | 8 | Occupied | 4 | 45 % | 0.900 m² | Rack AA04, Floor Position = Aa4 | 25 | 44 | 25 | 23 | 44 | 23
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Aa | 8 | Occupied | 4 | 45 % | 0.900 m² | Rack Aa3, Floor Position = Aa3 | 0 | 42 | 0 | 0 | 42 | 0
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Aa | 8 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Free | 3 | 65 % | 2.980 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Occupied | 5 | 35 % | 1.640 m² | Rack Aa1, Floor Position = Aa1 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Occupied | 5 | 35 % | 1.640 m² | Rack Aa3, Floor Position = Aa3 | 0 | 42 | 0 | 0 | 42 | 0
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Occupied | 5 | 35 % | 1.640 m² | Rack Ab4, Floor Position = Ab4 | 26 | 48 | 26 | 25 | 48 | 25
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Occupied | 5 | 35 % | 1.640 m² | Rack Aa5, Floor Position = Aa5 | 41 | 43 | 37 | 39 | 36 | 29
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Occupied | 5 | 35 % | 1.640 m² | Rack AA06, Floor Position = Aa6 | 10 | 33 | 4 | 4 | 33 | 4
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | Ab | 8 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Free | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B2, Floor Position = B02 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Free | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C6, Floor Position = C06 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Occupied | 7 | 100 % | 1.890 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Free | 0 | 9 % | 0.180 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D8, Floor Position = D8 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D9, Floor Position = D09 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D/E07, Floor Position = D7 | 7 | 43 | 7 | 3 | 36 | 3
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D06, Floor Position = D6 | 8 | 44 | 8 | 5 | 44 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D4, Floor Position = D4 | 26 | 47 | 26 | 18 | 47 | 18
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D05, Floor Position = D5 | 8 | 44 | 8 | 4 | 44 | 4
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | Rack D3, Floor Position = D3 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | ODF D2, Floor Position = D02 | 14 | 47 | 14 | 11 | 47 | 11
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Occupied | 9 | 91 % | 1.845 m² | ODF CODF D01, Floor Position = D1 | 21 | 47 | 21 | 11 | 47 | 11
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Free | 1 | 15 % | 0.300 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | Rack D8, Floor Position = D8 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | Rack E9, Floor Position = E09 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | Rack D/E07, Floor Position = D7 | 7 | 43 | 7 | 3 | 36 | 3
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | Rack D4, Floor Position = D4 | 26 | 47 | 26 | 18 | 47 | 18
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | ODF E05, Floor Position = E5 | 44 | 47 | 44 | 23 | 47 | 23
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | Rack D3, Floor Position = D3 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | ODF E2, Floor Position = E2 | 27 | 47 | 27 | 23 | 47 | 23
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Occupied | 8 | 85 % | 1.725 m² | ODF E1, Floor Position = E1 | 29 | 47 | 29 | 28 | 47 | 28
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | E | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Free | 0 | 7 % | 0.139 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F11, Floor Position = F11 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F12, Floor Position = F12 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F9, Floor Position = F9 | 36 | 47 | 36 | 36 | 47 | 36
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F10, Floor Position = F10 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F07, Floor Position = F7 | 31 | 47 | 31 | 22 | 47 | 22
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F6, Floor Position = F6 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F5, Floor Position = F5 | 45 | 47 | 45 | 45 | 47 | 45
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F4, Floor Position = F4 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F3, Floor Position = F3 | 39 | 47 | 39 | 39 | 47 | 39
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F2, Floor Position = F2 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Occupied | 11 | 93 % | 1.890 m² | Rack F1, Floor Position = F1 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Free | 1 | 18 % | 0.360 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F11, Floor Position = F11 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack G12, Floor Position = G12 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F9, Floor Position = F9 | 36 | 47 | 36 | 36 | 47 | 36
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F10, Floor Position = F10 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F6, Floor Position = F6 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F5, Floor Position = F5 | 45 | 47 | 45 | 45 | 47 | 45
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F4, Floor Position = F4 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F3, Floor Position = F3 | 39 | 47 | 39 | 39 | 47 | 39
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F2, Floor Position = F2 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Occupied | 10 | 82 % | 1.665 m² | Rack F1, Floor Position = F1 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Free | 1 | 13 % | 0.270 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H10, Floor Position = H10 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H11, Floor Position = H11 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H08, Floor Position = H8 | 27 | 47 | 27 | 21 | 47 | 21
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H9, Floor Position = H9 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H7, Floor Position = H7 | 42 | 47 | 42 | 42 | 47 | 42
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H6, Floor Position = H6 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H5, Floor Position = H5 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H4, Floor Position = H4 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | Rack H3, Floor Position = H3 | 42 | 47 | 42 | 42 | 47 | 42
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Occupied | 10 | 87 % | 1.755 m² | ODF H02, Floor Position = H2 | 7 | 47 | 7 | 6 | 47 | 6
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | H | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Free | 1 | 13 % | 0.269 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H10, Floor Position = H10 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack J11, Floor Position = J11 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H08, Floor Position = H8 | 27 | 47 | 27 | 21 | 47 | 21
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H9, Floor Position = H9 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H7, Floor Position = H7 | 42 | 47 | 42 | 42 | 47 | 42
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H6, Floor Position = H6 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H5, Floor Position = H5 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H3, Floor Position = H3 | 42 | 47 | 42 | 42 | 47 | 42
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | Rack H4, Floor Position = H4 | 43 | 47 | 43 | 43 | 47 | 43
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Occupied | 10 | 87 % | 1.748 m² | ODF J2, Floor Position = J02 | 13 | 47 | 13 | 11 | 47 | 11
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | J | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Free | 5 | 49 % | 0.989 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Occupied | 6 | 51 % | 1.034 m² | Rack K11, Floor Position = K11 | 35 | 47 | 35 | 34 | 47 | 34
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Occupied | 6 | 51 % | 1.034 m² | Rack K12, Floor Position = K12 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Occupied | 6 | 51 % | 1.034 m² | Rack K9, Floor Position = K9 | 45 | 47 | 45 | 45 | 47 | 45
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Occupied | 6 | 51 % | 1.034 m² | Rack K10, Floor Position = K10 | 45 | 47 | 45 | 45 | 47 | 45
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Occupied | 6 | 51 % | 1.034 m² | Rack K08, Floor Position = K8 | 21 | 47 | 21 | 16 | 47 | 16
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Occupied | 6 | 51 % | 1.034 m² | Rack K1, Floor Position = K1 | 45 | 47 | 45 | 45 | 47 | 45
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | K | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | L | 12 | Free | 9 | 80 % | 1.620 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | L | 12 | Occupied | 3 | 20 % | 0.405 m² | Rack K11, Floor Position = K11 | 35 | 47 | 35 | 34 | 47 | 34
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | L | 12 | Occupied | 3 | 20 % | 0.405 m² | Rack L12, Floor Position = L12 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | L | 12 | Occupied | 3 | 20 % | 0.405 m² | Rack K1, Floor Position = K1 | 45 | 47 | 45 | 45 | 47 | 45
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | L | 12 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Free | 3 | 28 % | 1.710 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M6, Floor Position = M6 | 22 | 47 | 22 | 13 | 47 | 13
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M7, Floor Position = M07 | 5 | 47 | 5 | 5 | 47 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M04, Floor Position = M4 | 12 | 38 | 12 | 3 | 21 | 3
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M5, Floor Position = M5 | 11 | 45 | 11 | 5 | 45 | 5
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M3, Floor Position = M3 | 47 | 47 | 47 | 47 | 47 | 47
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M02, Floor Position = M2 | 11 | 42 | 8 | 2 | 23 | 2
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Occupied | 7 | 72 % | 4.365 m² | Rack M1, Floor Position = M1 | 39 | 47 | 39 | 37 | 47 | 37
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | M | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LPLTK1 on Floor Ground Floor in Site KING EDWARD TAP | 49191.00 W | 37500.00 W | 131 % | [6 empty] | Rack LPLTK1;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17