## Suite Line Capacity
Report generated for: | Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 56/204 | 41 % | 24.501 m²
Total occupied sections: | 147/204 | 59 % | 35.329 m²
Total reserved sections: | 1/204 | 0 % | 0.075 m²
Total Lines Capability |  |  | 59.905 m²
Total Location Capability |  |  | 211.569 m²
Total Location Free Area |  |  | 176.240 m²
Total Location Occupied Area |  |  | 35.329 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Free | 2 | 44 % | 1.414 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | ODF A08, Floor Position = A8 | 12 | 44 | 12 | 11 | 44 | 11
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | Rack A05, Floor Position = A5 | 22 | 47 | 22 | 19 | 47 | 19
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | ODF A07, Floor Position = A7 | 43 | 46 | 43 | 27 | 46 | 27
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | ODF A02, Floor Position = A2 | 34 | 44 | 34 | 18 | 44 | 18
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | ODF A01, Floor Position = A1 | 7 | 44 | 7 | 5 | 44 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | Rack A4, Floor Position = A4 | 28 | 46 | 28 | 21 | 46 | 21
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Occupied | 7 | 56 % | 1.800 m² | Rack A3, Floor Position = A3 | 31 | 47 | 31 | 27 | 47 | 27
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Free | 4 | 35 % | 0.810 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA6, Floor Position = AA6 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA5, Floor Position = AA5 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA7, Floor Position = AA7 | 44 | 46 | 44 | 44 | 46 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA2, Floor Position = AA2 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA1, Floor Position = AA1 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA3, Floor Position = AA3 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Occupied | 7 | 65 % | 1.530 m² | Rack AA4, Floor Position = AA4 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | AA | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Free | 0 | 13 % | 0.315 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B11, Floor Position = B11 | 44 | 46 | 44 | 44 | 46 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B7, Floor Position = B7 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B6, Floor Position = B6 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B9, Floor Position = B9 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B10, Floor Position = B10 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B3, Floor Position = B3 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B1, Floor Position = B1 | 35 | 43 | 34 | 32 | 32 | 32
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B2, Floor Position = B2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B5, Floor Position = B5 | 41 | 44 | 41 | 41 | 44 | 41
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Occupied | 10 | 87 % | 2.025 m² | Rack B4, Floor Position = B4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | B | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Free | 1 | 8 % | 0.180 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C11, Floor Position = C11 | 6 | 44 | 6 | 1 | 44 | 1
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C10, Floor Position = C10 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C12, Floor Position = C12 | 5 | 44 | 5 | 1 | 44 | 1
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C7, Floor Position = C7 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C6, Floor Position = C6 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C9, Floor Position = C9 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C8, Floor Position = C8 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C3, Floor Position = C3 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C5, Floor Position = C5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C4, Floor Position = C4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack B1, Floor Position = B1 | 35 | 43 | 34 | 32 | 32 | 32
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Occupied | 12 | 92 % | 2.160 m² | Rack C2, Floor Position = C2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | C | 13 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Free | 1 | 56 % | 2.546 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D3, Floor Position = D3 | 13 | 40 | 10 | 6 | 24 | 3
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D1, Floor Position = D1 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D2, Floor Position = D2 | 11 | 34 | 6 | 7 | 30 | 2
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D5, Floor Position = D5 | 11 | 46 | 11 | 5 | 46 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack E06, Floor Position = D6 | 18 | 39 | 17 | 11 | 39 | 10
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | ODF D12, Floor Position = D12 | 41 | 47 | 41 | 40 | 47 | 40
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D09, Floor Position = D9 | 14 | 37 | 14 | 4 | 37 | 4
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D/E07, Floor Position = D7 | 11 | 43 | 11 | 9 | 43 | 9
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Occupied | 9 | 44 % | 1.979 m² | Rack D8, Floor Position = D8 | 42 | 47 | 42 | 42 | 47 | 42
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | D | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Free | 1 | 39 % | 1.539 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D3, Floor Position = D3 | 13 | 40 | 10 | 6 | 24 | 3
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D1, Floor Position = D1 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D2, Floor Position = D2 | 11 | 34 | 6 | 7 | 30 | 2
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D5, Floor Position = D5 | 11 | 46 | 11 | 5 | 46 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack E06, Floor Position = D6 | 18 | 39 | 17 | 11 | 39 | 10
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | ODF E12, Floor Position = E12 | 40 | 47 | 40 | 24 | 47 | 24
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D09, Floor Position = D9 | 14 | 37 | 14 | 4 | 37 | 4
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D/E07, Floor Position = D7 | 11 | 43 | 11 | 9 | 43 | 9
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Occupied | 9 | 61 % | 2.361 m² | Rack D8, Floor Position = D8 | 42 | 47 | 42 | 42 | 47 | 42
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Free | 2 | 25 % | 0.574 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F4, Floor Position = F4 | 11 | 47 | 11 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F3, Floor Position = F3 | 21 | 44 | 21 | 19 | 44 | 19
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F1, Floor Position = F01 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F2, Floor Position = F2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | ODF F11, Floor Position = F11 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F8, Floor Position = F8 | 43 | 45 | 43 | 43 | 45 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F10, Floor Position = F10 | 45 | 45 | 45 | 45 | 45 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F9, Floor Position = F9 | 43 | 45 | 43 | 43 | 45 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Occupied | 9 | 75 % | 1.770 m² | Rack F7, Floor Position = F7 | 39 | 45 | 39 | 39 | 45 | 39
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Free | 2 | 61 % | 3.347 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack G4, Floor Position = G4 | 11 | 47 | 11 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack F1, Floor Position = F01 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack F2, Floor Position = F2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | ODF G11, Floor Position = G11 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack G8, Floor Position = G8 | 43 | 45 | 43 | 43 | 45 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack G10, Floor Position = G10 | 42 | 45 | 42 | 42 | 45 | 42
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack G9, Floor Position = G9 | 42 | 45 | 42 | 42 | 45 | 42
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack F6, Floor Position = F6 | 42 | 44 | 42 | 42 | 44 | 42
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Occupied | 9 | 39 % | 2.150 m² | Rack G7, Floor Position = G7 | 43 | 45 | 43 | 43 | 45 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Free | 7 | 58 % | 1.350 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Occupied | 5 | 42 % | 0.990 m² | Rack H1, Floor Position = H1 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Occupied | 5 | 42 % | 0.990 m² | ODF H13, Floor Position = H13 | 45 | 45 | 45 | 45 | 45 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Occupied | 5 | 42 % | 0.990 m² | Rack H11, Floor Position = H11 | 44 | 46 | 44 | 44 | 46 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Occupied | 5 | 42 % | 0.990 m² | Rack H10, Floor Position = H10 | 44 | 46 | 44 | 44 | 46 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Occupied | 5 | 42 % | 0.990 m² | Rack H9, Floor Position = H9 | 30 | 47 | 30 | 28 | 47 | 28
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | H | 12 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | J | 12 | Free | 8 | 65 % | 1.530 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | J | 12 | Occupied | 4 | 35 % | 0.810 m² | Rack H1, Floor Position = H1 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | J | 12 | Occupied | 4 | 35 % | 0.810 m² | ODF J13, Floor Position = J13 | 45 | 45 | 45 | 45 | 45 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | J | 12 | Occupied | 4 | 35 % | 0.810 m² | Rack H11, Floor Position = H11 | 44 | 46 | 44 | 44 | 46 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | J | 12 | Occupied | 4 | 35 % | 0.810 m² | Rack H10, Floor Position = H10 | 44 | 46 | 44 | 44 | 46 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | J | 12 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | K | 9 | Free | 9 | 100 % | 1.800 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | K | 9 | Occupied | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | K | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Free | 0 | 21 % | 0.698 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Occupied | 6 | 79 % | 2.707 m² | Rack KK3, Floor Position = KK3 | 50 | 50 | 50 | 50 | 50 | 50
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Occupied | 6 | 79 % | 2.707 m² | Rack KK1, Floor Position = KK1 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Occupied | 6 | 79 % | 2.707 m² | Rack KK2, Floor Position = KK2 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Occupied | 6 | 79 % | 2.707 m² | Rack LSWN01;DC SYS01, Floor Position = KK05 | 18 | 46 | 18 | 17 | 25 | 17
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Occupied | 6 | 79 % | 2.707 m² | Rack KK4, Floor Position = KK4 | 50 | 50 | 50 | 50 | 50 | 50
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Occupied | 6 | 79 % | 2.707 m² | Rack KK7, Floor Position = KK7 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | KK | 6 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Free | 3 | 38 % | 0.690 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Occupied | 6 | 62 % | 1.110 m² | ODF L08, Floor Position = L8 | 24 | 47 | 24 | 22 | 47 | 22
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Occupied | 6 | 62 % | 1.110 m² | Rack L5, Floor Position = L5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Occupied | 6 | 62 % | 1.110 m² | Rack L4, Floor Position = L4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Occupied | 6 | 62 % | 1.110 m² | Rack L3, Floor Position = L3 | 43 | 46 | 43 | 43 | 46 | 43
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Occupied | 6 | 62 % | 1.110 m² | Rack L2, Floor Position = L2 | 35 | 35 | 35 | 35 | 35 | 35
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Occupied | 6 | 62 % | 1.110 m² | Rack L1, Floor Position = L1 | 35 | 35 | 35 | 35 | 35 | 35
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | L | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | M | 8 | Free | 5 | 78 % | 1.860 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | M | 8 | Occupied | 2 | 19 % | 0.465 m² | Rack M6, Floor Position = M6 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | M | 8 | Occupied | 2 | 19 % | 0.465 m² | Rack M/N04, Floor Position = M4 | 32 | 24 | 14 | 32 | 13 | 13
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | M | 8 | Reserved | 1 | 3 % | 0.075 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | N | 8 | Free | 4 | 52 % | 0.930 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | N | 8 | Occupied | 4 | 48 % | 0.870 m² | ODF M/N07, Floor Position = N7 | 44 | 47 | 44 | 27 | 47 | 27
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | N | 8 | Occupied | 4 | 48 % | 0.870 m² | Rack N6, Floor Position = N6 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | N | 8 | Occupied | 4 | 48 % | 0.870 m² | Rack N1, Floor Position = N1 | 37 | 46 | 37 | 33 | 46 | 33
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | N | 8 | Occupied | 4 | 48 % | 0.870 m² | Rack M/N04, Floor Position = M4 | 32 | 24 | 14 | 32 | 13 | 13
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | N | 8 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Free | 0 | 8 % | 0.151 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | Rack P4, Floor Position = P4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | Rack P5, Floor Position = P5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | Rack P3, Floor Position = P3 | 45 | 47 | 45 | 45 | 47 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | ODF P2, Floor Position = P2 | 45 | 45 | 45 | 45 | 45 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | Rack P1, Floor Position = P1 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | Rack P9, Floor Position = P9 | 0 | 47 | 0 | 0 | 47 | 0
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Occupied | 7 | 92 % | 1.643 m² | ODF P7, Floor Position = P7 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | P | 7 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Free | 0 | 8 % | 0.151 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | Rack P4, Floor Position = P4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | Rack P5, Floor Position = P5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | Rack P3, Floor Position = P3 | 45 | 47 | 45 | 45 | 47 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | ODF Q2, Floor Position = Q2 | 42 | 45 | 42 | 27 | 45 | 27
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | Rack P1, Floor Position = P1 | 5 | 47 | 5 | 5 | 47 | 5
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | Rack P9, Floor Position = P9 | 0 | 47 | 0 | 0 | 47 | 0
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Occupied | 7 | 92 % | 1.637 m² | ODF Q7, Floor Position = Q7 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | Q | 7 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Free | 1 | 15 % | 0.275 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R2, Floor Position = R2 | 16 | 47 | 16 | 4 | 47 | 4
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R1, Floor Position = R1 | 45 | 47 | 45 | 45 | 47 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R5, Floor Position = R5 | 38 | 27 | 18 | 36 | 16 | 16
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R7, Floor Position = R7 | 41 | 47 | 41 | 40 | 47 | 40
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | ODF CODF R04, Floor Position = R4 | 24 | 47 | 24 | 14 | 47 | 14
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R8, Floor Position = R8 | 41 | 47 | 41 | 40 | 47 | 40
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R10, Floor Position = R10 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack R9, Floor Position = R9 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | R | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Free | 2 | 40 % | 1.451 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack S2, Floor Position = S2 | 28 | 47 | 28 | 25 | 47 | 25
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack R1, Floor Position = R1 | 45 | 47 | 45 | 45 | 47 | 45
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack R5, Floor Position = R5 | 38 | 27 | 18 | 36 | 16 | 16
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack R7, Floor Position = R7 | 41 | 47 | 41 | 40 | 47 | 40
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack R8, Floor Position = R8 | 41 | 47 | 41 | 40 | 47 | 40
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack R9, Floor Position = R9 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Occupied | 7 | 60 % | 2.160 m² | Rack R10, Floor Position = R10 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | S | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Free | 1 | 10 % | 0.240 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T3, Floor Position = T3 | 41 | 42 | 40 | 41 | 39 | 39
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T1, Floor Position = T1 | 38 | 42 | 38 | 38 | 42 | 38
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T/U02, Floor Position = T2 | 6 | 40 | 6 | 4 | 37 | 4
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T/U04, Floor Position = T4 | 13 | 47 | 13 | 6 | 47 | 6
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T6, Floor Position = T6 | 36 | 45 | 35 | 32 | 45 | 32
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T8, Floor Position = T8 | 40 | 44 | 39 | 39 | 41 | 39
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T10, Floor Position = T10 | 22 | 47 | 22 | 7 | 47 | 7
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Occupied | 8 | 90 % | 2.160 m² | Rack T/U11, Floor Position = T11 | 30 | 44 | 27 | 24 | 44 | 21
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | T | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Free | 1 | 23 % | 0.540 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T3, Floor Position = T3 | 41 | 42 | 40 | 41 | 39 | 39
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T/U04, Floor Position = T4 | 13 | 47 | 13 | 6 | 47 | 6
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T/U02, Floor Position = T2 | 6 | 40 | 6 | 4 | 37 | 4
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T1, Floor Position = T1 | 38 | 42 | 38 | 38 | 42 | 38
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T/U11, Floor Position = T11 | 30 | 44 | 27 | 24 | 44 | 21
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T10, Floor Position = T10 | 22 | 47 | 22 | 7 | 47 | 7
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T6, Floor Position = T6 | 36 | 45 | 35 | 32 | 45 | 32
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Occupied | 8 | 78 % | 1.860 m² | Rack T8, Floor Position = T8 | 40 | 44 | 39 | 39 | 41 | 39
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | U | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | V | 5 | Free | 2 | 57 % | 2.107 m²
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | V | 5 | Occupied | 3 | 43 % | 1.613 m² | Rack V3, Floor Position = V3 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | V | 5 | Occupied | 3 | 43 % | 1.613 m² | Rack V1, Floor Position = V1 | 34 | 34 | 34 | 34 | 34 | 34
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | V | 5 | Occupied | 3 | 43 % | 1.613 m² | Rack V9, Floor Position = V9 | 41 | 44 | 41 | 41 | 44 | 41
Room LSWN01 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 99737.00 W | 71250.00 W | 140 % | V | 5 | Reserved | 0 | 0 % | 0.000 m²