## Suite Line Capacity
Report generated for: | Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 7/49 | 16 % | 1.480 m²
Total occupied sections: | 42/49 | 84 % | 7.540 m²
Total reserved sections: | 0/49 | 0 % | 0.000 m²
Total Lines Capability |  |  | 9.020 m²
Total Location Capability |  |  | 60.571 m²
Total Location Free Area |  |  | 53.031 m²
Total Location Occupied Area |  |  | 7.540 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | A | 5 | Free | 4 | 80 % | 0.720 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | A | 5 | Occupied | 1 | 20 % | 0.180 m² | Rack A1, Floor Position = A1 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | A | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | AA | 1 | Free | 0 | 7 % | 0.014 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | AA | 1 | Occupied | 1 | 93 % | 0.180 m² | Rack AA1, Floor Position = AA01 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | AA | 1 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | B | 5 | Free | 3 | 60 % | 0.540 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | B | 5 | Occupied | 2 | 40 % | 0.360 m² | Rack B5, Floor Position = B5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | B | 5 | Occupied | 2 | 40 % | 0.360 m² | Rack A1, Floor Position = A1 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | B | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Free | 0 | 1 % | 0.005 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack C3, Floor Position = C3 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack C5, Floor Position = C5 | 45 | 47 | 45 | 45 | 47 | 45
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack C4, Floor Position = C4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack C2, Floor Position = C2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack C1, Floor Position = C01 | 4 | 47 | 4 | 4 | 47 | 4
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | C | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Free | 0 | 1 % | 0.005 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack D3, Floor Position = D3 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack D5, Floor Position = D5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack D4, Floor Position = D4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack D2, Floor Position = D2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Occupied | 5 | 99 % | 0.808 m² | Rack C1, Floor Position = C01 | 4 | 47 | 4 | 4 | 47 | 4
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | D | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Free | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack E3, Floor Position = E3 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack E5, Floor Position = E5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack E4, Floor Position = E4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack E2, Floor Position = E2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack E1, Floor Position = E01 | 4 | 47 | 4 | 4 | 47 | 4
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | E | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Free | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack F3, Floor Position = F3 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack F5, Floor Position = F5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack F4, Floor Position = F4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack F2, Floor Position = F2 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Occupied | 5 | 100 % | 0.810 m² | Rack E1, Floor Position = E01 | 4 | 47 | 4 | 4 | 47 | 4
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | G | 3 | Free | 0 | 1 % | 0.009 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | G | 3 | Occupied | 3 | 99 % | 0.801 m² | ODF G4, Floor Position = G04 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | G | 3 | Occupied | 3 | 99 % | 0.801 m² | ODF G6, Floor Position = G06 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | G | 3 | Occupied | 3 | 99 % | 0.801 m² | ODF G5, Floor Position = G05 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | G | 3 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | H | 3 | Free | 0 | 23 % | 0.187 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | H | 3 | Occupied | 3 | 77 % | 0.623 m² | ODF H5, Floor Position = H05 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | H | 3 | Occupied | 3 | 77 % | 0.623 m² | ODF H6, Floor Position = H06 | 45 | 47 | 45 | 45 | 47 | 45
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | H | 3 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Free | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack J02, Floor Position = J2 | 36 | 47 | 36 | 29 | 47 | 29
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | ODF J4, Floor Position = J4 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack J4a, Floor Position = J4a | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack J03, Floor Position = J3 | 35 | 47 | 35 | 28 | 47 | 28
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack J3a, Floor Position = J3a | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack J2a, Floor Position = J2a | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | ODF J1, Floor Position = J1 | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack J1a, Floor Position = J1a | 47 | 47 | 47 | 47 | 47 | 47
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | K | 2 | Free | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | K | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack K5, Floor Position = K5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | K | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack K4, Floor Position = K4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | K | 2 | Reserved | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | L | 2 | Free | 0 | 0 % | 0.000 m²
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | L | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack L5, Floor Position = L5 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | L | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack L4, Floor Position = L4 | 44 | 47 | 44 | 44 | 47 | 44
Room LSWN02 on Floor 2nd Floor in Site GLOBAL SWITCH 1 (North) DATA CENTRE | 210.00 W | 0.00 W | 0 % | L | 2 | Reserved | 0 | 0 % | 0.000 m²