## Suite Line Capacity
Report generated for: | Room LTNDN1 on Floor Ground Floor in Site LUTON
| Quantity | % of all area | Area
Total free sections: | 13/90 | 33 % | 6.674 m²
Total occupied sections: | 77/90 | 67 % | 13.694 m²
Total reserved sections: | 0/90 | 0 % | 0.000 m²
Total Lines Capability |  |  | 20.368 m²
Total Location Capability |  |  | 65.507 m²
Total Location Free Area |  |  | 51.813 m²
Total Location Occupied Area |  |  | 13.694 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Free | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A8, Floor Position = A08 | 74 | 74 | 74 | 74 | 74 | 74
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A4, Floor Position = A04 | 71 | 74 | 71 | 71 | 74 | 71
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A06, Floor Position = A06 | 25 | 28 | 25 | 19 | 20 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A5, Floor Position = A05 | 71 | 74 | 71 | 71 | 74 | 71
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A7, Floor Position = A07 | 71 | 74 | 71 | 71 | 74 | 71
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | ODF A02, Floor Position = A02 | 11 | 13 | 11 | 8 | 13 | 8
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A1, Floor Position = A01 | 44 | 47 | 44 | 44 | 47 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Occupied | 9 | 100 % | 1.279 m² | Rack A3, Floor Position = A03 | 71 | 74 | 71 | 71 | 74 | 71
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Free | 3 | 43 % | 1.366 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B0, Floor Position = B0 | 25 | 47 | 25 | 19 | 47 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B1, Floor Position = B1 | 44 | 44 | 44 | 44 | 44 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B8, Floor Position = B8 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B9, Floor Position = B9 | 5 | 47 | 5 | 5 | 47 | 5
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B5, Floor Position = B5 | 2 | 20 | 2 | 2 | 18 | 2
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B3, Floor Position = B3 | 42 | 44 | 42 | 42 | 44 | 42
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B4, Floor Position = B4 | 41 | 44 | 41 | 41 | 44 | 41
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B2, Floor Position = B2 | 41 | 44 | 41 | 41 | 44 | 41
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B7, Floor Position = B7 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Occupied | 10 | 57 % | 1.815 m² | Rack B6, Floor Position = B6 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | B | 13 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | BB | 4 | Free | 1 | 41 % | 0.485 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | BB | 4 | Occupied | 3 | 59 % | 0.713 m² | Rack BB5, Floor Position = BB5 | 5 | 47 | 5 | 5 | 47 | 5
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | BB | 4 | Occupied | 3 | 59 % | 0.713 m² | Rack BB2, Floor Position = BB2 | 44 | 47 | 44 | 44 | 47 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | BB | 4 | Occupied | 3 | 59 % | 0.713 m² | Rack BB/CC04, Floor Position = BB4 | 29 | 40 | 24 | 19 | 39 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | BB | 4 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Free | 4 | 25 % | 0.607 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | ODF CODF C00, Floor Position = C0 | 26 | 47 | 26 | 16 | 47 | 16
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack B1, Floor Position = B1 | 44 | 44 | 44 | 44 | 44 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack C8, Floor Position = C8 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack B5, Floor Position = B5 | 2 | 20 | 2 | 2 | 18 | 2
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack B3, Floor Position = B3 | 42 | 44 | 42 | 42 | 44 | 42
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack B4, Floor Position = B4 | 41 | 44 | 41 | 41 | 44 | 41
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack B2, Floor Position = B2 | 41 | 44 | 41 | 41 | 44 | 41
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack C7, Floor Position = C7 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Occupied | 9 | 75 % | 1.800 m² | Rack B6, Floor Position = B6 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | C | 13 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Free | 0 | 24 % | 0.298 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Occupied | 5 | 76 % | 0.936 m² | Rack CC01, Floor Position = CC1 | 23 | 47 | 23 | 10 | 47 | 10
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Occupied | 5 | 76 % | 0.936 m² | Rack BB5, Floor Position = BB5 | 5 | 47 | 5 | 5 | 47 | 5
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Occupied | 5 | 76 % | 0.936 m² | Rack CC2, Floor Position = CC2 | 44 | 47 | 44 | 44 | 47 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Occupied | 5 | 76 % | 0.936 m² | Rack CC03, Floor Position = CC3 | 34 | 47 | 34 | 26 | 47 | 26
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Occupied | 5 | 76 % | 0.936 m² | Rack BB/CC04, Floor Position = BB4 | 29 | 40 | 24 | 19 | 39 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | CC | 5 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Free | 1 | 48 % | 1.624 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D1, Floor Position = D1 | 42 | 42 | 42 | 42 | 42 | 42
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D2, Floor Position = D2 | 42 | 42 | 42 | 42 | 42 | 42
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D05, Floor Position = D5 | 23 | 47 | 23 | 20 | 47 | 20
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D4, Floor Position = D4 | 43 | 44 | 43 | 43 | 44 | 43
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D3, Floor Position = D3 | 43 | 44 | 43 | 43 | 44 | 43
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D6, Floor Position = D6 | 5 | 30 | 5 | 4 | 30 | 4
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D10, Floor Position = D10 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D11, Floor Position = D11 | 5 | 47 | 5 | 5 | 47 | 5
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D6a, Floor Position = D6a | 14 | 47 | 14 | 10 | 47 | 10
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack DE07, Floor Position = D7 | 34 | 37 | 33 | 32 | 37 | 32
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Occupied | 11 | 52 % | 1.740 m² | Rack D8, Floor Position = D8 | 44 | 47 | 44 | 44 | 47 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | D | 12 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | DD | 2 | Free | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | DD | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack LTNDN1;DC SYS01, Floor Position = DD01 | 20 | 46 | 20 | 19 | 25 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | DD | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack EE2, Floor Position = EE2 | 44 | 44 | 44 | 44 | 44 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | DD | 2 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Free | 2 | 40 % | 1.171 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack E05, Floor Position = E5 | 14 | 47 | 14 | 5 | 47 | 5
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack D6, Floor Position = D6 | 5 | 30 | 5 | 4 | 30 | 4
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack D4, Floor Position = D4 | 43 | 44 | 43 | 43 | 44 | 43
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack D3, Floor Position = D3 | 43 | 44 | 43 | 43 | 44 | 43
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack D1, Floor Position = D1 | 42 | 42 | 42 | 42 | 42 | 42
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack D2, Floor Position = D2 | 42 | 42 | 42 | 42 | 42 | 42
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack E10, Floor Position = E10 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack E8, Floor Position = E8 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack E9, Floor Position = E9 | 51 | 54 | 51 | 51 | 54 | 51
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack DE07, Floor Position = D7 | 34 | 37 | 33 | 32 | 37 | 32
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Occupied | 11 | 60 % | 1.748 m² | Rack E6a, Floor Position = E6a | 20 | 47 | 20 | 14 | 47 | 14
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | E | 13 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | EE | 2 | Free | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | EE | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack LTNDN1;DC SYS01, Floor Position = DD01 | 20 | 46 | 20 | 19 | 25 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | EE | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack EE2, Floor Position = EE2 | 44 | 44 | 44 | 44 | 44 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | EE | 2 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Free | 1 | 32 % | 0.882 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F2, Floor Position = F2 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F4, Floor Position = F4 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F3, Floor Position = F3 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F5, Floor Position = F5 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F1, Floor Position = F1 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F11, Floor Position = F11 | 44 | 44 | 44 | 44 | 44 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F8, Floor Position = F8 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F9, Floor Position = F9 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F6, Floor Position = F6 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Occupied | 10 | 68 % | 1.893 m² | Rack F7, Floor Position = F7 | 54 | 54 | 54 | 54 | 54 | 54
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | FF | 2 | Free | 0 | 12 % | 0.060 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | FF | 2 | Occupied | 2 | 88 % | 0.420 m² | Rack FF01, Floor Position = FF1 | 28 | 47 | 28 | 19 | 47 | 19
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | FF | 2 | Occupied | 2 | 88 % | 0.420 m² | Rack FF2, Floor Position = FF2 | 44 | 47 | 44 | 44 | 47 | 44
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | FF | 2 | Reserved | 0 | 0 % | 0.000 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | X | 4 | Free | 1 | 22 % | 0.180 m²
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | X | 4 | Occupied | 3 | 78 % | 0.630 m² | Rack X1, Floor Position = X01 | 41 | 44 | 41 | 41 | 44 | 41
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | X | 4 | Occupied | 3 | 78 % | 0.630 m² | Rack X2, Floor Position = X02 | 41 | 44 | 41 | 41 | 44 | 41
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | X | 4 | Occupied | 3 | 78 % | 0.630 m² | ODF X04, Floor Position = X04 | 37 | 54 | 37 | 30 | 54 | 30
Room LTNDN1 on Floor Ground Floor in Site LUTON | 29064.00 W | 22500.00 W | 129 % | X | 4 | Reserved | 0 | 0 % | 0.000 m²