## Suite Line Capacity
Report generated for: | Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP
| Quantity | % of all area | Area
Total free sections: | 41/185 | 49 % | 29.670 m²
Total occupied sections: | 144/185 | 51 % | 30.340 m²
Total reserved sections: | 0/185 | 0 % | 0.000 m²
Total Lines Capability |  |  | 60.010 m²
Total Location Capability |  |  | 351.240 m²
Total Location Free Area |  |  | 320.540 m²
Total Location Occupied Area |  |  | 30.700 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Free | 7 | 35 % | 2.745 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A1, Floor Position = A1 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | ODF A14, Floor Position = A14 | 18 | 47 | 18 | 17 | 47 | 17
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | ODF CODF A15, Floor Position = A15 | 36 | 47 | 36 | 16 | 47 | 16
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A12, Floor Position = A12 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A11, Floor Position = A11 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A13, Floor Position = A13 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A19, Floor Position = A19 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A18, Floor Position = A18 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A16, Floor Position = A16 | 31 | 40 | 29 | 25 | 33 | 25
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A16a, Floor Position = A16a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A17, Floor Position = A17 | 41 | 47 | 41 | 41 | 47 | 41
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A3, Floor Position = A3 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A5, Floor Position = A5 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A4, Floor Position = A4 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A6, Floor Position = A6 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A2, Floor Position = A2 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A9, Floor Position = A9 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A9a, Floor Position = A9a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A10, Floor Position = A10 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A8, Floor Position = A8 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A7, Floor Position = A7 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A8a, Floor Position = A8a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A28, Floor Position = A28 | 41 | 44 | 41 | 41 | 44 | 41
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A27, Floor Position = A27 | 41 | 44 | 41 | 41 | 44 | 41
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A20, Floor Position = A20 | 34 | 46 | 34 | 31 | 42 | 31
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A26, Floor Position = A26 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Occupied | 27 | 65 % | 4.995 m² | Rack A25, Floor Position = A25 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | A | 34 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Free | 8 | 56 % | 7.215 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B1, Floor Position = B1 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | ODF B14, Floor Position = B14 | 43 | 44 | 43 | 43 | 44 | 43
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B11, Floor Position = B11 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B12, Floor Position = B12 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B13, Floor Position = B13 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack A18, Floor Position = A18 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack A19, Floor Position = A19 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack A16, Floor Position = A16 | 31 | 40 | 29 | 25 | 33 | 25
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack A17, Floor Position = A17 | 41 | 47 | 41 | 41 | 47 | 41
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B3, Floor Position = B3 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B4, Floor Position = B4 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B5, Floor Position = B5 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B6, Floor Position = B6 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B2, Floor Position = B2 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B9, Floor Position = B9 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B9a, Floor Position = B9a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B10, Floor Position = B10 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B8, Floor Position = B8 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B8a, Floor Position = B8a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B7, Floor Position = B7 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B28, Floor Position = B28 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B27, Floor Position = B27 | 41 | 44 | 41 | 41 | 44 | 41
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack A20, Floor Position = A20 | 34 | 46 | 34 | 31 | 42 | 31
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B26, Floor Position = B26 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack B26a, Floor Position = B26a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Occupied | 26 | 44 % | 5.685 m² | Rack A25, Floor Position = A25 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | B | 34 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Free | 10 | 51 % | 3.960 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C1, Floor Position = C1 | 42 | 47 | 42 | 42 | 47 | 42
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C16, Floor Position = C16 | 10 | 46 | 9 | 3 | 46 | 3
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C17, Floor Position = C17 | 18 | 46 | 18 | 13 | 46 | 13
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C14, Floor Position = C14 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C11, Floor Position = C11 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C13, Floor Position = C13 | 37 | 45 | 37 | 37 | 43 | 37
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C15a, Floor Position = C15a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C15, Floor Position = C15 | 43 | 47 | 43 | 43 | 47 | 43
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C8, Floor Position = C8 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C7, Floor Position = C7 | 43 | 47 | 43 | 43 | 47 | 43
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C8a, Floor Position = C8a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C9, Floor Position = C9 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C10, Floor Position = C10 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C3, Floor Position = C3 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C2, Floor Position = C2 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C5, Floor Position = C5 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C4, Floor Position = C4 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C6, Floor Position = C6 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C25, Floor Position = C25 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | Rack C26, Floor Position = C26 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Occupied | 21 | 49 % | 3.840 m² | ODF C21, Floor Position = C21 | 45 | 47 | 45 | 24 | 47 | 24
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | C | 31 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Free | 9 | 64 % | 8.340 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C1, Floor Position = C1 | 42 | 47 | 42 | 42 | 47 | 42
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C16, Floor Position = C16 | 10 | 46 | 9 | 3 | 46 | 3
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C17, Floor Position = C17 | 18 | 46 | 18 | 13 | 46 | 13
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D14, Floor Position = D14 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D12, Floor Position = D12 | 35 | 47 | 35 | 28 | 47 | 28
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D11, Floor Position = D11 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C13, Floor Position = C13 | 37 | 45 | 37 | 37 | 43 | 37
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C15, Floor Position = C15 | 43 | 47 | 43 | 43 | 47 | 43
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D15a, Floor Position = D15a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D8, Floor Position = D8 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D7, Floor Position = D7 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D8a, Floor Position = D8a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D9, Floor Position = D9 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D10, Floor Position = D10 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D3, Floor Position = D3 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D2, Floor Position = D2 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D5, Floor Position = D5 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D4, Floor Position = D4 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack D6, Floor Position = D6 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C25, Floor Position = C25 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | Rack C26, Floor Position = C26 | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Occupied | 22 | 36 % | 4.660 m² | ODF D21, Floor Position = D21 | 45 | 47 | 45 | 24 | 47 | 24
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | D | 31 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Free | 0 | 26 % | 1.035 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E1, Floor Position = E1 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E16, Floor Position = E16 | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | ODF E11, Floor Position = E11 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E9, Floor Position = E9 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | ODF E10, Floor Position = E10 | 41 | 44 | 41 | 41 | 44 | 41
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E7, Floor Position = E7 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E7a, Floor Position = E7a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E8, Floor Position = E8 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E6, Floor Position = E6 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E6a, Floor Position = E6a | 47 | 47 | 47 | 47 | 47 | 47
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E4, Floor Position = E4 | 24 | 44 | 24 | 20 | 44 | 20
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E3, Floor Position = E3 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E05, Floor Position = E5 | 16 | 47 | 16 | 6 | 47 | 6
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Occupied | 14 | 74 % | 2.925 m² | Rack E2, Floor Position = E2 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | E | 14 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Free | 0 | 28 % | 1.125 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F1, Floor Position = F1 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack E16, Floor Position = E16 | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | ODF F11, Floor Position = F11 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F9, Floor Position = F9 | 44 | 47 | 44 | 44 | 47 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | ODF F10, Floor Position = F10 | 31 | 47 | 31 | 30 | 47 | 30
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F7, Floor Position = F7 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F7a, Floor Position = F7a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F8, Floor Position = F8 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F6, Floor Position = F6 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F6a, Floor Position = F6a | 5 | 47 | 5 | 5 | 47 | 5
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F04, Floor Position = F4 | 23 | 44 | 23 | 20 | 44 | 20
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F3, Floor Position = F3 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F05, Floor Position = F5 | 23 | 44 | 23 | 20 | 44 | 20
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Occupied | 14 | 72 % | 2.835 m² | Rack F2, Floor Position = F2 | 45 | 47 | 45 | 45 | 47 | 45
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | F | 14 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Free | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G10, Floor Position = G10 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G7, Floor Position = G7 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G8, Floor Position = G8 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G9, Floor Position = G9 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G6, Floor Position = G6 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G5, Floor Position = G5 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G2, Floor Position = G2 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G4, Floor Position = G4 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G3, Floor Position = G3 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack G1, Floor Position = G1 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | G | 10 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Free | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H10, Floor Position = H10 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H7, Floor Position = H7 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H8, Floor Position = H8 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H9, Floor Position = H9 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H6, Floor Position = H6 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H5, Floor Position = H5 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H2, Floor Position = H2 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H4, Floor Position = H4 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H3, Floor Position = H3 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack H1, Floor Position = H1 | 44 | 44 | 44 | 44 | 44 | 44
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | J | 7 | Free | 7 | 100 % | 5.250 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | J | 7 | Occupied | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | J | 7 | Reserved | 0 | 0 % | 0.000 m²
Room MDBTD1 on Floor Ground Floor in Site DRAKE COURT TAP | 18320.50 W | 22500.00 W | 81 % | [6 empty] | Rack MDBTD1;DC SYS01, Floor Position = Temp Mig | 17 | 46 | 17 | 16 | 25 | 16