## Suite Line Capacity
Report generated for: | Room NBYCD1 on Floor Ground Floor in Site NEWBURY
| Quantity | % of all area | Area
Total free sections: | 6/92 | 23 % | 4.893 m²
Total occupied sections: | 86/92 | 77 % | 15.996 m²
Total reserved sections: | 0/92 | 0 % | 0.000 m²
Total Lines Capability |  |  | 20.889 m²
Total Location Capability |  |  | 94.273 m²
Total Location Free Area |  |  | 77.917 m²
Total Location Occupied Area |  |  | 16.356 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Free | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | Rack A3, Floor Position = A3 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | Rack A2, Floor Position = A2 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | Rack A1, Floor Position = A1 | 20 | 44 | 20 | 9 | 44 | 9
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | ODF A06, Floor Position = A6 | 16 | 56 | 16 | 11 | 56 | 11
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | ODF A04, Floor Position = A4 | 16 | 56 | 16 | 8 | 56 | 8
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Occupied | 7 | 100 % | 1.485 m² | Rack A05, Floor Position = A5 | 38 | 56 | 38 | 22 | 56 | 22
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Free | 0 | 12 % | 0.180 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B6, Floor Position = B6 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B4, Floor Position = B4 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B5, Floor Position = B5 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B7, Floor Position = B7 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B1, Floor Position = B1 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Occupied | 7 | 88 % | 1.305 m² | Rack B2, Floor Position = B2 | 41 | 46 | 41 | 41 | 46 | 41
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Free | 6 | 52 % | 0.875 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C7, Floor Position = C7 | 39 | 44 | 39 | 39 | 44 | 39
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C5, Floor Position = C5 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C6, Floor Position = C6 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C04, Floor Position = C4 | 25 | 56 | 25 | 11 | 56 | 11
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C2, Floor Position = C2 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C3, Floor Position = C3 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C1, Floor Position = C1 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Occupied | 8 | 48 % | 0.797 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | C | 14 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Free | 0 | 31 % | 1.132 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D4, Floor Position = D4 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D5, Floor Position = D5 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D6, Floor Position = D6 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D7, Floor Position = D7 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D8, Floor Position = D8 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D1, Floor Position = D1 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D3, Floor Position = D3 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D2, Floor Position = D2 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D10, Floor Position = D10 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D09, Floor Position = D9 | 33 | 45 | 33 | 22 | 45 | 22
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D12, Floor Position = D12 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D13, Floor Position = D13 | 41 | 44 | 41 | 41 | 44 | 41
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Occupied | 14 | 69 % | 2.520 m² | Rack D11, Floor Position = D11 | 51 | 56 | 51 | 51 | 56 | 51
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | D | 14 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Free | 0 | 12 % | 0.304 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | ODF CODF E05, Floor Position = E5 | 23 | 47 | 23 | 14 | 47 | 14
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E6, Floor Position = E6 | 41 | 46 | 41 | 41 | 46 | 41
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E7, Floor Position = E7 | 41 | 46 | 41 | 41 | 46 | 41
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E8, Floor Position = E8 | 19 | 44 | 19 | 17 | 44 | 17
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E03, Floor Position = E3 | 11 | 47 | 11 | 3 | 47 | 3
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E4, Floor Position = E4 | 31 | 42 | 31 | 20 | 42 | 20
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E1, Floor Position = E1 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E02, Floor Position = E2 | 25 | 47 | 25 | 13 | 47 | 13
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | ODF E10, Floor Position = E10 | 44 | 46 | 44 | 23 | 46 | 23
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Occupied | 11 | 88 % | 2.306 m² | Rack E9a, Floor Position = E9a | 44 | 47 | 44 | 44 | 47 | 44
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | E | 11 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Free | 0 | 28 % | 0.845 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F5, Floor Position = F5 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F6, Floor Position = F6 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F7, Floor Position = F7 | 56 | 56 | 56 | 56 | 56 | 56
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F4, Floor Position = F4 | 42 | 46 | 42 | 42 | 46 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F1, Floor Position = F1 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F2, Floor Position = F2 | 53 | 56 | 53 | 53 | 56 | 53
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack F9, Floor Position = F9 | 0 | 42 | 0 | 0 | 42 | 0
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Occupied | 9 | 72 % | 2.191 m² | Rack E9a, Floor Position = E9a | 44 | 47 | 44 | 44 | 47 | 44
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | F | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Free | 0 | 2 % | 0.050 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G11, Floor Position = G11 | 2 | 44 | 2 | 2 | 44 | 2
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G10, Floor Position = G10 | 34 | 46 | 34 | 23 | 46 | 23
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G2, Floor Position = G2 | 45 | 47 | 45 | 45 | 47 | 45
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G3, Floor Position = G3 | 44 | 44 | 44 | 44 | 44 | 44
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G1, Floor Position = G1 | 24 | 26 | 10 | 8 | 10 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G5, Floor Position = G5 | 44 | 44 | 44 | 44 | 44 | 44
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G06, Floor Position = G6 | 40 | 46 | 40 | 25 | 46 | 25
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G4, Floor Position = G4 | 42 | 44 | 42 | 42 | 44 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G8, Floor Position = G8 | 40 | 44 | 40 | 40 | 44 | 40
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G9, Floor Position = G9 | 22 | 44 | 22 | 17 | 44 | 17
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Occupied | 11 | 98 % | 2.124 m² | Rack G07, Floor Position = G7 | 6 | 44 | 6 | 1 | 44 | 1
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Free | 0 | 29 % | 0.838 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack G11, Floor Position = G11 | 2 | 44 | 2 | 2 | 44 | 2
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack GG10, Floor Position = GG10 | 23 | 47 | 23 | 20 | 47 | 20
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack G2, Floor Position = G2 | 45 | 47 | 45 | 45 | 47 | 45
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack G3, Floor Position = G3 | 44 | 44 | 44 | 44 | 44 | 44
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack G1, Floor Position = G1 | 24 | 26 | 10 | 8 | 10 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack G5, Floor Position = G5 | 44 | 44 | 44 | 44 | 44 | 44
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | ODF GG6, Floor Position = GG6 | 44 | 46 | 44 | 23 | 46 | 23
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack G4, Floor Position = G4 | 42 | 44 | 42 | 42 | 44 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack GG8, Floor Position = GG8 | 40 | 44 | 40 | 40 | 44 | 40
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack GG9, Floor Position = GG9 | 24 | 44 | 24 | 20 | 44 | 20
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Occupied | 11 | 71 % | 2.056 m² | Rack GG7, Floor Position = GG7 | 36 | 45 | 36 | 31 | 45 | 31
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | GG | 11 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Free | 0 | 37 % | 0.668 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Occupied | 6 | 63 % | 1.122 m² | Rack H3, Floor Position = H03 | 42 | 42 | 42 | 42 | 42 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Occupied | 6 | 63 % | 1.122 m² | Rack H1, Floor Position = H01 | 42 | 42 | 42 | 42 | 42 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Occupied | 6 | 63 % | 1.122 m² | Rack H2, Floor Position = H02 | 42 | 42 | 42 | 42 | 42 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Occupied | 6 | 63 % | 1.122 m² | Rack H4, Floor Position = H04 | 42 | 42 | 42 | 42 | 42 | 42
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Occupied | 6 | 63 % | 1.122 m² | Rack H08, Floor Position = H08 | 10 | 46 | 10 | 2 | 46 | 2
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Occupied | 6 | 63 % | 1.122 m² | Rack H7, Floor Position = H07 | 33 | 46 | 33 | 30 | 46 | 30
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | H | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | J | 2 | Free | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | J | 2 | Occupied | 2 | 100 % | 0.090 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | J | 2 | Occupied | 2 | 100 % | 0.090 m² | Rack J2, Floor Position = J2 | 5 | 47 | 5 | 5 | 47 | 5
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | J | 2 | Reserved | 0 | 0 % | 0.000 m²
Room NBYCD1 on Floor Ground Floor in Site NEWBURY | 35055.00 W | 33000.00 W | 106 % | [6 empty] | Rack NBYCD1;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18