## Suite Line Capacity
Report generated for: | Room NECCD1 on Floor Ground Floor in Site NEC
| Quantity | % of all area | Area
Total free sections: | 0/34 | 27 % | 2.357 m²
Total occupied sections: | 34/34 | 73 % | 6.360 m²
Total reserved sections: | 0/34 | 0 % | 0.000 m²
Total Lines Capability |  |  | 8.717 m²
Total Location Capability |  |  | 44.983 m²
Total Location Free Area |  |  | 38.624 m²
Total Location Occupied Area |  |  | 6.360 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | A | 2 | Free | 0 | 39 % | 0.189 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | A | 2 | Occupied | 2 | 61 % | 0.292 m² | Rack A2, Floor Position = A2 | 5 | 47 | 5 | 5 | 47 | 5
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | A | 2 | Occupied | 2 | 61 % | 0.292 m² | Rack A1, Floor Position = A1 | 54 | 54 | 54 | 54 | 54 | 54
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | A | 2 | Reserved | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Free | 0 | 13 % | 0.176 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Occupied | 6 | 87 % | 1.170 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Occupied | 6 | 87 % | 1.170 m² | Rack B3, Floor Position = B3 | 43 | 46 | 43 | 43 | 46 | 43
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Occupied | 6 | 87 % | 1.170 m² | ODF B01, Floor Position = B1 | 45 | 54 | 45 | 35 | 54 | 35
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Occupied | 6 | 87 % | 1.170 m² | Rack B2, Floor Position = B2 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Occupied | 6 | 87 % | 1.170 m² | Rack B4, Floor Position = B4 | 43 | 46 | 43 | 43 | 46 | 43
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Occupied | 6 | 87 % | 1.170 m² | Rack C05, Floor Position = C5 | 10 | 27 | 6 | 2 | 20 | 2
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | B | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Free | 0 | 16 % | 0.221 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack C3, Floor Position = C3 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Occupied | 6 | 84 % | 1.125 m² | ODF CODF C01, Floor Position = C1 | 16 | 54 | 16 | 16 | 54 | 16
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack C2, Floor Position = C2 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack C4, Floor Position = C4 | 6 | 44 | 6 | 2 | 44 | 2
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack C05, Floor Position = C5 | 10 | 27 | 6 | 2 | 20 | 2
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Free | 0 | 31 % | 0.391 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Occupied | 6 | 69 % | 0.858 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Occupied | 6 | 69 % | 0.858 m² | Rack D1, Floor Position = D1 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Occupied | 6 | 69 % | 0.858 m² | Rack D2, Floor Position = D2 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Occupied | 6 | 69 % | 0.858 m² | Rack D4, Floor Position = D4 | 42 | 42 | 42 | 42 | 42 | 42
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Occupied | 6 | 69 % | 0.858 m² | Rack D3, Floor Position = D3 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Occupied | 6 | 69 % | 0.858 m² | Rack D5, Floor Position = D5 | 42 | 42 | 42 | 42 | 42 | 42
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Free | 0 | 39 % | 0.582 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Occupied | 6 | 61 % | 0.896 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Occupied | 6 | 61 % | 0.896 m² | Rack E1, Floor Position = E1 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Occupied | 6 | 61 % | 0.896 m² | Rack E2, Floor Position = E2 | 51 | 54 | 51 | 51 | 54 | 51
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Occupied | 6 | 61 % | 0.896 m² | Rack E3, Floor Position = E3 | 43 | 43 | 43 | 43 | 43 | 43
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Occupied | 6 | 61 % | 0.896 m² | Rack E4, Floor Position = E4 | 42 | 42 | 42 | 42 | 42 | 42
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Occupied | 6 | 61 % | 0.896 m² | Rack E5, Floor Position = E5 | 42 | 42 | 42 | 42 | 42 | 42
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | F | 4 | Free | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | F | 4 | Occupied | 4 | 100 % | 0.917 m² | Rack F1, Floor Position = F01 | 54 | 54 | 54 | 54 | 54 | 54
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | F | 4 | Occupied | 4 | 100 % | 0.917 m² | Rack F3, Floor Position = F03 | 54 | 54 | 54 | 54 | 54 | 54
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | F | 4 | Occupied | 4 | 100 % | 0.917 m² | ODF F2A, Floor Position = F2a | 44 | 46 | 44 | 23 | 46 | 23
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | F | 4 | Occupied | 4 | 100 % | 0.917 m² | Rack F2, Floor Position = F02 | 54 | 54 | 54 | 54 | 54 | 54
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | F | 4 | Reserved | 0 | 0 % | 0.000 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | G | 4 | Free | 0 | 42 % | 0.799 m²
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | G | 4 | Occupied | 4 | 58 % | 1.100 m² | Rack NECCD1;DC SYS01, Floor Position = G01 | 21 | 46 | 21 | 20 | 25 | 20
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | G | 4 | Occupied | 4 | 58 % | 1.100 m² | Rack G2, Floor Position = G02 | 47 | 47 | 47 | 47 | 47 | 47
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | G | 4 | Occupied | 4 | 58 % | 1.100 m² | Rack G06, Floor Position = G06 | 34 | 46 | 34 | 19 | 46 | 19
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | G | 4 | Occupied | 4 | 58 % | 1.100 m² | Rack G05, Floor Position = G05 | 15 | 47 | 15 | 6 | 47 | 6
Room NECCD1 on Floor Ground Floor in Site NEC | 10993.00 W | 11250.00 W | 98 % | G | 4 | Reserved | 0 | 0 % | 0.000 m²