## Suite Line Capacity
Report generated for: | Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP
| Quantity | % of all area | Area
Total free sections: | 177/325 | 59 % | 47.136 m²
Total occupied sections: | 148/325 | 41 % | 32.151 m²
Total reserved sections: | 0/325 | 0 % | 0.000 m²
Total Lines Capability |  |  | 79.287 m²
Total Location Capability |  |  | 607.419 m²
Total Location Free Area |  |  | 574.908 m²
Total Location Occupied Area |  |  | 32.511 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | A | 13 | Free | 12 | 86 % | 2.358 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | A | 13 | Occupied | 1 | 14 % | 0.378 m² | Rack A1, Floor Position = A1 | 43 | 46 | 43 | 43 | 46 | 43
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | A | 13 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | B | 13 | Free | 12 | 86 % | 2.358 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | B | 13 | Occupied | 1 | 14 % | 0.378 m² | Rack A1, Floor Position = A1 | 43 | 46 | 43 | 43 | 46 | 43
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | B | 13 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Free | 10 | 54 % | 3.510 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C8, Floor Position = C8 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C9, Floor Position = C9 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C10, Floor Position = C10 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C11, Floor Position = C11 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | C | 21 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Free | 10 | 54 % | 3.510 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D7, Floor Position = D7 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D8, Floor Position = D8 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D9, Floor Position = D9 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D6, Floor Position = D6 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D5, Floor Position = D5 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D10, Floor Position = D10 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D11, Floor Position = D11 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D4, Floor Position = D4 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D3, Floor Position = D3 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D1, Floor Position = D1 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Occupied | 11 | 46 % | 2.970 m² | Rack D2, Floor Position = D2 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | D | 21 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Free | 12 | 57 % | 3.585 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E7, Floor Position = E7 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E8, Floor Position = E8 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E9, Floor Position = E9 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E6, Floor Position = E6 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E5, Floor Position = E5 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E12, Floor Position = E12 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E12A, Floor Position = E12A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E11, Floor Position = E11 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E10, Floor Position = E10 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | ODF E02, Floor Position = E2 | 13 | 47 | 13 | 12 | 47 | 12
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E3, Floor Position = E3 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E4, Floor Position = E4 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | E | 24 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Free | 12 | 57 % | 3.585 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E7, Floor Position = E7 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E8, Floor Position = E8 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E9, Floor Position = E9 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E6, Floor Position = E6 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E5, Floor Position = E5 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E12, Floor Position = E12 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack F12A, Floor Position = F12A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E11, Floor Position = E11 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E10, Floor Position = E10 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | ODF F02, Floor Position = F2 | 13 | 47 | 13 | 8 | 47 | 8
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E3, Floor Position = E3 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Occupied | 12 | 43 % | 2.715 m² | Rack E4, Floor Position = E4 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | F | 24 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Free | 16 | 58 % | 3.735 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G15, Floor Position = G15 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G13, Floor Position = G13 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G14, Floor Position = G14 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G12, Floor Position = G12 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G15A, Floor Position = G15A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G8, Floor Position = G8 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack GH06, Floor Position = G6 | 4 | 40 | 4 | 1 | 40 | 1
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G7, Floor Position = G7 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G05, Floor Position = G5 | 34 | 45 | 34 | 29 | 45 | 29
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G10, Floor Position = G10 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G11, Floor Position = G11 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G9, Floor Position = G9 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G1, Floor Position = G1 | 39 | 42 | 39 | 39 | 42 | 39
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G3, Floor Position = G3 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G4, Floor Position = G4 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | G | 31 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Free | 16 | 58 % | 3.735 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G15, Floor Position = G15 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G13, Floor Position = G13 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G14, Floor Position = G14 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G12, Floor Position = G12 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack H15A, Floor Position = H15A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G8, Floor Position = G8 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack GH06, Floor Position = G6 | 4 | 40 | 4 | 1 | 40 | 1
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G7, Floor Position = G7 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G05, Floor Position = G5 | 34 | 45 | 34 | 29 | 45 | 29
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G10, Floor Position = G10 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G11, Floor Position = G11 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G9, Floor Position = G9 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G1, Floor Position = G1 | 39 | 42 | 39 | 39 | 42 | 39
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G3, Floor Position = G3 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Occupied | 15 | 42 % | 2.745 m² | Rack G4, Floor Position = G4 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | H | 31 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Free | 15 | 52 % | 3.375 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J16, Floor Position = J16 | 43 | 46 | 43 | 43 | 46 | 43
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J16A, Floor Position = J16A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J13, Floor Position = J13 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J14, Floor Position = J14 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J15, Floor Position = J15 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J9, Floor Position = J9 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J10, Floor Position = J10 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J11, Floor Position = J11 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J12, Floor Position = J12 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J8, Floor Position = J8 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J06, Floor Position = J6 | 36 | 38 | 32 | 28 | 34 | 28
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack JK07, Floor Position = J7 | 38 | 35 | 31 | 25 | 16 | 15
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J3, Floor Position = J3 | 16 | 36 | 16 | 11 | 23 | 11
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J5, Floor Position = J5 | 19 | 45 | 19 | 19 | 45 | 19
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | Rack J4, Floor Position = J4 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | ODF CODF J01, Floor Position = J1 | 37 | 47 | 37 | 18 | 47 | 18
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Occupied | 17 | 48 % | 3.105 m² | ODF J02, Floor Position = J2 | 7 | 47 | 7 | 6 | 47 | 6
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | J | 32 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Free | 16 | 56 % | 3.645 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J16, Floor Position = J16 | 43 | 46 | 43 | 43 | 46 | 43
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack K16A, Floor Position = K16A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J14, Floor Position = J14 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J15, Floor Position = J15 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J13, Floor Position = J13 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J9, Floor Position = J9 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J11, Floor Position = J11 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J12, Floor Position = J12 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J10, Floor Position = J10 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack JK07, Floor Position = J7 | 38 | 35 | 31 | 25 | 16 | 15
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J8, Floor Position = J8 | 44 | 46 | 44 | 44 | 46 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J06, Floor Position = J6 | 36 | 38 | 32 | 28 | 34 | 28
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J4, Floor Position = J4 | 41 | 46 | 41 | 41 | 46 | 41
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J5, Floor Position = J5 | 19 | 45 | 19 | 19 | 45 | 19
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | Rack J3, Floor Position = J3 | 16 | 36 | 16 | 11 | 23 | 11
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Occupied | 16 | 44 % | 2.835 m² | ODF K02, Floor Position = K2 | 8 | 47 | 8 | 7 | 47 | 7
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | K | 32 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Free | 15 | 62 % | 3.990 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L18, Floor Position = L18 | 41 | 40 | 35 | 24 | 33 | 17
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L20, Floor Position = L20 | 46 | 46 | 46 | 46 | 46 | 46
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L19, Floor Position = L19 | 46 | 46 | 46 | 46 | 46 | 46
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L3, Floor Position = L3 | 45 | 47 | 45 | 45 | 47 | 45
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L2, Floor Position = L2 | 40 | 45 | 40 | 40 | 45 | 40
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L1, Floor Position = L1 | 44 | 47 | 44 | 44 | 47 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | ODF L06, Floor Position = L6 | 44 | 46 | 44 | 23 | 46 | 23
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | ODF L04, Floor Position = L4 | 44 | 46 | 44 | 23 | 46 | 23
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L07, Floor Position = L7 | 36 | 46 | 36 | 32 | 46 | 32
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L17, Floor Position = L17 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L16, Floor Position = L16 | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Occupied | 12 | 38 % | 2.430 m² | Rack L17A, Floor Position = L17A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | L | 27 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Free | 15 | 61 % | 3.945 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L18, Floor Position = L18 | 41 | 40 | 35 | 24 | 33 | 17
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L20, Floor Position = L20 | 46 | 46 | 46 | 46 | 46 | 46
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L19, Floor Position = L19 | 46 | 46 | 46 | 46 | 46 | 46
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack M5, Floor Position = M5 | 20 | 44 | 20 | 18 | 44 | 18
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack M4, Floor Position = M4 | 20 | 44 | 20 | 18 | 44 | 18
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack M6, Floor Position = M6 | 18 | 44 | 18 | 16 | 44 | 16
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L1, Floor Position = L1 | 44 | 47 | 44 | 44 | 47 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack M3, Floor Position = M3 | 47 | 47 | 47 | 47 | 47 | 47
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L2, Floor Position = L2 | 40 | 45 | 40 | 40 | 45 | 40
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack M07, Floor Position = M7 | 13 | 47 | 13 | 3 | 47 | 3
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L17, Floor Position = L17 | 42 | 46 | 42 | 42 | 46 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack M17A, Floor Position = M17A | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Occupied | 13 | 39 % | 2.475 m² | Rack L16, Floor Position = L16 | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | M | 28 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Free | 8 | 61 % | 2.903 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N2, Floor Position = N2 | 42 | 47 | 42 | 42 | 47 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N1, Floor Position = N1 | 45 | 47 | 45 | 45 | 47 | 45
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N13, Floor Position = N13 | 42 | 47 | 42 | 42 | 47 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N14, Floor Position = N14 | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N12, Floor Position = N12 | 44 | 47 | 44 | 44 | 47 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N11, Floor Position = N11 | 40 | 47 | 40 | 26 | 47 | 26
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | N | 14 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Free | 8 | 61 % | 2.903 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N2, Floor Position = N2 | 42 | 47 | 42 | 42 | 47 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N1, Floor Position = N1 | 45 | 47 | 45 | 45 | 47 | 45
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N13, Floor Position = N13 | 42 | 47 | 42 | 42 | 47 | 42
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack P14, Floor Position = P14 | 5 | 47 | 5 | 5 | 47 | 5
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N12, Floor Position = N12 | 44 | 47 | 44 | 44 | 47 | 44
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Occupied | 6 | 39 % | 1.845 m² | Rack N11, Floor Position = N11 | 40 | 47 | 40 | 26 | 47 | 26
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | P | 14 | Reserved | 0 | 0 % | 0.000 m²
Room NGMTL1 on Floor Ground Floor in Site LENTON LANE TAP | 23403.25 W | 45000.00 W | 52 % | [6 empty] | Rack NGMTL1;DC SYS01, Floor Position = Temp Mig | 10 | 46 | 10 | 9 | 25 | 9