## Suite Line Capacity
Report generated for: | Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN
| Quantity | % of all area | Area
Total free sections: | 16/85 | 27 % | 5.230 m²
Total occupied sections: | 69/85 | 73 % | 13.990 m²
Total reserved sections: | 0/85 | 0 % | 0.000 m²
Total Lines Capability |  |  | 19.220 m²
Total Location Capability |  |  | 86.331 m²
Total Location Free Area |  |  | 72.341 m²
Total Location Occupied Area |  |  | 13.990 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | A | 4 | Free | 1 | 27 % | 0.250 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | A | 4 | Occupied | 3 | 73 % | 0.664 m² | Rack A4, Floor Position = A4 | 47 | 47 | 47 | 47 | 47 | 47
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | A | 4 | Occupied | 3 | 73 % | 0.664 m² | Rack A2, Floor Position = A2 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | A | 4 | Occupied | 3 | 73 % | 0.664 m² | Rack A1, Floor Position = A1 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Free | 0 | 3 % | 0.045 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | Rack B5, Floor Position = B5 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | Rack B6, Floor Position = B6 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | Rack B3, Floor Position = B3 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | Rack B4, Floor Position = B4 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | ODF B1, Floor Position = B1 | 9 | 54 | 9 | 4 | 54 | 4
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | ODF B2, Floor Position = B2 | 38 | 54 | 38 | 17 | 54 | 17
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Occupied | 7 | 97 % | 1.485 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Free | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C6, Floor Position = C6 | 39 | 42 | 39 | 39 | 42 | 39
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C7, Floor Position = C7 | 38 | 42 | 38 | 38 | 42 | 38
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C5, Floor Position = C5 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C3, Floor Position = C3 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C4, Floor Position = C4 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C1, Floor Position = C1 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack C2, Floor Position = C2 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Free | 1 | 20 % | 0.309 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Occupied | 6 | 80 % | 1.230 m² | Rack D5, Floor Position = D5 | 42 | 42 | 42 | 42 | 42 | 42
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Occupied | 6 | 80 % | 1.230 m² | Rack D6, Floor Position = D6 | 42 | 42 | 42 | 42 | 42 | 42
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Occupied | 6 | 80 % | 1.230 m² | ODF CODF D04, Floor Position = D4 | 28 | 47 | 28 | 12 | 47 | 12
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Occupied | 6 | 80 % | 1.230 m² | Rack D3, Floor Position = D3 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Occupied | 6 | 80 % | 1.230 m² | Rack D1, Floor Position = D1 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Occupied | 6 | 80 % | 1.230 m² | Rack D2, Floor Position = D2 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | E | 7 | Free | 4 | 49 % | 0.764 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | E | 7 | Occupied | 3 | 51 % | 0.810 m² | Rack E3, Floor Position = E3 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | E | 7 | Occupied | 3 | 51 % | 0.810 m² | Rack E1, Floor Position = E1 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | E | 7 | Occupied | 3 | 51 % | 0.810 m² | Rack E2, Floor Position = E2 | 54 | 54 | 54 | 54 | 54 | 54
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Free | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F6, Floor Position = F6 | 44 | 47 | 44 | 44 | 47 | 44
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F7, Floor Position = F7 | 41 | 44 | 41 | 41 | 44 | 41
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F5, Floor Position = F5 | 44 | 47 | 44 | 44 | 47 | 44
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F3, Floor Position = F3 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F4, Floor Position = F4 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F2, Floor Position = F2 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F1, Floor Position = F1 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Occupied | 8 | 100 % | 1.530 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | F | 8 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Free | 0 | 8 % | 0.132 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G6, Floor Position = G6 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G7, Floor Position = G7 | 42 | 47 | 42 | 32 | 47 | 32
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G05, Floor Position = G5 | 48 | 54 | 48 | 25 | 54 | 25
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G3, Floor Position = G3 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G4, Floor Position = G4 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G2, Floor Position = G2 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G1, Floor Position = G1 | 51 | 54 | 51 | 51 | 54 | 51
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Occupied | 8 | 92 % | 1.485 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | G | 8 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | H | 8 | Free | 4 | 62 % | 0.963 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | H | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack H2, Floor Position = H2 | 43 | 47 | 43 | 43 | 47 | 43
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | H | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack J03, Floor Position = H3 | 32 | 38 | 29 | 19 | 38 | 19
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | H | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack HJ01, Floor Position = H1 | 40 | 47 | 40 | 26 | 47 | 26
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | H | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | H | 8 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | J | 8 | Free | 4 | 62 % | 0.963 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | J | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack H2, Floor Position = H2 | 43 | 47 | 43 | 43 | 47 | 43
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | J | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack J03, Floor Position = H3 | 32 | 38 | 29 | 19 | 38 | 19
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | J | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack HJ01, Floor Position = H1 | 40 | 47 | 40 | 26 | 47 | 26
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | J | 8 | Occupied | 4 | 38 % | 0.585 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Free | 0 | 35 % | 0.515 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Occupied | 5 | 65 % | 0.954 m² | Rack L/M5, Floor Position = L5 | 24 | 45 | 24 | 14 | 44 | 14
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Occupied | 5 | 65 % | 0.954 m² | Rack L6, Floor Position = L6 | 41 | 44 | 41 | 41 | 44 | 41
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Occupied | 5 | 65 % | 0.954 m² | Rack LM01, Floor Position = L1 | 32 | 39 | 29 | 24 | 37 | 24
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Occupied | 5 | 65 % | 0.954 m² | Rack L03, Floor Position = L3 | 19 | 47 | 19 | 11 | 47 | 11
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Occupied | 5 | 65 % | 0.954 m² | Rack L4, Floor Position = L4 | 18 | 41 | 14 | 10 | 33 | 8
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | L | 5 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | M | 5 | Free | 1 | 28 % | 0.408 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | M | 5 | Occupied | 4 | 72 % | 1.061 m² | Rack L/M5, Floor Position = L5 | 24 | 45 | 24 | 14 | 44 | 14
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | M | 5 | Occupied | 4 | 72 % | 1.061 m² | Rack L6, Floor Position = L6 | 41 | 44 | 41 | 41 | 44 | 41
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | M | 5 | Occupied | 4 | 72 % | 1.061 m² | Rack LM01, Floor Position = L1 | 32 | 39 | 29 | 24 | 37 | 24
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | M | 5 | Occupied | 4 | 72 % | 1.061 m² | Rack L4, Floor Position = L4 | 18 | 41 | 14 | 10 | 33 | 8
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | M | 5 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | P | 1 | Free | 0 | 25 % | 0.120 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | P | 1 | Occupied | 1 | 75 % | 0.360 m² | Rack P1, Floor Position = P1 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | P | 1 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Free | 1 | 32 % | 0.644 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Occupied | 6 | 68 % | 1.356 m² | Rack R3, Floor Position = R3 | 24 | 44 | 24 | 13 | 44 | 13
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Occupied | 6 | 68 % | 1.356 m² | Rack R04, Floor Position = R4 | 8 | 44 | 8 | 4 | 44 | 4
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Occupied | 6 | 68 % | 1.356 m² | Rack R05, Floor Position = R5 | 23 | 47 | 23 | 17 | 47 | 17
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Occupied | 6 | 68 % | 1.356 m² | ODF R1, Floor Position = R1 | 43 | 44 | 43 | 31 | 44 | 31
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Occupied | 6 | 68 % | 1.356 m² | Rack R2, Floor Position = R2 | 21 | 44 | 21 | 15 | 44 | 15
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Occupied | 6 | 68 % | 1.356 m² | Rack R9, Floor Position = R9 | 38 | 47 | 38 | 34 | 47 | 34
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | R | 7 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | S | 1 | Free | 0 | 25 % | 0.059 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | S | 1 | Occupied | 1 | 75 % | 0.177 m² | Rack S1, Floor Position = S1 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | S | 1 | Reserved | 0 | 0 % | 0.000 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | T | 1 | Free | 0 | 25 % | 0.059 m²
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | T | 1 | Occupied | 1 | 75 % | 0.178 m² | Rack T1, Floor Position = T1 | 5 | 47 | 5 | 5 | 47 | 5
Room NRWTN1 on Floor Ground Floor in Site NORWICH CDN | 13265.00 W | 22500.00 W | 59 % | T | 1 | Reserved | 0 | 0 % | 0.000 m²