## Suite Line Capacity
Report generated for: | Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP
| Quantity | % of all area | Area
Total free sections: | 36/153 | 55 % | 32.688 m²
Total occupied sections: | 117/153 | 45 % | 26.666 m²
Total reserved sections: | 0/153 | 0 % | 0.000 m²
Total Lines Capability |  |  | 59.354 m²
Total Location Capability |  |  | 244.204 m²
Total Location Free Area |  |  | 217.177 m²
Total Location Occupied Area |  |  | 27.026 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Free | 3 | 71 % | 3.655 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A2, Floor Position = A2 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A1, Floor Position = A1 | 42 | 47 | 42 | 42 | 47 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A3, Floor Position = A3 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A0, Floor Position = A0 | 3 | 47 | 3 | 1 | 47 | 1
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A4, Floor Position = A4 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Occupied | 7 | 29 % | 1.485 m² | Rack A8, Floor Position = A8 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | A | 10 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Free | 3 | 42 % | 1.081 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack A2, Floor Position = A2 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack A1, Floor Position = A1 | 42 | 47 | 42 | 42 | 47 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack A3, Floor Position = A3 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack A4, Floor Position = A4 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Occupied | 7 | 58 % | 1.485 m² | Rack A8, Floor Position = A8 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | B | 10 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Free | 0 | 10 % | 0.315 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | ODF C1, Floor Position = C1 | 44 | 44 | 44 | 44 | 44 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C3, Floor Position = C3 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | ODF C2, Floor Position = C2 | 3 | 47 | 3 | 3 | 47 | 3
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C14, Floor Position = C14 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C5, Floor Position = C5 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C4, Floor Position = C4 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C06, Floor Position = C6 | 36 | 47 | 36 | 17 | 47 | 17
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C6a, Floor Position = C6a | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C10, Floor Position = C10 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C7, Floor Position = C7 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C8, Floor Position = C8 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C9, Floor Position = C9 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C12, Floor Position = C12 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C13, Floor Position = C13 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Occupied | 15 | 90 % | 2.742 m² | Rack C11, Floor Position = C11 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | C | 15 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Free | 0 | 10 % | 0.315 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | ODF D2, Floor Position = D2 | 44 | 44 | 44 | 44 | 44 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | ODF D1, Floor Position = D1 | 0 | 47 | 0 | 0 | 47 | 0
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D3, Floor Position = D3 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D14, Floor Position = D14 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D5, Floor Position = D5 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D4, Floor Position = D4 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack C06, Floor Position = C6 | 36 | 47 | 36 | 17 | 47 | 17
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D6a, Floor Position = D6a | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D10, Floor Position = D10 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D8, Floor Position = D8 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D7, Floor Position = D7 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D9, Floor Position = D9 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D12, Floor Position = D12 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D11, Floor Position = D11 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Occupied | 15 | 90 % | 2.745 m² | Rack D13, Floor Position = D13 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | D | 15 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Free | 4 | 50 % | 2.070 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E1, Floor Position = E1 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E3, Floor Position = E3 | 25 | 45 | 25 | 21 | 45 | 21
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E04, Floor Position = E4 | 10 | 45 | 10 | 4 | 45 | 4
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E2, Floor Position = E2 | 4 | 47 | 4 | 3 | 47 | 3
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E8, Floor Position = E8 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E09, Floor Position = E9 | 13 | 47 | 13 | 3 | 47 | 3
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E6, Floor Position = E6 | 41 | 44 | 41 | 41 | 44 | 41
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E7, Floor Position = E7 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E7a, Floor Position = E7a | 3 | 47 | 3 | 1 | 47 | 1
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E5, Floor Position = E5 | 41 | 44 | 41 | 41 | 44 | 41
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Occupied | 12 | 50 % | 2.070 m² | Rack E15, Floor Position = E15 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | E | 16 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Free | 5 | 39 % | 1.215 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F2, Floor Position = F2 | 4 | 47 | 4 | 3 | 47 | 3
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F1, Floor Position = F1 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F4, Floor Position = F4 | 39 | 42 | 39 | 39 | 42 | 39
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | ODF CODF F10, Floor Position = F10 | 38 | 47 | 38 | 14 | 47 | 14
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | ODF F09, Floor Position = F9 | 42 | 44 | 42 | 21 | 44 | 21
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F8, Floor Position = F8 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F6, Floor Position = F6 | 39 | 42 | 39 | 39 | 42 | 39
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F7, Floor Position = F7 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F7a, Floor Position = F7a | 3 | 47 | 3 | 1 | 47 | 1
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Occupied | 11 | 61 % | 1.890 m² | Rack F15, Floor Position = F15 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | F | 16 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Free | 0 | 14 % | 0.436 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G2, Floor Position = G2 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G1, Floor Position = G1 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G08, Floor Position = G8 | 38 | 47 | 38 | 24 | 47 | 24
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G07, Floor Position = G7 | 35 | 47 | 35 | 31 | 47 | 31
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G6, Floor Position = G6 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | ODF G10, Floor Position = G10 | 1 | 47 | 1 | 1 | 47 | 1
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G9, Floor Position = G9 | 41 | 47 | 41 | 41 | 47 | 41
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G4, Floor Position = G4 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G3, Floor Position = G3 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | Rack G5, Floor Position = G5 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Occupied | 12 | 86 % | 2.625 m² | ODF G11, Floor Position = G11 | 0 | 47 | 0 | 0 | 47 | 0
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | G | 12 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Free | 0 | 44 % | 2.237 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H2, Floor Position = H2 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H1, Floor Position = H1 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack G08, Floor Position = G8 | 38 | 47 | 38 | 24 | 47 | 24
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H6, Floor Position = H6 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack G07, Floor Position = G7 | 35 | 47 | 35 | 31 | 47 | 31
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack G9, Floor Position = G9 | 41 | 47 | 41 | 41 | 47 | 41
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | ODF H10, Floor Position = H10 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H4, Floor Position = H4 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H3, Floor Position = H3 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | Rack H5, Floor Position = H5 | 45 | 47 | 45 | 45 | 47 | 45
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Occupied | 12 | 56 % | 2.865 m² | ODF H11, Floor Position = H11 | 2 | 47 | 2 | 1 | 47 | 1
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | H | 12 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Free | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J1, Floor Position = J1 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J3, Floor Position = J3 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J2, Floor Position = J2 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J7, Floor Position = J7 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J5, Floor Position = J5 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J6, Floor Position = J6 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J4, Floor Position = J4 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J10, Floor Position = J10 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J8, Floor Position = J8 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack J9, Floor Position = J9 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | J | 10 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Free | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K1, Floor Position = K1 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K3, Floor Position = K3 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K2, Floor Position = K2 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K7, Floor Position = K7 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K5, Floor Position = K5 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K6, Floor Position = K6 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K4, Floor Position = K4 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K10, Floor Position = K10 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K8, Floor Position = K8 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Occupied | 10 | 100 % | 2.700 m² | Rack K9, Floor Position = K9 | 42 | 42 | 42 | 42 | 42 | 42
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | K | 10 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | L | 9 | Free | 7 | 90 % | 8.464 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | L | 9 | Occupied | 2 | 10 % | 0.960 m² | Rack L14, Floor Position = L14 | 47 | 47 | 47 | 47 | 47 | 47
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | L | 9 | Occupied | 2 | 10 % | 0.960 m² | Rack L15, Floor Position = L15 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | L | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | M | 9 | Free | 7 | 76 % | 4.680 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | M | 9 | Occupied | 2 | 24 % | 1.440 m² | Rack M1, Floor Position = M1 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | M | 9 | Occupied | 2 | 24 % | 1.440 m² | Rack M2, Floor Position = M2 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | M | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | N | 9 | Free | 7 | 90 % | 8.220 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | N | 9 | Occupied | 2 | 10 % | 0.960 m² | Rack N15, Floor Position = N15 | 27 | 43 | 24 | 22 | 42 | 22
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | N | 9 | Occupied | 2 | 10 % | 0.960 m² | Rack N14, Floor Position = N14 | 44 | 47 | 44 | 44 | 47 | 44
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | N | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NWCNY1 on Floor Ground Floor in Site NEW YORK TAP | 15550.35 W | 22500.00 W | 69 % | [6 empty] | Rack NWCNY1;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17