## Suite Line Capacity
Report generated for: | Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1
| Quantity | % of all area | Area
Total free sections: | 1/60 | 20 % | 2.421 m²
Total occupied sections: | 59/60 | 80 % | 9.579 m²
Total reserved sections: | 0/60 | 0 % | 0.000 m²
Total Lines Capability |  |  | 12.000 m²
Total Location Capability |  |  | 48.525 m²
Total Location Free Area |  |  | 38.586 m²
Total Location Occupied Area |  |  | 9.939 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Free | 0 | 43 % | 1.071 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B2, Floor Position = B2 | 53 | 56 | 53 | 53 | 56 | 53
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B0, Floor Position = B0 | 47 | 47 | 47 | 47 | 47 | 47
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B1, Floor Position = B1 | 53 | 56 | 53 | 53 | 56 | 53
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B4, Floor Position = B4 | 53 | 56 | 53 | 53 | 56 | 53
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B3, Floor Position = B3 | 53 | 56 | 53 | 53 | 56 | 53
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B5, Floor Position = B5 | 47 | 56 | 47 | 47 | 56 | 47
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B6, Floor Position = B6 | 56 | 56 | 56 | 56 | 56 | 56
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B7, Floor Position = B7 | 56 | 56 | 56 | 56 | 56 | 56
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Occupied | 9 | 57 % | 1.424 m² | Rack B08, Floor Position = B8 | 10 | 44 | 10 | 6 | 44 | 6
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Free | 0 | 15 % | 0.249 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C2, Floor Position = C2 | 42 | 42 | 42 | 42 | 42 | 42
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C1, Floor Position = C1 | 42 | 42 | 42 | 42 | 42 | 42
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C4, Floor Position = C4 | 34 | 46 | 34 | 28 | 46 | 28
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C/D05, Floor Position = C5 | 9 | 45 | 9 | 3 | 45 | 3
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C3, Floor Position = C3 | 43 | 45 | 43 | 43 | 45 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C7, Floor Position = C7 | 43 | 46 | 43 | 43 | 46 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C6, Floor Position = C6 | 43 | 29 | 29 | 43 | 29 | 29
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C9, Floor Position = C9 | 22 | 44 | 22 | 20 | 44 | 20
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Occupied | 9 | 85 % | 1.389 m² | Rack C8, Floor Position = C8 | 43 | 46 | 43 | 43 | 46 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Free | 1 | 21 % | 0.337 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | Rack C2, Floor Position = C2 | 42 | 42 | 42 | 42 | 42 | 42
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | Rack C1, Floor Position = C1 | 42 | 42 | 42 | 42 | 42 | 42
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | Rack C/D05, Floor Position = C5 | 9 | 45 | 9 | 3 | 45 | 3
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | Rack C3, Floor Position = C3 | 43 | 45 | 43 | 43 | 45 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | ODF D7, Floor Position = D7 | 4 | 47 | 4 | 4 | 47 | 4
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | Rack C6, Floor Position = C6 | 43 | 29 | 29 | 43 | 29 | 29
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | ODF CODF D09, Floor Position = D9 | 26 | 47 | 26 | 13 | 47 | 13
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Occupied | 8 | 79 % | 1.301 m² | Rack D8, Floor Position = D8 | 41 | 44 | 41 | 41 | 44 | 41
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Free | 0 | 19 % | 0.245 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Occupied | 6 | 81 % | 1.030 m² | Rack E2, Floor Position = E2 | 43 | 45 | 43 | 43 | 45 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Occupied | 6 | 81 % | 1.030 m² | Rack E3, Floor Position = E3 | 47 | 47 | 47 | 47 | 47 | 47
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Occupied | 6 | 81 % | 1.030 m² | Rack F04, Floor Position = E4 | 22 | 41 | 22 | 12 | 35 | 12
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Occupied | 6 | 81 % | 1.030 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Occupied | 6 | 81 % | 1.030 m² | Rack E1, Floor Position = E1 | 43 | 45 | 43 | 43 | 45 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Occupied | 6 | 81 % | 1.030 m² | Rack E5, Floor Position = E5 | 43 | 47 | 43 | 43 | 47 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Free | 0 | 25 % | 0.396 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Occupied | 6 | 75 % | 1.177 m² | Rack E2, Floor Position = E2 | 43 | 45 | 43 | 43 | 45 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Occupied | 6 | 75 % | 1.177 m² | Rack F3, Floor Position = F3 | 44 | 44 | 44 | 44 | 44 | 44
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Occupied | 6 | 75 % | 1.177 m² | Rack F04, Floor Position = E4 | 22 | 41 | 22 | 12 | 35 | 12
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Occupied | 6 | 75 % | 1.177 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Occupied | 6 | 75 % | 1.177 m² | Rack E1, Floor Position = E1 | 43 | 45 | 43 | 43 | 45 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Occupied | 6 | 75 % | 1.177 m² | Rack F5, Floor Position = F5 | 43 | 47 | 43 | 43 | 47 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | F | 6 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Free | 0 | 7 % | 0.124 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G1, Floor Position = G1 | 54 | 54 | 54 | 54 | 54 | 54
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G0a, Floor Position = G0a | 47 | 47 | 47 | 47 | 47 | 47
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G0, Floor Position = G0 | 56 | 56 | 56 | 56 | 56 | 56
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G3, Floor Position = G3 | 54 | 54 | 54 | 54 | 54 | 54
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G2, Floor Position = G2 | 54 | 54 | 54 | 54 | 54 | 54
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G4, Floor Position = G4 | 54 | 54 | 54 | 54 | 54 | 54
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G6, Floor Position = G6 | 56 | 56 | 56 | 56 | 56 | 56
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G5, Floor Position = G5 | 54 | 54 | 54 | 54 | 54 | 54
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G8, Floor Position = G8 | 56 | 56 | 56 | 56 | 56 | 56
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | Rack G7, Floor Position = G7 | 56 | 56 | 56 | 56 | 56 | 56
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Occupied | 11 | 93 % | 1.723 m² | ODF G09, Floor Position = G9 | 33 | 56 | 33 | 24 | 56 | 24
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | H | 4 | Free | 0 | 0 % | -0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | H | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack H2, Floor Position = H2 | 43 | 46 | 43 | 43 | 46 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | H | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack H3, Floor Position = H3 | 18 | 27 | 11 | 8 | 7 | 3
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | H | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack H1, Floor Position = H1 | 43 | 46 | 43 | 43 | 46 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | H | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack H0, Floor Position = H0 | 47 | 47 | 47 | 47 | 47 | 47
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | H | 4 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | J | 4 | Free | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | J | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack J0, Floor Position = J0 | 47 | 47 | 47 | 47 | 47 | 47
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | J | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack J1, Floor Position = J1 | 43 | 46 | 43 | 43 | 46 | 43
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | J | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack J02, Floor Position = J2 | 39 | 46 | 39 | 24 | 46 | 24
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | J | 4 | Occupied | 4 | 100 % | 0.585 m² | Rack H3, Floor Position = H3 | 18 | 27 | 11 | 8 | 7 | 3
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | J | 4 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | K | 1 | Free | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | K | 1 | Occupied | 1 | 100 % | 0.045 m² | Rack K1, Floor Position = K1 | 5 | 47 | 5 | 5 | 47 | 5
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | K | 1 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | L | 1 | Free | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | L | 1 | Occupied | 1 | 100 % | 0.320 m² | Rack L1, Floor Position = L1 | 5 | 47 | 5 | 5 | 47 | 5
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | L | 1 | Reserved | 0 | 0 % | 0.000 m²
Room NWPDN1 on Floor Roof Top in Site NEWPORT DN1 | 16335.00 W | 22500.00 W | 73 % | [6 empty] | Rack NWPDN1;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19