## Suite Line Capacity
Report generated for: | Room OHB on Floor Ground Floor in Site OXWICH BAY
| Quantity | % of all area | Area
Total free sections: | 51/205 | 32 % | 12.044 m²
Total occupied sections: | 154/205 | 68 % | 25.242 m²
Total reserved sections: | 0/205 | 0 % | 0.000 m²
Total Lines Capability |  |  | 37.286 m²
Total Location Capability |  |  | 167.262 m²
Total Location Free Area |  |  | 141.420 m²
Total Location Occupied Area |  |  | 25.842 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Free | 1 | 19 % | 0.359 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | Rack A06, Floor Position = A6 | 23 | 44 | 23 | 20 | 44 | 20
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | Rack A5, Floor Position = A5 | 24 | 44 | 24 | 23 | 44 | 23
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | Rack A7, Floor Position = A7 | 24 | 44 | 24 | 23 | 44 | 23
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | Rack A0, Floor Position = A0 | 47 | 47 | 47 | 47 | 47 | 47
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | ODF A1, Floor Position = A1 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | Rack A3, Floor Position = A3 | 43 | 45 | 43 | 43 | 45 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | Rack A2, Floor Position = A2 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Occupied | 8 | 81 % | 1.485 m² | ODF CODF A09, Floor Position = A9 | 28 | 47 | 28 | 16 | 47 | 16
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | B | 8 | Free | 4 | 51 % | 0.943 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | B | 8 | Occupied | 4 | 49 % | 0.900 m² | ODF B1, Floor Position = B1 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | B | 8 | Occupied | 4 | 49 % | 0.900 m² | Rack A2, Floor Position = A2 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | B | 8 | Occupied | 4 | 49 % | 0.900 m² | Rack A3, Floor Position = A3 | 43 | 45 | 43 | 43 | 45 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | B | 8 | Occupied | 4 | 49 % | 0.900 m² | ODF B08, Floor Position = B8 | 43 | 45 | 43 | 22 | 45 | 22
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | C | 10 | Free | 9 | 90 % | 1.728 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | C | 10 | Occupied | 1 | 10 % | 0.192 m² | Rack C1, Floor Position = C1 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | D | 10 | Free | 9 | 90 % | 1.728 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | D | 10 | Occupied | 1 | 10 % | 0.192 m² | Rack C1, Floor Position = C1 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | D | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Free | 0 | 10 % | 0.198 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E4, Floor Position = E4 | 51 | 56 | 51 | 51 | 56 | 51
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | ODF E05, Floor Position = E5 | 40 | 45 | 40 | 21 | 45 | 21
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E2, Floor Position = E2 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E3, Floor Position = E3 | 53 | 56 | 53 | 53 | 56 | 53
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | ODF E01, Floor Position = E1 | 40 | 55 | 40 | 32 | 55 | 32
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E8, Floor Position = E8 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E9, Floor Position = E9 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Occupied | 9 | 90 % | 1.827 m² | Rack E7, Floor Position = E7 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | E | 9 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Free | 0 | 13 % | 0.298 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F4, Floor Position = F4 | 53 | 56 | 53 | 53 | 56 | 53
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F5, Floor Position = F5 | 40 | 43 | 40 | 40 | 43 | 40
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F6, Floor Position = F6 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F3, Floor Position = F3 | 53 | 56 | 53 | 53 | 56 | 53
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | ODF F1, Floor Position = F1 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F2, Floor Position = F2 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F8, Floor Position = F8 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F9, Floor Position = F9 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Occupied | 10 | 87 % | 1.929 m² | Rack F07, Floor Position = F7 | 49 | 55 | 49 | 26 | 55 | 26
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | F | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Free | 0 | 5 % | 0.096 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G0, Floor Position = G0 | 3 | 47 | 3 | 1 | 47 | 1
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G4, Floor Position = G4 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G3, Floor Position = G3 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G2, Floor Position = G2 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G1, Floor Position = G1 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G6, Floor Position = G6 | 11 | 46 | 11 | 10 | 46 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G7, Floor Position = G7 | 11 | 46 | 11 | 10 | 46 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G5, Floor Position = G5 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G8, Floor Position = G8 | 11 | 46 | 11 | 10 | 46 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G9, Floor Position = G9 | 12 | 44 | 12 | 9 | 44 | 9
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G/H11, Floor Position = G11 | 16 | 43 | 16 | 9 | 20 | 9
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Occupied | 12 | 95 % | 1.929 m² | Rack G10, Floor Position = G10 | 29 | 44 | 29 | 26 | 44 | 26
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | G | 12 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Free | 1 | 11 % | 0.228 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack H0, Floor Position = H0 | 3 | 47 | 3 | 1 | 47 | 1
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack H3, Floor Position = H3 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack H2, Floor Position = H2 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | ODF H01, Floor Position = H1 | 42 | 46 | 42 | 21 | 46 | 21
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack G6, Floor Position = G6 | 11 | 46 | 11 | 10 | 46 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack G7, Floor Position = G7 | 11 | 46 | 11 | 10 | 46 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack G5, Floor Position = G5 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack G8, Floor Position = G8 | 11 | 46 | 11 | 10 | 46 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack H9, Floor Position = H9 | 12 | 45 | 12 | 10 | 45 | 10
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack G/H11, Floor Position = G11 | 16 | 43 | 16 | 9 | 20 | 9
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Occupied | 11 | 89 % | 1.797 m² | Rack H10, Floor Position = H10 | 21 | 45 | 21 | 17 | 45 | 17
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | H | 12 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Free | 3 | 45 % | 0.995 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack J9, Floor Position = J9 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack JK11, Floor Position = J11 | 20 | 42 | 17 | 5 | 25 | 3
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | ODF J7, Floor Position = J7 | 48 | 55 | 48 | 20 | 55 | 20
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack J8, Floor Position = J8 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack J3, Floor Position = J3 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack J4, Floor Position = J4 | 21 | 48 | 21 | 19 | 48 | 19
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack J2, Floor Position = J2 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Occupied | 8 | 55 % | 1.233 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | J | 11 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Free | 4 | 55 % | 1.247 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | Rack J9, Floor Position = J9 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | Rack JK11, Floor Position = J11 | 20 | 42 | 17 | 5 | 25 | 3
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | ODF K7, Floor Position = K7 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | Rack J8, Floor Position = J8 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | Rack K2, Floor Position = K2 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | Rack K1, Floor Position = K1 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Occupied | 7 | 45 % | 1.017 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | K | 11 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Free | 2 | 27 % | 0.312 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Occupied | 6 | 73 % | 0.858 m² | Rack L5, Floor Position = L5 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Occupied | 6 | 73 % | 0.858 m² | Rack L4, Floor Position = L4 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Occupied | 6 | 73 % | 0.858 m² | Rack L2, Floor Position = L2 | 50 | 55 | 50 | 50 | 55 | 50
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Occupied | 6 | 73 % | 0.858 m² | Rack L1, Floor Position = L1 | 50 | 55 | 50 | 50 | 55 | 50
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Occupied | 6 | 73 % | 0.858 m² | Rack L0, Floor Position = L0 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Occupied | 6 | 73 % | 0.858 m² | Rack L3, Floor Position = L3 | 50 | 55 | 50 | 50 | 55 | 50
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | L | 8 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Free | 0 | 3 % | 0.039 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M4, Floor Position = M4 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M5, Floor Position = M5 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M6, Floor Position = M6 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M7, Floor Position = M7 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M2, Floor Position = M2 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M1, Floor Position = M1 | 52 | 55 | 52 | 52 | 55 | 52
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M0, Floor Position = M0 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Occupied | 8 | 97 % | 1.131 m² | Rack M3, Floor Position = M3 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | M | 8 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Free | 0 | 0 % | 0.006 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N4, Floor Position = N4 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N2, Floor Position = N2 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N1, Floor Position = N1 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N3, Floor Position = N3 | 45 | 46 | 45 | 45 | 46 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N6, Floor Position = N6 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N5, Floor Position = N5 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N7, Floor Position = N7 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N9, Floor Position = N9 | 45 | 45 | 45 | 45 | 45 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N8, Floor Position = N8 | 42 | 45 | 42 | 42 | 45 | 42
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N10, Floor Position = N10 | 45 | 45 | 45 | 45 | 45 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Occupied | 11 | 100 % | 1.593 m² | Rack N11, Floor Position = N11 | 47 | 47 | 47 | 47 | 47 | 47
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | N | 11 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Free | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N4, Floor Position = N4 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N2, Floor Position = N2 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N1, Floor Position = N1 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N3, Floor Position = N3 | 45 | 46 | 45 | 45 | 46 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N6, Floor Position = N6 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N5, Floor Position = N5 | 46 | 46 | 46 | 46 | 46 | 46
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N7, Floor Position = N7 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N9, Floor Position = N9 | 45 | 45 | 45 | 45 | 45 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack P8, Floor Position = P8 | 45 | 45 | 45 | 45 | 45 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack N10, Floor Position = N10 | 45 | 45 | 45 | 45 | 45 | 45
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Occupied | 11 | 100 % | 1.599 m² | Rack P11, Floor Position = P11 | 47 | 47 | 47 | 47 | 47 | 47
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | P | 11 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Free | 1 | 22 % | 0.343 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q4, Floor Position = Q4 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q6, Floor Position = Q6 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q5, Floor Position = Q5 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q2, Floor Position = Q2 | 44 | 44 | 44 | 44 | 44 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q3, Floor Position = Q3 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q1, Floor Position = Q1 | 44 | 44 | 44 | 44 | 44 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q8, Floor Position = Q8 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack Q7, Floor Position = Q7 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Q | 9 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Free | 1 | 22 % | 0.343 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R4, Floor Position = R4 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R5, Floor Position = R5 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R6, Floor Position = R6 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R3, Floor Position = R3 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R1, Floor Position = R1 | 44 | 44 | 44 | 44 | 44 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R2, Floor Position = R2 | 44 | 44 | 44 | 44 | 44 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R7, Floor Position = R7 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Occupied | 8 | 78 % | 1.217 m² | Rack R8, Floor Position = R8 | 55 | 55 | 55 | 55 | 55 | 55
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | R | 9 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | S | 10 | Free | 6 | 63 % | 1.014 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | S | 10 | Occupied | 4 | 37 % | 0.585 m² | Rack S0, Floor Position = S0 | 1 | 47 | 1 | 1 | 47 | 1
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | S | 10 | Occupied | 4 | 37 % | 0.585 m² | Rack S2, Floor Position = S2 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | S | 10 | Occupied | 4 | 37 % | 0.585 m² | Rack S3, Floor Position = S3 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | S | 10 | Occupied | 4 | 37 % | 0.585 m² | ODF S01, Floor Position = S1 | 41 | 44 | 41 | 33 | 44 | 33
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | S | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Free | 0 | 5 % | 0.078 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T0, Floor Position = T0 | 1 | 47 | 1 | 1 | 47 | 1
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack S2, Floor Position = S2 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack S3, Floor Position = S3 | 43 | 46 | 43 | 43 | 46 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | ODF T1, Floor Position = T1 | 44 | 44 | 44 | 44 | 44 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T6, Floor Position = T6 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T7, Floor Position = T7 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T5, Floor Position = T5 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T9, Floor Position = T9 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T10, Floor Position = T10 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Occupied | 10 | 95 % | 1.521 m² | Rack T8, Floor Position = T8 | 44 | 46 | 44 | 44 | 46 | 44
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | T | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Free | 5 | 54 % | 0.999 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack U9, Floor Position = U9 | 43 | 45 | 43 | 43 | 45 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack U10, Floor Position = U10 | 43 | 45 | 43 | 43 | 45 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack U7, Floor Position = U7 | 38 | 43 | 38 | 38 | 43 | 38
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack U0, Floor Position = U0 | 3 | 47 | 3 | 1 | 47 | 1
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack U1, Floor Position = U1 | 13 | 46 | 13 | 6 | 46 | 6
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | U | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Free | 5 | 54 % | 0.999 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack V9, Floor Position = V9 | 43 | 45 | 43 | 43 | 45 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack V10, Floor Position = V10 | 43 | 45 | 43 | 43 | 45 | 43
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack U7, Floor Position = U7 | 38 | 43 | 38 | 38 | 43 | 38
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack V1, Floor Position = V1 | 25 | 44 | 25 | 21 | 44 | 21
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Occupied | 5 | 46 % | 0.855 m² | Rack V0, Floor Position = V0 | 3 | 47 | 3 | 1 | 47 | 1
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | V | 10 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | W | 3 | Free | 0 | 17 % | 0.090 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | W | 3 | Occupied | 3 | 83 % | 0.450 m² | Rack W1, Floor Position = W01 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | W | 3 | Occupied | 3 | 83 % | 0.450 m² | Rack W3, Floor Position = W03 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | W | 3 | Occupied | 3 | 83 % | 0.450 m² | Rack W2, Floor Position = W02 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | W | 3 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | X | 2 | Free | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | X | 2 | Occupied | 2 | 100 % | 0.430 m² | Rack X1, Floor Position = X1 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | X | 2 | Occupied | 2 | 100 % | 0.430 m² | Rack X2, Floor Position = X2 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | X | 2 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Y | 2 | Free | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Y | 2 | Occupied | 2 | 100 % | 0.430 m² | Rack Y1, Floor Position = Y1 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Y | 2 | Occupied | 2 | 100 % | 0.430 m² | Rack Y2, Floor Position = Y2 | 5 | 47 | 5 | 5 | 47 | 5
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | Y | 2 | Reserved | 0 | 0 % | 0.000 m²
Room OHB on Floor Ground Floor in Site OXWICH BAY | 42273.00 W | 45000.00 W | 94 % | [6 empty] | Rack U2, Floor Position = U2 | 45 | 48 | 45 | 45 | 48 | 45