## Suite Line Capacity
Report generated for: | Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON
| Quantity | % of all area | Area
Total free sections: | 10/64 | 25 % | 4.378 m²
Total occupied sections: | 54/64 | 75 % | 13.218 m²
Total reserved sections: | 0/64 | 0 % | 0.000 m²
Total Lines Capability |  |  | 17.596 m²
Total Location Capability |  |  | 164.542 m²
Total Location Free Area |  |  | 151.324 m²
Total Location Occupied Area |  |  | 13.218 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | A | 4 | Free | 1 | 29 % | 0.195 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | A | 4 | Occupied | 3 | 71 % | 0.480 m² | ODF CODF A01, Floor Position = A1 | 16 | 47 | 16 | 10 | 47 | 10
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | A | 4 | Occupied | 3 | 71 % | 0.480 m² | Rack A0, Floor Position = A0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | A | 4 | Occupied | 3 | 71 % | 0.480 m² | Rack A3, Floor Position = A3 | 44 | 47 | 44 | 44 | 47 | 44
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | B | 4 | Free | 1 | 29 % | 0.195 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | B | 4 | Occupied | 3 | 71 % | 0.480 m² | Rack B1, Floor Position = B1 | 44 | 44 | 44 | 44 | 44 | 44
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | B | 4 | Occupied | 3 | 71 % | 0.480 m² | Rack A0, Floor Position = A0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | B | 4 | Occupied | 3 | 71 % | 0.480 m² | Rack A3, Floor Position = A3 | 44 | 47 | 44 | 44 | 47 | 44
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Free | 0 | 1 % | 0.015 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C0, Floor Position = C0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C5, Floor Position = C5 | 21 | 44 | 21 | 20 | 44 | 20
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C3, Floor Position = C3 | 44 | 47 | 44 | 44 | 47 | 44
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C2, Floor Position = C2 | 27 | 45 | 26 | 23 | 38 | 23
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C4, Floor Position = C4 | 44 | 47 | 44 | 44 | 47 | 44
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Occupied | 7 | 99 % | 1.125 m² | Rack C06, Floor Position = C6 | 8 | 44 | 8 | 6 | 44 | 6
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Free | 1 | 49 % | 0.878 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Occupied | 5 | 51 % | 0.920 m² | Rack C0, Floor Position = C0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Occupied | 5 | 51 % | 0.920 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Occupied | 5 | 51 % | 0.920 m² | Rack D3, Floor Position = D3 | 31 | 47 | 31 | 22 | 47 | 22
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Occupied | 5 | 51 % | 0.920 m² | Rack C2, Floor Position = C2 | 27 | 45 | 26 | 23 | 38 | 23
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Occupied | 5 | 51 % | 0.920 m² | Rack D06, Floor Position = D6 | 7 | 44 | 7 | 3 | 44 | 3
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Free | 0 | 34 % | 0.465 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Occupied | 6 | 66 % | 0.912 m² | Rack E0, Floor Position = E0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Occupied | 6 | 66 % | 0.912 m² | Rack E1, Floor Position = E1 | 42 | 42 | 42 | 42 | 42 | 42
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Occupied | 6 | 66 % | 0.912 m² | Rack E5, Floor Position = E5 | 41 | 41 | 41 | 41 | 41 | 41
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Occupied | 6 | 66 % | 0.912 m² | Rack E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Occupied | 6 | 66 % | 0.912 m² | Rack E3, Floor Position = E03 | 24 | 47 | 24 | 21 | 47 | 21
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | F | 5 | Free | 1 | 28 % | 0.312 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | F | 5 | Occupied | 4 | 72 % | 0.804 m² | Rack E0, Floor Position = E0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | F | 5 | Occupied | 4 | 72 % | 0.804 m² | ODF F04, Floor Position = F4 | 33 | 46 | 33 | 14 | 46 | 14
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | F | 5 | Occupied | 4 | 72 % | 0.804 m² | Rack F2, Floor Position = F2 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | F | 5 | Occupied | 4 | 72 % | 0.804 m² | ODF F03, Floor Position = F3 | 44 | 46 | 44 | 23 | 46 | 23
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | G | 6 | Free | 3 | 60 % | 0.906 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | G | 6 | Occupied | 3 | 40 % | 0.613 m² | Rack G0, Floor Position = G0 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | G | 6 | Occupied | 3 | 40 % | 0.613 m² | Rack HG01, Floor Position = G01 | 28 | 47 | 28 | 15 | 47 | 15
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | G | 6 | Occupied | 3 | 40 % | 0.613 m² | Rack HG06, Floor Position = G06 | 6 | 33 | 5 | 4 | 33 | 4
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | G | 6 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | H | 6 | Free | 3 | 46 % | 0.692 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | H | 6 | Occupied | 3 | 54 % | 0.827 m² | Rack HG01, Floor Position = G01 | 28 | 47 | 28 | 15 | 47 | 15
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | H | 6 | Occupied | 3 | 54 % | 0.827 m² | Rack H02, Floor Position = H02 | 34 | 45 | 34 | 32 | 45 | 32
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | H | 6 | Occupied | 3 | 54 % | 0.827 m² | Rack HG06, Floor Position = G06 | 6 | 33 | 5 | 4 | 33 | 4
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | H | 6 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Free | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J2, Floor Position = J2 | 29 | 42 | 29 | 28 | 42 | 28
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J1, Floor Position = J1 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J3, Floor Position = J3 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J5, Floor Position = J5 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J4, Floor Position = J4 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J6, Floor Position = J6 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | J | 6 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Free | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Occupied | 6 | 100 % | 2.139 m² | Rack K2, Floor Position = K02 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Occupied | 6 | 100 % | 2.139 m² | Rack K1, Floor Position = K1 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Occupied | 6 | 100 % | 2.139 m² | Rack K3, Floor Position = K03 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Occupied | 6 | 100 % | 2.139 m² | Rack K5, Floor Position = K05 | 29 | 42 | 29 | 27 | 42 | 27
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Occupied | 6 | 100 % | 2.139 m² | Rack K4, Floor Position = K04 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Occupied | 6 | 100 % | 2.139 m² | Rack K6, Floor Position = K06 | 36 | 42 | 36 | 36 | 42 | 36
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | K | 6 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | L | 1 | Free | 0 | 25 % | 0.090 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | L | 1 | Occupied | 1 | 75 % | 0.270 m² | ODF OKNN01 Amitie ODF, Floor Position = L01 | 28 | 47 | 28 | 20 | 47 | 20
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | L | 1 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | M | 3 | Free | 0 | 20 % | 0.270 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | M | 3 | Occupied | 3 | 80 % | 1.080 m² | Rack OKNN01-DCSYS01a, Floor Position = M02 | 19 | 46 | 19 | 18 | 25 | 18
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | M | 3 | Occupied | 3 | 80 % | 1.080 m² | Rack M3, Floor Position = M03 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | M | 3 | Occupied | 3 | 80 % | 1.080 m² | Rack M1, Floor Position = M1 | 0 | 47 | 0 | 0 | 47 | 0
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | M | 3 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | N | 3 | Free | 0 | 20 % | 0.270 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | N | 3 | Occupied | 3 | 80 % | 1.080 m² | Rack OKNN01-DCSYS01b, Floor Position = N02 | 19 | 46 | 19 | 18 | 25 | 18
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | N | 3 | Occupied | 3 | 80 % | 1.080 m² | Rack N3, Floor Position = N03 | 47 | 47 | 47 | 47 | 47 | 47
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | N | 3 | Occupied | 3 | 80 % | 1.080 m² | Rack N1, Floor Position = N1 | 0 | 47 | 0 | 0 | 47 | 0
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | N | 3 | Reserved | 0 | 0 % | 0.000 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | P | 1 | Free | 0 | 21 % | 0.090 m²
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | P | 1 | Occupied | 1 | 79 % | 0.330 m² | Rack P1, Floor Position = P1 | 2 | 9 | 2 | 1 | 9 | 1
Room OKNN01 on Floor Ground Floor in Site OKEHAMPTON | 47228.00 W | 39000.00 W | 121 % | P | 1 | Reserved | 0 | 0 % | 0.000 m²