## Suite Line Capacity
Report generated for: | Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO
| Quantity | % of all area | Area
Total free sections: | 132/299 | 51 % | 32.241 m²
Total occupied sections: | 167/299 | 49 % | 31.032 m²
Total reserved sections: | 0/299 | 0 % | 0.000 m²
Total Lines Capability |  |  | 63.273 m²
Total Location Capability |  |  | 344.497 m²
Total Location Free Area |  |  | 312.024 m²
Total Location Occupied Area |  |  | 32.472 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Free | 0 | 9 % | 0.203 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A7, Floor Position = A07 | 41 | 44 | 41 | 41 | 44 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A6, Floor Position = A06 | 41 | 44 | 41 | 41 | 44 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A5, Floor Position = A05 | 41 | 44 | 41 | 41 | 44 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A4, Floor Position = A04 | 41 | 44 | 41 | 41 | 44 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A3, Floor Position = A03 | 42 | 42 | 42 | 42 | 42 | 42
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A2, Floor Position = A02 | 40 | 42 | 40 | 40 | 42 | 40
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | ODF A10, Floor Position = A10 | 0 | 44 | 0 | 0 | 44 | 0
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | ODF A9, Floor Position = A09 | 41 | 44 | 41 | 41 | 44 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Occupied | 11 | 91 % | 2.050 m² | Rack A1, Floor Position = A01 | 41 | 44 | 41 | 41 | 44 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | A | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AA | 7 | Free | 2 | 64 % | 1.638 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AA | 7 | Occupied | 5 | 36 % | 0.908 m² | Rack AA9, Floor Position = AB09 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AA | 7 | Occupied | 5 | 36 % | 0.908 m² | Rack AA7, Floor Position = AB07 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AA | 7 | Occupied | 5 | 36 % | 0.908 m² | ODF AA01, Floor Position = AA01 | 41 | 44 | 41 | 26 | 44 | 26
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AA | 7 | Occupied | 5 | 36 % | 0.908 m² | Rack AA0, Floor Position = AA0 | 4 | 47 | 4 | 4 | 47 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AA | 7 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Free | 0 | 57 % | 1.470 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Occupied | 7 | 43 % | 1.095 m² | Rack AA9, Floor Position = AB09 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Occupied | 7 | 43 % | 1.095 m² | Rack AA7, Floor Position = AB07 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Occupied | 7 | 43 % | 1.095 m² | Rack AB4, Floor Position = AB04 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Occupied | 7 | 43 % | 1.095 m² | ODF AB01, Floor Position = AB01 | 41 | 44 | 41 | 29 | 44 | 29
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Occupied | 7 | 43 % | 1.095 m² | Rack AB0, Floor Position = AB0 | 4 | 47 | 4 | 4 | 47 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AB | 7 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Free | 6 | 53 % | 1.433 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC15, Floor Position = AC15 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC8, Floor Position = AC08 | 14 | 47 | 14 | 8 | 47 | 8
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC7, Floor Position = AC07 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC5, Floor Position = AC05 | 18 | 47 | 18 | 9 | 47 | 9
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC6, Floor Position = AC06 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC4, Floor Position = AC04 | 5 | 47 | 5 | 2 | 47 | 2
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Occupied | 9 | 47 % | 1.252 m² | Rack AC2, Floor Position = AC02 | 19 | 44 | 19 | 19 | 44 | 19
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AC | 15 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Free | 8 | 67 % | 1.790 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Occupied | 7 | 33 % | 0.895 m² | Rack AC15, Floor Position = AC15 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Occupied | 7 | 33 % | 0.895 m² | Rack AC8, Floor Position = AC08 | 14 | 47 | 14 | 8 | 47 | 8
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Occupied | 7 | 33 % | 0.895 m² | Rack AC7, Floor Position = AC07 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Occupied | 7 | 33 % | 0.895 m² | Rack AC6, Floor Position = AC06 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Occupied | 7 | 33 % | 0.895 m² | Rack AC4, Floor Position = AC04 | 5 | 47 | 5 | 2 | 47 | 2
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AD | 15 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AE | 2 | Free | 0 | 1 % | 0.012 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AE | 2 | Occupied | 2 | 99 % | 0.800 m² | Rack AE2, Floor Position = AE02 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AE | 2 | Occupied | 2 | 99 % | 0.800 m² | Rack AE1, Floor Position = AE01 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AE | 2 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AF | 2 | Free | 0 | 1 % | 0.012 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AF | 2 | Occupied | 2 | 99 % | 0.800 m² | Rack AF1, Floor Position = AF01 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AF | 2 | Occupied | 2 | 99 % | 0.800 m² | Rack AF2, Floor Position = AF02 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AF | 2 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AG | 2 | Free | 0 | 1 % | 0.012 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AG | 2 | Occupied | 2 | 99 % | 0.800 m² | Rack AG2, Floor Position = AG02 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AG | 2 | Occupied | 2 | 99 % | 0.800 m² | Rack AG1, Floor Position = AG01 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | AG | 2 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | B | 3 | Free | 0 | 50 % | 0.360 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | B | 3 | Occupied | 3 | 50 % | 0.360 m² | Rack B3, Floor Position = B03 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | B | 3 | Occupied | 3 | 50 % | 0.360 m² | Rack B1, Floor Position = C01 | 26 | 47 | 26 | 13 | 47 | 13
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | B | 3 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | C | 3 | Free | 0 | 50 % | 0.360 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | C | 3 | Occupied | 3 | 50 % | 0.360 m² | Rack B3, Floor Position = B03 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | C | 3 | Occupied | 3 | 50 % | 0.360 m² | Rack B1, Floor Position = C01 | 26 | 47 | 26 | 13 | 47 | 13
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | C | 3 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Free | 1 | 28 % | 0.717 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | ODF D2, Floor Position = D02 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack D4, Floor Position = D04 | 45 | 47 | 45 | 45 | 47 | 45
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack E10, Floor Position = D10 | 35 | 35 | 35 | 35 | 35 | 35
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack E9, Floor Position = D09 | 35 | 35 | 35 | 35 | 35 | 35
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | ODF E6, Floor Position = E06 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack D7, Floor Position = D07 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack D8, Floor Position = D08 | 29 | 47 | 29 | 14 | 47 | 14
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack D5a, Floor Position = D5a | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Occupied | 10 | 72 % | 1.826 m² | Rack D5, Floor Position = D05 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | D | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Free | 2 | 46 % | 1.155 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | Rack E10, Floor Position = D10 | 35 | 35 | 35 | 35 | 35 | 35
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | Rack E9, Floor Position = D09 | 35 | 35 | 35 | 35 | 35 | 35
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | ODF E6, Floor Position = E06 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | Rack E7, Floor Position = E07 | 14 | 47 | 14 | 10 | 47 | 10
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | Rack E8, Floor Position = E08 | 3 | 47 | 3 | 3 | 47 | 3
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | Rack E4, Floor Position = E04 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Occupied | 8 | 54 % | 1.365 m² | Rack E5, Floor Position = E05 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Free | 0 | 6 % | 0.146 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F2, Floor Position = F02 | 42 | 42 | 42 | 42 | 42 | 42
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F1, Floor Position = F01 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F9, Floor Position = F09 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | ODF F10, Floor Position = F10 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F11, Floor Position = F11 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F12, Floor Position = F12 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F7, Floor Position = F07 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F6, Floor Position = F06 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F8, Floor Position = F08 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F3, Floor Position = G03 | 35 | 35 | 35 | 35 | 35 | 35
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F4, Floor Position = F04 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Occupied | 12 | 94 % | 2.402 m² | Rack F5, Floor Position = F05 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | F | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Free | 1 | 12 % | 0.295 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G2, Floor Position = G02 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G1, Floor Position = G01 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G9, Floor Position = G09 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G12, Floor Position = G12 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G11, Floor Position = G11 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G4, Floor Position = G04 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G5, Floor Position = G05 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack F3, Floor Position = G03 | 35 | 35 | 35 | 35 | 35 | 35
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G7, Floor Position = G07 | 46 | 46 | 46 | 46 | 46 | 46
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G8, Floor Position = G08 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Occupied | 11 | 88 % | 2.233 m² | Rack G6, Floor Position = G06 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | G | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | H | 12 | Free | 7 | 68 % | 1.443 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | H | 12 | Occupied | 5 | 32 % | 0.672 m² | Rack HJ10, Floor Position = H10 | 5 | 27 | 4 | 4 | 9 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | H | 12 | Occupied | 5 | 32 % | 0.672 m² | Rack J9, Floor Position = H09 | 8 | 31 | 4 | 2 | 17 | 2
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | H | 12 | Occupied | 5 | 32 % | 0.672 m² | ODF H11, Floor Position = H11 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | H | 12 | Occupied | 5 | 32 % | 0.672 m² | Rack H0, Floor Position = H00 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | H | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | J | 12 | Free | 7 | 68 % | 1.443 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | J | 12 | Occupied | 5 | 32 % | 0.672 m² | Rack HJ10, Floor Position = H10 | 5 | 27 | 4 | 4 | 9 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | J | 12 | Occupied | 5 | 32 % | 0.672 m² | Rack J9, Floor Position = H09 | 8 | 31 | 4 | 2 | 17 | 2
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | J | 12 | Occupied | 5 | 32 % | 0.672 m² | ODF J11, Floor Position = J11 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | J | 12 | Occupied | 5 | 32 % | 0.672 m² | Rack J0, Floor Position = J00 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | J | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Free | 4 | 39 % | 0.901 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K8, Floor Position = K08 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K7, Floor Position = K07 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K9, Floor Position = K09 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K10, Floor Position = K10 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K11, Floor Position = K11 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K12, Floor Position = K12 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack K0, Floor Position = K00 | 4 | 47 | 4 | 4 | 47 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Occupied | 9 | 61 % | 1.394 m² | ODF K6, Floor Position = K06 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | K | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Free | 4 | 39 % | 0.901 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L7, Floor Position = L07 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L8, Floor Position = L08 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L9, Floor Position = L09 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L10, Floor Position = L10 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L12, Floor Position = L12 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L11, Floor Position = L11 | 44 | 46 | 44 | 44 | 46 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L0, Floor Position = L00 | 4 | 47 | 4 | 4 | 47 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Occupied | 9 | 61 % | 1.394 m² | Rack L6, Floor Position = L06 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | L | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | M | 12 | Free | 10 | 79 % | 1.888 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | M | 12 | Occupied | 2 | 21 % | 0.495 m² | Rack M11, Floor Position = M11 | 34 | 34 | 34 | 34 | 34 | 34
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | M | 12 | Occupied | 2 | 21 % | 0.495 m² | Rack M12, Floor Position = M12 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | M | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | N | 12 | Free | 10 | 79 % | 1.892 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | N | 12 | Occupied | 2 | 21 % | 0.494 m² | Rack M12, Floor Position = M12 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | N | 12 | Occupied | 2 | 21 % | 0.494 m² | Rack N11, Floor Position = N11 | 34 | 34 | 34 | 34 | 34 | 34
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | N | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | P | 12 | Free | 12 | 100 % | 2.166 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | P | 12 | Occupied | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | P | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Q | 12 | Free | 12 | 100 % | 2.166 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Q | 12 | Occupied | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Q | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | R | 9 | Free | 6 | 62 % | 1.350 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | R | 9 | Occupied | 3 | 38 % | 0.810 m² | Rack R2, Floor Position = R02 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | R | 9 | Occupied | 3 | 38 % | 0.810 m² | Rack R1, Floor Position = R01 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | R | 9 | Occupied | 3 | 38 % | 0.810 m² | Rack R3, Floor Position = R03 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | R | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | S | 9 | Free | 5 | 50 % | 1.071 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | S | 9 | Occupied | 4 | 50 % | 1.069 m² | Rack S6, Floor Position = S06 | 40 | 40 | 40 | 40 | 40 | 40
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | S | 9 | Occupied | 4 | 50 % | 1.069 m² | Rack S2, Floor Position = S02 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | S | 9 | Occupied | 4 | 50 % | 1.069 m² | Rack S1, Floor Position = S01 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | S | 9 | Occupied | 4 | 50 % | 1.069 m² | Rack S3, Floor Position = S03 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | S | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Free | 2 | 30 % | 0.644 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | ODF T3, Floor Position = T03 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | ODF T4, Floor Position = T04 | 40 | 44 | 40 | 40 | 44 | 40
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | Rack T2, Floor Position = T02 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | Rack T8, Floor Position = T08 | 41 | 46 | 41 | 41 | 46 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | Rack T7, Floor Position = T07 | 42 | 46 | 42 | 42 | 46 | 42
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | Rack T9, Floor Position = T09 | 41 | 46 | 41 | 41 | 46 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Occupied | 7 | 70 % | 1.525 m² | Rack T5, Floor Position = T05 | 39 | 42 | 39 | 39 | 42 | 39
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | T | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Free | 2 | 30 % | 0.654 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | ODF U3, Floor Position = U03 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | ODF U4, Floor Position = U04 | 44 | 44 | 44 | 44 | 44 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | Rack T2, Floor Position = T02 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | Rack T9, Floor Position = T09 | 41 | 46 | 41 | 41 | 46 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | Rack T8, Floor Position = T08 | 41 | 46 | 41 | 41 | 46 | 41
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | Rack T7, Floor Position = T07 | 42 | 46 | 42 | 42 | 46 | 42
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Occupied | 7 | 70 % | 1.515 m² | Rack T5, Floor Position = T05 | 39 | 42 | 39 | 39 | 42 | 39
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | U | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Free | 3 | 36 % | 0.907 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | Rack W13, Floor Position = W13 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | Rack W12, Floor Position = W12 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | Rack W14, Floor Position = W14 | 15 | 29 | 15 | 11 | 29 | 11
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | ODF CODF W06, Floor Position = W06 | 27 | 47 | 27 | 16 | 47 | 16
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | Rack WX05, Floor Position = W05 | 29 | 45 | 28 | 12 | 45 | 12
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | Rack W02, Floor Position = W02 | 7 | 46 | 7 | 2 | 46 | 2
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | ODF W03, Floor Position = W03 | 43 | 46 | 43 | 30 | 46 | 30
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Occupied | 9 | 64 % | 1.613 m² | Rack W1, Floor Position = W01 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | W | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Free | 4 | 36 % | 0.891 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack W13, Floor Position = W13 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack W12, Floor Position = W12 | 47 | 47 | 47 | 47 | 47 | 47
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack W14, Floor Position = W14 | 15 | 29 | 15 | 11 | 29 | 11
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack X6, Floor Position = X06 | 3 | 44 | 3 | 1 | 44 | 1
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack WX05, Floor Position = W05 | 29 | 45 | 28 | 12 | 45 | 12
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack X4, Floor Position = X04 | 23 | 44 | 23 | 20 | 44 | 20
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack X3, Floor Position = X03 | 24 | 44 | 24 | 21 | 44 | 21
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack X2, Floor Position = X02 | 44 | 47 | 44 | 44 | 47 | 44
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Occupied | 9 | 64 % | 1.603 m² | Rack W1, Floor Position = W01 | 5 | 47 | 5 | 5 | 47 | 5
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | X | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Y | 14 | Free | 12 | 87 % | 2.160 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Y | 14 | Occupied | 2 | 13 % | 0.315 m² | ODF Y1, Floor Position = Y01 | 42 | 44 | 42 | 42 | 44 | 42
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Y | 14 | Occupied | 2 | 13 % | 0.315 m² | Rack Y0, Floor Position = Y0 | 4 | 47 | 4 | 4 | 47 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Y | 14 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Z | 14 | Free | 12 | 87 % | 2.160 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Z | 14 | Occupied | 2 | 13 % | 0.315 m² | ODF Z1, Floor Position = Z01 | 17 | 47 | 17 | 16 | 47 | 16
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Z | 14 | Occupied | 2 | 13 % | 0.315 m² | Rack Z0, Floor Position = Z0 | 4 | 47 | 4 | 4 | 47 | 4
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | Z | 14 | Reserved | 0 | 0 % | 0.000 m²
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | [6 empty] | Rack PCOTN1;DC SYS 1, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | [6 empty] | Rack PCOTN1;DC SYS 2, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | [6 empty] | Rack PCOTN1;DC SYS 3, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19
Room PCOTN1 on Floor Ground Floor in Site PORTHCURNO | 109451.00 W | 116250.00 W | 94 % | [6 empty] | Rack PCOTN1;DC SYS 4, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19