## Suite Line Capacity
Report generated for: | Room PLY on Floor Ground Floor in Site PLYMOUTH
| Quantity | % of all area | Area
Total free sections: | 56/176 | 34 % | 13.525 m²
Total occupied sections: | 120/176 | 66 % | 26.227 m²
Total reserved sections: | 0/176 | 0 % | 0.000 m²
Total Lines Capability |  |  | 39.752 m²
Total Location Capability |  |  | 206.388 m²
Total Location Free Area |  |  | 180.161 m²
Total Location Occupied Area |  |  | 26.227 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | A | 3 | Free | 0 | 28 % | 0.041 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | A | 3 | Occupied | 3 | 72 % | 0.107 m² | Rack A1a, Floor Position = A1a | 40 | 41 | 40 | 40 | 41 | 40
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | A | 3 | Occupied | 3 | 72 % | 0.107 m² | Rack A1b, Floor Position = A1b | 40 | 41 | 40 | 40 | 41 | 40
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | A | 3 | Occupied | 3 | 72 % | 0.107 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | A | 3 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | B | 3 | Free | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | B | 3 | Occupied | 3 | 100 % | 0.810 m² | ODF B01, Floor Position = B1 | 33 | 47 | 33 | 28 | 47 | 28
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | B | 3 | Occupied | 3 | 100 % | 0.810 m² | ODF B02, Floor Position = B2 | 10 | 47 | 10 | 7 | 47 | 7
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | B | 3 | Occupied | 3 | 100 % | 0.810 m² | ODF B03, Floor Position = B3 | 17 | 47 | 17 | 15 | 47 | 15
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | B | 3 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Free | 2 | 24 % | 0.405 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack C5, Floor Position = C5 | 33 | 42 | 33 | 13 | 42 | 13
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack D6, Floor Position = D6 | 25 | 32 | 13 | 15 | 8 | 8
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack C3, Floor Position = C3 | 45 | 47 | 45 | 45 | 47 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack C4, Floor Position = C4 | 33 | 47 | 33 | 22 | 47 | 22
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack C2, Floor Position = C2 | 44 | 47 | 44 | 44 | 47 | 44
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack C1, Floor Position = C1 | 45 | 47 | 45 | 45 | 47 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Occupied | 7 | 76 % | 1.305 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Free | 1 | 11 % | 0.180 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack D2, Floor Position = D2 | 44 | 47 | 44 | 44 | 47 | 44
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack C5, Floor Position = C5 | 33 | 42 | 33 | 13 | 42 | 13
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack D7, Floor Position = D7 | 44 | 47 | 44 | 44 | 47 | 44
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack D6, Floor Position = D6 | 25 | 32 | 13 | 15 | 8 | 8
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack D3, Floor Position = D3 | 44 | 47 | 44 | 44 | 47 | 44
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack C4, Floor Position = C4 | 33 | 47 | 33 | 22 | 47 | 22
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack D1, Floor Position = D1 | 44 | 47 | 44 | 44 | 47 | 44
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Occupied | 8 | 89 % | 1.530 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Free | 2 | 15 % | 0.360 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E0, Floor Position = E0 | 3 | 47 | 3 | 1 | 47 | 1
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E5, Floor Position = E5 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E6, Floor Position = E6 | 12 | 45 | 12 | 8 | 45 | 8
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F8, Floor Position = F8 | 32 | 37 | 27 | 32 | 32 | 27
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E3, Floor Position = E3 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E2, Floor Position = E2 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E4, Floor Position = E4 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F12, Floor Position = F12 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E10, Floor Position = E10 | 42 | 47 | 42 | 38 | 47 | 38
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E09, Floor Position = E9 | 15 | 45 | 15 | 10 | 45 | 10
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | E | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Free | 2 | 15 % | 0.360 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F2, Floor Position = F2 | 39 | 42 | 39 | 39 | 42 | 39
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F1, Floor Position = F1 | 39 | 42 | 39 | 39 | 42 | 39
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F5, Floor Position = F5 | 43 | 46 | 43 | 43 | 46 | 43
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F6, Floor Position = F6 | 43 | 46 | 43 | 43 | 46 | 43
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F8, Floor Position = F8 | 32 | 37 | 27 | 32 | 32 | 27
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F3, Floor Position = F3 | 40 | 42 | 40 | 40 | 42 | 40
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F04, Floor Position = F4 | 24 | 42 | 24 | 23 | 42 | 23
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack F12, Floor Position = F12 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E10, Floor Position = E10 | 42 | 47 | 42 | 38 | 47 | 38
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Occupied | 11 | 85 % | 1.980 m² | Rack E09, Floor Position = E9 | 15 | 45 | 15 | 10 | 45 | 10
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | F | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Free | 3 | 41 % | 0.797 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G2, Floor Position = G2 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G1, Floor Position = G1 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G5, Floor Position = G5 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G3, Floor Position = G3 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G4, Floor Position = G4 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G12, Floor Position = G12 | 42 | 42 | 42 | 42 | 42 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack G11, Floor Position = G11 | 42 | 42 | 42 | 42 | 42 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | G | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Free | 3 | 41 % | 0.797 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H2, Floor Position = H2 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H1, Floor Position = H1 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H5, Floor Position = H5 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H3, Floor Position = H3 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H4, Floor Position = H4 | 47 | 47 | 47 | 47 | 47 | 47
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H12, Floor Position = H12 | 42 | 42 | 42 | 42 | 42 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Occupied | 7 | 59 % | 1.125 m² | Rack H11, Floor Position = H11 | 42 | 42 | 42 | 42 | 42 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Free | 3 | 24 % | 0.555 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | Rack J3, Floor Position = J3 | 41 | 44 | 41 | 41 | 44 | 41
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | Rack J4, Floor Position = J4 | 41 | 44 | 41 | 41 | 44 | 41
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | Rack J2, Floor Position = J2 | 42 | 44 | 42 | 42 | 44 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | ODF CODF J06, Floor Position = J6 | 20 | 47 | 20 | 11 | 47 | 11
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | ODF J05, Floor Position = J5 | 44 | 46 | 44 | 23 | 46 | 23
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | Rack J1, Floor Position = J1 | 41 | 44 | 41 | 41 | 44 | 41
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Occupied | 8 | 76 % | 1.770 m² | Rack JK11, Floor Position = K11 | 6 | 37 | 6 | 5 | 37 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | J | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Free | 5 | 37 % | 0.870 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | Rack K2, Floor Position = K2 | 7 | 44 | 7 | 4 | 44 | 4
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | ODF K05, Floor Position = K5 | 34 | 46 | 34 | 16 | 46 | 16
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | Rack K3, Floor Position = K3 | 41 | 44 | 41 | 41 | 44 | 41
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | Rack K4, Floor Position = K4 | 42 | 44 | 42 | 42 | 44 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | Rack K1, Floor Position = K1 | 41 | 44 | 41 | 41 | 44 | 41
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Occupied | 7 | 63 % | 1.455 m² | Rack JK11, Floor Position = K11 | 6 | 37 | 6 | 5 | 37 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | K | 12 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Free | 0 | 9 % | 0.196 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L6, Floor Position = L6 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L7, Floor Position = L7 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L4, Floor Position = L4 | 37 | 45 | 37 | 37 | 45 | 37
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L3, Floor Position = L3 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L5, Floor Position = L5 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L0, Floor Position = L0 | 3 | 47 | 3 | 1 | 47 | 1
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L1, Floor Position = L1 | 43 | 45 | 43 | 43 | 45 | 43
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L2, Floor Position = L2 | 43 | 45 | 43 | 43 | 45 | 43
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L10, Floor Position = L10 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L9, Floor Position = L9 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | L | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Free | 0 | 9 % | 0.196 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L6, Floor Position = L6 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L7, Floor Position = L7 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L3, Floor Position = L3 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L4, Floor Position = L4 | 37 | 45 | 37 | 37 | 45 | 37
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L5, Floor Position = L5 | 45 | 45 | 45 | 45 | 45 | 45
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L2, Floor Position = L2 | 43 | 45 | 43 | 43 | 45 | 43
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack M0, Floor Position = M0 | 3 | 47 | 3 | 1 | 47 | 1
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L1, Floor Position = L1 | 43 | 45 | 43 | 43 | 45 | 43
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L10, Floor Position = L10 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Occupied | 10 | 91 % | 2.085 m² | Rack L9, Floor Position = L9 | 42 | 45 | 42 | 42 | 45 | 42
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | M | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | N | 13 | Free | 13 | 100 % | 2.340 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | N | 13 | Occupied | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | N | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | P | 13 | Free | 13 | 100 % | 2.340 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | P | 13 | Occupied | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | P | 13 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | S | 4 | Free | 2 | 69 % | 1.480 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | S | 4 | Occupied | 2 | 31 % | 0.680 m² | Rack ST02, Floor Position = T02 | 6 | 33 | 5 | 4 | 33 | 4
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | S | 4 | Occupied | 2 | 31 % | 0.680 m² | Rack S7, Floor Position = S07 | 0 | 47 | 0 | 0 | 47 | 0
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | S | 4 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | T | 4 | Free | 1 | 39 % | 0.840 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | T | 4 | Occupied | 3 | 61 % | 1.320 m² | Rack ST03, Floor Position = T03 | 24 | 37 | 24 | 22 | 37 | 22
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | T | 4 | Occupied | 3 | 61 % | 1.320 m² | Rack ST02, Floor Position = T02 | 6 | 33 | 5 | 4 | 33 | 4
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | T | 4 | Occupied | 3 | 61 % | 1.320 m² | Rack T7, Floor Position = T07 | 0 | 47 | 0 | 0 | 47 | 0
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | T | 4 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Free | 2 | 30 % | 0.612 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Occupied | 6 | 70 % | 1.440 m² | Rack U07, Floor Position = U07 | 17 | 42 | 17 | 13 | 42 | 13
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Occupied | 6 | 70 % | 1.440 m² | Rack U05, Floor Position = U05 | 27 | 47 | 27 | 18 | 47 | 18
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Occupied | 6 | 70 % | 1.440 m² | Rack U03, Floor Position = U03 | 23 | 44 | 23 | 20 | 44 | 20
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Occupied | 6 | 70 % | 1.440 m² | Rack U2, Floor Position = U02 | 22 | 44 | 22 | 20 | 44 | 20
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Occupied | 6 | 70 % | 1.440 m² | Rack U04, Floor Position = U04 | 20 | 47 | 20 | 12 | 47 | 12
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Occupied | 6 | 70 % | 1.440 m² | Rack U1, Floor Position = U01 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | U | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | V | 8 | Free | 4 | 57 % | 1.111 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | V | 8 | Occupied | 4 | 43 % | 0.840 m² | Rack U07, Floor Position = U07 | 17 | 42 | 17 | 13 | 42 | 13
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | V | 8 | Occupied | 4 | 43 % | 0.840 m² | Rack V03, Floor Position = V03 | 22 | 47 | 22 | 13 | 47 | 13
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | V | 8 | Occupied | 4 | 43 % | 0.840 m² | Rack V2, Floor Position = V02 | 22 | 44 | 22 | 20 | 44 | 20
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | V | 8 | Occupied | 4 | 43 % | 0.840 m² | Rack U1, Floor Position = U01 | 5 | 47 | 5 | 5 | 47 | 5
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | V | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Free | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack W4, Floor Position = W04 | 28 | 42 | 28 | 27 | 42 | 27
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack W5, Floor Position = W05 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack W2, Floor Position = W02 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack W3, Floor Position = W03 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack W6, Floor Position = W06 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack W1, Floor Position = W01 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | W | 6 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Free | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack X6, Floor Position = X06 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack X2, Floor Position = X02 | 39 | 42 | 39 | 39 | 42 | 39
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack X3, Floor Position = X03 | 39 | 42 | 39 | 39 | 42 | 39
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack X4, Floor Position = X04 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack X5, Floor Position = X05 | 36 | 42 | 36 | 36 | 42 | 36
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack X1, Floor Position = X01 | 39 | 42 | 39 | 39 | 42 | 39
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | X | 6 | Reserved | 0 | 0 % | 0.000 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | Y | 1 | Free | 0 | 14 % | 0.045 m²
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | Y | 1 | Occupied | 1 | 86 % | 0.270 m² | ODF Amitie ODF - PLY, Floor Position = Y01 | 27 | 47 | 27 | 20 | 47 | 20
Room PLY on Floor Ground Floor in Site PLYMOUTH | 30585.00 W | 99825.00 W | 31 % | Y | 1 | Reserved | 0 | 0 % | 0.000 m²