## Suite Line Capacity
Report generated for: | Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH
| Quantity | % of all area | Area
Total free sections: | 9/123 | 22 % | 6.418 m²
Total occupied sections: | 114/123 | 78 % | 22.287 m²
Total reserved sections: | 0/123 | 0 % | 0.000 m²
Total Lines Capability |  |  | 28.704 m²
Total Location Capability |  |  | 103.040 m²
Total Location Free Area |  |  | 80.753 m²
Total Location Occupied Area |  |  | 22.287 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | A | 4 | Free | 3 | 71 % | 1.600 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | A | 4 | Occupied | 1 | 29 % | 0.640 m² | Rack A02, Floor Position = A2 | 33 | 37 | 33 | 26 | 37 | 26
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Free | 0 | 1 % | 0.020 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B1, Floor Position = B1 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B2, Floor Position = B2 | 44 | 47 | 44 | 44 | 47 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B5, Floor Position = B5 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B4, Floor Position = B4 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B3, Floor Position = B3 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack BC07, Floor Position = B7 | 33 | 42 | 33 | 31 | 42 | 31
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Occupied | 8 | 99 % | 1.651 m² | Rack B6, Floor Position = B6 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Free | 0 | 32 % | 0.903 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C1, Floor Position = C01 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C2, Floor Position = C02 | 44 | 47 | 44 | 44 | 47 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C5, Floor Position = C05 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C4, Floor Position = C04 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C3a, Floor Position = C3a | 44 | 47 | 44 | 44 | 47 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack BC07, Floor Position = B7 | 33 | 42 | 33 | 31 | 42 | 31
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Occupied | 8 | 68 % | 1.890 m² | Rack C06, Floor Position = C06 | 10 | 47 | 10 | 4 | 47 | 4
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Free | 2 | 44 % | 1.734 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D11, Floor Position = D11 | 22 | 47 | 22 | 18 | 47 | 18
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D15, Floor Position = D15 | 44 | 47 | 44 | 44 | 47 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D16, Floor Position = D16 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D14, Floor Position = D14 | 18 | 47 | 18 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D8, Floor Position = D8 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | ODF D10, Floor Position = D10 | 44 | 46 | 44 | 23 | 46 | 23
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D5, Floor Position = D5 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D6, Floor Position = D6 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D7, Floor Position = D7 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D4, Floor Position = D4 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D2, Floor Position = D02 | 42 | 42 | 42 | 42 | 42 | 42
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Occupied | 12 | 56 % | 2.190 m² | Rack D1, Floor Position = D01 | 42 | 42 | 42 | 42 | 42 | 42
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | D | 14 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Free | 1 | 33 % | 1.197 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | ODF CODF E11, Floor Position = E11 | 19 | 47 | 19 | 10 | 47 | 10
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E15, Floor Position = E15 | 44 | 44 | 44 | 44 | 44 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack D16, Floor Position = D16 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack D14, Floor Position = D14 | 18 | 47 | 18 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E8, Floor Position = E08 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | ODF E10, Floor Position = E10 | 44 | 46 | 44 | 23 | 46 | 23
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E9, Floor Position = E09 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E6, Floor Position = E06 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E5, Floor Position = E05 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E7, Floor Position = E07 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E4, Floor Position = E04 | 54 | 54 | 54 | 54 | 54 | 54
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E2, Floor Position = E02 | 42 | 42 | 42 | 42 | 42 | 42
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Occupied | 13 | 67 % | 2.433 m² | Rack E1, Floor Position = E01 | 42 | 42 | 42 | 42 | 42 | 42
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | E | 14 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Free | 0 | 4 % | 0.135 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F14, Floor Position = F14 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F12, Floor Position = F12 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F13, Floor Position = F13 | 24 | 54 | 24 | 10 | 54 | 10
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F11, Floor Position = F11 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F/G16, Floor Position = F16 | 24 | 36 | 18 | 10 | 30 | 10
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F15, Floor Position = F15 | 43 | 46 | 43 | 43 | 46 | 43
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F7, Floor Position = F07 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F6, Floor Position = F06 | 43 | 46 | 43 | 43 | 46 | 43
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F5, Floor Position = F05 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F4, Floor Position = F04 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F9, Floor Position = F09 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F10, Floor Position = F10 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F8, Floor Position = F08 | 44 | 46 | 44 | 44 | 46 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | ODF F1, Floor Position = F01 | 16 | 54 | 16 | 6 | 54 | 6
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Occupied | 16 | 96 % | 3.060 m² | ODF F2, Floor Position = F02 | 33 | 46 | 33 | 20 | 46 | 20
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | F | 16 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Free | 0 | 5 % | 0.153 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G12, Floor Position = G12 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G11, Floor Position = G11 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G10, Floor Position = G10 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G9, Floor Position = G09 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G14, Floor Position = G14 | 14 | 46 | 14 | 8 | 46 | 8
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack F/G16, Floor Position = F16 | 24 | 36 | 18 | 10 | 30 | 10
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G13, Floor Position = G13 | 43 | 46 | 43 | 43 | 46 | 43
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G5, Floor Position = G05 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G4, Floor Position = G04 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G7, Floor Position = G07 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G8, Floor Position = G08 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G6, Floor Position = G06 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | ODF G1, Floor Position = G01 | 6 | 54 | 6 | 3 | 54 | 3
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G2, Floor Position = G02 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Occupied | 16 | 95 % | 3.042 m² | Rack G3, Floor Position = G03 | 52 | 54 | 52 | 52 | 54 | 52
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | G | 16 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Free | 0 | 0 % | -0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H15, Floor Position = H15 | 43 | 46 | 43 | 43 | 46 | 43
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H13, Floor Position = H13 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H12, Floor Position = H12 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack JH14, Floor Position = H14 | 12 | 47 | 12 | 3 | 47 | 3
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H16, Floor Position = H16 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H8, Floor Position = H8 | 39 | 45 | 39 | 28 | 45 | 28
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H6, Floor Position = H6 | 45 | 47 | 45 | 45 | 47 | 45
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J/H05, Floor Position = H5 | 42 | 47 | 42 | 26 | 47 | 26
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J/H07, Floor Position = H7 | 42 | 47 | 42 | 27 | 47 | 27
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H10, Floor Position = H10 | 38 | 47 | 38 | 16 | 47 | 16
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H9, Floor Position = H9 | 45 | 47 | 45 | 45 | 47 | 45
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H11, Floor Position = H11 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H1, Floor Position = H1 | 41 | 44 | 41 | 41 | 44 | 41
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H3, Floor Position = H3 | 47 | 47 | 47 | 47 | 47 | 47
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H2, Floor Position = H2 | 47 | 47 | 47 | 47 | 47 | 47
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H4, Floor Position = H4 | 45 | 47 | 45 | 45 | 47 | 45
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | H | 16 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Free | 0 | 0 % | -0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H8, Floor Position = H8 | 39 | 45 | 39 | 28 | 45 | 28
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H10, Floor Position = H10 | 38 | 47 | 38 | 16 | 47 | 16
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J11, Floor Position = J11 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H9, Floor Position = H9 | 45 | 47 | 45 | 45 | 47 | 45
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H6, Floor Position = H6 | 45 | 47 | 45 | 45 | 47 | 45
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J/H07, Floor Position = H7 | 42 | 47 | 42 | 27 | 47 | 27
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J/H05, Floor Position = H5 | 42 | 47 | 42 | 26 | 47 | 26
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H15, Floor Position = H15 | 43 | 46 | 43 | 43 | 46 | 43
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H16, Floor Position = H16 | 5 | 47 | 5 | 5 | 47 | 5
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J13, Floor Position = J13 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack JH14, Floor Position = H14 | 12 | 47 | 12 | 3 | 47 | 3
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack J12, Floor Position = J12 | 51 | 54 | 51 | 51 | 54 | 51
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H1, Floor Position = H1 | 41 | 44 | 41 | 41 | 44 | 41
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H3, Floor Position = H3 | 47 | 47 | 47 | 47 | 47 | 47
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H4, Floor Position = H4 | 45 | 47 | 45 | 45 | 47 | 45
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Occupied | 16 | 100 % | 2.880 m² | Rack H2, Floor Position = H2 | 47 | 47 | 47 | 47 | 47 | 47
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | J | 16 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Free | 3 | 38 % | 0.675 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Occupied | 5 | 62 % | 1.080 m² | Rack L3, Floor Position = L03 | 39 | 46 | 39 | 39 | 46 | 39
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Occupied | 5 | 62 % | 1.080 m² | Rack L8, Floor Position = L08 | 40 | 46 | 40 | 40 | 46 | 40
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Occupied | 5 | 62 % | 1.080 m² | Rack L4, Floor Position = L04 | 41 | 47 | 41 | 41 | 47 | 41
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Occupied | 5 | 62 % | 1.080 m² | Rack L6, Floor Position = L06 | 40 | 46 | 40 | 40 | 46 | 40
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Occupied | 5 | 62 % | 1.080 m² | Rack L5, Floor Position = L05 | 44 | 46 | 44 | 44 | 46 | 44
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | L | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | M | 3 | Free | 0 | 0 % | 0.000 m²
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | M | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack M1, Floor Position = M1 | 8 | 44 | 8 | 2 | 44 | 2
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | M | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack M2, Floor Position = M2 | 21 | 44 | 21 | 19 | 44 | 19
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | M | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack M3, Floor Position = M03 | 8 | 44 | 8 | 3 | 44 | 3
Room PTBTN1 on Floor Ground Floor in Site PETERBOROUGH | 21893.00 W | 60750.00 W | 36 % | M | 3 | Reserved | 0 | 0 % | 0.000 m²