## Suite Line Capacity
Report generated for: | Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP
| Quantity | % of all area | Area
Total free sections: | 7/33 | 26 % | 2.216 m²
Total occupied sections: | 26/33 | 74 % | 6.183 m²
Total reserved sections: | 0/33 | 0 % | 0.000 m²
Total Lines Capability |  |  | 8.399 m²
Total Location Capability |  |  | 51.870 m²
Total Location Free Area |  |  | 45.687 m²
Total Location Occupied Area |  |  | 6.183 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | A | 4 | Free | 0 | 42 % | 0.821 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | A | 4 | Occupied | 4 | 58 % | 1.143 m² | ODF A4, Floor Position = A4 | 3 | 47 | 3 | 3 | 47 | 3
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | A | 4 | Occupied | 4 | 58 % | 1.143 m² | Rack A2, Floor Position = A2 | 47 | 47 | 47 | 47 | 47 | 47
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | A | 4 | Occupied | 4 | 58 % | 1.143 m² | ODF A7, Floor Position = A7 | 1 | 47 | 1 | 1 | 47 | 1
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | A | 4 | Occupied | 4 | 58 % | 1.143 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Free | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Occupied | 6 | 100 % | 1.155 m² | ODF CODF B05, Floor Position = B5 | 42 | 47 | 42 | 18 | 47 | 18
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Occupied | 6 | 100 % | 1.155 m² | Rack B4, Floor Position = B4 | 44 | 47 | 44 | 44 | 47 | 44
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Occupied | 6 | 100 % | 1.155 m² | Rack B2, Floor Position = B2 | 44 | 47 | 44 | 44 | 47 | 44
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Occupied | 6 | 100 % | 1.155 m² | Rack B01, Floor Position = B1 | 34 | 47 | 34 | 14 | 47 | 14
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Occupied | 6 | 100 % | 1.155 m² | Rack B3, Floor Position = B3 | 44 | 47 | 44 | 44 | 47 | 44
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Occupied | 6 | 100 % | 1.155 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | B | 6 | Reserved | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | C | 6 | Free | 2 | 27 % | 0.315 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | C | 6 | Occupied | 4 | 73 % | 0.840 m² | Rack C4, Floor Position = C4 | 2 | 47 | 2 | 1 | 47 | 1
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | C | 6 | Occupied | 4 | 73 % | 0.840 m² | Rack C2, Floor Position = C2 | 45 | 47 | 45 | 44 | 47 | 44
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | C | 6 | Occupied | 4 | 73 % | 0.840 m² | Rack C1, Floor Position = C1 | 39 | 42 | 39 | 39 | 42 | 39
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | C | 6 | Occupied | 4 | 73 % | 0.840 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Free | 2 | 34 % | 0.450 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Occupied | 5 | 66 % | 0.855 m² | Rack D1, Floor Position = D1 | 32 | 37 | 25 | 19 | 24 | 17
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Occupied | 5 | 66 % | 0.855 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Occupied | 5 | 66 % | 0.855 m² | Rack D04, Floor Position = D4 | 7 | 47 | 7 | 4 | 47 | 4
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Occupied | 5 | 66 % | 0.855 m² | Rack D03, Floor Position = D3 | 9 | 46 | 9 | 3 | 46 | 3
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Occupied | 5 | 66 % | 0.855 m² | Rack D2, Floor Position = D2 | 26 | 47 | 26 | 16 | 47 | 16
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | E | 7 | Free | 3 | 36 % | 0.630 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | E | 7 | Occupied | 4 | 64 % | 1.110 m² | Rack D1, Floor Position = D1 | 32 | 37 | 25 | 19 | 24 | 17
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | E | 7 | Occupied | 4 | 64 % | 1.110 m² | Rack E04, Floor Position = E4 | 38 | 47 | 38 | 18 | 47 | 18
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | E | 7 | Occupied | 4 | 64 % | 1.110 m² | Rack D2, Floor Position = D2 | 26 | 47 | 26 | 16 | 47 | 16
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | E | 7 | Occupied | 4 | 64 % | 1.110 m² | ODF E03, Floor Position = E3 | 44 | 46 | 44 | 30 | 46 | 30
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | F | 3 | Free | 0 | 0 % | 0.000 m²
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | F | 3 | Occupied | 3 | 100 % | 1.080 m² | Rack PTHTL1;DC SYS01, Floor Position = F03 | 20 | 45 | 20 | 19 | 24 | 19
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | F | 3 | Occupied | 3 | 100 % | 1.080 m² | Rack F2, Floor Position = F02 | 47 | 47 | 47 | 47 | 47 | 47
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | F | 3 | Occupied | 3 | 100 % | 1.080 m² | Rack F1, Floor Position = F01 | 5 | 47 | 5 | 5 | 47 | 5
Room PTHTL1 on Floor Ground Floor in Site PERTH LADESIDE TAP | 16508.00 W | 11250.00 W | 147 % | F | 3 | Reserved | 0 | 0 % | 0.000 m²