## Suite Line Capacity
Report generated for: | Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN
| Quantity | % of all area | Area
Total free sections: | 305/409 | 74 % | 62.110 m²
Total occupied sections: | 104/409 | 26 % | 21.865 m²
Total reserved sections: | 0/409 | 0 % | 0.000 m²
Total Lines Capability |  |  | 83.975 m²
Total Location Capability |  |  | 490.606 m²
Total Location Free Area |  |  | 468.382 m²
Total Location Occupied Area |  |  | 22.225 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | A | 9 | Free | 9 | 100 % | 1.620 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | A | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | B | 9 | Free | 9 | 100 % | 1.620 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | B | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BA | 10 | Free | 8 | 73 % | 1.440 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BA | 10 | Occupied | 2 | 27 % | 0.540 m² | ODF BA01, Floor Position = BA1 | 42 | 47 | 42 | 35 | 47 | 35
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BA | 10 | Occupied | 2 | 27 % | 0.540 m² | ODF BA10, Floor Position = BA10 | 39 | 47 | 39 | 32 | 47 | 32
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BA | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BB | 10 | Free | 8 | 73 % | 1.440 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BB | 10 | Occupied | 2 | 27 % | 0.540 m² | ODF BB1, Floor Position = BB1 | 44 | 44 | 44 | 44 | 44 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BB | 10 | Occupied | 2 | 27 % | 0.540 m² | ODF BB10, Floor Position = BB10 | 44 | 44 | 44 | 44 | 44 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BB | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Free | 2 | 18 % | 0.360 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC1, Floor Position = BC1 | 2 | 44 | 2 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC8, Floor Position = BC8 | 45 | 45 | 45 | 45 | 45 | 45
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC2, Floor Position = BC2 | 44 | 46 | 44 | 44 | 46 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC3, Floor Position = BC3 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC4, Floor Position = BC4 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC6, Floor Position = BC6 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC5, Floor Position = BC5 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC7, Floor Position = BC7 | 45 | 45 | 45 | 45 | 45 | 45
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC9, Floor Position = BC9 | 45 | 45 | 45 | 45 | 45 | 45
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BC | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Free | 2 | 18 % | 0.360 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC1, Floor Position = BC1 | 2 | 44 | 2 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC8, Floor Position = BC8 | 45 | 45 | 45 | 45 | 45 | 45
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC2, Floor Position = BC2 | 44 | 46 | 44 | 44 | 46 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC3, Floor Position = BC3 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC4, Floor Position = BC4 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC6, Floor Position = BC6 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC5, Floor Position = BC5 | 43 | 45 | 43 | 43 | 45 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC7, Floor Position = BC7 | 45 | 45 | 45 | 45 | 45 | 45
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Occupied | 9 | 82 % | 1.620 m² | Rack BC9, Floor Position = BC9 | 45 | 45 | 45 | 45 | 45 | 45
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BD | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BE | 11 | Free | 11 | 100 % | 1.980 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BE | 11 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BE | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BF | 9 | Free | 9 | 100 % | 1.980 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BF | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BF | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BG | 8 | Free | 8 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BG | 8 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BG | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BH | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BH | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BH | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BJ | 8 | Free | 5 | 62 % | 0.975 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BJ | 8 | Occupied | 3 | 37 % | 0.585 m² | Rack BJ3, Floor Position = BJ3 | 42 | 42 | 42 | 42 | 42 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BJ | 8 | Occupied | 3 | 37 % | 0.585 m² | Rack BJ1, Floor Position = BJ1 | 42 | 42 | 42 | 42 | 42 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BJ | 8 | Occupied | 3 | 37 % | 0.585 m² | Rack BJ2, Floor Position = BJ2 | 42 | 42 | 42 | 42 | 42 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BJ | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BK | 8 | Free | 5 | 62 % | 0.975 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BK | 8 | Occupied | 3 | 37 % | 0.585 m² | Rack BK3, Floor Position = BK3 | 42 | 42 | 42 | 42 | 42 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BK | 8 | Occupied | 3 | 37 % | 0.585 m² | Rack BK1, Floor Position = BK1 | 42 | 42 | 42 | 42 | 42 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BK | 8 | Occupied | 3 | 37 % | 0.585 m² | Rack BK2, Floor Position = BK2 | 42 | 42 | 42 | 42 | 42 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BK | 8 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BL | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BL | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BL | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BM | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BM | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BM | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BN | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BN | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BN | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BP | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BP | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BP | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BQ | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BQ | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BQ | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BR | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BR | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BR | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BS | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BS | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BS | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BT | 10 | Free | 10 | 100 % | 1.800 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BT | 10 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | BT | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | C | 9 | Free | 9 | 100 % | 1.620 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | C | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | D | 9 | Free | 9 | 100 % | 1.620 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | D | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | E | 7 | Free | 3 | 56 % | 1.209 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | E | 7 | Occupied | 4 | 44 % | 0.963 m² | Rack E7, Floor Position = E7 | 44 | 44 | 44 | 44 | 44 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | E | 7 | Occupied | 4 | 44 % | 0.963 m² | Rack E8, Floor Position = E8 | 35 | 35 | 35 | 35 | 35 | 35
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | E | 7 | Occupied | 4 | 44 % | 0.963 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | E | 7 | Occupied | 4 | 44 % | 0.963 m² | Rack E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | F | 7 | Free | 5 | 77 % | 1.351 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | F | 7 | Occupied | 2 | 23 % | 0.404 m² | Rack F8, Floor Position = F8 | 35 | 35 | 35 | 35 | 35 | 35
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | F | 7 | Occupied | 2 | 23 % | 0.404 m² | Rack F1, Floor Position = F1 | 47 | 47 | 47 | 47 | 47 | 47
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | F | 7 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | G | 10 | Free | 6 | 62 % | 1.713 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | G | 10 | Occupied | 4 | 38 % | 1.047 m² | Rack G10, Floor Position = G10 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | G | 10 | Occupied | 4 | 38 % | 1.047 m² | Rack G04, Floor Position = G4 | 32 | 46 | 32 | 28 | 46 | 28
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | G | 10 | Occupied | 4 | 38 % | 1.047 m² | Rack G1, Floor Position = G1 | 5 | 47 | 5 | 5 | 47 | 5
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | G | 10 | Occupied | 4 | 38 % | 1.047 m² | Rack G2, Floor Position = G2 | 43 | 46 | 43 | 43 | 46 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | G | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | H | 10 | Free | 6 | 59 % | 1.350 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | H | 10 | Occupied | 4 | 41 % | 0.927 m² | Rack H10, Floor Position = H10 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | H | 10 | Occupied | 4 | 41 % | 0.927 m² | Rack G1, Floor Position = G1 | 5 | 47 | 5 | 5 | 47 | 5
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | H | 10 | Occupied | 4 | 41 % | 0.927 m² | Rack H3, Floor Position = H3 | 43 | 46 | 43 | 43 | 46 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | H | 10 | Occupied | 4 | 41 % | 0.927 m² | Rack H2, Floor Position = H2 | 43 | 46 | 43 | 43 | 46 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Free | 1 | 9 % | 0.180 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J4, Floor Position = J4 | 42 | 45 | 42 | 42 | 45 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J2, Floor Position = J2 | 44 | 47 | 44 | 44 | 47 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | ODF J01, Floor Position = J1 | 25 | 44 | 25 | 20 | 44 | 20
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J3, Floor Position = J3 | 42 | 45 | 42 | 42 | 45 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J6, Floor Position = J6 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J5, Floor Position = J5 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J07, Floor Position = J7 | 17 | 46 | 17 | 7 | 46 | 7
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | Rack J8, Floor Position = J8 | 43 | 46 | 43 | 43 | 46 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Occupied | 9 | 91 % | 1.800 m² | ODF J10, Floor Position = J10 | 8 | 44 | 8 | 4 | 44 | 4
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | J | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Free | 2 | 18 % | 0.360 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | Rack K4, Floor Position = K4 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | Rack K03, Floor Position = K3 | 28 | 46 | 28 | 22 | 46 | 22
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | Rack K2, Floor Position = K2 | 42 | 46 | 42 | 42 | 46 | 42
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | ODF K01, Floor Position = K1 | 43 | 44 | 43 | 43 | 44 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | Rack K5, Floor Position = K5 | 43 | 46 | 43 | 43 | 46 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | Rack K6, Floor Position = K6 | 43 | 46 | 43 | 43 | 46 | 43
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | Rack K07, Floor Position = K7 | 33 | 46 | 33 | 33 | 46 | 33
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Occupied | 8 | 82 % | 1.620 m² | ODF K10, Floor Position = K10 | 44 | 44 | 44 | 44 | 44 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | K | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Free | 4 | 48 % | 1.260 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack L1, Floor Position = L1 | 5 | 47 | 5 | 5 | 47 | 5
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack LM08, Floor Position = L8 | 39 | 43 | 38 | 27 | 42 | 26
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack L2, Floor Position = L2 | 26 | 40 | 24 | 12 | 40 | 12
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack L3, Floor Position = L3 | 20 | 42 | 17 | 9 | 34 | 6
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack L04, Floor Position = L4 | 28 | 46 | 28 | 14 | 46 | 14
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack LM05, Floor Position = L5 | 15 | 46 | 15 | 4 | 46 | 4
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Occupied | 7 | 52 % | 1.380 m² | Rack L/M7, Floor Position = L7 | 23 | 39 | 21 | 12 | 32 | 12
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | L | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Free | 4 | 55 % | 1.830 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack L1, Floor Position = L1 | 5 | 47 | 5 | 5 | 47 | 5
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack LM08, Floor Position = L8 | 39 | 43 | 38 | 27 | 42 | 26
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack L2, Floor Position = L2 | 26 | 40 | 24 | 12 | 40 | 12
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack L3, Floor Position = L3 | 20 | 42 | 17 | 9 | 34 | 6
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack M04, Floor Position = M4 | 6 | 45 | 6 | 2 | 45 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack LM05, Floor Position = L5 | 15 | 46 | 15 | 4 | 46 | 4
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Occupied | 7 | 45 % | 1.470 m² | Rack L/M7, Floor Position = L7 | 23 | 39 | 21 | 12 | 32 | 12
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | M | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | N | 10 | Free | 6 | 59 % | 1.170 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | N | 10 | Occupied | 4 | 41 % | 0.810 m² | Rack N1, Floor Position = N1 | 29 | 30 | 18 | 18 | 17 | 11
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | N | 10 | Occupied | 4 | 41 % | 0.810 m² | Rack N2, Floor Position = N2 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | N | 10 | Occupied | 4 | 41 % | 0.810 m² | Rack NP03, Floor Position = N3 | 39 | 45 | 38 | 24 | 45 | 24
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | N | 10 | Occupied | 4 | 41 % | 0.810 m² | ODF N6, Floor Position = N6 | 44 | 44 | 44 | 44 | 44 | 44
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | N | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | P | 10 | Free | 7 | 73 % | 1.440 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | P | 10 | Occupied | 3 | 27 % | 0.540 m² | Rack N1, Floor Position = N1 | 29 | 30 | 18 | 18 | 17 | 11
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | P | 10 | Occupied | 3 | 27 % | 0.540 m² | Rack N2, Floor Position = N2 | 41 | 44 | 41 | 41 | 44 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | P | 10 | Occupied | 3 | 27 % | 0.540 m² | Rack NP03, Floor Position = N3 | 39 | 45 | 38 | 24 | 45 | 24
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | P | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Free | 4 | 41 % | 0.810 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Occupied | 5 | 59 % | 1.170 m² | Rack Q1, Floor Position = Q1 | 2 | 44 | 2 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Occupied | 5 | 59 % | 1.170 m² | ODF CODF Q07, Floor Position = Q7 | 16 | 47 | 16 | 9 | 47 | 9
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Occupied | 5 | 59 % | 1.170 m² | Rack Q4, Floor Position = Q4 | 30 | 44 | 30 | 30 | 44 | 30
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Occupied | 5 | 59 % | 1.170 m² | ODF Q05, Floor Position = Q5 | 44 | 46 | 44 | 23 | 46 | 23
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Occupied | 5 | 59 % | 1.170 m² | ODF Q06, Floor Position = Q6 | 44 | 46 | 44 | 23 | 46 | 23
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Q | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Free | 3 | 45 % | 1.200 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack Q1, Floor Position = Q1 | 2 | 44 | 2 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack R8, Floor Position = R8 | 24 | 44 | 24 | 23 | 44 | 23
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack R4, Floor Position = R4 | 10 | 46 | 10 | 3 | 46 | 3
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack R06, Floor Position = R6 | 6 | 44 | 6 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack R05, Floor Position = R5 | 21 | 44 | 21 | 18 | 44 | 18
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack R07, Floor Position = R7 | 22 | 44 | 22 | 20 | 44 | 20
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Occupied | 7 | 55 % | 1.440 m² | Rack R09, Floor Position = R9 | 30 | 47 | 30 | 27 | 47 | 27
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | R | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | S | 11 | Free | 9 | 82 % | 1.620 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | S | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack S1, Floor Position = S1 | 41 | 43 | 41 | 41 | 43 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | S | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack S2, Floor Position = S2 | 41 | 43 | 41 | 41 | 43 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | S | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | T | 11 | Free | 9 | 82 % | 1.620 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | T | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack S1, Floor Position = S1 | 41 | 43 | 41 | 41 | 43 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | T | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack S2, Floor Position = S2 | 41 | 43 | 41 | 41 | 43 | 41
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | T | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | U | 10 | Free | 6 | 58 % | 1.489 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | U | 10 | Occupied | 4 | 42 % | 1.097 m² | Rack U1, Floor Position = U1 | 2 | 44 | 2 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | U | 10 | Occupied | 4 | 42 % | 1.097 m² | Rack VU02, Floor Position = U2 | 6 | 31 | 3 | 4 | 24 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | U | 10 | Occupied | 4 | 42 % | 1.097 m² | Rack UV03, Floor Position = U3 | 29 | 36 | 29 | 29 | 36 | 29
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | U | 10 | Occupied | 4 | 42 % | 1.097 m² | Rack U5, Floor Position = U5 | 20 | 23 | 16 | 16 | 18 | 16
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | U | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | V | 10 | Free | 6 | 62 % | 1.599 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | V | 10 | Occupied | 4 | 38 % | 0.987 m² | Rack U1, Floor Position = U1 | 2 | 44 | 2 | 2 | 44 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | V | 10 | Occupied | 4 | 38 % | 0.987 m² | Rack VU02, Floor Position = U2 | 6 | 31 | 3 | 4 | 24 | 2
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | V | 10 | Occupied | 4 | 38 % | 0.987 m² | Rack UV03, Floor Position = U3 | 29 | 36 | 29 | 29 | 36 | 29
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | V | 10 | Occupied | 4 | 38 % | 0.987 m² | Rack U5, Floor Position = U5 | 20 | 23 | 16 | 16 | 18 | 16
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | V | 10 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | W | 11 | Free | 11 | 100 % | 1.980 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | W | 11 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | W | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | X | 9 | Free | 9 | 100 % | 1.980 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | X | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | X | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Y | 9 | Free | 9 | 100 % | 1.980 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Y | 9 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Y | 9 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Z | 11 | Free | 11 | 100 % | 1.980 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Z | 11 | Occupied | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | Z | 11 | Reserved | 0 | 0 % | 0.000 m²
Room PTMN03 on Floor Ground Floor in Site PORTSMOUTH TAN | 68225.00 W | 45000.00 W | 152 % | [6 empty] | Rack PTMN03;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15