## Suite Line Capacity
Report generated for: | Room RCR on Floor Ground Floor in Site ROCHESTER
| Quantity | % of all area | Area
Total free sections: | 23/88 | 35 % | 7.034 m²
Total occupied sections: | 65/88 | 65 % | 13.306 m²
Total reserved sections: | 0/88 | 0 % | 0.000 m²
Total Lines Capability |  |  | 20.340 m²
Total Location Capability |  |  | 100.851 m²
Total Location Free Area |  |  | 87.545 m²
Total Location Occupied Area |  |  | 13.306 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Free | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 3 | 47 | 3
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack A4, Floor Position = A4 | 52 | 56 | 52 | 52 | 56 | 52
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | ODF A1, Floor Position = A1 | 17 | 56 | 17 | 8 | 56 | 8
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | ODF A2, Floor Position = A2 | 53 | 56 | 53 | 32 | 56 | 32
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack A3, Floor Position = A3 | 49 | 56 | 49 | 28 | 56 | 28
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack A6, Floor Position = A6 | 52 | 56 | 52 | 52 | 56 | 52
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack A5, Floor Position = A5 | 50 | 56 | 50 | 50 | 56 | 50
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack A7, Floor Position = A7 | 42 | 45 | 42 | 42 | 45 | 42
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Free | 0 | 0 % | 0.001 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 3 | 47 | 3
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack B4, Floor Position = B4 | 52 | 56 | 52 | 52 | 56 | 52
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | ODF B1, Floor Position = B1 | 40 | 56 | 40 | 29 | 56 | 29
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | ODF B2, Floor Position = B2 | 56 | 56 | 56 | 56 | 56 | 56
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack B3, Floor Position = B3 | 53 | 56 | 53 | 53 | 56 | 53
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack B6, Floor Position = B6 | 53 | 56 | 53 | 53 | 56 | 53
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack B5, Floor Position = B5 | 53 | 56 | 53 | 53 | 56 | 53
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Occupied | 8 | 100 % | 1.485 m² | Rack B7, Floor Position = B7 | 42 | 45 | 42 | 42 | 45 | 42
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Free | 1 | 31 % | 0.443 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Occupied | 5 | 69 % | 0.997 m² | Rack C2, Floor Position = C02 | 42 | 42 | 42 | 42 | 42 | 42
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Occupied | 5 | 69 % | 0.997 m² | Rack C1, Floor Position = C01 | 42 | 42 | 42 | 42 | 42 | 42
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Occupied | 5 | 69 % | 0.997 m² | Rack C3, Floor Position = C3 | 56 | 56 | 56 | 56 | 56 | 56
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Occupied | 5 | 69 % | 0.997 m² | Rack C4, Floor Position = C4 | 56 | 56 | 56 | 56 | 56 | 56
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Occupied | 5 | 69 % | 0.997 m² | Rack C5, Floor Position = C5 | 56 | 56 | 56 | 56 | 56 | 56
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | D | 6 | Free | 3 | 69 % | 0.997 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | D | 6 | Occupied | 3 | 31 % | 0.443 m² | Rack C2, Floor Position = C02 | 42 | 42 | 42 | 42 | 42 | 42
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | D | 6 | Occupied | 3 | 31 % | 0.443 m² | Rack C1, Floor Position = C01 | 42 | 42 | 42 | 42 | 42 | 42
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | D | 6 | Occupied | 3 | 31 % | 0.443 m² | Rack D3, Floor Position = D3 | 56 | 56 | 56 | 56 | 56 | 56
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Free | 1 | 24 % | 0.361 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 3 | 47 | 3
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack E1, Floor Position = E1 | 53 | 56 | 53 | 53 | 56 | 53
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack E2, Floor Position = E2 | 53 | 56 | 53 | 53 | 56 | 53
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack E3, Floor Position = E3 | 43 | 46 | 43 | 43 | 46 | 43
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack E4A, Floor Position = E4A | 43 | 46 | 43 | 43 | 46 | 43
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack F05, Floor Position = F05 | 32 | 36 | 22 | 23 | 19 | 16
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Occupied | 6 | 76 % | 1.125 m² | Rack E6, Floor Position = E06 | 43 | 46 | 43 | 43 | 46 | 43
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Free | 0 | 18 % | 0.270 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Occupied | 7 | 82 % | 1.215 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 3 | 47 | 3
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Occupied | 7 | 82 % | 1.215 m² | Rack F1, Floor Position = F1 | 53 | 56 | 53 | 53 | 56 | 53
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Occupied | 7 | 82 % | 1.215 m² | Rack F2, Floor Position = F2 | 41 | 46 | 41 | 41 | 46 | 41
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Occupied | 7 | 82 % | 1.215 m² | Rack F3, Floor Position = F3 | 41 | 44 | 41 | 41 | 44 | 41
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Occupied | 7 | 82 % | 1.215 m² | Rack F4, Floor Position = F4 | 54 | 56 | 54 | 54 | 56 | 54
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Occupied | 7 | 82 % | 1.215 m² | Rack F05, Floor Position = F05 | 32 | 36 | 22 | 23 | 19 | 16
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | F | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Free | 1 | 37 % | 0.740 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Occupied | 6 | 63 % | 1.260 m² | Rack G05, Floor Position = G5 | 22 | 47 | 22 | 17 | 47 | 17
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Occupied | 6 | 63 % | 1.260 m² | Rack G1, Floor Position = G1 | 25 | 46 | 25 | 19 | 46 | 19
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Occupied | 6 | 63 % | 1.260 m² | Rack G2, Floor Position = G2 | 31 | 45 | 31 | 26 | 45 | 26
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Occupied | 6 | 63 % | 1.260 m² | Rack G07, Floor Position = G7 | 9 | 44 | 9 | 7 | 44 | 7
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Occupied | 6 | 63 % | 1.260 m² | Rack G8, Floor Position = G8 | 0 | 42 | 0 | 0 | 42 | 0
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Occupied | 6 | 63 % | 1.260 m² | Rack G06, Floor Position = G6 | 22 | 44 | 22 | 20 | 44 | 20
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | G | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | H | 6 | Free | 2 | 34 % | 0.510 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | H | 6 | Occupied | 4 | 66 % | 0.990 m² | Rack H1, Floor Position = H1 | 41 | 44 | 41 | 41 | 44 | 41
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | H | 6 | Occupied | 4 | 66 % | 0.990 m² | ODF CODF H04, Floor Position = H4 | 21 | 47 | 21 | 12 | 47 | 12
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | H | 6 | Occupied | 4 | 66 % | 0.990 m² | ODF H03, Floor Position = H3 | 45 | 47 | 45 | 30 | 47 | 30
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | H | 6 | Occupied | 4 | 66 % | 0.990 m² | Rack G8, Floor Position = G8 | 0 | 42 | 0 | 0 | 42 | 0
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | H | 6 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | J | 8 | Free | 4 | 59 % | 0.856 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | J | 8 | Occupied | 4 | 41 % | 0.584 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 3 | 47 | 3
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | J | 8 | Occupied | 4 | 41 % | 0.584 m² | Rack J01, Floor Position = J1 | 17 | 45 | 17 | 4 | 45 | 4
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | J | 8 | Occupied | 4 | 41 % | 0.584 m² | Rack J3, Floor Position = J3 | 30 | 42 | 30 | 9 | 42 | 9
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | J | 8 | Occupied | 4 | 41 % | 0.584 m² | Rack J2, Floor Position = J2 | 12 | 21 | 3 | 5 | 13 | 2
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | K | 8 | Free | 5 | 62 % | 0.899 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | K | 8 | Occupied | 3 | 38 % | 0.541 m² | Rack J01, Floor Position = J1 | 17 | 45 | 17 | 4 | 45 | 4
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | K | 8 | Occupied | 3 | 38 % | 0.541 m² | Rack J3, Floor Position = J3 | 30 | 42 | 30 | 9 | 42 | 9
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | K | 8 | Occupied | 3 | 38 % | 0.541 m² | Rack J2, Floor Position = J2 | 12 | 21 | 3 | 5 | 13 | 2
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | L | 7 | Free | 3 | 42 % | 0.800 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | L | 7 | Occupied | 4 | 58 % | 1.120 m² | Rack LM05, Floor Position = L5 | 16 | 37 | 16 | 10 | 37 | 10
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | L | 7 | Occupied | 4 | 58 % | 1.120 m² | Rack L01, Floor Position = L1 | 26 | 37 | 22 | 14 | 37 | 14
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | L | 7 | Occupied | 4 | 58 % | 1.120 m² | Rack L3, Floor Position = L3 | 25 | 42 | 23 | 13 | 42 | 13
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | L | 7 | Occupied | 4 | 58 % | 1.120 m² | Rack LM04, Floor Position = L4 | 6 | 34 | 6 | 4 | 34 | 4
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | L | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | M | 7 | Free | 3 | 48 % | 0.920 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | M | 7 | Occupied | 4 | 52 % | 1.000 m² | Rack LM05, Floor Position = L5 | 16 | 37 | 16 | 10 | 37 | 10
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | M | 7 | Occupied | 4 | 52 % | 1.000 m² | Rack L01, Floor Position = L1 | 26 | 37 | 22 | 14 | 37 | 14
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | M | 7 | Occupied | 4 | 52 % | 1.000 m² | Rack L3, Floor Position = L3 | 25 | 42 | 23 | 13 | 42 | 13
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | M | 7 | Occupied | 4 | 52 % | 1.000 m² | Rack LM04, Floor Position = L4 | 6 | 34 | 6 | 4 | 34 | 4
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | M | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | N | 3 | Free | 0 | 18 % | 0.238 m²
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | N | 3 | Occupied | 3 | 82 % | 1.063 m² | Rack RCR;DC SYS01, Floor Position = N03 | 19 | 46 | 19 | 18 | 25 | 18
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | N | 3 | Occupied | 3 | 82 % | 1.063 m² | Rack N1, Floor Position = N01 | 5 | 47 | 5 | 5 | 47 | 5
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | N | 3 | Occupied | 3 | 82 % | 1.063 m² | Rack N2, Floor Position = N02 | 47 | 47 | 47 | 47 | 47 | 47
Room RCR on Floor Ground Floor in Site ROCHESTER | 42481.00 W | 33750.00 W | 126 % | N | 3 | Reserved | 0 | 0 % | 0.000 m²