## Suite Line Capacity
Report generated for: | Room RDGCD2 on Floor 1st Floor in Site READING CD1
| Quantity | % of all area | Area
Total free sections: | 33/77 | 49 % | 11.487 m²
Total occupied sections: | 40/77 | 47 % | 11.050 m²
Total reserved sections: | 4/77 | 3 % | 0.789 m²
Total Lines Capability |  |  | 23.326 m²
Total Location Capability |  |  | 94.235 m²
Total Location Free Area |  |  | 82.825 m²
Total Location Occupied Area |  |  | 11.410 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Free | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack AA6, Floor Position = AA6 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack AA3, Floor Position = AA3 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack AA4, Floor Position = AA4 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack AA5, Floor Position = AA5 | 28 | 38 | 28 | 27 | 38 | 27
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack AA1, Floor Position = AA1 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack AA2, Floor Position = AA2 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AA | 6 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AB | 3 | Free | 0 | 50 % | 1.080 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AB | 3 | Occupied | 3 | 50 % | 1.080 m² | Rack AB6, Floor Position = AB6 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AB | 3 | Occupied | 3 | 50 % | 1.080 m² | Rack AB4, Floor Position = AB4 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AB | 3 | Occupied | 3 | 50 % | 1.080 m² | Rack AB5, Floor Position = AB5 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AB | 3 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AC | 3 | Free | 0 | 50 % | 1.080 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AC | 3 | Occupied | 3 | 50 % | 1.080 m² | Rack AC6, Floor Position = AC6 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AC | 3 | Occupied | 3 | 50 % | 1.080 m² | Rack AC4, Floor Position = AC4 | 36 | 38 | 36 | 36 | 38 | 36
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AC | 3 | Occupied | 3 | 50 % | 1.080 m² | Rack AC5, Floor Position = AC5 | 29 | 38 | 29 | 28 | 38 | 28
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AC | 3 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AD | 2 | Free | 2 | 100 % | 1.280 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AD | 2 | Occupied | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | AD | 2 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Free | 0 | 23 % | 0.330 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Occupied | 5 | 77 % | 1.110 m² | Rack P4, Floor Position = P4 | 43 | 46 | 43 | 43 | 46 | 43
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Occupied | 5 | 77 % | 1.110 m² | Rack P5, Floor Position = P5 | 43 | 46 | 43 | 43 | 46 | 43
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Occupied | 5 | 77 % | 1.110 m² | Rack P06, Floor Position = P6 | 31 | 46 | 31 | 28 | 46 | 28
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Occupied | 5 | 77 % | 1.110 m² | Rack P1, Floor Position = P1 | 43 | 46 | 43 | 43 | 46 | 43
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Occupied | 5 | 77 % | 1.110 m² | Rack P03, Floor Position = P3 | 36 | 46 | 36 | 27 | 46 | 27
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | P | 5 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | R | 7 | Free | 6 | 80 % | 1.080 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | R | 7 | Occupied | 1 | 20 % | 0.270 m² | ODF Amitie ODF - RDGCD2, Floor Position = R7 | 28 | 47 | 28 | 20 | 47 | 20
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | R | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | S | 7 | Free | 7 | 100 % | 1.350 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | S | 7 | Occupied | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | S | 7 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Free | 1 | 25 % | 0.540 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T8, Floor Position = T8 | 40 | 44 | 40 | 40 | 44 | 40
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T9, Floor Position = T9 | 5 | 47 | 5 | 5 | 47 | 5
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T04, Floor Position = T4 | 25 | 47 | 25 | 18 | 47 | 18
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T6, Floor Position = T6 | 21 | 44 | 21 | 17 | 44 | 17
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T7, Floor Position = T7 | 21 | 44 | 21 | 17 | 44 | 17
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T5, Floor Position = T5 | 8 | 44 | 8 | 2 | 44 | 2
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Occupied | 7 | 75 % | 1.620 m² | Rack T03, Floor Position = T3 | 13 | 47 | 13 | 5 | 47 | 5
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | T | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Free | 1 | 38 % | 0.810 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Occupied | 5 | 62 % | 1.350 m² | ODF U08, Floor Position = U8 | 43 | 46 | 43 | 30 | 46 | 30
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack T9, Floor Position = T9 | 5 | 47 | 5 | 5 | 47 | 5
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Occupied | 5 | 62 % | 1.350 m² | ODF CODF U05, Floor Position = U5 | 17 | 47 | 17 | 10 | 47 | 10
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Occupied | 5 | 62 % | 1.350 m² | ODF U06, Floor Position = U6 | 44 | 46 | 44 | 30 | 46 | 30
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack U01, Floor Position = U1 | 22 | 47 | 22 | 18 | 47 | 18
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | U | 6 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | V | 8 | Free | 7 | 87 % | 1.664 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | V | 8 | Occupied | 1 | 13 % | 0.239 m² | Rack V1, Floor Position = V1 | 44 | 44 | 44 | 44 | 44 | 44
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | V | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | W | 8 | Free | 7 | 94 % | 1.781 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | W | 8 | Occupied | 1 | 6 % | 0.122 m² | Rack V1, Floor Position = V1 | 44 | 44 | 44 | 44 | 44 | 44
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | W | 8 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | X | 5 | Free | 0 | 0 % | -0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | X | 5 | Occupied | 3 | 67 % | 0.800 m² | Rack X1, Floor Position = X1 | 15 | 24 | 11 | 10 | 24 | 10
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | X | 5 | Occupied | 3 | 67 % | 0.800 m² | Rack X05, Floor Position = X5 | 24 | 47 | 24 | 23 | 47 | 23
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | X | 5 | Occupied | 3 | 67 % | 0.800 m² | Rack XY04, Floor Position = X4 | 31 | 43 | 31 | 31 | 43 | 31
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | X | 5 | Reserved | 2 | 33 % | 0.400 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Y | 5 | Free | 0 | 11 % | 0.131 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Y | 5 | Occupied | 3 | 57 % | 0.680 m² | Rack X1, Floor Position = X1 | 15 | 24 | 11 | 10 | 24 | 10
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Y | 5 | Occupied | 3 | 57 % | 0.680 m² | Rack XY04, Floor Position = X4 | 31 | 43 | 31 | 31 | 43 | 31
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Y | 5 | Occupied | 3 | 57 % | 0.680 m² | Rack X05, Floor Position = X5 | 24 | 47 | 24 | 23 | 47 | 23
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Y | 5 | Reserved | 2 | 32 % | 0.389 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Z | 4 | Free | 2 | 40 % | 0.360 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Z | 4 | Occupied | 2 | 60 % | 0.540 m² | ODF Z2, Floor Position = Z2 | 44 | 44 | 44 | 44 | 44 | 44
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Z | 4 | Occupied | 2 | 60 % | 0.540 m² | ODF Z1, Floor Position = Z1 | 4 | 44 | 4 | 4 | 44 | 4
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | Z | 4 | Reserved | 0 | 0 % | 0.000 m²
Room RDGCD2 on Floor 1st Floor in Site READING CD1 | 55453.00 W | 31500.00 W | 176 % | [6 empty] | Rack RDGCD2;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18