## Suite Line Capacity
Report generated for: | Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 3/26 | 8 % | 0.537 m²
Total occupied sections: | 23/26 | 92 % | 6.490 m²
Total reserved sections: | 0/26 | 0 % | 0.000 m²
Total Lines Capability |  |  | 7.027 m²
Total Location Capability |  |  | 52.841 m²
Total Location Free Area |  |  | 45.991 m²
Total Location Occupied Area |  |  | 6.850 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Free | 1 | 5 % | 0.127 m²
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A8, Floor Position = A8 | 1 | 48 | 1 | 1 | 48 | 1
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A03, Floor Position = A3 | 46 | 47 | 46 | 31 | 47 | 31
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A4, Floor Position = A4 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A5, Floor Position = A5 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | ODF A02, Floor Position = A2 | 42 | 47 | 42 | 38 | 47 | 38
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Occupied | 8 | 95 % | 2.429 m² | Rack A1, Floor Position = A1 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Free | 1 | 5 % | 0.126 m²
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | ODF B02, Floor Position = B2 | 42 | 47 | 42 | 21 | 47 | 21
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Occupied | 8 | 95 % | 2.430 m² | Rack B8, Floor Position = B8 | 1 | 48 | 1 | 1 | 48 | 1
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Free | 1 | 15 % | 0.284 m²
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | Rack C1, Floor Position = C1 | 43 | 48 | 43 | 43 | 48 | 43
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | Rack C2, Floor Position = C2 | 43 | 48 | 43 | 43 | 48 | 43
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | Rack C6, Floor Position = C6 | 9 | 47 | 9 | 5 | 47 | 5
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | Rack C7, Floor Position = C7 | 7 | 47 | 7 | 2 | 47 | 2
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | Rack C8, Floor Position = C8 | 5 | 47 | 5 | 5 | 47 | 5
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | ODF C04, Floor Position = C04 | 43 | 47 | 43 | 31 | 47 | 31
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Occupied | 7 | 85 % | 1.631 m² | ODF C05, Floor Position = C5 | 30 | 47 | 30 | 19 | 47 | 19
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SDNN11 on Floor 1st Floor in Site SWINDON DATA CENTRE | 26330.00 W | 445500.00 W | 6 % | [6 empty] | Rack SDNN11;DC SYS01, Floor Position = Temp Mig | 21 | 46 | 21 | 20 | 25 | 20