## Suite Line Capacity
Report generated for: | Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP
| Quantity | % of all area | Area
Total free sections: | 95/205 | 56 % | 30.589 m²
Total occupied sections: | 110/205 | 44 % | 24.218 m²
Total reserved sections: | 0/205 | 0 % | 0.000 m²
Total Lines Capability |  |  | 54.808 m²
Total Location Capability |  |  | 321.975 m²
Total Location Free Area |  |  | 297.397 m²
Total Location Occupied Area |  |  | 24.578 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | A | 13 | Free | 12 | 94 % | 10.680 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | A | 13 | Occupied | 1 | 6 % | 0.720 m² | Rack A1, Floor Position = A1 | 44 | 47 | 44 | 44 | 47 | 44
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | A | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | B | 18 | Free | 17 | 92 % | 3.150 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | B | 18 | Occupied | 1 | 8 % | 0.270 m² | Rack B1, Floor Position = B1 | 47 | 47 | 47 | 47 | 47 | 47
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | B | 18 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | C | 18 | Free | 17 | 92 % | 3.150 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | C | 18 | Occupied | 1 | 8 % | 0.270 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | C | 18 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | D | 17 | Free | 13 | 78 % | 2.655 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | D | 17 | Occupied | 4 | 22 % | 0.765 m² | ODF D02, Floor Position = D2 | 46 | 47 | 46 | 36 | 47 | 36
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | D | 17 | Occupied | 4 | 22 % | 0.765 m² | Rack D3, Floor Position = D3 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | D | 17 | Occupied | 4 | 22 % | 0.765 m² | Rack D4, Floor Position = D4 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | D | 17 | Occupied | 4 | 22 % | 0.765 m² | Rack D5, Floor Position = D05 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | D | 17 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Free | 12 | 70 % | 2.385 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Occupied | 5 | 30 % | 1.035 m² | ODF E02, Floor Position = E2 | 15 | 47 | 15 | 13 | 47 | 13
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Occupied | 5 | 30 % | 1.035 m² | ODF CODF E01, Floor Position = E1 | 39 | 47 | 39 | 27 | 47 | 27
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Occupied | 5 | 30 % | 1.035 m² | Rack E3, Floor Position = E3 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Occupied | 5 | 30 % | 1.035 m² | Rack E4, Floor Position = E4 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Occupied | 5 | 30 % | 1.035 m² | Rack E5, Floor Position = E05 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | E | 17 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Free | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F03, Floor Position = F3 | 41 | 45 | 41 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F05, Floor Position = F5 | 26 | 45 | 26 | 17 | 45 | 17
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G6, Floor Position = G6 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G4, Floor Position = G4 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F1, Floor Position = F1 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F2, Floor Position = F2 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F13, Floor Position = F13 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F14, Floor Position = F14 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F9, Floor Position = F9 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F11, Floor Position = F11 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F12, Floor Position = F12 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F10, Floor Position = F10 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F7, Floor Position = F7 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F8, Floor Position = F8 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | F | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Free | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F03, Floor Position = F3 | 41 | 45 | 41 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F05, Floor Position = F5 | 26 | 45 | 26 | 17 | 45 | 17
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G6, Floor Position = G6 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G4, Floor Position = G4 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F1, Floor Position = F1 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack F2, Floor Position = F2 | 42 | 45 | 42 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G13, Floor Position = G13 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G14, Floor Position = G14 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G9, Floor Position = G9 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G11, Floor Position = G11 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G12, Floor Position = G12 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G10, Floor Position = G10 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G7, Floor Position = G7 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Occupied | 14 | 100 % | 2.385 m² | Rack G8, Floor Position = G8 | 43 | 45 | 43 | 43 | 45 | 43
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | G | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Free | 1 | 16 % | 0.405 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H10, Floor Position = H10 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H8, Floor Position = H8 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H9, Floor Position = H9 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H7, Floor Position = H7 | 41 | 44 | 41 | 41 | 44 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H12, Floor Position = H12 | 2 | 45 | 2 | 1 | 45 | 1
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | ODF H13, Floor Position = H13 | 44 | 47 | 44 | 42 | 47 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack HJ11, Floor Position = H11 | 15 | 47 | 15 | 7 | 47 | 7
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H4, Floor Position = H4 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H3, Floor Position = H3 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H2, Floor Position = H02 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack J/H06, Floor Position = J6 | 38 | 47 | 38 | 36 | 47 | 36
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Occupied | 12 | 84 % | 2.115 m² | Rack H5, Floor Position = H5 | 40 | 45 | 40 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | H | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Free | 2 | 23 % | 0.585 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack H10, Floor Position = H10 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack H8, Floor Position = H8 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack H9, Floor Position = H9 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack H12, Floor Position = H12 | 2 | 45 | 2 | 1 | 45 | 1
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | ODF J13, Floor Position = J13 | 3 | 47 | 3 | 3 | 47 | 3
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack HJ11, Floor Position = H11 | 15 | 47 | 15 | 7 | 47 | 7
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack J4, Floor Position = J4 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack J2, Floor Position = J02 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack J3, Floor Position = J3 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack J/H06, Floor Position = J6 | 38 | 47 | 38 | 36 | 47 | 36
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Occupied | 11 | 77 % | 1.935 m² | Rack H5, Floor Position = H5 | 40 | 45 | 40 | 40 | 45 | 40
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | J | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Free | 3 | 26 % | 0.630 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K13, Floor Position = K13 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K7, Floor Position = K7 | 22 | 44 | 22 | 18 | 44 | 18
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K6, Floor Position = K6 | 22 | 44 | 22 | 17 | 44 | 17
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K8, Floor Position = K8 | 30 | 44 | 30 | 27 | 44 | 27
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K14, Floor Position = K14 | 3 | 47 | 3 | 3 | 47 | 3
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K3, Floor Position = K3 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | ODF K05, Floor Position = K5 | 44 | 46 | 44 | 23 | 46 | 23
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K4, Floor Position = K4 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack KL01, Floor Position = L1 | 44 | 45 | 44 | 44 | 45 | 44
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Occupied | 10 | 74 % | 1.755 m² | Rack K2, Floor Position = K2 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | K | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Free | 3 | 41 % | 1.305 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack K13, Floor Position = K13 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack L10, Floor Position = L10 | 38 | 47 | 38 | 33 | 47 | 33
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack L7, Floor Position = L7 | 39 | 44 | 39 | 39 | 44 | 39
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack L06, Floor Position = L6 | 10 | 44 | 10 | 7 | 44 | 7
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack L14, Floor Position = L14 | 3 | 47 | 3 | 3 | 47 | 3
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack L3, Floor Position = L3 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | ODF L05, Floor Position = L5 | 44 | 46 | 44 | 23 | 46 | 23
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack K4, Floor Position = K4 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack KL01, Floor Position = L1 | 44 | 45 | 44 | 44 | 45 | 44
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Occupied | 10 | 59 % | 1.875 m² | Rack L2, Floor Position = L2 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | L | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Free | 0 | 6 % | 0.232 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack N10, Floor Position = N10 | 0 | 42 | 0 | 0 | 42 | 0
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack M11, Floor Position = M11 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack MN06, Floor Position = N6 | 6 | 33 | 5 | 4 | 32 | 2
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack M5A, Floor Position = M5A | 44 | 47 | 44 | 42 | 47 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack M5, Floor Position = M5 | 44 | 47 | 44 | 42 | 47 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack NM07, Floor Position = N7 | 27 | 48 | 27 | 20 | 48 | 20
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack NM09, Floor Position = N9 | 17 | 47 | 17 | 14 | 47 | 14
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack N2, Floor Position = N2 | 23 | 47 | 23 | 12 | 47 | 12
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack N1, Floor Position = N1 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack N4, Floor Position = N4 | 45 | 47 | 45 | 45 | 47 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Occupied | 11 | 94 % | 3.744 m² | Rack N3, Floor Position = N3 | 5 | 47 | 5 | 4 | 47 | 4
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | M | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Free | 1 | 23 % | 0.932 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack N11, Floor Position = N11 | 5 | 47 | 5 | 5 | 47 | 5
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack MN06, Floor Position = N6 | 6 | 33 | 5 | 4 | 32 | 2
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack M5, Floor Position = M5 | 44 | 47 | 44 | 42 | 47 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack M5A, Floor Position = M5A | 44 | 47 | 44 | 42 | 47 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack NM07, Floor Position = N7 | 27 | 48 | 27 | 20 | 48 | 20
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack NM09, Floor Position = N9 | 17 | 47 | 17 | 14 | 47 | 14
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack N2, Floor Position = N2 | 23 | 47 | 23 | 12 | 47 | 12
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack N1, Floor Position = N1 | 41 | 45 | 41 | 41 | 45 | 41
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack N3, Floor Position = N3 | 5 | 47 | 5 | 4 | 47 | 4
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Occupied | 10 | 77 % | 3.044 m² | Rack N4, Floor Position = N4 | 45 | 47 | 45 | 45 | 47 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | N | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | P | 10 | Free | 7 | 70 % | 2.240 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | P | 10 | Occupied | 3 | 30 % | 0.960 m² | Rack P2, Floor Position = P2 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | P | 10 | Occupied | 3 | 30 % | 0.960 m² | Rack P3, Floor Position = P3 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | P | 10 | Occupied | 3 | 30 % | 0.960 m² | Rack P1, Floor Position = P1 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | P | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | Q | 10 | Free | 7 | 70 % | 2.240 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | Q | 10 | Occupied | 3 | 30 % | 0.960 m² | Rack P2, Floor Position = P2 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | Q | 10 | Occupied | 3 | 30 % | 0.960 m² | Rack P3, Floor Position = P3 | 45 | 45 | 45 | 45 | 45 | 45
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | Q | 10 | Occupied | 3 | 30 % | 0.960 m² | Rack P1, Floor Position = P1 | 42 | 45 | 42 | 42 | 45 | 42
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | Q | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SHDTR1 on Floor Ground Floor in Site BROOKSHAW PARK TAP | 49855.00 W | 112500.00 W | 44 % | [6 empty] | Rack SHDTR1;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17