## Suite Line Capacity
Report generated for: | Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE
| Quantity | % of all area | Area
Total free sections: | 5/92 | 16 % | 3.399 m²
Total occupied sections: | 85/92 | 82 % | 17.111 m²
Total reserved sections: | 2/92 | 1 % | 0.248 m²
Total Lines Capability |  |  | 20.759 m²
Total Location Capability |  |  | 128.854 m²
Total Location Free Area |  |  | 111.383 m²
Total Location Occupied Area |  |  | 17.471 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | A | 3 | Free | 1 | 35 % | 0.285 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | A | 3 | Occupied | 2 | 65 % | 0.539 m² | ODF A01, Floor Position = A01 | 43 | 46 | 43 | 29 | 46 | 29
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | A | 3 | Occupied | 2 | 65 % | 0.539 m² | ODF A03, Floor Position = A03 | 1 | 46 | 1 | 1 | 46 | 1
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | A | 3 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | B | 4 | Free | 0 | 8 % | 0.063 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | B | 4 | Occupied | 4 | 92 % | 0.720 m² | Rack B3, Floor Position = B3 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | B | 4 | Occupied | 4 | 92 % | 0.720 m² | Rack B4, Floor Position = B4 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | B | 4 | Occupied | 4 | 92 % | 0.720 m² | Rack B2, Floor Position = B2 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | B | 4 | Occupied | 4 | 92 % | 0.720 m² | Rack B1, Floor Position = B1 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | C | 2 | Free | 1 | 50 % | 0.240 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | C | 2 | Occupied | 1 | 50 % | 0.240 m² | Rack C1, Floor Position = C1 | 39 | 42 | 39 | 39 | 42 | 39
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | C | 2 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | D | 2 | Free | 1 | 50 % | 0.240 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | D | 2 | Occupied | 1 | 50 % | 0.240 m² | Rack C1, Floor Position = C1 | 39 | 42 | 39 | 39 | 42 | 39
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | D | 2 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | E | 4 | Free | 1 | 50 % | 0.585 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | E | 4 | Occupied | 3 | 50 % | 0.585 m² | Rack E2, Floor Position = E2 | 41 | 44 | 41 | 41 | 44 | 41
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | E | 4 | Occupied | 3 | 50 % | 0.585 m² | Rack E04, Floor Position = E4 | 30 | 46 | 30 | 21 | 46 | 21
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | E | 4 | Occupied | 3 | 50 % | 0.585 m² | Rack E3, Floor Position = E3 | 16 | 46 | 16 | 8 | 46 | 8
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | E | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Free | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Occupied | 5 | 100 % | 1.170 m² | Rack F2, Floor Position = F2 | 28 | 46 | 28 | 18 | 46 | 18
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Occupied | 5 | 100 % | 1.170 m² | Rack F1, Floor Position = F1 | 27 | 46 | 27 | 18 | 46 | 18
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Occupied | 5 | 100 % | 1.170 m² | Rack F6, Floor Position = F6 | 41 | 46 | 41 | 41 | 46 | 41
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Occupied | 5 | 100 % | 1.170 m² | Rack F3, Floor Position = F3 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Occupied | 5 | 100 % | 1.170 m² | Rack F5, Floor Position = F5 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Free | 0 | 6 % | 0.090 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G1, Floor Position = G1 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G6, Floor Position = G6 | 14 | 38 | 12 | 5 | 34 | 5
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G4, Floor Position = G4 | 42 | 47 | 42 | 41 | 47 | 41
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G2, Floor Position = G2 | 39 | 46 | 39 | 32 | 46 | 32
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G5, Floor Position = G5 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack G8, Floor Position = G8 | 25 | 44 | 25 | 13 | 44 | 13
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack GH07, Floor Position = G7 | 10 | 39 | 7 | 4 | 26 | 1
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | G | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Free | 1 | 46 % | 1.119 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Occupied | 5 | 47 % | 1.140 m² | Rack H1, Floor Position = H1 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Occupied | 5 | 47 % | 1.140 m² | Rack G6, Floor Position = G6 | 14 | 38 | 12 | 5 | 34 | 5
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Occupied | 5 | 47 % | 1.140 m² | Rack H5, Floor Position = H5 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Occupied | 5 | 47 % | 1.140 m² | Rack G8, Floor Position = G8 | 25 | 44 | 25 | 13 | 44 | 13
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Occupied | 5 | 47 % | 1.140 m² | Rack GH07, Floor Position = G7 | 10 | 39 | 7 | 4 | 26 | 1
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | H | 7 | Reserved | 1 | 8 % | 0.185 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Free | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack JK02, Floor Position = J2 | 32 | 38 | 26 | 10 | 27 | 10
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J6, Floor Position = J6 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J4, Floor Position = J4 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J3, Floor Position = J3 | 23 | 33 | 9 | 12 | 29 | 1
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J5, Floor Position = J5 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J8, Floor Position = J8 | 41 | 44 | 41 | 41 | 44 | 41
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J07, Floor Position = J7 | 20 | 47 | 20 | 8 | 47 | 8
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J9, Floor Position = J9 | 8 | 36 | 8 | 4 | 26 | 4
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | J | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Free | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack JK02, Floor Position = J2 | 32 | 38 | 26 | 10 | 27 | 10
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack K6, Floor Position = K6 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack K4, Floor Position = K4 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J3, Floor Position = J3 | 23 | 33 | 9 | 12 | 29 | 1
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack K5, Floor Position = K5 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack K8, Floor Position = K8 | 27 | 44 | 27 | 18 | 44 | 18
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack K7, Floor Position = K7 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack J9, Floor Position = J9 | 8 | 36 | 8 | 4 | 26 | 4
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | K | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Free | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L2, Floor Position = L2 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L1, Floor Position = L1 | 5 | 47 | 5 | 5 | 47 | 5
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L6, Floor Position = L6 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L4, Floor Position = L4 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L3, Floor Position = L3 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L5, Floor Position = L5 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L8, Floor Position = L8 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L7, Floor Position = L7 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L9, Floor Position = L9 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L10, Floor Position = L10 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L11, Floor Position = L11 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | L | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Free | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M2, Floor Position = M2 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack L1, Floor Position = L1 | 5 | 47 | 5 | 5 | 47 | 5
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M6, Floor Position = M6 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M4, Floor Position = M4 | 6 | 44 | 6 | 3 | 44 | 3
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M3, Floor Position = M3 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M5, Floor Position = M5 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M8, Floor Position = M8 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M7, Floor Position = M7 | 7 | 44 | 7 | 2 | 44 | 2
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M9, Floor Position = M9 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M10, Floor Position = M10 | 44 | 47 | 44 | 44 | 47 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Occupied | 11 | 100 % | 1.980 m² | Rack M11, Floor Position = M11 | 45 | 47 | 45 | 45 | 47 | 45
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | M | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | N | 5 | Free | 0 | 26 % | 0.288 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | N | 5 | Occupied | 4 | 68 % | 0.757 m² | Rack N1, Floor Position = N1 | 47 | 47 | 47 | 47 | 47 | 47
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | N | 5 | Occupied | 4 | 68 % | 0.757 m² | Rack N3, Floor Position = N3 | 44 | 44 | 44 | 44 | 44 | 44
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | N | 5 | Occupied | 4 | 68 % | 0.757 m² | Rack N04, Floor Position = N4 | 13 | 44 | 13 | 6 | 44 | 6
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | N | 5 | Occupied | 4 | 68 % | 0.757 m² | Rack N5, Floor Position = N5 | 42 | 42 | 42 | 42 | 42 | 42
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | N | 5 | Reserved | 1 | 6 % | 0.063 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Free | 0 | 15 % | 0.164 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Occupied | 5 | 85 % | 0.930 m² | Rack P1, Floor Position = P1 | 47 | 47 | 47 | 47 | 47 | 47
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Occupied | 5 | 85 % | 0.930 m² | Rack P3, Floor Position = P3 | 47 | 47 | 47 | 47 | 47 | 47
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Occupied | 5 | 85 % | 0.930 m² | Rack P2, Floor Position = P2 | 47 | 47 | 47 | 47 | 47 | 47
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Occupied | 5 | 85 % | 0.930 m² | Rack N04, Floor Position = N4 | 13 | 44 | 13 | 6 | 44 | 6
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Occupied | 5 | 85 % | 0.930 m² | Rack P5, Floor Position = P5 | 42 | 42 | 42 | 42 | 42 | 42
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | P | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | Q | 4 | Free | 0 | 21 % | 0.316 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | Q | 4 | Occupied | 4 | 79 % | 1.165 m² | ODF Q01, Floor Position = Q1 | 1 | 44 | 1 | 1 | 44 | 1
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | Q | 4 | Occupied | 4 | 79 % | 1.165 m² | Rack Q04, Floor Position = Q4 | 4 | 47 | 4 | 4 | 47 | 4
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | Q | 4 | Occupied | 4 | 79 % | 1.165 m² | Rack Q3, Floor Position = Q3 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | Q | 4 | Occupied | 4 | 79 % | 1.165 m² | ODF Q02, Floor Position = Q2 | 0 | 44 | 0 | 0 | 44 | 0
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | Q | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | R | 4 | Free | 0 | 1 % | 0.009 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | R | 4 | Occupied | 4 | 99 % | 1.075 m² | ODF R01, Floor Position = R1 | 3 | 44 | 3 | 2 | 44 | 2
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | R | 4 | Occupied | 4 | 99 % | 1.075 m² | ODF CODF R04, Floor Position = R4 | 28 | 47 | 28 | 22 | 47 | 22
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | R | 4 | Occupied | 4 | 99 % | 1.075 m² | Rack R3, Floor Position = R3 | 43 | 46 | 43 | 43 | 46 | 43
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | R | 4 | Occupied | 4 | 99 % | 1.075 m² | ODF R02, Floor Position = R2 | 4 | 46 | 4 | 3 | 46 | 3
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | R | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SMHN02 on Floor Ground Floor in Site SMALE HOUSE | 41133.00 W | 105000.00 W | 39 % | [6 empty] | Rack SMHN02;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19