## Suite Line Capacity
Report generated for: | Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP
| Quantity | % of all area | Area
Total free sections: | 13/59 | 30 % | 3.870 m²
Total occupied sections: | 46/59 | 70 % | 9.030 m²
Total reserved sections: | 0/59 | 0 % | 0.000 m²
Total Lines Capability |  |  | 12.900 m²
Total Location Capability |  |  | 119.536 m²
Total Location Free Area |  |  | 110.146 m²
Total Location Occupied Area |  |  | 9.390 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Free | 2 | 25 % | 0.720 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A08, Floor Position = A8 | 29 | 47 | 29 | 21 | 47 | 21
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A4, Floor Position = A4 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A5, Floor Position = A5 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A2, Floor Position = A2 | 29 | 47 | 29 | 15 | 47 | 15
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A3, Floor Position = A3 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | ODF A01, Floor Position = A1 | 30 | 47 | 30 | 29 | 47 | 29
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | ODF A13, Floor Position = A13 | 2 | 47 | 2 | 2 | 47 | 2
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A10, Floor Position = A10 | 28 | 46 | 28 | 16 | 45 | 16
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A11, Floor Position = A11 | 41 | 44 | 41 | 41 | 44 | 41
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A10a, Floor Position = A10a | 5 | 47 | 5 | 5 | 47 | 5
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A9, Floor Position = A9 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Occupied | 12 | 75 % | 2.160 m² | Rack A9a, Floor Position = A9a | 5 | 47 | 5 | 5 | 47 | 5
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | A | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Free | 3 | 27 % | 0.765 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | ODF B13, Floor Position = B13 | 44 | 44 | 44 | 44 | 44 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack A10, Floor Position = A10 | 28 | 46 | 28 | 16 | 45 | 16
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack B9, Floor Position = B9 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack B9a, Floor Position = B9a | 5 | 47 | 5 | 5 | 47 | 5
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack B11, Floor Position = B11 | 47 | 47 | 47 | 47 | 47 | 47
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | ODF B1, Floor Position = B1 | 44 | 44 | 44 | 44 | 44 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack A2, Floor Position = A2 | 29 | 47 | 29 | 15 | 47 | 15
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack B3, Floor Position = B3 | 45 | 47 | 45 | 45 | 47 | 45
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack B4, Floor Position = B4 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | Rack A5, Floor Position = A5 | 44 | 47 | 44 | 44 | 47 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Occupied | 11 | 73 % | 2.115 m² | ODF CODF B8, Floor Position = B8 | 42 | 47 | 42 | 27 | 47 | 27
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | B | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Free | 3 | 36 % | 0.990 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C8, Floor Position = C8 | 37 | 41 | 31 | 24 | 35 | 20
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C8a, Floor Position = C8a | 5 | 47 | 5 | 5 | 47 | 5
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C7a, Floor Position = C7a | 5 | 47 | 5 | 5 | 47 | 5
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C9, Floor Position = C9 | 45 | 43 | 42 | 45 | 39 | 39
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C4, Floor Position = C4 | 29 | 44 | 29 | 16 | 44 | 16
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C05, Floor Position = C5 | 39 | 44 | 39 | 38 | 44 | 38
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C3, Floor Position = C3 | 46 | 47 | 46 | 46 | 47 | 46
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack CD02, Floor Position = C2 | 40 | 40 | 36 | 16 | 39 | 16
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Occupied | 10 | 64 % | 1.770 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | C | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Free | 3 | 31 % | 0.855 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack C8, Floor Position = C8 | 37 | 41 | 31 | 24 | 35 | 20
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack D7a, Floor Position = D7a | 5 | 47 | 5 | 5 | 47 | 5
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack C9, Floor Position = C9 | 45 | 43 | 42 | 45 | 39 | 39
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack D01, Floor Position = D1 | 25 | 47 | 25 | 23 | 47 | 23
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack D05, Floor Position = D5 | 15 | 47 | 15 | 4 | 47 | 4
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | ODF D04, Floor Position = D4 | 45 | 47 | 45 | 30 | 47 | 30
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack CD02, Floor Position = C2 | 40 | 40 | 36 | 16 | 39 | 16
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack C3, Floor Position = C3 | 46 | 47 | 46 | 46 | 47 | 46
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Occupied | 9 | 69 % | 1.905 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | D | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | E | 6 | Free | 2 | 33 % | 0.540 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | E | 6 | Occupied | 4 | 67 % | 1.080 m² | Rack E1, Floor Position = E1 | 44 | 44 | 44 | 44 | 44 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | E | 6 | Occupied | 4 | 67 % | 1.080 m² | Rack E4, Floor Position = E4 | 44 | 44 | 44 | 44 | 44 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | E | 6 | Occupied | 4 | 67 % | 1.080 m² | Rack E2, Floor Position = E2 | 44 | 44 | 44 | 44 | 44 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | E | 6 | Occupied | 4 | 67 % | 1.080 m² | Rack E3, Floor Position = E3 | 44 | 44 | 44 | 44 | 44 | 44
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SNDTM1 on Floor Ground Floor in Site DOXFORD PARK TAP | 11915.00 W | 45000.00 W | 26 % | [6 empty] | Rack SNDTM1;DC SYS01, Floor Position = Temp Mig | 21 | 46 | 21 | 20 | 25 | 20