## Suite Line Capacity
Report generated for: | Room SOSTN1 on Floor Ground Floor in Site SOUTHEND
| Quantity | % of all area | Area
Total free sections: | 32/92 | 45 % | 10.753 m²
Total occupied sections: | 60/92 | 55 % | 13.167 m²
Total reserved sections: | 0/92 | 0 % | 0.000 m²
Total Lines Capability |  |  | 23.919 m²
Total Location Capability |  |  | 102.083 m²
Total Location Free Area |  |  | 88.916 m²
Total Location Occupied Area |  |  | 13.167 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Free | 2 | 32 % | 0.563 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Occupied | 6 | 68 % | 1.170 m² | Rack A6, Floor Position = A6 | 43 | 46 | 43 | 43 | 46 | 43
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Occupied | 6 | 68 % | 1.170 m² | Rack A3, Floor Position = A3 | 51 | 53 | 51 | 51 | 53 | 51
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Occupied | 6 | 68 % | 1.170 m² | Rack A4, Floor Position = A4 | 51 | 53 | 51 | 51 | 53 | 51
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Occupied | 6 | 68 % | 1.170 m² | Rack A2, Floor Position = A2 | 51 | 53 | 51 | 51 | 53 | 51
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Occupied | 6 | 68 % | 1.170 m² | ODF A01, Floor Position = A01 | 25 | 53 | 25 | 14 | 53 | 14
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Occupied | 6 | 68 % | 1.170 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | B | 7 | Free | 3 | 43 % | 0.584 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | B | 7 | Occupied | 4 | 57 % | 0.764 m² | Rack B2, Floor Position = B2 | 50 | 53 | 50 | 50 | 53 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | B | 7 | Occupied | 4 | 57 % | 0.764 m² | Rack B3, Floor Position = B3 | 50 | 53 | 50 | 50 | 53 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | B | 7 | Occupied | 4 | 57 % | 0.764 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | B | 7 | Occupied | 4 | 57 % | 0.764 m² | ODF B01, Floor Position = B1 | 41 | 53 | 41 | 22 | 53 | 22
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | C | 7 | Free | 3 | 43 % | 0.587 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | C | 7 | Occupied | 4 | 57 % | 0.765 m² | Rack C3, Floor Position = C3 | 51 | 53 | 51 | 51 | 53 | 51
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | C | 7 | Occupied | 4 | 57 % | 0.765 m² | Rack C2, Floor Position = C2 | 50 | 53 | 50 | 50 | 53 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | C | 7 | Occupied | 4 | 57 % | 0.765 m² | Rack C1, Floor Position = C1 | 50 | 53 | 50 | 50 | 53 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | C | 7 | Occupied | 4 | 57 % | 0.765 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Free | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D7, Floor Position = D7 | 50 | 50 | 50 | 50 | 50 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D5, Floor Position = D5 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D6, Floor Position = D6 | 50 | 50 | 50 | 50 | 50 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D4, Floor Position = D4 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D2, Floor Position = D2 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D3, Floor Position = D3 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack D1, Floor Position = D1 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Free | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E7, Floor Position = E7 | 50 | 50 | 50 | 50 | 50 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E5, Floor Position = E5 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E6, Floor Position = E6 | 50 | 50 | 50 | 50 | 50 | 50
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E4, Floor Position = E4 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E2, Floor Position = E2 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E3, Floor Position = E3 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Occupied | 7 | 100 % | 1.710 m² | Rack E1, Floor Position = E1 | 54 | 54 | 54 | 54 | 54 | 54
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Free | 1 | 29 % | 0.660 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | Rack F08, Floor Position = F8 | 12 | 47 | 12 | 7 | 47 | 7
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | ODF F05, Floor Position = F5 | 44 | 46 | 44 | 30 | 46 | 30
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | ODF CODF F07, Floor Position = F7 | 36 | 47 | 36 | 22 | 47 | 22
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | Rack F4, Floor Position = F4 | 41 | 44 | 41 | 41 | 44 | 41
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | Rack F2, Floor Position = F2 | 47 | 50 | 47 | 47 | 50 | 47
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | Rack F1, Floor Position = F1 | 47 | 50 | 47 | 47 | 50 | 47
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Occupied | 7 | 71 % | 1.616 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | F | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Free | 1 | 19 % | 0.348 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G7, Floor Position = G7 | 43 | 46 | 43 | 43 | 46 | 43
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G05, Floor Position = G5 | 17 | 53 | 17 | 5 | 53 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G6, Floor Position = G6 | 42 | 44 | 42 | 42 | 44 | 42
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G3, Floor Position = G3 | 51 | 54 | 51 | 51 | 54 | 51
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G4, Floor Position = G4 | 51 | 54 | 51 | 51 | 54 | 51
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G2, Floor Position = G2 | 47 | 50 | 47 | 47 | 50 | 47
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Occupied | 8 | 81 % | 1.530 m² | Rack G1, Floor Position = G1 | 47 | 50 | 47 | 47 | 50 | 47
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | G | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Free | 1 | 26 % | 0.507 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack H6, Floor Position = H6 | 43 | 43 | 43 | 43 | 43 | 43
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack HJ08, Floor Position = H8 | 4 | 35 | 4 | 3 | 35 | 3
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack H05, Floor Position = H5 | 28 | 37 | 22 | 16 | 37 | 16
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack H2, Floor Position = H2 | 50 | 50 | 44 | 28 | 19 | 19
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack H03, Floor Position = H3 | 4 | 39 | 4 | 3 | 39 | 3
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Occupied | 7 | 74 % | 1.480 m² | Rack H1, Floor Position = H1 | 44 | 44 | 32 | 41 | 30 | 23
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | H | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Free | 1 | 45 % | 1.340 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack HJ08, Floor Position = H8 | 4 | 35 | 4 | 3 | 35 | 3
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack J4, Floor Position = J4 | 22 | 45 | 22 | 16 | 45 | 16
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack H05, Floor Position = H5 | 28 | 37 | 22 | 16 | 37 | 16
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack H1, Floor Position = H1 | 44 | 44 | 32 | 41 | 30 | 23
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack H2, Floor Position = H2 | 50 | 50 | 44 | 28 | 19 | 19
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Occupied | 7 | 55 % | 1.640 m² | Rack H03, Floor Position = H3 | 4 | 39 | 4 | 3 | 39 | 3
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | K | 7 | Free | 6 | 88 % | 1.260 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | K | 7 | Occupied | 1 | 12 % | 0.180 m² | Rack K8, Floor Position = K8 | 22 | 44 | 22 | 20 | 44 | 20
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | K | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | L | 7 | Free | 6 | 92 % | 2.220 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | L | 7 | Occupied | 1 | 8 % | 0.180 m² | Rack L8, Floor Position = L8 | 22 | 44 | 22 | 20 | 44 | 20
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | L | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | M | 4 | Free | 4 | 100 % | 0.720 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | M | 4 | Occupied | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | M | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | N | 4 | Free | 4 | 100 % | 1.834 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | N | 4 | Occupied | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | N | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | O | 1 | Free | 0 | 24 % | 0.130 m²
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | O | 1 | Occupied | 1 | 76 % | 0.423 m² | Rack O1, Floor Position = O1 | 5 | 47 | 5 | 5 | 47 | 5
Room SOSTN1 on Floor Ground Floor in Site SOUTHEND | 13620.00 W | 19500.00 W | 70 % | O | 1 | Reserved | 0 | 0 % | 0.000 m²