## Suite Line Capacity
Report generated for: | Room SOT on Floor Ground Floor in Site STOKE ON TRENT
| Quantity | % of all area | Area
Total free sections: | 31/114 | 42 % | 11.747 m²
Total occupied sections: | 83/114 | 58 % | 16.123 m²
Total reserved sections: | 0/114 | 0 % | 0.000 m²
Total Lines Capability |  |  | 27.870 m²
Total Location Capability |  |  | 109.893 m²
Total Location Free Area |  |  | 93.770 m²
Total Location Occupied Area |  |  | 16.123 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Free | 1 | 14 % | 0.195 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | Rack A06, Floor Position = A6 | 0 | 54 | 0 | 0 | 54 | 0
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | ODF A07, Floor Position = A8 | 28 | 54 | 28 | 17 | 54 | 17
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | Rack A2, Floor Position = A2 | 52 | 54 | 52 | 52 | 54 | 52
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | Rack A3, Floor Position = A3 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | Rack A04, Floor Position = A4 | 15 | 18 | 15 | 11 | 13 | 11
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | Rack A5, Floor Position = A5 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Occupied | 8 | 86 % | 1.248 m² | ODF A01, Floor Position = A1 | 47 | 51 | 47 | 32 | 36 | 32
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Free | 2 | 22 % | 0.312 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | Rack B6, Floor Position = B6 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | Rack B5, Floor Position = B5 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | Rack B2, Floor Position = B2 | 52 | 54 | 52 | 52 | 54 | 52
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | Rack B3, Floor Position = B3 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | ODF B04, Floor Position = B4 | 45 | 54 | 45 | 18 | 54 | 18
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | Rack B1, Floor Position = B1 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Occupied | 7 | 78 % | 1.131 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Free | 3 | 33 % | 0.468 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Occupied | 6 | 67 % | 0.936 m² | Rack C6, Floor Position = C6 | 43 | 46 | 43 | 43 | 46 | 43
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Occupied | 6 | 67 % | 0.936 m² | Rack C2, Floor Position = C2 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Occupied | 6 | 67 % | 0.936 m² | Rack C4, Floor Position = C4 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Occupied | 6 | 67 % | 0.936 m² | Rack C5, Floor Position = C5 | 43 | 46 | 43 | 43 | 46 | 43
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Occupied | 6 | 67 % | 0.936 m² | Rack C3, Floor Position = C3 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Occupied | 6 | 67 % | 0.936 m² | Rack C01, Floor Position = C1 | 45 | 54 | 45 | 45 | 54 | 45
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Free | 3 | 45 % | 0.783 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Occupied | 6 | 55 % | 0.972 m² | Rack D9, Floor Position = D9 | 43 | 43 | 43 | 43 | 43 | 43
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Occupied | 6 | 55 % | 0.972 m² | Rack D2, Floor Position = D2 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Occupied | 6 | 55 % | 0.972 m² | Rack D4, Floor Position = D4 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Occupied | 6 | 55 % | 0.972 m² | Rack D3, Floor Position = D3 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Occupied | 6 | 55 % | 0.972 m² | Rack D1, Floor Position = D1 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Occupied | 6 | 55 % | 0.972 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Free | 1 | 3 % | 0.041 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E9, Floor Position = E9 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E7, Floor Position = E7 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E8, Floor Position = E8 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E6, Floor Position = E6 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E2, Floor Position = E2 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E4, Floor Position = E4 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E5, Floor Position = E5 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E3, Floor Position = E3 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Occupied | 9 | 97 % | 1.404 m² | Rack E1, Floor Position = E1 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Free | 3 | 60 % | 1.550 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Occupied | 5 | 40 % | 1.029 m² | Rack F04, Floor Position = F4 | 11 | 47 | 11 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Occupied | 5 | 40 % | 1.029 m² | Rack F3, Floor Position = F3 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Occupied | 5 | 40 % | 1.029 m² | Rack F2, Floor Position = F2 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Occupied | 5 | 40 % | 1.029 m² | Rack F1, Floor Position = F1 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Occupied | 5 | 40 % | 1.029 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | F | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Free | 0 | 33 % | 0.833 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack GH9, Floor Position = G9 | 25 | 32 | 18 | 8 | 32 | 8
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack G8, Floor Position = G8 | 42 | 45 | 42 | 42 | 45 | 42
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack G06, Floor Position = G6 | 33 | 48 | 33 | 33 | 48 | 33
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack G2, Floor Position = G2 | 22 | 44 | 22 | 20 | 44 | 20
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack G04, Floor Position = G4 | 29 | 44 | 29 | 25 | 44 | 25
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack G3, Floor Position = G3 | 0 | 42 | 0 | 0 | 42 | 0
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Occupied | 7 | 67 % | 1.665 m² | Rack G1, Floor Position = G1 | 9 | 44 | 9 | 3 | 44 | 3
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | G | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Free | 0 | 39 % | 0.971 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | Rack GH9, Floor Position = G9 | 25 | 32 | 18 | 8 | 32 | 8
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | Rack H8, Floor Position = H8 | 44 | 44 | 44 | 44 | 44 | 44
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | ODF H06, Floor Position = H6 | 43 | 45 | 43 | 30 | 45 | 30
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | Rack H2, Floor Position = H2 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | ODF CODF H04, Floor Position = H4 | 21 | 47 | 21 | 12 | 47 | 12
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | Rack H1, Floor Position = H1 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Occupied | 7 | 61 % | 1.527 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | H | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Free | 3 | 37 % | 0.475 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack J2, Floor Position = J2 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack J4, Floor Position = J4 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack J5, Floor Position = J5 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack J3, Floor Position = J3 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack J1, Floor Position = J1 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Free | 3 | 37 % | 0.475 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack K2, Floor Position = K2 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack K4, Floor Position = K4 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack K5, Floor Position = K5 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack K3, Floor Position = K3 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Occupied | 5 | 63 % | 0.812 m² | Rack K1, Floor Position = K1 | 54 | 54 | 54 | 54 | 54 | 54
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | L | 6 | Free | 5 | 94 % | 2.028 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | L | 6 | Occupied | 1 | 6 % | 0.120 m² | Rack L4, Floor Position = L4 | 25 | 37 | 22 | 9 | 14 | 8
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | L | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Free | 1 | 43 % | 0.927 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Occupied | 5 | 57 % | 1.221 m² | Rack M8, Floor Position = M8 | 42 | 42 | 42 | 42 | 42 | 42
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Occupied | 5 | 57 % | 1.221 m² | Rack L2, Floor Position = L2 | 43 | 45 | 43 | 43 | 45 | 43
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Occupied | 5 | 57 % | 1.221 m² | Rack L4, Floor Position = L4 | 25 | 37 | 22 | 9 | 14 | 8
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Occupied | 5 | 57 % | 1.221 m² | Rack M3, Floor Position = M3 | 50 | 54 | 50 | 50 | 54 | 50
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Occupied | 5 | 57 % | 1.221 m² | Rack L1, Floor Position = L1 | 43 | 45 | 43 | 43 | 45 | 43
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | M | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Free | 1 | 29 % | 0.818 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack N7, Floor Position = N7 | 13 | 37 | 13 | 4 | 37 | 4
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack PN06, Floor Position = N6 | 19 | 47 | 19 | 6 | 47 | 6
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack N1, Floor Position = N1 | 40 | 42 | 40 | 40 | 42 | 40
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack N2, Floor Position = N2 | 40 | 42 | 40 | 40 | 42 | 40
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack NP03, Floor Position = N3 | 6 | 43 | 6 | 3 | 43 | 3
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack N04, Floor Position = N4 | 15 | 45 | 15 | 4 | 45 | 4
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Occupied | 7 | 71 % | 2.040 m² | Rack PN05, Floor Position = N5 | 10 | 44 | 10 | 4 | 43 | 4
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | N | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | P | 8 | Free | 5 | 65 % | 1.848 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | P | 8 | Occupied | 3 | 35 % | 1.010 m² | Rack N7, Floor Position = N7 | 13 | 37 | 13 | 4 | 37 | 4
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | P | 8 | Occupied | 3 | 35 % | 1.010 m² | Rack PN06, Floor Position = N6 | 19 | 47 | 19 | 6 | 47 | 6
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | P | 8 | Occupied | 3 | 35 % | 1.010 m² | Rack PN05, Floor Position = N5 | 10 | 44 | 10 | 4 | 43 | 4
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | P | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | R | 2 | Free | 0 | 11 % | 0.024 m²
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | R | 2 | Occupied | 2 | 89 % | 0.197 m² | Rack R1, Floor Position = R1 | 51 | 54 | 51 | 51 | 54 | 51
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | R | 2 | Occupied | 2 | 89 % | 0.197 m² | Rack R0, Floor Position = R0 | 5 | 47 | 5 | 5 | 47 | 5
Room SOT on Floor Ground Floor in Site STOKE ON TRENT | 15498.00 W | 18000.00 W | 86 % | R | 2 | Reserved | 0 | 0 % | 0.000 m²