## Suite Line Capacity
Report generated for: | Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS
| Quantity | % of all area | Area
Total free sections: | 164/475 | 43 % | 50.695 m²
Total occupied sections: | 311/475 | 57 % | 65.863 m²
Total reserved sections: | 0/475 | 0 % | 0.000 m²
Total Lines Capability |  |  | 116.558 m²
Total Location Capability |  |  | 746.205 m²
Total Location Free Area |  |  | 678.492 m²
Total Location Occupied Area |  |  | 67.713 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AA | 11 | Free | 9 | 85 % | 3.150 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AA | 11 | Occupied | 2 | 15 % | 0.540 m² | Rack AA2, Floor Position = AA2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AA | 11 | Occupied | 2 | 15 % | 0.540 m² | Rack AA1, Floor Position = AA1 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AA | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AB | 11 | Free | 8 | 80 % | 2.970 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AB | 11 | Occupied | 3 | 20 % | 0.720 m² | Rack AA3, Floor Position = unset | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AB | 11 | Occupied | 3 | 20 % | 0.720 m² | Rack AA2, Floor Position = AA2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AB | 11 | Occupied | 3 | 20 % | 0.720 m² | Rack AA1, Floor Position = AA1 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AB | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AC | 11 | Free | 9 | 90 % | 2.820 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AC | 11 | Occupied | 2 | 10 % | 0.330 m² | Rack AC2, Floor Position = AC2 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AC | 11 | Occupied | 2 | 10 % | 0.330 m² | Rack AC1, Floor Position = AC1 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AC | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AD | 11 | Free | 9 | 86 % | 2.700 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AD | 11 | Occupied | 2 | 14 % | 0.450 m² | Rack AC2, Floor Position = AC2 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AD | 11 | Occupied | 2 | 14 % | 0.450 m² | Rack AC1, Floor Position = AC1 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | AD | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Free | 1 | 14 % | 0.385 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC1, Floor Position = BC1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC3, Floor Position = BC3 | 11 | 42 | 9 | 2 | 40 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC/BD02, Floor Position = BC2 | 8 | 35 | 8 | 2 | 35 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC05, Floor Position = BC5 | 14 | 45 | 14 | 5 | 45 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC4, Floor Position = BC4 | 31 | 45 | 31 | 26 | 43 | 26
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC6, Floor Position = BC6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC7, Floor Position = BC7 | 29 | 47 | 29 | 27 | 47 | 27
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC9, Floor Position = BC9 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC10, Floor Position = BC10 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC12, Floor Position = BC12 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | Rack BC11, Floor Position = BC11 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Occupied | 12 | 86 % | 2.315 m² | ODF BC14, Floor Position = BC14 | 0 | 44 | 0 | 0 | 44 | 0
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BC | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Free | 2 | 33 % | 1.170 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BC1, Floor Position = BC1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BC3, Floor Position = BC3 | 11 | 42 | 9 | 2 | 40 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BC/BD02, Floor Position = BC2 | 8 | 35 | 8 | 2 | 35 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BD5, Floor Position = BD5 | 13 | 46 | 13 | 5 | 46 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BC4, Floor Position = BC4 | 31 | 45 | 31 | 26 | 43 | 26
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BD6, Floor Position = BD6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BC7, Floor Position = BC7 | 29 | 47 | 29 | 27 | 47 | 27
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BD10, Floor Position = BD10 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BD12, Floor Position = BD12 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | Rack BD11, Floor Position = BD11 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Occupied | 11 | 67 % | 2.430 m² | ODF BD14, Floor Position = BD14 | 0 | 44 | 0 | 0 | 44 | 0
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BD | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Free | 2 | 41 % | 2.194 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE/BF01, Floor Position = BE1 | 7 | 37 | 5 | 5 | 37 | 3
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE/BF02, Floor Position = BE2 | 9 | 35 | 5 | 7 | 34 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE4, Floor Position = BE04 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE/BF03, Floor Position = BE3 | 5 | 33 | 2 | 3 | 32 | 1
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE09, Floor Position = BE9 | 37 | 47 | 37 | 32 | 47 | 32
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE/BF06, Floor Position = BE6 | 17 | 31 | 12 | 10 | 31 | 10
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE/BF05, Floor Position = BE5 | 29 | 45 | 27 | 22 | 45 | 22
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE07, Floor Position = BE7 | 37 | 47 | 37 | 32 | 47 | 32
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Occupied | 9 | 59 % | 3.206 m² | Rack BE12, Floor Position = BE12 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BE | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Free | 2 | 25 % | 0.676 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BE/BF01, Floor Position = BE1 | 7 | 37 | 5 | 5 | 37 | 3
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BE/BF02, Floor Position = BE2 | 9 | 35 | 5 | 7 | 34 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BE4, Floor Position = BE04 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BE/BF03, Floor Position = BE3 | 5 | 33 | 2 | 3 | 32 | 1
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BE/BF06, Floor Position = BE6 | 17 | 31 | 12 | 10 | 31 | 10
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BE/BF05, Floor Position = BE5 | 29 | 45 | 27 | 22 | 45 | 22
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | ODF BF10, Floor Position = BF10 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | Rack BF11, Floor Position = BF11 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Occupied | 9 | 75 % | 2.024 m² | ODF BF12, Floor Position = BF12 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BF | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BG | 9 | Free | 8 | 90 % | 1.935 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BG | 9 | Occupied | 1 | 10 % | 0.225 m² | ODF BG07, Floor Position = BG7 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BG | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Free | 5 | 37 % | 0.990 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ5, Floor Position = BJ5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ6, Floor Position = BJ6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ10, Floor Position = BJ10 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ7, Floor Position = BJ7 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ8, Floor Position = BJ8 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ9, Floor Position = BJ9 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ11, Floor Position = BJ11 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Occupied | 8 | 63 % | 1.710 m² | Rack BJ13, Floor Position = BJ13 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BJ | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Free | 6 | 53 % | 1.440 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Occupied | 6 | 47 % | 1.260 m² | Rack BK6, Floor Position = BK6 | 42 | 44 | 42 | 42 | 44 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Occupied | 6 | 47 % | 1.260 m² | Rack BK3, Floor Position = BK3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Occupied | 6 | 47 % | 1.260 m² | Rack BK7, Floor Position = BK7 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Occupied | 6 | 47 % | 1.260 m² | Rack BK11, Floor Position = BK11 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Occupied | 6 | 47 % | 1.260 m² | Rack BK12, Floor Position = BK12 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Occupied | 6 | 47 % | 1.260 m² | Rack BK13, Floor Position = BK13 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BK | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BL | 11 | Free | 8 | 75 % | 1.995 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BL | 11 | Occupied | 3 | 25 % | 0.660 m² | Rack BL1, Floor Position = BL1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BL | 11 | Occupied | 3 | 25 % | 0.660 m² | Rack BL2, Floor Position = BL2 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BL | 11 | Occupied | 3 | 25 % | 0.660 m² | Rack BL8, Floor Position = BL8 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BL | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Free | 0 | 3 % | 0.075 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BL1, Floor Position = BL1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM3, Floor Position = BM3 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM2, Floor Position = BM2 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM4, Floor Position = BM4 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM5, Floor Position = BM5 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM8, Floor Position = BM8 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM7, Floor Position = BM7 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM6, Floor Position = BM6 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM10, Floor Position = BM10 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM9, Floor Position = BM9 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Occupied | 11 | 97 % | 2.580 m² | Rack BM11, Floor Position = BM11 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BM | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Free | 2 | 13 % | 0.360 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN1, Floor Position = BN1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN2, Floor Position = BN2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN4, Floor Position = BN4 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN5, Floor Position = BN5 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN6, Floor Position = BN6 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN10, Floor Position = BN10 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN7, Floor Position = BN7 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN8, Floor Position = BN8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN09, Floor Position = BN9 | 27 | 45 | 27 | 24 | 45 | 24
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN11, Floor Position = BN11 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN12, Floor Position = BN12 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN14, Floor Position = BN14 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BN15, Floor Position = BN15 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BN | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Free | 2 | 27 % | 0.720 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BN1, Floor Position = BN1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP3, Floor Position = BP3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP2, Floor Position = BP2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP5, Floor Position = BP5 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP6, Floor Position = BP6 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP7, Floor Position = BP7 | 45 | 47 | 45 | 45 | 47 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP8, Floor Position = BP8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP10, Floor Position = BP10 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP12, Floor Position = BP12 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP11, Floor Position = BP11 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Occupied | 11 | 73 % | 1.980 m² | Rack BP13, Floor Position = BP13 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BP | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ1, Floor Position = BQ1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ3, Floor Position = BQ3 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ2, Floor Position = BQ2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ5, Floor Position = BQ5 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ4, Floor Position = BQ4 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ6, Floor Position = BQ6 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ7, Floor Position = BQ7 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ8, Floor Position = BQ8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ10, Floor Position = BQ10 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ9, Floor Position = BQ9 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ12, Floor Position = BQ12 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ11, Floor Position = BQ11 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ13, Floor Position = BQ13 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ15, Floor Position = BQ15 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack BQ14, Floor Position = BQ14 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BQ | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Free | 2 | 13 % | 0.360 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BQ1, Floor Position = BQ1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR3, Floor Position = BR3 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR2, Floor Position = BR2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR5, Floor Position = BR5 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR4, Floor Position = BR4 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR6, Floor Position = BR6 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR7, Floor Position = BR7 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR8, Floor Position = BR8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR9, Floor Position = BR9 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR10, Floor Position = BR10 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR12, Floor Position = BR12 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR11, Floor Position = BR11 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Occupied | 13 | 87 % | 2.340 m² | Rack BR14, Floor Position = BR14 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BR | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Free | 7 | 53 % | 1.440 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS1, Floor Position = BS1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS3, Floor Position = BS3 | 29 | 40 | 26 | 15 | 37 | 15
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS2, Floor Position = BS2 | 14 | 30 | 6 | 5 | 18 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS5, Floor Position = BS5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS4, Floor Position = BS4 | 34 | 47 | 34 | 18 | 47 | 18
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS6, Floor Position = BS6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS15, Floor Position = BS15 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BS | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Free | 7 | 53 % | 1.440 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS1, Floor Position = BS1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS3, Floor Position = BS3 | 29 | 40 | 26 | 15 | 37 | 15
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS2, Floor Position = BS2 | 14 | 30 | 6 | 5 | 18 | 2
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS4, Floor Position = BS4 | 34 | 47 | 34 | 18 | 47 | 18
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS5, Floor Position = BS5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS6, Floor Position = BS6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Occupied | 7 | 47 % | 1.260 m² | Rack BS15, Floor Position = BS15 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BT | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Free | 3 | 20 % | 0.540 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU1, Floor Position = BU1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU3, Floor Position = BU3 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU2, Floor Position = BU2 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU5, Floor Position = BU5 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU4, Floor Position = BU4 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU6, Floor Position = BU6 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU7, Floor Position = BU7 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU8, Floor Position = BU8 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU9, Floor Position = BU9 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU10, Floor Position = BU10 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU/BV12, Floor Position = BU12 | 38 | 41 | 38 | 38 | 39 | 38
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Occupied | 12 | 80 % | 2.160 m² | Rack BU13, Floor Position = BU13 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BU | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Free | 2 | 34 % | 1.230 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU1, Floor Position = BU1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU3, Floor Position = BU3 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU2, Floor Position = BU2 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU5, Floor Position = BU5 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU4, Floor Position = BU4 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU6, Floor Position = BU6 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU7, Floor Position = BU7 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BV8, Floor Position = BV8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BV9, Floor Position = BV9 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BU/BV12, Floor Position = BU12 | 38 | 41 | 38 | 38 | 39 | 38
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BV11, Floor Position = BV11 | 29 | 45 | 29 | 13 | 45 | 13
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Occupied | 12 | 66 % | 2.370 m² | Rack BV13, Floor Position = BV13 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BV | 14 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Free | 1 | 7 % | 0.180 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW1, Floor Position = BW1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW2, Floor Position = BW2 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | ODF BW04, Floor Position = BW4 | 41 | 46 | 41 | 15 | 46 | 15
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | ODF BW06, Floor Position = BW6 | 41 | 46 | 41 | 16 | 46 | 16
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW7, Floor Position = BW7 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW8, Floor Position = BW8 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW9, Floor Position = BW9 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW10, Floor Position = BW10 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW12, Floor Position = BW12 | 44 | 42 | 42 | 44 | 42 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW11, Floor Position = BW11 | 43 | 45 | 43 | 43 | 45 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW13, Floor Position = BW13 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Occupied | 12 | 93 % | 2.400 m² | Rack BW14, Floor Position = BW14 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BW | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW1, Floor Position = BW1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BX3, Floor Position = BX3 | 43 | 45 | 43 | 43 | 45 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BX2, Floor Position = BX2 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | ODF BX04, Floor Position = BX4 | 19 | 46 | 19 | 14 | 46 | 14
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | ODF BX06, Floor Position = BX6 | 42 | 46 | 42 | 22 | 46 | 22
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW7, Floor Position = BW7 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW8, Floor Position = BW8 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW9, Floor Position = BW9 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BX10, Floor Position = BX10 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW12, Floor Position = BW12 | 44 | 42 | 42 | 44 | 42 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BX11, Floor Position = BX11 | 43 | 45 | 43 | 43 | 45 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW13, Floor Position = BW13 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Occupied | 13 | 100 % | 2.580 m² | Rack BW14, Floor Position = BW14 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BX | 13 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Free | 2 | 18 % | 0.476 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | Rack BY1, Floor Position = BY1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | ODF BY6, Floor Position = BY6 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | Rack BY03, Floor Position = BY3 | 42 | 47 | 42 | 26 | 47 | 26
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | Rack BY5, Floor Position = BY5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | ODF BY4, Floor Position = BY4 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | Rack BY11, Floor Position = BY11 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | Rack BY10, Floor Position = BY10 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | ODF BY12, Floor Position = BY12 | 8 | 44 | 8 | 7 | 44 | 7
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | ODF BY13, Floor Position = BY13 | 0 | 44 | 0 | 0 | 44 | 0
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Occupied | 10 | 82 % | 2.224 m² | ODF BY14, Floor Position = BY14 | 11 | 44 | 11 | 10 | 44 | 10
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BY | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Free | 1 | 13 % | 0.360 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BY1, Floor Position = BY1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ3, Floor Position = BZ3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ5, Floor Position = BZ5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ04, Floor Position = BZ4 | 41 | 46 | 41 | 26 | 46 | 26
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ11, Floor Position = BZ11 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ9, Floor Position = BZ9 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ8, Floor Position = BZ8 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | Rack BZ10, Floor Position = BZ10 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | ODF BZ12, Floor Position = BZ12 | 1 | 44 | 1 | 1 | 44 | 1
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | ODF BZ13, Floor Position = BZ13 | 0 | 44 | 0 | 0 | 44 | 0
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Occupied | 11 | 87 % | 2.340 m² | ODF BZ14, Floor Position = BZ14 | 3 | 44 | 3 | 3 | 44 | 3
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | BZ | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CA | 4 | Free | 4 | 100 % | 1.280 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CA | 4 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CA | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CB | 4 | Free | 4 | 100 % | 1.280 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CB | 4 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CB | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CC | 5 | Free | 4 | 83 % | 1.200 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CC | 5 | Occupied | 1 | 17 % | 0.240 m² | Rack CC2, Floor Position = CC2 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CC | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CD | 5 | Free | 4 | 83 % | 1.200 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CD | 5 | Occupied | 1 | 17 % | 0.240 m² | Rack CC2, Floor Position = CC2 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CD | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CE | 4 | Free | 1 | 25 % | 0.270 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CE | 4 | Occupied | 3 | 75 % | 0.810 m² | Rack CE1, Floor Position = CE1 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CE | 4 | Occupied | 3 | 75 % | 0.810 m² | Rack CE2, Floor Position = CE2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CE | 4 | Occupied | 3 | 75 % | 0.810 m² | Rack CE4, Floor Position = CE4 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CE | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Free | 1 | 17 % | 0.180 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Occupied | 5 | 83 % | 0.899 m² | Rack CF5, Floor Position = CF5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Occupied | 5 | 83 % | 0.899 m² | Rack CF1, Floor Position = CF1 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Occupied | 5 | 83 % | 0.899 m² | Rack CF2, Floor Position = CF2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Occupied | 5 | 83 % | 0.899 m² | Rack CF3, Floor Position = CF3 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Occupied | 5 | 83 % | 0.899 m² | Rack CF4, Floor Position = CF4 | 42 | 46 | 42 | 42 | 46 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CF | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack CG5, Floor Position = CG5 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack CG6, Floor Position = CG6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack CG1, Floor Position = CG1 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack CG3, Floor Position = CG3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack CG4, Floor Position = CG4 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack CG2, Floor Position = CG2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CG | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CH | 4 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CH | 4 | Occupied | 4 | 100 % | 1.080 m² | Rack CH4, Floor Position = CH4 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CH | 4 | Occupied | 4 | 100 % | 1.080 m² | Rack CH1, Floor Position = CH1 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CH | 4 | Occupied | 4 | 100 % | 1.080 m² | Rack CH2, Floor Position = CH2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CH | 4 | Occupied | 4 | 100 % | 1.080 m² | Rack CH3, Floor Position = CH3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | CH | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DA | 11 | Free | 11 | 100 % | 4.500 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DA | 11 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DA | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DB | 11 | Free | 11 | 100 % | 4.500 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DB | 11 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DB | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Free | 3 | 24 % | 0.880 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC0, Floor Position = DC0 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC1, Floor Position = DC1 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC3, Floor Position = DC3 | 31 | 47 | 31 | 29 | 47 | 29
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC5, Floor Position = DC5 | 37 | 45 | 35 | 30 | 18 | 18
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC4, Floor Position = DC4 | 24 | 42 | 20 | 12 | 19 | 9
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC6, Floor Position = DC6 | 35 | 45 | 33 | 19 | 18 | 18
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC8, Floor Position = DC8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC7, Floor Position = DC7 | 29 | 39 | 27 | 19 | 39 | 19
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC12, Floor Position = DC12 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC13, Floor Position = DC13 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC15, Floor Position = DC15 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Occupied | 12 | 76 % | 2.780 m² | Rack DC14, Floor Position = DC14 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DC | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Free | 3 | 34 % | 1.240 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DD0, Floor Position = DD0 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC1, Floor Position = DC1 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC3, Floor Position = DC3 | 31 | 47 | 31 | 29 | 47 | 29
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC4, Floor Position = DC4 | 24 | 42 | 20 | 12 | 19 | 9
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC5, Floor Position = DC5 | 37 | 45 | 35 | 30 | 18 | 18
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC6, Floor Position = DC6 | 35 | 45 | 33 | 19 | 18 | 18
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC7, Floor Position = DC7 | 29 | 39 | 27 | 19 | 39 | 19
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC8, Floor Position = DC8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC12, Floor Position = DC12 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC13, Floor Position = DC13 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC14, Floor Position = DC14 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Occupied | 12 | 66 % | 2.420 m² | Rack DC15, Floor Position = DC15 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DD | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Free | 0 | 11 % | 0.600 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE1, Floor Position = DE1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE3, Floor Position = DE3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE2, Floor Position = DE2 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE5, Floor Position = DE5 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE4, Floor Position = DE4 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE6, Floor Position = DE6 | 39 | 45 | 39 | 39 | 45 | 39
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE7, Floor Position = DE7 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE8, Floor Position = DE8 | 37 | 45 | 37 | 37 | 45 | 37
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE10, Floor Position = DE10 | 38 | 45 | 38 | 38 | 45 | 38
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE9, Floor Position = DE9 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE12, Floor Position = DE12 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE11, Floor Position = DE11 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE13, Floor Position = DE13 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE15, Floor Position = DE15 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Occupied | 15 | 89 % | 4.800 m² | Rack DE14, Floor Position = DE14 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DE | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE1, Floor Position = DE1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE3, Floor Position = DE3 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DF2, Floor Position = DF2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE4, Floor Position = DE4 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE5, Floor Position = DE5 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE6, Floor Position = DE6 | 39 | 45 | 39 | 39 | 45 | 39
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE10, Floor Position = DE10 | 38 | 45 | 38 | 38 | 45 | 38
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE7, Floor Position = DE7 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE8, Floor Position = DE8 | 37 | 45 | 37 | 37 | 45 | 37
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE9, Floor Position = DE9 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE12, Floor Position = DE12 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE13, Floor Position = DE13 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE11, Floor Position = DE11 | 40 | 45 | 40 | 40 | 45 | 40
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE14, Floor Position = DE14 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Occupied | 15 | 100 % | 2.700 m² | Rack DE15, Floor Position = DE15 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DF | 15 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DG | 12 | Free | 9 | 68 % | 1.710 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DG | 12 | Occupied | 3 | 32 % | 0.810 m² | ODF CODF DG02, Floor Position = DG2 | 3 | 47 | 3 | 3 | 47 | 3
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DG | 12 | Occupied | 3 | 32 % | 0.810 m² | ODF DG01, Floor Position = DG1 | 41 | 46 | 41 | 21 | 46 | 21
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DG | 12 | Occupied | 3 | 32 % | 0.810 m² | ODF CODF DG03, Floor Position = DG3 | 39 | 47 | 39 | 27 | 47 | 27
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DG | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DH | 12 | Free | 11 | 89 % | 2.249 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DH | 12 | Occupied | 1 | 11 % | 0.270 m² | ODF DH02, Floor Position = DH2 | 43 | 46 | 43 | 30 | 46 | 30
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DH | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN1, Floor Position = DN1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN3, Floor Position = DN3 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN2, Floor Position = DN2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN5, Floor Position = DN5 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN4, Floor Position = DN4 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN6, Floor Position = DN6 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN7, Floor Position = DN7 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN8, Floor Position = DN8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DN | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN1, Floor Position = DN1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN3, Floor Position = DN3 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DN2, Floor Position = DN2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DP5, Floor Position = DP5 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DP4, Floor Position = DP4 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DP6, Floor Position = DP6 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DP7, Floor Position = DP7 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack DP8, Floor Position = DP8 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DP | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DQ | 2 | Free | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DQ | 2 | Occupied | 2 | 100 % | 0.450 m² | Rack DQ2, Floor Position = DQ2 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DQ | 2 | Occupied | 2 | 100 % | 0.450 m² | Rack DQ1, Floor Position = DQ1 | 45 | 45 | 45 | 45 | 45 | 45
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | DQ | 2 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | [6 empty] | Rack BJ1, Floor Position = BJ1 | 46 | 46 | 46 | 46 | 46 | 46
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | [6 empty] | Rack SQYN01;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | [6 empty] | Rack SQYN01;DC SYS02, Floor Position = Temp Mig | 13 | 46 | 13 | 11 | 25 | 11
Room SQYN01 on Floor Ground Floor in Site SURREY QUAYS | 135957.00 W | 187500.00 W | 73 % | [6 empty] | Rack SQYN01;DC SYS03, Floor Position = Temp Mig | 13 | 46 | 13 | 12 | 25 | 12