## Suite Line Capacity
Report generated for: | Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS
| Quantity | % of all area | Area
Total free sections: | 116/386 | 51 % | 78.974 m²
Total occupied sections: | 253/386 | 47 % | 73.479 m²
Total reserved sections: | 17/386 | 2 % | 3.188 m²
Total Lines Capability |  |  | 155.640 m²
Total Location Capability |  |  | 627.230 m²
Total Location Free Area |  |  | 551.871 m²
Total Location Occupied Area |  |  | 75.359 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Free | 0 | 7 % | 0.090 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Occupied | 5 | 93 % | 1.170 m² | Rack FA1, Floor Position = FA1 | 0 | 42 | 0 | 0 | 42 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Occupied | 5 | 93 % | 1.170 m² | ODF FA06, Floor Position = FA6 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Occupied | 5 | 93 % | 1.170 m² | Rack FA2, Floor Position = FA2 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Occupied | 5 | 93 % | 1.170 m² | ODF FA04, Floor Position = FA4 | 28 | 44 | 28 | 28 | 44 | 28
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Occupied | 5 | 93 % | 1.170 m² | Rack FA5, Floor Position = FA5 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FA | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FB | 5 | Free | 2 | 43 % | 0.540 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FB | 5 | Occupied | 3 | 57 % | 0.720 m² | Rack FA1, Floor Position = FA1 | 0 | 42 | 0 | 0 | 42 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FB | 5 | Occupied | 3 | 57 % | 0.720 m² | ODF FB06, Floor Position = FB6 | 29 | 44 | 29 | 27 | 44 | 27
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FB | 5 | Occupied | 3 | 57 % | 0.720 m² | Rack FB5, Floor Position = FB5 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FB | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Free | 1 | 46 % | 0.990 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Occupied | 5 | 54 % | 1.170 m² | Rack FC1, Floor Position = FC1 | 36 | 47 | 36 | 20 | 47 | 20
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Occupied | 5 | 54 % | 1.170 m² | Rack FC5, Floor Position = FC5 | 24 | 43 | 22 | 7 | 36 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Occupied | 5 | 54 % | 1.170 m² | Rack FD/FC02, Floor Position = FC2 | 23 | 43 | 23 | 12 | 43 | 12
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Occupied | 5 | 54 % | 1.170 m² | Rack FC4, Floor Position = FC4 | 31 | 42 | 28 | 22 | 35 | 16
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Occupied | 5 | 54 % | 1.170 m² | Rack FC7, Floor Position = FC7 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FC | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Free | 1 | 38 % | 0.810 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack FC1, Floor Position = FC1 | 36 | 47 | 36 | 20 | 47 | 20
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack FC5, Floor Position = FC5 | 24 | 43 | 22 | 7 | 36 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack FD/FC02, Floor Position = FC2 | 23 | 43 | 23 | 12 | 43 | 12
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack FC4, Floor Position = FC4 | 31 | 42 | 28 | 22 | 35 | 16
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Occupied | 5 | 62 % | 1.350 m² | Rack FC7, Floor Position = FC7 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FD | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Free | 1 | 14 % | 0.180 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack FE1, Floor Position = FE1 | 0 | 42 | 0 | 0 | 42 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack FE2, Floor Position = FE2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack FE4, Floor Position = FE4 | 22 | 46 | 22 | 22 | 46 | 22
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack FE6, Floor Position = FE6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack FE7, Floor Position = FE7 | 22 | 37 | 17 | 9 | 21 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FE | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Free | 2 | 29 % | 0.360 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack FE1, Floor Position = FE1 | 0 | 42 | 0 | 0 | 42 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack FF3, Floor Position = FF3 | 22 | 46 | 22 | 22 | 46 | 22
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack FF2, Floor Position = FF2 | 42 | 45 | 42 | 42 | 45 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack FF06, Floor Position = FF6 | 24 | 46 | 24 | 5 | 46 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack FE7, Floor Position = FE7 | 22 | 37 | 17 | 9 | 21 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FF | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Free | 0 | 7 % | 0.090 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Occupied | 6 | 93 % | 1.170 m² | Rack FG1, Floor Position = FG1 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Occupied | 6 | 93 % | 1.170 m² | Rack FG3, Floor Position = FG3 | 11 | 44 | 11 | 7 | 44 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Occupied | 6 | 93 % | 1.170 m² | Rack FG5, Floor Position = FG5 | 22 | 44 | 22 | 18 | 44 | 18
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Occupied | 6 | 93 % | 1.170 m² | Rack FG04, Floor Position = FG4 | 9 | 44 | 9 | 3 | 44 | 3
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Occupied | 6 | 93 % | 1.170 m² | Rack FG06, Floor Position = FG6 | 6 | 44 | 6 | 1 | 44 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Occupied | 6 | 93 % | 1.170 m² | Rack FG7, Floor Position = FG7 | 7 | 44 | 7 | 1 | 44 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FG | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Free | 0 | 21 % | 0.321 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Occupied | 6 | 79 % | 1.233 m² | Rack FH1, Floor Position = FH1 | 43 | 44 | 43 | 43 | 44 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Occupied | 6 | 79 % | 1.233 m² | Rack FH3, Floor Position = FH3 | 11 | 44 | 11 | 7 | 44 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Occupied | 6 | 79 % | 1.233 m² | Rack FH5, Floor Position = FH5 | 6 | 44 | 6 | 1 | 44 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Occupied | 6 | 79 % | 1.233 m² | Rack FH4, Floor Position = FH4 | 11 | 44 | 11 | 7 | 44 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Occupied | 6 | 79 % | 1.233 m² | Rack FH6, Floor Position = FH6 | 6 | 44 | 6 | 1 | 44 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Occupied | 6 | 79 % | 1.233 m² | Rack FH07, Floor Position = FH7 | 5 | 44 | 5 | 1 | 44 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FH | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FJ | 2 | Free | 0 | 12 % | 0.080 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FJ | 2 | Occupied | 2 | 88 % | 0.600 m² | Rack FJ01, Floor Position = FJ1 | 16 | 47 | 16 | 10 | 47 | 10
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FJ | 2 | Occupied | 2 | 88 % | 0.600 m² | Rack FJ03, Floor Position = FJ3 | 30 | 47 | 30 | 26 | 47 | 26
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FJ | 2 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FK | 2 | Free | 0 | 11 % | 0.090 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FK | 2 | Occupied | 2 | 89 % | 0.760 m² | Rack FJ01, Floor Position = FJ1 | 16 | 47 | 16 | 10 | 47 | 10
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FK | 2 | Occupied | 2 | 89 % | 0.760 m² | Rack FK03, Floor Position = FK3 | 11 | 47 | 11 | 8 | 47 | 8
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | FK | 2 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GA | 9 | Free | 9 | 100 % | 9.600 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GA | 9 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GA | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Free | 0 | 10 % | 0.960 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB12, Floor Position = GB12 | 38 | 47 | 38 | 38 | 47 | 38
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB14, Floor Position = GB14 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB09, Floor Position = GB9 | 23 | 29 | 19 | 6 | 14 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB10, Floor Position = GB10 | 30 | 31 | 26 | 13 | 30 | 13
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB05, Floor Position = GB5 | 28 | 31 | 21 | 12 | 14 | 12
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB06, Floor Position = GB6 | 19 | 28 | 11 | 7 | 8 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB07, Floor Position = GB7 | 23 | 28 | 16 | 7 | 8 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB1, Floor Position = GB01 | 0 | 47 | 0 | 0 | 47 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB03, Floor Position = GB3 | 4 | 31 | 4 | 4 | 31 | 4
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Occupied | 10 | 90 % | 8.400 m² | Rack GB02, Floor Position = GB2 | 6 | 32 | 4 | 4 | 32 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GB | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Free | 4 | 43 % | 4.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Occupied | 6 | 57 % | 5.360 m² | Rack GC14, Floor Position = GC14 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Occupied | 6 | 57 % | 5.360 m² | Rack GC9, Floor Position = GC09 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Occupied | 6 | 57 % | 5.360 m² | Rack GC05, Floor Position = GC05 | 37 | 47 | 37 | 25 | 47 | 25
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Occupied | 6 | 57 % | 5.360 m² | Rack GC1, Floor Position = GC01 | 0 | 47 | 0 | 0 | 47 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Occupied | 6 | 57 % | 5.360 m² | Rack GC03, Floor Position = GC03 | 24 | 20 | 14 | 19 | 7 | 4
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Occupied | 6 | 57 % | 5.360 m² | Rack GC02, Floor Position = GC02 | 5 | 30 | 5 | 5 | 30 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GC | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GD | 2 | Free | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GD | 2 | Occupied | 2 | 100 % | 0.540 m² | ODF GD01, Floor Position = GD1 | 33 | 47 | 33 | 28 | 47 | 28
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GD | 2 | Occupied | 2 | 100 % | 0.540 m² | ODF GD03, Floor Position = GD3 | 34 | 47 | 34 | 18 | 47 | 18
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GD | 2 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Free | 0 | 29 % | 1.026 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL11, Floor Position = GL11 | 37 | 30 | 22 | 32 | 12 | 12
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL4, Floor Position = GL4 | 39 | 42 | 39 | 39 | 42 | 39
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL6, Floor Position = GL6 | 30 | 20 | 13 | 20 | 12 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL8, Floor Position = GL8 | 30 | 37 | 24 | 19 | 26 | 19
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL9, Floor Position = GL9 | 26 | 47 | 26 | 9 | 47 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL7, Floor Position = GL7 | 25 | 39 | 24 | 15 | 22 | 15
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL5, Floor Position = GL5 | 39 | 42 | 39 | 39 | 42 | 39
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL1, Floor Position = GL1 | 0 | 42 | 0 | 0 | 42 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL3, Floor Position = GL3 | 39 | 42 | 39 | 39 | 42 | 39
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Occupied | 10 | 71 % | 2.484 m² | Rack GL2, Floor Position = GL2 | 39 | 42 | 39 | 39 | 42 | 39
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GL | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GM | 10 | Free | 7 | 80 % | 2.820 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GM | 10 | Occupied | 3 | 20 % | 0.690 m² | Rack GL8, Floor Position = GL8 | 30 | 37 | 24 | 19 | 26 | 19
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GM | 10 | Occupied | 3 | 20 % | 0.690 m² | Rack GL9, Floor Position = GL9 | 26 | 47 | 26 | 9 | 47 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GM | 10 | Occupied | 3 | 20 % | 0.690 m² | Rack GL7, Floor Position = GL7 | 25 | 39 | 24 | 15 | 22 | 15
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GM | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GN | 10 | Free | 7 | 70 % | 1.575 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GN | 10 | Occupied | 3 | 30 % | 0.675 m² | Rack GN1, Floor Position = GN1 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GN | 10 | Occupied | 3 | 30 % | 0.675 m² | Rack GN2, Floor Position = GN2 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GN | 10 | Occupied | 3 | 30 % | 0.675 m² | Rack GN3, Floor Position = GN3 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GN | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GP | 10 | Free | 6 | 60 % | 1.350 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GP | 10 | Occupied | 4 | 40 % | 0.900 m² | Rack GP5, Floor Position = GP5 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GP | 10 | Occupied | 4 | 40 % | 0.900 m² | Rack GP1, Floor Position = GP1 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GP | 10 | Occupied | 4 | 40 % | 0.900 m² | Rack GP3, Floor Position = GP3 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GP | 10 | Occupied | 4 | 40 % | 0.900 m² | Rack GP2, Floor Position = GP2 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GP | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Free | 0 | 38 % | 1.490 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ12, Floor Position = GQ12 | 1 | 47 | 1 | 1 | 47 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ8, Floor Position = GQ8 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GR/GQ11, Floor Position = GQ11 | 18 | 28 | 13 | 13 | 7 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ9, Floor Position = GQ9 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ6, Floor Position = GQ6 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ7, Floor Position = GQ7 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ5, Floor Position = GQ5 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ1, Floor Position = GQ1 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ3, Floor Position = GQ3 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ4, Floor Position = GQ4 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Occupied | 11 | 62 % | 2.410 m² | Rack GQ2, Floor Position = GQ2 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GQ | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Free | 1 | 14 % | 0.330 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GQ12, Floor Position = GQ12 | 1 | 47 | 1 | 1 | 47 | 1
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GR8, Floor Position = GR8 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GR9, Floor Position = GR9 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GR6, Floor Position = GR6 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GR7, Floor Position = GR7 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GR5, Floor Position = GR5 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GQ1, Floor Position = GQ1 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GQ3, Floor Position = GQ3 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GR4, Floor Position = GR4 | 40 | 44 | 40 | 40 | 44 | 40
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Occupied | 10 | 86 % | 2.010 m² | Rack GQ2, Floor Position = GQ2 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | GR | 11 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HA | 9 | Free | 8 | 92 % | 8.640 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HA | 9 | Occupied | 1 | 8 % | 0.720 m² | Rack HA1, Floor Position = HA01 | 0 | 47 | 0 | 0 | 47 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HA | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HB | 9 | Free | 7 | 92 % | 8.640 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HB | 9 | Occupied | 2 | 8 % | 0.720 m² | Rack HB1, Floor Position = HB01 | 0 | 47 | 0 | 0 | 47 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HB | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HG | 10 | Free | 7 | 91 % | 10.111 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HG | 10 | Occupied | 3 | 9 % | 1.020 m² | Rack HG10, Floor Position = HG10 | 17 | 47 | 17 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HG | 10 | Occupied | 3 | 9 % | 1.020 m² | Rack HH/HG11, Floor Position = HG11 | 2 | 47 | 2 | 2 | 47 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HG | 10 | Occupied | 3 | 9 % | 1.020 m² | Rack HG12, Floor Position = HG12 | 13 | 45 | 13 | 13 | 45 | 13
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HG | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HH | 10 | Free | 6 | 57 % | 1.229 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HH | 10 | Occupied | 4 | 43 % | 0.936 m² | ODF HH13, Floor Position = HH13 | 40 | 46 | 40 | 40 | 46 | 40
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HH | 10 | Occupied | 4 | 43 % | 0.936 m² | Rack HG10, Floor Position = HG10 | 17 | 47 | 17 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HH | 10 | Occupied | 4 | 43 % | 0.936 m² | ODF HH12 PABR ODF, Floor Position = HH12 | 4 | 46 | 4 | 3 | 46 | 3
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HH | 10 | Occupied | 4 | 43 % | 0.936 m² | Rack HH/HG11, Floor Position = HG11 | 2 | 47 | 2 | 2 | 47 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HH | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HJ | 5 | Free | 2 | 33 % | 0.720 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HJ | 5 | Occupied | 3 | 67 % | 1.440 m² | Rack HJ/HK01, Floor Position = HJ1 | 31 | 38 | 26 | 26 | 37 | 23
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HJ | 5 | Occupied | 3 | 67 % | 1.440 m² | Rack HJ/HK02, Floor Position = HJ2 | 38 | 33 | 29 | 14 | 19 | 14
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HJ | 5 | Occupied | 3 | 67 % | 1.440 m² | Rack HJ/HK04, Floor Position = HJ4 | 37 | 42 | 37 | 36 | 42 | 36
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HJ | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HK | 5 | Free | 2 | 56 % | 1.200 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HK | 5 | Occupied | 3 | 44 % | 0.960 m² | Rack HJ/HK01, Floor Position = HJ1 | 31 | 38 | 26 | 26 | 37 | 23
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HK | 5 | Occupied | 3 | 44 % | 0.960 m² | Rack HJ/HK02, Floor Position = HJ2 | 38 | 33 | 29 | 14 | 19 | 14
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HK | 5 | Occupied | 3 | 44 % | 0.960 m² | Rack HJ/HK04, Floor Position = HJ4 | 37 | 42 | 37 | 36 | 42 | 36
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HK | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Free | 1 | 27 % | 0.645 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL13, Floor Position = HL13 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL12, Floor Position = HL12 | 10 | 46 | 10 | 7 | 46 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL8, Floor Position = HL8 | 26 | 47 | 26 | 20 | 47 | 20
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL10, Floor Position = HL10 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL9, Floor Position = HL9 | 27 | 47 | 27 | 21 | 47 | 21
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL7, Floor Position = HL7 | 15 | 47 | 15 | 10 | 47 | 10
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | ODF HL01, Floor Position = HL1 | 8 | 44 | 8 | 5 | 44 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL3, Floor Position = HL3 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL4, Floor Position = HL4 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HL | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Free | 1 | 27 % | 0.645 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL13, Floor Position = HL13 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HM12, Floor Position = HM12 | 11 | 47 | 11 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HM8, Floor Position = HM8 | 41 | 46 | 41 | 41 | 46 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL10, Floor Position = HL10 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HM9, Floor Position = HM9 | 41 | 46 | 41 | 41 | 46 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HM7, Floor Position = HM7 | 7 | 44 | 7 | 5 | 44 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | ODF HM01, Floor Position = HM1 | 42 | 44 | 42 | 23 | 44 | 23
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL3, Floor Position = HL3 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Occupied | 9 | 73 % | 1.710 m² | Rack HL4, Floor Position = HL4 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HM | 10 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Free | 5 | 43 % | 1.006 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | Rack HN7, Floor Position = HN7 | 42 | 44 | 42 | 42 | 44 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | Rack HN9, Floor Position = HN9 | 42 | 44 | 42 | 42 | 44 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | Rack HN8, Floor Position = HN8 | 42 | 44 | 42 | 42 | 44 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | Rack HN5, Floor Position = HN5 | 39 | 44 | 39 | 39 | 44 | 39
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | Rack HN6, Floor Position = HN6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | Rack HN1, Floor Position = HN1 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Occupied | 7 | 57 % | 1.350 m² | ODF HN2, Floor Position = HN2 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HN | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Free | 4 | 35 % | 0.810 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HN7, Floor Position = HN7 | 42 | 44 | 42 | 42 | 44 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HP9, Floor Position = HP9 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HN8, Floor Position = HN8 | 42 | 44 | 42 | 42 | 44 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HP5, Floor Position = HP5 | 41 | 44 | 41 | 41 | 44 | 41
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HN6, Floor Position = HN6 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HP4, Floor Position = HP4 | 44 | 46 | 44 | 44 | 46 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | Rack HN1, Floor Position = HN1 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Occupied | 8 | 65 % | 1.530 m² | ODF HP02, Floor Position = HP2 | 19 | 44 | 19 | 18 | 44 | 18
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HP | 12 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Free | 1 | 43 % | 1.447 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | ODF HR10, Floor Position = HQ10 | 42 | 44 | 42 | 22 | 44 | 22
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ/HR11, Floor Position = HQ11 | 6 | 46 | 6 | 5 | 46 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ6, Floor Position = HQ6 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ7, Floor Position = HQ7 | 23 | 47 | 23 | 23 | 47 | 23
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ5, Floor Position = HQ5 | 36 | 43 | 34 | 28 | 33 | 28
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ1, Floor Position = HQ1 | 20 | 44 | 17 | 9 | 43 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ3, Floor Position = HQ3 | 42 | 43 | 39 | 36 | 42 | 36
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Occupied | 8 | 57 % | 1.916 m² | Rack HQ4, Floor Position = HQ4 | 46 | 46 | 46 | 46 | 46 | 46
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HQ | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Free | 2 | 53 % | 1.792 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HQ/HR11, Floor Position = HQ11 | 6 | 46 | 6 | 5 | 46 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HQ6, Floor Position = HQ6 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HR7, Floor Position = HR7 | 23 | 47 | 23 | 23 | 47 | 23
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HQ5, Floor Position = HQ5 | 36 | 43 | 34 | 28 | 33 | 28
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HQ1, Floor Position = HQ1 | 20 | 44 | 17 | 9 | 43 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HQ3, Floor Position = HQ3 | 42 | 43 | 39 | 36 | 42 | 36
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Occupied | 7 | 47 % | 1.571 m² | Rack HQ4, Floor Position = HQ4 | 46 | 46 | 46 | 46 | 46 | 46
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HR | 9 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Free | 0 | 39 % | 1.179 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Occupied | 6 | 61 % | 1.830 m² | Rack HS9, Floor Position = HS9 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Occupied | 6 | 61 % | 1.830 m² | Rack HT/HS06, Floor Position = HS6 | 8 | 43 | 8 | 3 | 43 | 3
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Occupied | 6 | 61 % | 1.830 m² | Rack HT/HS07, Floor Position = HS7 | 17 | 42 | 15 | 7 | 41 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Occupied | 6 | 61 % | 1.830 m² | Rack HS1, Floor Position = HS1 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Occupied | 6 | 61 % | 1.830 m² | Rack HS3, Floor Position = HS3 | 43 | 45 | 43 | 43 | 45 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Occupied | 6 | 61 % | 1.830 m² | Rack HS2, Floor Position = HS2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HS | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Free | 1 | 40 % | 0.715 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Occupied | 5 | 60 % | 1.085 m² | Rack HT9, Floor Position = HT9 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Occupied | 5 | 60 % | 1.085 m² | Rack HT/HS06, Floor Position = HS6 | 8 | 43 | 8 | 3 | 43 | 3
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Occupied | 5 | 60 % | 1.085 m² | Rack HS1, Floor Position = HS1 | 2 | 44 | 2 | 2 | 44 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Occupied | 5 | 60 % | 1.085 m² | Rack HS3, Floor Position = HS3 | 43 | 45 | 43 | 43 | 45 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Occupied | 5 | 60 % | 1.085 m² | Rack HS2, Floor Position = HS2 | 43 | 46 | 43 | 43 | 46 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HT | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HU | 11 | Free | 1 | 9 % | 0.180 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HU | 11 | Occupied | 3 | 27 % | 0.540 m² | Rack HU10, Floor Position = HU10 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HU | 11 | Occupied | 3 | 27 % | 0.540 m² | Rack SQYN02;DC SYS09B, Floor Position = HV05 | 13 | 46 | 13 | 12 | 25 | 12
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HU | 11 | Occupied | 3 | 27 % | 0.540 m² | Rack HU1, Floor Position = HU1 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HU | 11 | Reserved | 7 | 64 % | 1.260 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HV | 11 | Free | 2 | 18 % | 0.360 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HV | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack HU10, Floor Position = HU10 | 42 | 42 | 42 | 42 | 42 | 42
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HV | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack SQYN02;DC SYS09B, Floor Position = HV05 | 13 | 46 | 13 | 12 | 25 | 12
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | HV | 11 | Reserved | 7 | 64 % | 1.260 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Free | 1 | 26 % | 0.540 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Occupied | 6 | 74 % | 1.560 m² | Rack JA1, Floor Position = JA1 | 35 | 45 | 33 | 30 | 27 | 27
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Occupied | 6 | 74 % | 1.560 m² | Rack JA3, Floor Position = JA3 | 41 | 44 | 39 | 35 | 40 | 33
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Occupied | 6 | 74 % | 1.560 m² | Rack JA2, Floor Position = JA2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Occupied | 6 | 74 % | 1.560 m² | Rack JA4, Floor Position = JA4 | 35 | 46 | 34 | 30 | 29 | 29
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Occupied | 6 | 74 % | 1.560 m² | Rack JA/JB06, Floor Position = JA6 | 28 | 42 | 25 | 18 | 37 | 16
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Occupied | 6 | 74 % | 1.560 m² | Rack JA7, Floor Position = JA7 | 27 | 39 | 21 | 25 | 19 | 19
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JA | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Free | 1 | 14 % | 0.300 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Occupied | 6 | 86 % | 1.800 m² | Rack JA1, Floor Position = JA1 | 35 | 45 | 33 | 30 | 27 | 27
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Occupied | 6 | 86 % | 1.800 m² | Rack JA3, Floor Position = JA3 | 41 | 44 | 39 | 35 | 40 | 33
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Occupied | 6 | 86 % | 1.800 m² | Rack JA2, Floor Position = JA2 | 44 | 47 | 44 | 44 | 47 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Occupied | 6 | 86 % | 1.800 m² | Rack JA4, Floor Position = JA4 | 35 | 46 | 34 | 30 | 29 | 29
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Occupied | 6 | 86 % | 1.800 m² | Rack JA/JB06, Floor Position = JA6 | 28 | 42 | 25 | 18 | 37 | 16
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Occupied | 6 | 86 % | 1.800 m² | Rack JA7, Floor Position = JA7 | 27 | 39 | 21 | 25 | 19 | 19
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JB | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JC | 5 | Free | 5 | 100 % | 1.470 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JC | 5 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JC | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JD | 5 | Free | 2 | 45 % | 0.660 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JD | 5 | Occupied | 3 | 55 % | 0.810 m² | ODF CODF JD01, Floor Position = JD1 | 3 | 47 | 3 | 3 | 47 | 3
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JD | 5 | Occupied | 3 | 55 % | 0.810 m² | ODF CODF JD03, Floor Position = JD3 | 6 | 47 | 6 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JD | 5 | Occupied | 3 | 55 % | 0.810 m² | ODF CODF JD05, Floor Position = JD05 | 41 | 47 | 41 | 18 | 47 | 18
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JD | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JE | 4 | Free | 4 | 100 % | 1.680 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JE | 4 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JE | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JF | 4 | Free | 4 | 100 % | 1.680 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JF | 4 | Occupied | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JF | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JG | 5 | Free | 3 | 83 % | 1.050 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JG | 5 | Occupied | 2 | 17 % | 0.210 m² | Rack JH/JG 02, Floor Position = JH02 | 42 | 16 | 16 | 42 | 9 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JG | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JH | 5 | Free | 1 | 40 % | 0.510 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JH | 5 | Occupied | 4 | 60 % | 0.750 m² | Rack JH/JG07, Floor Position = JH7 | 7 | 47 | 7 | 3 | 47 | 3
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JH | 5 | Occupied | 4 | 60 % | 0.750 m² | Rack JH/JG 02, Floor Position = JH02 | 42 | 16 | 16 | 42 | 9 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JH | 5 | Occupied | 4 | 60 % | 0.750 m² | Rack JH05, Floor Position = JH5 | 10 | 47 | 10 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JH | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JJ | 4 | Free | 1 | 46 % | 0.780 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JJ | 4 | Occupied | 3 | 54 % | 0.900 m² | Rack JJ04, Floor Position = JJ4 | 10 | 47 | 10 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JJ | 4 | Occupied | 3 | 54 % | 0.900 m² | Rack JJ06, Floor Position = JJ6 | 9 | 47 | 9 | 6 | 47 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JJ | 4 | Occupied | 3 | 54 % | 0.900 m² | Rack JJ7, Floor Position = JJ7 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JJ | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JK | 4 | Free | 0 | 43 % | 0.540 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JK | 4 | Occupied | 2 | 29 % | 0.360 m² | Rack JK3, Floor Position = JK3 | 29 | 46 | 29 | 29 | 46 | 29
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JK | 4 | Occupied | 2 | 29 % | 0.360 m² | Rack JJ7, Floor Position = JJ7 | 5 | 47 | 5 | 5 | 47 | 5
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JK | 4 | Reserved | 2 | 29 % | 0.360 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JL | 5 | Free | 0 | 24 % | 0.541 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JL | 5 | Occupied | 4 | 70 % | 1.605 m² | Rack JL/JM01, Floor Position = JL1 | 8 | 29 | 5 | 4 | 29 | 4
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JL | 5 | Occupied | 4 | 70 % | 1.605 m² | Rack JL6, Floor Position = JL6 | 24 | 33 | 14 | 20 | 24 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JL | 5 | Occupied | 4 | 70 % | 1.605 m² | Rack JL5, Floor Position = JL5 | 26 | 35 | 14 | 11 | 24 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JL | 5 | Occupied | 4 | 70 % | 1.605 m² | Rack JL/JM04, Floor Position = JL4 | 32 | 47 | 32 | 17 | 47 | 17
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JL | 5 | Reserved | 1 | 7 % | 0.154 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Free | 0 | 32 % | 0.742 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Occupied | 5 | 61 % | 1.404 m² | Rack JL/JM01, Floor Position = JL1 | 8 | 29 | 5 | 4 | 29 | 4
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Occupied | 5 | 61 % | 1.404 m² | Rack JL6, Floor Position = JL6 | 24 | 33 | 14 | 20 | 24 | 9
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Occupied | 5 | 61 % | 1.404 m² | Rack JM3, Floor Position = JM3 | 47 | 47 | 47 | 47 | 47 | 47
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Occupied | 5 | 61 % | 1.404 m² | Rack JL5, Floor Position = JL5 | 26 | 35 | 14 | 11 | 24 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Occupied | 5 | 61 % | 1.404 m² | Rack JL/JM04, Floor Position = JL4 | 32 | 47 | 32 | 17 | 47 | 17
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JM | 5 | Reserved | 0 | 7 % | 0.154 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Free | 1 | 14 % | 0.270 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JP/JN01, Floor Position = JN1 | 32 | 38 | 25 | 14 | 35 | 14
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JN7, Floor Position = JN7 | 39 | 46 | 38 | 36 | 45 | 34
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JP02, Floor Position = JN2 | 27 | 39 | 23 | 18 | 38 | 18
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JP/JN04, Floor Position = JN4 | 28 | 44 | 28 | 11 | 43 | 11
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JN6, Floor Position = JN6 | 37 | 47 | 37 | 30 | 47 | 30
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JN | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Free | 1 | 14 % | 0.270 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JP/JN01, Floor Position = JN1 | 32 | 38 | 25 | 14 | 35 | 14
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JN7, Floor Position = JN7 | 39 | 46 | 38 | 36 | 45 | 34
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JP02, Floor Position = JN2 | 27 | 39 | 23 | 18 | 38 | 18
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JP/JN04, Floor Position = JN4 | 28 | 44 | 28 | 11 | 43 | 11
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Occupied | 5 | 86 % | 1.620 m² | Rack JN6, Floor Position = JN6 | 37 | 47 | 37 | 30 | 47 | 30
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JP | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Free | 0 | 6 % | 0.120 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Occupied | 5 | 94 % | 1.780 m² | Rack JQ1, Floor Position = JQ1 | 32 | 47 | 32 | 27 | 47 | 27
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Occupied | 5 | 94 % | 1.780 m² | Rack JQ2, Floor Position = JQ2 | 10 | 43 | 8 | 3 | 41 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Occupied | 5 | 94 % | 1.780 m² | Rack JQ5, Floor Position = JQ5 | 16 | 40 | 11 | 7 | 38 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Occupied | 5 | 94 % | 1.780 m² | Rack JQ4, Floor Position = JQ4 | 15 | 40 | 11 | 7 | 38 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Occupied | 5 | 94 % | 1.780 m² | Rack JQ6, Floor Position = JQ6 | 17 | 38 | 13 | 12 | 36 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JQ | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Free | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Occupied | 5 | 100 % | 1.900 m² | Rack JQ1, Floor Position = JQ1 | 32 | 47 | 32 | 27 | 47 | 27
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Occupied | 5 | 100 % | 1.900 m² | Rack JQ2, Floor Position = JQ2 | 10 | 43 | 8 | 3 | 41 | 2
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Occupied | 5 | 100 % | 1.900 m² | Rack JQ4, Floor Position = JQ4 | 15 | 40 | 11 | 7 | 38 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Occupied | 5 | 100 % | 1.900 m² | Rack JQ5, Floor Position = JQ5 | 16 | 40 | 11 | 7 | 38 | 6
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Occupied | 5 | 100 % | 1.900 m² | Rack JQ6, Floor Position = JQ6 | 17 | 38 | 13 | 12 | 36 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JR | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JS | 4 | Free | 0 | 39 % | 0.660 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JS | 4 | Occupied | 4 | 61 % | 1.050 m² | Rack JS/JT01, Floor Position = JS1 | 28 | 47 | 28 | 22 | 47 | 22
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JS | 4 | Occupied | 4 | 61 % | 1.050 m² | Rack JS3, Floor Position = JS3 | 40 | 47 | 40 | 40 | 47 | 40
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JS | 4 | Occupied | 4 | 61 % | 1.050 m² | Rack JT/ JS04, Floor Position = JS4 | 18 | 45 | 16 | 7 | 31 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JS | 4 | Occupied | 4 | 61 % | 1.050 m² | Rack JS5, Floor Position = JS5 | 19 | 37 | 15 | 7 | 36 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JS | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JT | 4 | Free | 0 | 35 % | 0.600 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JT | 4 | Occupied | 4 | 65 % | 1.110 m² | Rack JS/JT01, Floor Position = JS1 | 28 | 47 | 28 | 22 | 47 | 22
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JT | 4 | Occupied | 4 | 65 % | 1.110 m² | Rack JS3, Floor Position = JS3 | 40 | 47 | 40 | 40 | 47 | 40
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JT | 4 | Occupied | 4 | 65 % | 1.110 m² | Rack JT/ JS04, Floor Position = JS4 | 18 | 45 | 16 | 7 | 31 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JT | 4 | Occupied | 4 | 65 % | 1.110 m² | Rack JS5, Floor Position = JS5 | 19 | 37 | 15 | 7 | 36 | 7
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JT | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JU | 4 | Free | 0 | 7 % | 0.090 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JU | 4 | Occupied | 4 | 93 % | 1.170 m² | Rack JU4, Floor Position = JU4 | 43 | 47 | 43 | 43 | 47 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JU | 4 | Occupied | 4 | 93 % | 1.170 m² | Rack JU02, Floor Position = JU2 | 27 | 47 | 27 | 23 | 47 | 23
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JU | 4 | Occupied | 4 | 93 % | 1.170 m² | Rack JU01, Floor Position = JU1 | 41 | 47 | 41 | 19 | 47 | 19
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JU | 4 | Occupied | 4 | 93 % | 1.170 m² | ODF JU03, Floor Position = JU3 | 6 | 47 | 6 | 4 | 47 | 4
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JU | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JV | 4 | Free | 1 | 36 % | 0.450 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JV | 4 | Occupied | 3 | 64 % | 0.810 m² | Rack JU4, Floor Position = JU4 | 43 | 47 | 43 | 43 | 47 | 43
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JV | 4 | Occupied | 3 | 64 % | 0.810 m² | Rack JV2, Floor Position = JV2 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JV | 4 | Occupied | 3 | 64 % | 0.810 m² | Rack JV3, Floor Position = JV3 | 44 | 44 | 44 | 44 | 44 | 44
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | JV | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | [6 empty] | Rack JH/JG 01, Floor Position = JH01 | 4 | 27 | 0 | 4 | 27 | 0
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | [6 empty] | Rack SQYN02;DC SYS08A, Floor Position = Temp Mig | 14 | 46 | 14 | 13 | 25 | 13
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | [6 empty] | Rack SQYN02;DC SYS08B, Floor Position = Temp Mig | 14 | 46 | 14 | 13 | 25 | 13
Room SQYN02 on Floor Ground Floor in Site SURREY QUAYS | 455136.25 W | 373500.00 W | 122 % | [6 empty] | Rack SQYN02;DC SYS09A, Floor Position = Temp Mig | 13 | 46 | 13 | 12 | 25 | 12