## Suite Line Capacity
Report generated for: | Room STEDN1 on Floor Ground Floor in Site STEVENAGE
| Quantity | % of all area | Area
Total free sections: | 3/43 | 15 % | 1.361 m²
Total occupied sections: | 40/43 | 85 % | 7.908 m²
Total reserved sections: | 0/43 | 0 % | 0.000 m²
Total Lines Capability |  |  | 9.269 m²
Total Location Capability |  |  | 35.286 m²
Total Location Free Area |  |  | 27.377 m²
Total Location Occupied Area |  |  | 7.908 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Free | 0 | 11 % | 0.151 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Occupied | 6 | 89 % | 1.238 m² | Rack A4, Floor Position = A4 | 51 | 54 | 51 | 51 | 54 | 51
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Occupied | 6 | 89 % | 1.238 m² | Rack A5, Floor Position = A5 | 44 | 47 | 44 | 44 | 47 | 44
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Occupied | 6 | 89 % | 1.238 m² | ODF A01, Floor Position = A1 | 32 | 54 | 32 | 32 | 54 | 32
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Occupied | 6 | 89 % | 1.238 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Occupied | 6 | 89 % | 1.238 m² | Rack A2, Floor Position = A2 | 41 | 44 | 41 | 41 | 44 | 41
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Occupied | 6 | 89 % | 1.238 m² | ODF A03, Floor Position = A3 | 28 | 54 | 28 | 24 | 54 | 24
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | A | 6 | Reserved | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Free | 1 | 25 % | 0.354 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Occupied | 6 | 75 % | 1.053 m² | Rack B5, Floor Position = B5 | 45 | 48 | 45 | 45 | 48 | 45
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Occupied | 6 | 75 % | 1.053 m² | Rack B6, Floor Position = B6 | 44 | 44 | 44 | 44 | 44 | 44
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Occupied | 6 | 75 % | 1.053 m² | Rack B1, Floor Position = B1 | 54 | 54 | 54 | 54 | 54 | 54
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Occupied | 6 | 75 % | 1.053 m² | Rack B3, Floor Position = B3 | 54 | 54 | 54 | 54 | 54 | 54
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Occupied | 6 | 75 % | 1.053 m² | Rack B2, Floor Position = B2 | 54 | 54 | 54 | 54 | 54 | 54
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Occupied | 6 | 75 % | 1.053 m² | Rack B4, Floor Position = B4 | 54 | 54 | 54 | 54 | 54 | 54
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Free | 0 | 9 % | 0.110 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Occupied | 6 | 91 % | 1.062 m² | Rack C4, Floor Position = C4 | 51 | 54 | 51 | 51 | 54 | 51
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Occupied | 6 | 91 % | 1.062 m² | Rack C5, Floor Position = C5 | 44 | 44 | 44 | 44 | 44 | 44
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Occupied | 6 | 91 % | 1.062 m² | Rack C1, Floor Position = C1 | 51 | 54 | 51 | 51 | 54 | 51
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Occupied | 6 | 91 % | 1.062 m² | Rack C2, Floor Position = C2 | 41 | 44 | 41 | 41 | 44 | 41
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Occupied | 6 | 91 % | 1.062 m² | Rack C3, Floor Position = C3 | 51 | 54 | 51 | 51 | 54 | 51
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Occupied | 6 | 91 % | 1.062 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Free | 1 | 13 % | 0.180 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Occupied | 6 | 87 % | 1.170 m² | ODF CODF D01, Floor Position = D1 | 43 | 47 | 43 | 23 | 47 | 23
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Occupied | 6 | 87 % | 1.170 m² | Rack D2, Floor Position = D2 | 46 | 48 | 46 | 46 | 48 | 46
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Occupied | 6 | 87 % | 1.170 m² | Rack D03, Floor Position = D3 | 38 | 48 | 38 | 20 | 48 | 20
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Occupied | 6 | 87 % | 1.170 m² | Rack D04, Floor Position = D4 | 13 | 48 | 13 | 4 | 48 | 4
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Occupied | 6 | 87 % | 1.170 m² | Rack D5, Floor Position = D5 | 46 | 48 | 46 | 46 | 48 | 46
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Occupied | 6 | 87 % | 1.170 m² | Rack D06, Floor Position = D6 | 42 | 48 | 42 | 30 | 48 | 30
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Free | 1 | 20 % | 0.270 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack DD1, Floor Position = DD1 | 9 | 46 | 9 | 8 | 46 | 8
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack D2, Floor Position = D2 | 46 | 48 | 46 | 46 | 48 | 46
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack D03, Floor Position = D3 | 38 | 48 | 38 | 20 | 48 | 20
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack D04, Floor Position = D4 | 13 | 48 | 13 | 4 | 48 | 4
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack D5, Floor Position = D5 | 46 | 48 | 46 | 46 | 48 | 46
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack D06, Floor Position = D6 | 42 | 48 | 42 | 30 | 48 | 30
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | DD | 7 | Reserved | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Free | 0 | 16 % | 0.296 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E1, Floor Position = E1 | 45 | 48 | 45 | 45 | 48 | 45
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E0, Floor Position = E0 | 40 | 40 | 40 | 40 | 40 | 40
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E3, Floor Position = E3 | 45 | 48 | 45 | 45 | 48 | 45
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E4, Floor Position = E4 | 45 | 48 | 45 | 45 | 48 | 45
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E2, Floor Position = E2 | 45 | 48 | 45 | 45 | 48 | 45
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E6, Floor Position = E6 | 45 | 48 | 45 | 45 | 48 | 45
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E7, Floor Position = E7 | 39 | 42 | 39 | 39 | 42 | 39
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Occupied | 8 | 84 % | 1.593 m² | Rack E5, Floor Position = E5 | 33 | 48 | 33 | 22 | 48 | 22
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | E | 8 | Reserved | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | F | 2 | Free | 0 | 0 % | 0.000 m²
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | F | 2 | Occupied | 2 | 100 % | 0.712 m² | Rack STEDN1;DC SYS01, Floor Position = F2 | 20 | 46 | 20 | 19 | 25 | 19
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | F | 2 | Occupied | 2 | 100 % | 0.712 m² | Rack F1, Floor Position = F1 | 5 | 47 | 5 | 5 | 47 | 5
Room STEDN1 on Floor Ground Floor in Site STEVENAGE | 13181.00 W | 11250.00 W | 117 % | F | 2 | Reserved | 0 | 0 % | 0.000 m²