## Suite Line Capacity
Report generated for: | Room SWNN03 on Floor Ground Floor in Site SWANSEA
| Quantity | % of all area | Area
Total free sections: | 6/47 | 26 % | 2.967 m²
Total occupied sections: | 41/47 | 74 % | 8.660 m²
Total reserved sections: | 0/47 | 0 % | 0.000 m²
Total Lines Capability |  |  | 11.627 m²
Total Location Capability |  |  | 61.640 m²
Total Location Free Area |  |  | 52.620 m²
Total Location Occupied Area |  |  | 9.020 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Free | 0 | 3 % | 0.046 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 3 | 47 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | Rack A3, Floor Position = A3 | 23 | 56 | 23 | 7 | 56 | 7
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | ODF A01, Floor Position = A1 | 5 | 50 | 5 | 3 | 50 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | Rack A2, Floor Position = A2 | 53 | 56 | 53 | 53 | 56 | 53
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | Rack A5, Floor Position = A5 | 43 | 46 | 43 | 43 | 46 | 43
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | Rack A4, Floor Position = A4 | 44 | 47 | 44 | 44 | 47 | 44
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Occupied | 7 | 97 % | 1.305 m² | ODF CODF A06, Floor Position = A6 | 30 | 47 | 30 | 12 | 47 | 12
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Free | 0 | 6 % | 0.065 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Occupied | 5 | 94 % | 0.945 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 3 | 47 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Occupied | 5 | 94 % | 0.945 m² | ODF B03, Floor Position = B3 | 44 | 46 | 44 | 23 | 46 | 23
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Occupied | 5 | 94 % | 0.945 m² | Rack B1, Floor Position = B1 | 47 | 56 | 47 | 39 | 56 | 39
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Occupied | 5 | 94 % | 0.945 m² | Rack B2, Floor Position = B2 | 48 | 50 | 48 | 48 | 50 | 48
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Occupied | 5 | 94 % | 0.945 m² | Rack BC05, Floor Position = B5 | 35 | 42 | 35 | 27 | 42 | 27
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | B | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Free | 1 | 19 % | 0.183 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 3 | 47 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack C2, Floor Position = C2 | 20 | 44 | 20 | 18 | 44 | 18
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack C01, Floor Position = C1 | 17 | 56 | 17 | 9 | 56 | 9
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack C03, Floor Position = C3 | 4 | 44 | 4 | 1 | 44 | 1
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Occupied | 5 | 81 % | 0.765 m² | Rack BC05, Floor Position = B5 | 35 | 42 | 35 | 27 | 42 | 27
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Free | 0 | 9 % | 0.091 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D1, Floor Position = D1 | 51 | 54 | 51 | 51 | 54 | 51
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 3 | 47 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D4, Floor Position = D4 | 37 | 10 | 7 | 22 | 5 | 5
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D2, Floor Position = D2 | 42 | 42 | 42 | 42 | 42 | 42
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D3, Floor Position = D3 | 10 | 43 | 9 | 2 | 25 | 2
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack DE05, Floor Position = D5 | 18 | 43 | 18 | 7 | 43 | 7
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Free | 0 | 9 % | 0.091 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack E1, Floor Position = E1 | 51 | 54 | 51 | 51 | 54 | 51
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 3 | 47 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D4, Floor Position = D4 | 37 | 10 | 7 | 22 | 5 | 5
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack E2, Floor Position = E2 | 42 | 42 | 42 | 42 | 42 | 42
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack D3, Floor Position = D3 | 10 | 43 | 9 | 2 | 25 | 2
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Occupied | 6 | 91 % | 0.944 m² | Rack DE05, Floor Position = D5 | 18 | 43 | 18 | 7 | 43 | 7
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | F | 4 | Free | 0 | 19 % | 0.246 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | F | 4 | Occupied | 4 | 81 % | 1.081 m² | Rack F1, Floor Position = F1 | 54 | 54 | 54 | 54 | 54 | 54
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | F | 4 | Occupied | 4 | 81 % | 1.081 m² | Rack F03, Floor Position = F3 | 13 | 47 | 13 | 3 | 47 | 3
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | F | 4 | Occupied | 4 | 81 % | 1.081 m² | Rack F2, Floor Position = F2 | 54 | 54 | 54 | 54 | 54 | 54
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | F | 4 | Occupied | 4 | 81 % | 1.081 m² | Rack F04, Floor Position = F4 | 37 | 46 | 37 | 22 | 46 | 22
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | F | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | G | 4 | Free | 1 | 27 % | 0.272 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | G | 4 | Occupied | 3 | 73 % | 0.719 m² | Rack G1, Floor Position = G1 | 54 | 54 | 54 | 54 | 54 | 54
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | G | 4 | Occupied | 3 | 73 % | 0.719 m² | Rack G2, Floor Position = G2 | 54 | 54 | 54 | 54 | 54 | 54
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | G | 4 | Occupied | 3 | 73 % | 0.719 m² | Rack F04, Floor Position = F4 | 37 | 46 | 37 | 22 | 46 | 22
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | G | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | H | 4 | Free | 2 | 54 % | 0.891 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | H | 4 | Occupied | 2 | 46 % | 0.759 m² | Rack H4, Floor Position = H4 | 39 | 46 | 39 | 39 | 46 | 39
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | H | 4 | Occupied | 2 | 46 % | 0.759 m² | Rack JH01, Floor Position = H1 | 33 | 11 | 5 | 33 | 6 | 4
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | H | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | J | 4 | Free | 2 | 49 % | 0.811 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | J | 4 | Occupied | 2 | 51 % | 0.839 m² | Rack JH01, Floor Position = H1 | 33 | 11 | 5 | 33 | 6 | 4
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | J | 4 | Occupied | 2 | 51 % | 0.839 m² | Rack H4, Floor Position = H4 | 39 | 46 | 39 | 39 | 46 | 39
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | J | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | K | 1 | Free | 0 | 43 % | 0.270 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | K | 1 | Occupied | 1 | 57 % | 0.360 m² | Rack K1, Floor Position = K01 | 5 | 47 | 5 | 5 | 47 | 5
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | K | 1 | Reserved | 0 | 0 % | 0.000 m²
Room SWNN03 on Floor Ground Floor in Site SWANSEA | 29447.00 W | 30000.00 W | 98 % | [6 empty] | Rack SWNN03;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17