## Suite Line Capacity
Report generated for: | Room SWY on Floor Ground Floor in Site SHREWSBURY TAN
| Quantity | % of all area | Area
Total free sections: | 16/105 | 27 % | 6.274 m²
Total occupied sections: | 89/105 | 73 % | 16.618 m²
Total reserved sections: | 0/105 | 0 % | 0.000 m²
Total Lines Capability |  |  | 22.892 m²
Total Location Capability |  |  | 75.831 m²
Total Location Free Area |  |  | 58.853 m²
Total Location Occupied Area |  |  | 16.978 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Free | 0 | 32 % | 0.450 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Occupied | 8 | 68 % | 0.945 m² | Rack A6, Floor Position = A06 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Occupied | 8 | 68 % | 0.945 m² | Rack A7, Floor Position = A07 | 50 | 55 | 50 | 50 | 55 | 50
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Occupied | 8 | 68 % | 0.945 m² | Rack A5, Floor Position = A05 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Occupied | 8 | 68 % | 0.945 m² | Rack A1, Floor Position = A01 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Occupied | 8 | 68 % | 0.945 m² | Rack A2, Floor Position = A02 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Occupied | 8 | 68 % | 0.945 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AA | 4 | Free | 0 | 50 % | 0.980 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AA | 4 | Occupied | 4 | 50 % | 0.975 m² | Rack AA5, Floor Position = AA05 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AA | 4 | Occupied | 4 | 50 % | 0.975 m² | Rack AA3, Floor Position = AA03 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AA | 4 | Occupied | 4 | 50 % | 0.975 m² | Rack AA2, Floor Position = AA02 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AA | 4 | Occupied | 4 | 50 % | 0.975 m² | Rack AA1, Floor Position = AA01 | 37 | 44 | 37 | 37 | 44 | 37
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AA | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AB | 5 | Free | 2 | 45 % | 0.600 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AB | 5 | Occupied | 3 | 55 % | 0.720 m² | Rack AB1, Floor Position = AB1 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AB | 5 | Occupied | 3 | 55 % | 0.720 m² | Rack AB03, Floor Position = AB3 | 10 | 47 | 10 | 2 | 47 | 2
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AB | 5 | Occupied | 3 | 55 % | 0.720 m² | Rack AB2, Floor Position = AB2 | 30 | 47 | 30 | 11 | 47 | 11
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AB | 5 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AC | 4 | Free | 1 | 43 % | 0.571 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AC | 4 | Occupied | 3 | 57 % | 0.749 m² | Rack AB1, Floor Position = AB1 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AC | 4 | Occupied | 3 | 57 % | 0.749 m² | ODF CODF AC04, Floor Position = AC4 | 23 | 47 | 23 | 14 | 47 | 14
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AC | 4 | Occupied | 3 | 57 % | 0.749 m² | Rack AC05, Floor Position = AC5 | 31 | 46 | 31 | 24 | 46 | 24
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AC | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AD | 4 | Free | 0 | 0 % | 0.001 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AD | 4 | Occupied | 4 | 100 % | 0.855 m² | Rack AD2, Floor Position = AD2 | 42 | 44 | 42 | 42 | 44 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AD | 4 | Occupied | 4 | 100 % | 0.855 m² | Rack AD4, Floor Position = AD4 | 37 | 44 | 37 | 37 | 44 | 37
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AD | 4 | Occupied | 4 | 100 % | 0.855 m² | Rack AE/AD05, Floor Position = AD05 | 24 | 45 | 24 | 10 | 45 | 10
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AD | 4 | Occupied | 4 | 100 % | 0.855 m² | Rack AD3, Floor Position = AD3 | 39 | 44 | 39 | 39 | 44 | 39
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AD | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AE | 3 | Free | 0 | 21 % | 0.181 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AE | 3 | Occupied | 3 | 79 % | 0.675 m² | ODF AE03, Floor Position = AE03 | 44 | 46 | 44 | 23 | 46 | 23
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AE | 3 | Occupied | 3 | 79 % | 0.675 m² | Rack AE2, Floor Position = AE02 | 43 | 46 | 43 | 43 | 46 | 43
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AE | 3 | Occupied | 3 | 79 % | 0.675 m² | ODF AE04, Floor Position = AE04 | 20 | 48 | 20 | 13 | 48 | 13
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AE | 3 | Occupied | 3 | 79 % | 0.675 m² | Rack AE/AD05, Floor Position = AD05 | 24 | 45 | 24 | 10 | 45 | 10
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AE | 3 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AF | 3 | Free | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AF | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack AF1, Floor Position = AF1 | 41 | 44 | 41 | 41 | 44 | 41
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AF | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack AF3, Floor Position = AF3 | 41 | 44 | 41 | 41 | 44 | 41
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AF | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack AF2, Floor Position = AF2 | 41 | 44 | 41 | 41 | 44 | 41
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AF | 3 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AG | 3 | Free | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AG | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack AG1, Floor Position = AG1 | 41 | 44 | 41 | 41 | 44 | 41
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AG | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack AG3, Floor Position = AG3 | 43 | 46 | 43 | 43 | 46 | 43
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AG | 3 | Occupied | 3 | 100 % | 0.540 m² | Rack AG2, Floor Position = AG2 | 43 | 46 | 43 | 43 | 46 | 43
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AG | 3 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AH | 4 | Free | 0 | 45 % | 0.683 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AH | 4 | Occupied | 4 | 55 % | 0.840 m² | Rack AH5, Floor Position = AH5 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AH | 4 | Occupied | 4 | 55 % | 0.840 m² | Rack AH3, Floor Position = AH3 | 42 | 45 | 42 | 42 | 45 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AH | 4 | Occupied | 4 | 55 % | 0.840 m² | Rack AH2, Floor Position = AH2 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AH | 4 | Occupied | 4 | 55 % | 0.840 m² | Rack AH1, Floor Position = AH1 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | AH | 4 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Free | 1 | 29 % | 0.328 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Occupied | 5 | 71 % | 0.822 m² | Rack B6, Floor Position = B6 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Occupied | 5 | 71 % | 0.822 m² | Rack B5, Floor Position = B5 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Occupied | 5 | 71 % | 0.822 m² | Rack B4, Floor Position = B4 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Occupied | 5 | 71 % | 0.822 m² | Rack B3, Floor Position = B3 | 42 | 42 | 42 | 42 | 42 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Occupied | 5 | 71 % | 0.822 m² | Rack B2, Floor Position = B2 | 42 | 42 | 42 | 42 | 42 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | B | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Free | 1 | 29 % | 0.336 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Occupied | 5 | 71 % | 0.825 m² | Rack C6, Floor Position = C6 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Occupied | 5 | 71 % | 0.825 m² | Rack C5, Floor Position = C5 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Occupied | 5 | 71 % | 0.825 m² | Rack C4, Floor Position = C4 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Occupied | 5 | 71 % | 0.825 m² | Rack C2, Floor Position = C2 | 42 | 42 | 42 | 42 | 42 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Occupied | 5 | 71 % | 0.825 m² | Rack C3, Floor Position = C3 | 42 | 42 | 42 | 42 | 42 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | D | 7 | Free | 5 | 73 % | 0.955 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | D | 7 | Occupied | 2 | 27 % | 0.358 m² | Rack D01, Floor Position = D1 | 19 | 55 | 19 | 12 | 55 | 12
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | D | 7 | Occupied | 2 | 27 % | 0.358 m² | Rack D2, Floor Position = D2 | 42 | 45 | 42 | 42 | 45 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | E | 7 | Free | 3 | 49 % | 0.649 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | E | 7 | Occupied | 4 | 51 % | 0.665 m² | Rack E1, Floor Position = E1 | 15 | 55 | 15 | 7 | 55 | 7
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | E | 7 | Occupied | 4 | 51 % | 0.665 m² | Rack DE03, Floor Position = D3 | 14 | 37 | 14 | 4 | 37 | 4
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | E | 7 | Occupied | 4 | 51 % | 0.665 m² | Rack E2, Floor Position = E2 | 40 | 55 | 40 | 23 | 55 | 23
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | E | 7 | Occupied | 4 | 51 % | 0.665 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Free | 1 | 14 % | 0.180 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Occupied | 6 | 86 % | 1.080 m² | Rack F3, Floor Position = F3 | 7 | 45 | 7 | 4 | 45 | 4
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Occupied | 6 | 86 % | 1.080 m² | Rack F4, Floor Position = F4 | 3 | 45 | 3 | 2 | 45 | 2
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Occupied | 6 | 86 % | 1.080 m² | Rack F01, Floor Position = F1 | 8 | 44 | 8 | 3 | 44 | 3
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Occupied | 6 | 86 % | 1.080 m² | Rack F/G06, Floor Position = F6 | 18 | 41 | 16 | 5 | 19 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Occupied | 6 | 86 % | 1.080 m² | Rack F5, Floor Position = F5 | 42 | 45 | 42 | 42 | 45 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Occupied | 6 | 86 % | 1.080 m² | Rack G/F07, Floor Position = F7 | 23 | 46 | 23 | 12 | 28 | 12
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | F | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Free | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack F3, Floor Position = F3 | 7 | 45 | 7 | 4 | 45 | 4
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack G2, Floor Position = G2 | 25 | 47 | 25 | 20 | 47 | 20
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack F4, Floor Position = F4 | 3 | 45 | 3 | 2 | 45 | 2
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack G1, Floor Position = G1 | 10 | 44 | 10 | 4 | 44 | 4
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack F/G06, Floor Position = F6 | 18 | 41 | 16 | 5 | 19 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack F5, Floor Position = F5 | 42 | 45 | 42 | 42 | 45 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack G/F07, Floor Position = F7 | 23 | 46 | 23 | 12 | 28 | 12
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | G | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Free | 0 | 8 % | 0.090 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Occupied | 6 | 92 % | 1.080 m² | ODF H1, Floor Position = H1 | 3 | 54 | 3 | 2 | 54 | 2
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Occupied | 6 | 92 % | 1.080 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Occupied | 6 | 92 % | 1.080 m² | Rack H2, Floor Position = H2 | 43 | 46 | 43 | 43 | 46 | 43
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Occupied | 6 | 92 % | 1.080 m² | Rack H3, Floor Position = H3 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Occupied | 6 | 92 % | 1.080 m² | Rack H4, Floor Position = H4 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Occupied | 6 | 92 % | 1.080 m² | Rack H5, Floor Position = H5 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | H | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Free | 1 | 4 % | 0.045 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Occupied | 6 | 96 % | 1.125 m² | Rack J1, Floor Position = J1 | 42 | 45 | 42 | 42 | 45 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Occupied | 6 | 96 % | 1.125 m² | Rack J3, Floor Position = J3 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Occupied | 6 | 96 % | 1.125 m² | Rack J2, Floor Position = J2 | 42 | 45 | 42 | 42 | 45 | 42
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Occupied | 6 | 96 % | 1.125 m² | Rack J4, Floor Position = J4 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Occupied | 6 | 96 % | 1.125 m² | Rack J5, Floor Position = J5 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Occupied | 6 | 96 % | 1.125 m² | Rack J6, Floor Position = J6 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | J | 7 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Free | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K1, Floor Position = K1 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K3, Floor Position = K3 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K4, Floor Position = K4 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K2, Floor Position = K2 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K8, Floor Position = K8 | 43 | 46 | 43 | 43 | 46 | 43
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K6, Floor Position = K6 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K7, Floor Position = K7 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack K5, Floor Position = K5 | 52 | 55 | 52 | 52 | 55 | 52
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Free | 1 | 17 % | 0.225 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Occupied | 5 | 83 % | 1.125 m² | Rack L5, Floor Position = L5 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Occupied | 5 | 83 % | 1.125 m² | Rack L4, Floor Position = L4 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Occupied | 5 | 83 % | 1.125 m² | Rack L1, Floor Position = L1 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Occupied | 5 | 83 % | 1.125 m² | Rack L3, Floor Position = L3 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Occupied | 5 | 83 % | 1.125 m² | Rack L2, Floor Position = L2 | 54 | 54 | 54 | 54 | 54 | 54
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | L | 6 | Reserved | 0 | 0 % | 0.000 m²
Room SWY on Floor Ground Floor in Site SHREWSBURY TAN | 53221.00 W | 45562.50 W | 117 % | [6 empty] | Rack SWY;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17