## Suite Line Capacity
Report generated for: | Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 7/139 | 25 % | 9.162 m²
Total occupied sections: | 128/139 | 73 % | 26.493 m²
Total reserved sections: | 4/139 | 2 % | 0.704 m²
Total Lines Capability |  |  | 36.358 m²
Total Location Capability |  |  | 96.974 m²
Total Location Free Area |  |  | 70.481 m²
Total Location Occupied Area |  |  | 26.493 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Free | 0 | 36 % | 1.206 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | ODF 1B/C, Floor Position = 1B | 16 | 47 | 16 | 16 | 47 | 16
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1A, Floor Position = 1A | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1D, Floor Position = 1D | 19 | 47 | 19 | 9 | 47 | 9
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1E, Floor Position = 1E | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1G, Floor Position = 1G | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1F, Floor Position = 1F | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1J, Floor Position = 1J | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1H, Floor Position = 1H | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1L, Floor Position = 1L | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Occupied | 10 | 64 % | 2.138 m² | Rack 1K, Floor Position = 1K | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 1 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 10 | 7 | Free | 0 | 10 % | 0.136 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 10 | 7 | Occupied | 4 | 52 % | 0.720 m² | Rack 10B, Floor Position = 10B | 40 | 42 | 40 | 40 | 42 | 40
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 10 | 7 | Occupied | 4 | 52 % | 0.720 m² | ODF 10A, Floor Position = 10A | 9 | 42 | 9 | 8 | 42 | 8
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 10 | 7 | Occupied | 4 | 52 % | 0.720 m² | Rack 10C, Floor Position = 10C | 39 | 42 | 39 | 39 | 42 | 39
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 10 | 7 | Occupied | 4 | 52 % | 0.720 m² | Rack 10D, Floor Position = 10D | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 10 | 7 | Reserved | 3 | 38 % | 0.524 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Free | 2 | 25 % | 0.495 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11B, Floor Position = 11B | 22 | 46 | 22 | 8 | 46 | 8
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11C, Floor Position = 11C | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11D, Floor Position = 11D | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11E, Floor Position = 11E | 19 | 46 | 19 | 12 | 46 | 12
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11F, Floor Position = 11F | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11G, Floor Position = 11G | 32 | 46 | 32 | 18 | 46 | 18
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11H, Floor Position = 11H | 29 | 46 | 29 | 16 | 46 | 16
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11J, Floor Position = 11J | 28 | 46 | 28 | 23 | 46 | 23
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Occupied | 9 | 75 % | 1.485 m² | Rack 11K, Floor Position = 11K | 5 | 42 | 5 | 5 | 42 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 11 | 11 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Free | 0 | 29 % | 0.868 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12B, Floor Position = 12B | 33 | 42 | 30 | 25 | 42 | 25
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12A, Floor Position = 12A | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12C, Floor Position = 12C | 38 | 47 | 38 | 20 | 47 | 20
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12D, Floor Position = 12D | 7 | 42 | 7 | 4 | 42 | 4
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12G, Floor Position = 12G | 30 | 41 | 29 | 16 | 41 | 16
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12F, Floor Position = 12F | 11 | 35 | 8 | 4 | 27 | 4
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12J, Floor Position = 12J | 21 | 44 | 21 | 10 | 41 | 10
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Occupied | 8 | 71 % | 2.132 m² | Rack 12K, Floor Position = 12K | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 12 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Free | 0 | 28 % | 0.852 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12B, Floor Position = 12B | 33 | 42 | 30 | 25 | 42 | 25
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12C, Floor Position = 12C | 38 | 47 | 38 | 20 | 47 | 20
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12A, Floor Position = 12A | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12D, Floor Position = 12D | 7 | 42 | 7 | 4 | 42 | 4
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12F, Floor Position = 12F | 11 | 35 | 8 | 4 | 27 | 4
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12G, Floor Position = 12G | 30 | 41 | 29 | 16 | 41 | 16
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12J, Floor Position = 12J | 21 | 44 | 21 | 10 | 41 | 10
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Occupied | 8 | 72 % | 2.148 m² | Rack 12K, Floor Position = 12K | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 13 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Free | 0 | 21 % | 0.480 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14B, Floor Position = 14B | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14A, Floor Position = 14A | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack TELHS1;DC SYS A;EXT ROOM, Floor Position = 14C | 19 | 46 | 19 | 18 | 25 | 18
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14J, Floor Position = 14J | 25 | 47 | 25 | 14 | 47 | 14
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14D, Floor Position = 14D | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack TELHS1;DC SYS B;EXT ROOM, Floor Position = 14E | 20 | 46 | 20 | 19 | 25 | 19
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14G, Floor Position = 14G | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14F, Floor Position = 14F | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Occupied | 9 | 79 % | 1.800 m² | Rack 14H, Floor Position = 14H | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 14 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Free | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack 14B, Floor Position = 14B | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack 14A, Floor Position = 14A | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack TELHS1;DC SYS A;EXT ROOM, Floor Position = 14C | 19 | 46 | 19 | 18 | 25 | 18
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | ODF 15J, Floor Position = 15J | 42 | 46 | 42 | 29 | 46 | 29
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack 14D, Floor Position = 14D | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack TELHS1;DC SYS B;EXT ROOM, Floor Position = 14E | 20 | 46 | 20 | 19 | 25 | 19
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack 14F, Floor Position = 14F | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack 14G, Floor Position = 14G | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Occupied | 9 | 100 % | 1.710 m² | Rack 14H, Floor Position = 14H | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 15 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Free | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16B, Floor Position = 16B | 22 | 42 | 22 | 20 | 42 | 20
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16A, Floor Position = 16A | 38 | 42 | 38 | 38 | 42 | 38
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16C, Floor Position = 16C | 19 | 42 | 19 | 17 | 42 | 17
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16D, Floor Position = 16D | 19 | 42 | 19 | 17 | 42 | 17
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16E, Floor Position = 16E | 45 | 47 | 45 | 45 | 47 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16F, Floor Position = 16F | 41 | 33 | 30 | 41 | 30 | 30
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16G, Floor Position = 16G | 38 | 45 | 38 | 34 | 44 | 34
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16H, Floor Position = 16H | 28 | 41 | 27 | 25 | 40 | 25
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16J, Floor Position = 16J | 47 | 45 | 45 | 47 | 44 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Occupied | 10 | 100 % | 1.800 m² | Rack 16K, Floor Position = 16K | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 16 | 10 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Free | 1 | 29 % | 0.870 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 17A, Floor Position = 17A | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | ODF 17B, Floor Position = 17B | 43 | 46 | 43 | 30 | 46 | 30
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 16E, Floor Position = 16E | 45 | 47 | 45 | 45 | 47 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 16G, Floor Position = 16G | 38 | 45 | 38 | 34 | 44 | 34
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 16F, Floor Position = 16F | 41 | 33 | 30 | 41 | 30 | 30
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 16J, Floor Position = 16J | 47 | 45 | 45 | 47 | 44 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 16H, Floor Position = 16H | 28 | 41 | 27 | 25 | 40 | 25
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Occupied | 8 | 71 % | 2.130 m² | Rack 16K, Floor Position = 16K | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 17 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Free | 0 | 13 % | 0.225 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2B, Floor Position = 2B | 13 | 47 | 13 | 6 | 47 | 6
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | ODF 2/3C, Floor Position = 2C | 1 | 47 | 1 | 1 | 47 | 1
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2D, Floor Position = 2D | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2E, Floor Position = 2E | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2F, Floor Position = 2F | 25 | 39 | 21 | 17 | 20 | 11
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2G, Floor Position = 2G | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2H, Floor Position = 2H | 5 | 45 | 4 | 5 | 43 | 2
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Occupied | 8 | 77 % | 1.380 m² | Rack 2J, Floor Position = 2J | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 2 | 9 | Reserved | 1 | 10 % | 0.180 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Free | 1 | 16 % | 0.285 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 2B, Floor Position = 2B | 13 | 47 | 13 | 6 | 47 | 6
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 3A, Floor Position = 3A | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | ODF 2/3C, Floor Position = 2C | 1 | 47 | 1 | 1 | 47 | 1
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 3D, Floor Position = 3D | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 3E, Floor Position = 3E | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 2G, Floor Position = 2G | 42 | 42 | 42 | 42 | 42 | 42
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 2F, Floor Position = 2F | 25 | 39 | 21 | 17 | 20 | 11
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Occupied | 8 | 84 % | 1.500 m² | Rack 2H, Floor Position = 2H | 5 | 45 | 4 | 5 | 43 | 2
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 3 | 9 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Free | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack 4A, Floor Position = 4A | 45 | 45 | 45 | 45 | 45 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack 4F, Floor Position = 4F | 34 | 46 | 33 | 22 | 43 | 22
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack 4B, Floor Position = 4B | 46 | 46 | 46 | 46 | 46 | 46
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack 4E, Floor Position = 4E | 38 | 47 | 38 | 38 | 47 | 38
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack 4C, Floor Position = 4C | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Occupied | 6 | 100 % | 1.260 m² | Rack 4D, Floor Position = 4D | 45 | 45 | 45 | 45 | 45 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 4 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Free | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Occupied | 5 | 100 % | 1.260 m² | Rack 5A, Floor Position = 5A | 41 | 45 | 41 | 41 | 45 | 41
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Occupied | 5 | 100 % | 1.260 m² | Rack 4F, Floor Position = 4F | 34 | 46 | 33 | 22 | 43 | 22
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Occupied | 5 | 100 % | 1.260 m² | Rack 5C, Floor Position = 5C | 45 | 45 | 45 | 45 | 45 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Occupied | 5 | 100 % | 1.260 m² | Rack 5B, Floor Position = 5B | 45 | 45 | 45 | 45 | 45 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Occupied | 5 | 100 % | 1.260 m² | Rack 5D, Floor Position = 5D | 45 | 45 | 45 | 45 | 45 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 5 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Free | 1 | 20 % | 0.270 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6B, Floor Position = 6B | 7 | 45 | 7 | 4 | 45 | 4
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6C, Floor Position = 6C | 22 | 45 | 22 | 21 | 45 | 21
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6D, Floor Position = 6D | 14 | 40 | 13 | 9 | 16 | 7
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6E, Floor Position = 6E | 39 | 42 | 39 | 39 | 42 | 39
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6G, Floor Position = 6G | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6F, Floor Position = 6F | 39 | 42 | 39 | 39 | 42 | 39
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 6 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Free | 1 | 20 % | 0.270 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6B, Floor Position = 6B | 7 | 45 | 7 | 4 | 45 | 4
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6C, Floor Position = 6C | 22 | 45 | 22 | 21 | 45 | 21
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6D, Floor Position = 6D | 14 | 40 | 13 | 9 | 16 | 7
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6E, Floor Position = 6E | 39 | 42 | 39 | 39 | 42 | 39
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6F, Floor Position = 6F | 39 | 42 | 39 | 39 | 42 | 39
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Occupied | 6 | 80 % | 1.080 m² | Rack 6G, Floor Position = 6G | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 7 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Free | 0 | 58 % | 1.931 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8B, Floor Position = 8B | 45 | 47 | 45 | 45 | 47 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | ODF 8A, Floor Position = 8A | 11 | 42 | 11 | 8 | 42 | 8
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8C, Floor Position = 8C | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8D, Floor Position = 8D | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8E, Floor Position = 8E | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8F, Floor Position = 8F | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8G, Floor Position = 8G | 45 | 47 | 45 | 45 | 47 | 45
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Occupied | 8 | 42 % | 1.385 m² | Rack 8H, Floor Position = 8H | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 8 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Free | 1 | 46 % | 1.274 m²
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Occupied | 6 | 54 % | 1.485 m² | Rack 9B, Floor Position = 9B | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Occupied | 6 | 54 % | 1.485 m² | Rack TELHS1;SYS;B;DC PER03;1L, Floor Position = 9C | 20 | 46 | 20 | 19 | 25 | 19
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Occupied | 6 | 54 % | 1.485 m² | Rack 9G, Floor Position = 9G | 17 | 28 | 17 | 9 | 28 | 9
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Occupied | 6 | 54 % | 1.485 m² | Rack 9E, Floor Position = 9E | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Occupied | 6 | 54 % | 1.485 m² | Rack TELHS1;SYS;A;DC PER02;9D, Floor Position = 9D | 21 | 45 | 20 | 20 | 24 | 19
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Occupied | 6 | 54 % | 1.485 m² | Rack 9F, Floor Position = 9F | 39 | 42 | 39 | 39 | 42 | 39
Room TELHs1 on Floor 1st Floor in Site TELEHOUSE NORTH DATA CENTRE | 67790.00 W | 25500.00 W | 266 % | 9 | 7 | Reserved | 0 | 0 % | 0.000 m²