## Suite Line Capacity
Report generated for: | Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE
| Quantity | % of all area | Area
Total free sections: | 2/40 | 8 % | 0.575 m²
Total occupied sections: | 38/40 | 92 % | 6.986 m²
Total reserved sections: | 0/40 | 0 % | 0.000 m²
Total Lines Capability |  |  | 7.561 m²
Total Location Capability |  |  | 28.533 m²
Total Location Free Area |  |  | 21.547 m²
Total Location Occupied Area |  |  | 6.986 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 1 | 1 | Free | 0 | 40 % | 0.120 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 1 | 1 | Occupied | 1 | 60 % | 0.177 m² | Rack 1A, Floor Position = 1A | 45 | 47 | 45 | 45 | 47 | 45
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 1 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Free | 0 | 6 % | 0.090 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack 2K, Floor Position = 2K | 43 | 46 | 43 | 43 | 46 | 43
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | ODF 2J, Floor Position = 2J | 41 | 46 | 41 | 31 | 46 | 31
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack 2F, Floor Position = 2F | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack TELHS2;DC SYS01, Floor Position = 2E | 21 | 46 | 21 | 20 | 25 | 20
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack 2G, Floor Position = 2G | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack 2C, Floor Position = 2C | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Occupied | 7 | 94 % | 1.350 m² | Rack 2D, Floor Position = 2D | 5 | 47 | 5 | 5 | 47 | 5
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 2 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Free | 2 | 25 % | 0.360 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Occupied | 6 | 75 % | 1.080 m² | Rack 3K, Floor Position = 3K | 2 | 44 | 2 | 1 | 44 | 1
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Occupied | 6 | 75 % | 1.080 m² | Rack 3J, Floor Position = 3J | 9 | 44 | 9 | 4 | 44 | 4
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Occupied | 6 | 75 % | 1.080 m² | Rack 2F, Floor Position = 2F | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Occupied | 6 | 75 % | 1.080 m² | Rack TELHS2;DC SYS01, Floor Position = 2E | 21 | 46 | 21 | 20 | 25 | 20
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Occupied | 6 | 75 % | 1.080 m² | Rack 3H, Floor Position = 3H | 21 | 44 | 21 | 19 | 44 | 19
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Occupied | 6 | 75 % | 1.080 m² | Rack 2G, Floor Position = 2G | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 3 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Free | 0 | 0 % | 0.004 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 4K, Floor Position = 4K | 41 | 44 | 41 | 41 | 44 | 41
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 4J, Floor Position = 4J | 41 | 44 | 41 | 41 | 44 | 41
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5C, Floor Position = 5C | 42 | 47 | 42 | 42 | 47 | 42
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | ODF 4D, Floor Position = 4D | 16 | 47 | 16 | 8 | 47 | 8
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5H, Floor Position = 5H | 36 | 32 | 25 | 14 | 22 | 14
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 4G, Floor Position = 4G | 41 | 46 | 41 | 41 | 46 | 41
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 4F, Floor Position = 4F | 46 | 46 | 46 | 46 | 46 | 46
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5E, Floor Position = 5E | 12 | 46 | 12 | 8 | 46 | 8
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 4 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Free | 0 | 0 % | 0.001 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5J, Floor Position = 5J | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5K, Floor Position = 5K | 37 | 44 | 37 | 37 | 44 | 37
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5C, Floor Position = 5C | 42 | 47 | 42 | 42 | 47 | 42
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5D, Floor Position = 5D | 42 | 47 | 42 | 31 | 47 | 31
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5E, Floor Position = 5E | 12 | 46 | 12 | 8 | 46 | 8
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack SUITE 5F, Floor Position = 5F | 43 | 46 | 43 | 36 | 38 | 36
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5G, Floor Position = 5G | 42 | 47 | 42 | 31 | 47 | 31
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Occupied | 8 | 100 % | 1.437 m² | Rack 5H, Floor Position = 5H | 36 | 32 | 25 | 14 | 22 | 14
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 5 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Free | 0 | 0 % | 0.000 m²
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6J, Floor Position = 6J | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | ODF 6K, Floor Position = 6K | 16 | 47 | 16 | 9 | 47 | 9
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6C, Floor Position = 6C | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6B, Floor Position = 6B | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6D, Floor Position = 6D | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6F, Floor Position = 6F | 47 | 47 | 47 | 47 | 47 | 47
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6E, Floor Position = 6E | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Occupied | 8 | 100 % | 1.504 m² | Rack 6G, Floor Position = 6G | 44 | 47 | 44 | 44 | 47 | 44
Room TELHs2 on Floor Ground Floor in Site TELEHOUSE EAST DATA CENTRE | 23726.00 W | 13500.00 W | 176 % | 6 | 8 | Reserved | 0 | 0 % | 0.000 m²