## Suite Line Capacity
Report generated for: | Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY
| Quantity | % of all area | Area
Total free sections: | 6/20 | 40 % | 2.467 m²
Total occupied sections: | 14/20 | 60 % | 3.734 m²
Total reserved sections: | 0/20 | 0 % | 0.000 m²
Total Lines Capability |  |  | 6.201 m²
Total Location Capability |  |  | 27.266 m²
Total Location Free Area |  |  | 23.532 m²
Total Location Occupied Area |  |  | 3.734 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | A | 4 | Free | 0 | 23 % | 0.285 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | A | 4 | Occupied | 4 | 77 % | 0.971 m² | Rack AB01, Floor Position = A1 | 17 | 47 | 17 | 10 | 47 | 10
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | A | 4 | Occupied | 4 | 77 % | 0.971 m² | Rack AB5, Floor Position = AB5 | 37 | 42 | 37 | 36 | 42 | 36
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | A | 4 | Occupied | 4 | 77 % | 0.971 m² | Rack AB04, Floor Position = A4 | 30 | 38 | 26 | 8 | 14 | 6
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | A | 4 | Occupied | 4 | 77 % | 0.971 m² | ODF B02, Floor Position = B2 | 28 | 46 | 28 | 14 | 46 | 14
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | B | 4 | Free | 0 | 16 % | 0.203 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | B | 4 | Occupied | 4 | 84 % | 1.053 m² | Rack AB01, Floor Position = A1 | 17 | 47 | 17 | 10 | 47 | 10
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | B | 4 | Occupied | 4 | 84 % | 1.053 m² | ODF B02, Floor Position = B2 | 28 | 46 | 28 | 14 | 46 | 14
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | B | 4 | Occupied | 4 | 84 % | 1.053 m² | Rack AB04, Floor Position = A4 | 30 | 38 | 26 | 8 | 14 | 6
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | B | 4 | Occupied | 4 | 84 % | 1.053 m² | Rack AB5, Floor Position = AB5 | 37 | 42 | 37 | 36 | 42 | 36
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | C | 4 | Free | 1 | 21 % | 0.180 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | C | 4 | Occupied | 3 | 79 % | 0.690 m² | Rack C02, Floor Position = C2 | 23 | 41 | 22 | 12 | 38 | 12
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | C | 4 | Occupied | 3 | 79 % | 0.690 m² | Rack C3, Floor Position = C3 | 2 | 47 | 2 | 2 | 47 | 2
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | C | 4 | Occupied | 3 | 79 % | 0.690 m² | ODF C04, Floor Position = C4 | 28 | 46 | 28 | 16 | 46 | 16
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | C | 4 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | D | 4 | Free | 1 | 41 % | 0.720 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | D | 4 | Occupied | 3 | 59 % | 1.020 m² | Rack C02, Floor Position = C2 | 23 | 41 | 22 | 12 | 38 | 12
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | D | 4 | Occupied | 3 | 59 % | 1.020 m² | Rack C3, Floor Position = C3 | 2 | 47 | 2 | 2 | 47 | 2
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | D | 4 | Occupied | 3 | 59 % | 1.020 m² | Rack D4, Floor Position = D4 | 0 | 42 | 0 | 0 | 42 | 0
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | D | 4 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | E | 2 | Free | 2 | 100 % | 0.540 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | E | 2 | Occupied | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | E | 2 | Reserved | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | F | 2 | Free | 2 | 100 % | 0.540 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | F | 2 | Occupied | 0 | 0 % | 0.000 m²
Room TGYN04 (Room-3) on Floor Ground Floor in Site TINGLEY | 14140.00 W | 16650.00 W | 85 % | F | 2 | Reserved | 0 | 0 % | 0.000 m²