## Suite Line Capacity
Report generated for: | Room TGW001 on Floor Ground Floor in Site GLASGOW MTX
| Quantity | % of all area | Area
Total free sections: | 2/35 | 34 % | 4.984 m²
Total occupied sections: | 33/35 | 66 % | 9.473 m²
Total reserved sections: | 0/35 | 0 % | 0.000 m²
Total Lines Capability |  |  | 14.457 m²
Total Location Capability |  |  | 68.681 m²
Total Location Free Area |  |  | 59.148 m²
Total Location Occupied Area |  |  | 9.533 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Free | 0 | 25 % | 0.640 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*06, Floor Position = 101/102*06 | 39 | 41 | 38 | 39 | 41 | 38
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*08, Floor Position = 101/102*08 | 24 | 32 | 23 | 22 | 28 | 21
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*07, Floor Position = 101/102*07 | 0 | 45 | 0 | 0 | 44 | 0
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*04, Floor Position = 101/102*04 | 30 | 45 | 29 | 24 | 26 | 24
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*03, Floor Position = 101/102*03 | 17 | 43 | 15 | 13 | 37 | 13
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*01, Floor Position = 101/102*01 | 16 | 45 | 15 | 6 | 26 | 6
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Occupied | 7 | 75 % | 1.909 m² | Rack 101/102*02, Floor Position = 101/102*02 | 25 | 46 | 24 | 22 | 46 | 22
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 101 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Free | 0 | 25 % | 0.630 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*06, Floor Position = 101/102*06 | 39 | 41 | 38 | 39 | 41 | 38
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*07, Floor Position = 101/102*07 | 0 | 45 | 0 | 0 | 44 | 0
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*08, Floor Position = 101/102*08 | 24 | 32 | 23 | 22 | 28 | 21
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*03, Floor Position = 101/102*03 | 17 | 43 | 15 | 13 | 37 | 13
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*04, Floor Position = 101/102*04 | 30 | 45 | 29 | 24 | 26 | 24
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*01, Floor Position = 101/102*01 | 16 | 45 | 15 | 6 | 26 | 6
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Occupied | 7 | 75 % | 1.920 m² | Rack 101/102*02, Floor Position = 101/102*02 | 25 | 46 | 24 | 22 | 46 | 22
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 102 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Free | 1 | 37 % | 0.897 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Occupied | 5 | 63 % | 1.517 m² | Rack 103/104*02, Floor Position = 103/104*02 | 24 | 32 | 23 | 22 | 28 | 21
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Occupied | 5 | 63 % | 1.517 m² | Rack 103*05, Floor Position = 103*05 | 41 | 46 | 40 | 41 | 46 | 40
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Occupied | 5 | 63 % | 1.517 m² | Rack 103/104*03, Floor Position = 103/104*03 | 42 | 46 | 42 | 42 | 46 | 42
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Occupied | 5 | 63 % | 1.517 m² | Rack 103/104*04, Floor Position = 103/104*04 | 27 | 36 | 25 | 22 | 36 | 22
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Occupied | 5 | 63 % | 1.517 m² | ODF TGW-E01-ODF, Floor Position = 103*06 | 43 | 47 | 43 | 42 | 47 | 42
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 103 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Free | 1 | 36 % | 0.859 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Occupied | 5 | 64 % | 1.500 m² | Rack 103/104*02, Floor Position = 103/104*02 | 24 | 32 | 23 | 22 | 28 | 21
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Occupied | 5 | 64 % | 1.500 m² | Rack 104*05, Floor Position = 104*05 | 38 | 45 | 37 | 38 | 41 | 33
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Occupied | 5 | 64 % | 1.500 m² | Rack 103/104*03, Floor Position = 103/104*03 | 42 | 46 | 42 | 42 | 46 | 42
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Occupied | 5 | 64 % | 1.500 m² | Rack 103/104*04, Floor Position = 103/104*04 | 27 | 36 | 25 | 22 | 36 | 22
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Occupied | 5 | 64 % | 1.500 m² | ODF TGW-W01-ODF, Floor Position = 104*06 | 43 | 47 | 43 | 43 | 47 | 43
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 104 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Free | 0 | 49 % | 1.687 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Occupied | 6 | 51 % | 1.726 m² | Rack 105*01, Floor Position = 105*01 | 45 | 45 | 45 | 45 | 45 | 45
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Occupied | 6 | 51 % | 1.726 m² | Rack 105*02, Floor Position = 105*02 | 45 | 45 | 45 | 45 | 45 | 45
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Occupied | 6 | 51 % | 1.726 m² | Rack 105*03, Floor Position = 105*03 | 3 | 44 | 3 | 2 | 23 | 2
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Occupied | 6 | 51 % | 1.726 m² | Rack 105*04, Floor Position = 105*04 | 3 | 44 | 3 | 2 | 23 | 2
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Occupied | 6 | 51 % | 1.726 m² | Rack 105*05, Floor Position = 105*05 | 45 | 45 | 45 | 45 | 45 | 45
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Occupied | 6 | 51 % | 1.726 m² | Rack 105*06, Floor Position = 105*06 | 45 | 45 | 45 | 45 | 45 | 45
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 105 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 106 | 3 | Free | 0 | 23 % | 0.272 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 106 | 3 | Occupied | 3 | 77 % | 0.900 m² | Rack 106*03, Floor Position = 106*03 | 35 | 35 | 35 | 35 | 35 | 35
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 106 | 3 | Occupied | 3 | 77 % | 0.900 m² | Rack 106*04, Floor Position = 106*04 | 39 | 39 | 39 | 39 | 39 | 39
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 106 | 3 | Occupied | 3 | 77 % | 0.900 m² | Rack 106*02, Floor Position = 106*02 | 35 | 35 | 35 | 35 | 35 | 35
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | 106 | 3 | Reserved | 0 | 0 % | 0.000 m²
Room TGW001 on Floor Ground Floor in Site GLASGOW MTX | 24252.00 W | 120000.00 W | 20 % | [6 empty] | Rack Earth Bar 01, Floor Position = Temp Mig | 38 | 47 | 38 | 38 | 47 | 38