## Suite Line Capacity
Report generated for: | Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY
| Quantity | % of all area | Area
Total free sections: | 6/35 | 34 % | 2.729 m²
Total occupied sections: | 29/35 | 66 % | 5.392 m²
Total reserved sections: | 0/35 | 0 % | 0.000 m²
Total Lines Capability |  |  | 8.121 m²
Total Location Capability |  |  | 27.155 m²
Total Location Free Area |  |  | 21.763 m²
Total Location Occupied Area |  |  | 5.392 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Free | 0 | 7 % | 0.075 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A3, Floor Position = A3 | 53 | 53 | 53 | 53 | 53 | 53
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A1, Floor Position = A1 | 53 | 53 | 53 | 53 | 53 | 53
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A2, Floor Position = A2 | 53 | 53 | 53 | 53 | 53 | 53
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A5, Floor Position = A5 | 50 | 53 | 50 | 50 | 53 | 50
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A6, Floor Position = A6 | 50 | 53 | 50 | 50 | 53 | 50
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A7, Floor Position = A7 | 50 | 53 | 50 | 50 | 53 | 50
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Occupied | 7 | 93 % | 1.013 m² | Rack A8, Floor Position = A8 | 5 | 47 | 5 | 5 | 47 | 5
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | AB | 4 | Free | 1 | 42 % | 0.375 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | AB | 4 | Occupied | 3 | 58 % | 0.525 m² | Rack AB2, Floor Position = AB2 | 53 | 53 | 53 | 53 | 53 | 53
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | AB | 4 | Occupied | 3 | 58 % | 0.525 m² | Rack AB1, Floor Position = AB1 | 53 | 53 | 53 | 53 | 53 | 53
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | AB | 4 | Occupied | 3 | 58 % | 0.525 m² | Rack AB3, Floor Position = AB3 | 53 | 53 | 53 | 53 | 53 | 53
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | AB | 4 | Reserved | 0 | 0 % | 0.000 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Free | 0 | 16 % | 0.215 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack B03, Floor Position = B3 | 27 | 45 | 27 | 14 | 45 | 14
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack B04, Floor Position = B4 | 26 | 45 | 26 | 20 | 45 | 20
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack B5, Floor Position = B5 | 48 | 53 | 48 | 48 | 53 | 48
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack B7, Floor Position = B7 | 42 | 42 | 42 | 42 | 42 | 42
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack B6, Floor Position = B6 | 41 | 44 | 41 | 41 | 44 | 41
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Occupied | 6 | 84 % | 1.125 m² | Rack B8, Floor Position = B8 | 42 | 42 | 42 | 42 | 42 | 42
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | B | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Free | 0 | 3 % | 0.028 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Occupied | 5 | 97 % | 0.810 m² | Rack C4, Floor Position = C4 | 51 | 53 | 51 | 51 | 53 | 51
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Occupied | 5 | 97 % | 0.810 m² | Rack C5, Floor Position = C5 | 50 | 53 | 50 | 50 | 53 | 50
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Occupied | 5 | 97 % | 0.810 m² | Rack C7, Floor Position = C7 | 42 | 42 | 42 | 42 | 42 | 42
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Occupied | 5 | 97 % | 0.810 m² | Rack B6, Floor Position = B6 | 41 | 44 | 41 | 41 | 44 | 41
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Occupied | 5 | 97 % | 0.810 m² | Rack C8, Floor Position = C8 | 42 | 42 | 42 | 42 | 42 | 42
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | C | 5 | Reserved | 0 | 0 % | 0.000 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Free | 1 | 51 % | 1.241 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Occupied | 5 | 49 % | 1.200 m² | Rack D03, Floor Position = D3 | 33 | 47 | 33 | 24 | 47 | 24
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Occupied | 5 | 49 % | 1.200 m² | Rack D5, Floor Position = D5 | 44 | 47 | 44 | 44 | 47 | 44
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Occupied | 5 | 49 % | 1.200 m² | Rack D6, Floor Position = D6 | 40 | 47 | 40 | 40 | 47 | 40
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Occupied | 5 | 49 % | 1.200 m² | Rack D8, Floor Position = D8 | 5 | 47 | 5 | 5 | 47 | 5
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Occupied | 5 | 49 % | 1.200 m² | Rack D/E07, Floor Position = D7 | 11 | 44 | 11 | 4 | 33 | 4
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | E | 6 | Free | 4 | 63 % | 0.765 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | E | 6 | Occupied | 2 | 37 % | 0.450 m² | Rack E5, Floor Position = E5 | 44 | 47 | 44 | 44 | 47 | 44
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | E | 6 | Occupied | 2 | 37 % | 0.450 m² | Rack D/E07, Floor Position = D7 | 11 | 44 | 11 | 4 | 33 | 4
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | F | 1 | Free | 0 | 10 % | 0.030 m²
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | F | 1 | Occupied | 1 | 90 % | 0.270 m² | ODF F01, Floor Position = F1 | 18 | 53 | 18 | 17 | 53 | 17
Room TGY (Room-4) on Floor Ground Floor in Site TINGLEY | 3585.00 W | 11100.00 W | 32 % | F | 1 | Reserved | 0 | 0 % | 0.000 m²